## Welcome
Analysis of New England Electric Generators' NOx Emissions on 25 Peak-load Days in 2005-2009 Supporting Data
Introduction
This spreadsheet supplements the data presented in the ISO's Analysis of New England Electric Generators' NOx Emissions on 25 Peak-load Days in 2005-2009, September 23, 2011 by presenting the hourly aggregrate data for generation and emissions on the Peak-load days for the entire system, 500 MW decrement of generation, and LMP setting unit. Information on the creation of the groups as well as charts and tables derived from these data are in the report available at:
http://www.iso-ne.com/genrtion_resrcs/reports/emission/peak_nox_analysis.pdf
Index
1 | Hourly New England Generation (MW)
2 | Hourly New England NOx Emissions (Tons/h)
3 | Hourly New England NOx Emissions (Lbs/MWh)
4 | 500 MW Decrement Actual Generation (MW)
5 | 500 MW Decrement NOx Emissions (Tons/h)
6 | 500 MW Decrement NOx Emissions (Lbs/MWh)
7 | LMP Calculation Method NOx Emissions (Lbs/MWh)
8 | Peak Load Hour Statistics

## 1
Hourly New England Generation (MW)
Date | Hour
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2005-07-19 | 17087.092 | 16892.266 | 16211.166 | 16069.828 | 15991.657 | 16320.812 | 17191.615 | 18307.993 | 19301.499 | 20511.334 | 21843.077 | 23113.265 | 23479.825 | 24225.916 | 24585.53 | 24862.5 | 24844.53 | 24223.318 | 22759.857 | 21891.086 | 21776.572 | 21465.553 | 19745.014 | 18639.982
2005-07-26 | 15514.046 | 15442.971 | 14758.209 | 14545.731 | 14686.107 | 14972.954 | 16137.918 | 16922.316 | 18127.554 | 19312.879 | 20716.512 | 21888.355 | 22605.849 | 23341.77 | 23678.496 | 24066.312 | 24134.804 | 23949.699 | 23063.654 | 22045.139 | 22053.799 | 21343.77 | 19880.522 | 18804.344
2005-07-27 | 17826.336 | 17451.981 | 17145.748 | 16435.828 | 16820.122 | 17311.754 | 18106.929 | 19703.192 | 20929.076 | 21927.264 | 22706.745 | 23685.045 | 24534.589 | 24830.902 | 24702.095 | 24739.525 | 24660.416 | 24344.367 | 23188.626 | 21717.379 | 21313.51 | 20193.818 | 18441.74 | 16761.602
2005-08-05 | 16247.118 | 16013.118 | 15575.439 | 15623.827 | 15840.065 | 16178.13 | 16876.301 | 18028.888 | 19188.717 | 20620.882 | 22077.898 | 23094.333 | 23474.467 | 24010.064 | 24111.823 | 24086.735 | 23175.804 | 22051.789 | 20722.312 | 20177.379 | 20150.728 | 18843.262 | 17496.97 | 16170.339
2005-08-11 | 16027.387 | 15389.26 | 15192.499 | 15112.463 | 15054.479 | 15261.447 | 16366.632 | 17643.179 | 19223.453 | 20105.16 | 20987.555 | 22050.906 | 22648.997 | 23318.484 | 23485.681 | 23474.43 | 23421.065 | 23141.7 | 22138.356 | 21306.974 | 21364.564 | 20240.898 | 18472.864 | 17319.934
2006-07-17 | 15763.782 | 15542.83 | 15188.284 | 14965.389 | 14999.922 | 15447.425 | 16160.743 | 17196.883 | 18769.377 | 20526.523 | 22114.054 | 23437.775 | 24154.833 | 24752.683 | 24909.672 | 24876.517 | 24971.665 | 24856.203 | 24236.983 | 23817.958 | 23475.402 | 22554.787 | 20645.275 | 18873.101
2006-07-18 | 18094.283 | 17473.386 | 16663.655 | 16272.835 | 16323.071 | 17070.584 | 17447.642 | 18548.087 | 19882.061 | 21483.308 | 23153.267 | 24079.213 | 24851.233 | 25476.213 | 25555.124 | 25124.368 | 24840.752 | 24555.035 | 24008.323 | 23424.674 | 22238.408 | 20623.691 | 18488.187 | 17031.125
2006-08-01 | 16773.637 | 16493.145 | 15903.343 | 15489.645 | 15645.951 | 15849.642 | 16683.219 | 18348.921 | 19280.781 | 20732.655 | 22385.261 | 23617.547 | 24180.045 | 24966.924 | 25573.463 | 25918.468 | 25693.838 | 25291.199 | 24889.488 | 24336.438 | 24432.186 | 23641.033 | 21597.608 | 20147.762
2006-08-02 | 19574.086 | 18719.996 | 18038.864 | 17211.914 | 16878.868 | 18179.381 | 19201.927 | 20387.2 | 21628.038 | 23053.374 | 24198.61 | 25022.186 | 25707.078 | 25731.255 | 25827.13 | 26061.801 | 25850.959 | 25631.761 | 24563.703 | 23193.631 | 22947.22 | 22196.008 | 20747.524 | 20039.438
2006-08-03 | 18540.41 | 17829.12 | 17381.53 | 17251.513 | 17188.906 | 17522.463 | 18059.798 | 19892.52 | 21450.377 | 22540.695 | 23263.42 | 24767.103 | 25394.91 | 25720.464 | 25679.342 | 25174.613 | 24496.935 | 23834.308 | 22787.478 | 21629.24 | 21106.121 | 19767.545 | 17723.796 | 16511.257
2007-07-26 | 14386.447 | 13895.133 | 13808.015 | 13370.483 | 13491.344 | 14196.992 | 15196.996 | 16629.905 | 17387.747 | 18892.757 | 20263.289 | 21481.131 | 21941.228 | 22086.353 | 22576.282 | 22771.947 | 23024.426 | 22757.86 | 22270.311 | 21381.082 | 20678.996 | 20628.796 | 18902.237 | 17451.938
2007-07-27 | 16476.593 | 16162.836 | 15545.786 | 15482.386 | 15809.124 | 15822.855 | 16618.112 | 18272.726 | 19230.962 | 20382.799 | 21586.5 | 22979.811 | 23515.981 | 24066.944 | 24131.842 | 24329.354 | 24364.097 | 23662.322 | 22955.169 | 21708.231 | 21012.729 | 20614.021 | 19197.079 | 17626.373
2007-08-02 | 15536 | 15435.15 | 15561.621 | 15407.18 | 15272.26 | 15355.707 | 15952.187 | 17137.417 | 18304.781 | 19304.057 | 20690.439 | 21965.895 | 23000.521 | 23703.793 | 24294.595 | 24503.444 | 24431.4 | 24166.78 | 22980.643 | 21767.876 | 22019.868 | 21306.646 | 19817.57 | 18696.117
2007-08-03 | 18003.373 | 17374.035 | 16940.551 | 16832.058 | 16646.801 | 16666.166 | 16995.69 | 18562.734 | 19529.879 | 20895.003 | 21962.59 | 22999.452 | 23967.573 | 24430.525 | 24053.765 | 24147.665 | 24084.804 | 23587.156 | 22200.982 | 21118.971 | 20759.808 | 20047.391 | 18729.908 | 17766.212
2007-08-08 | 16586.639 | 16561.366 | 16245.692 | 15937.528 | 15983.224 | 16874.726 | 17366.798 | 18101.526 | 18756.358 | 19213.315 | 20234.574 | 20886.064 | 21665.342 | 22745.567 | 23266.273 | 23726.884 | 23680.033 | 23604.297 | 22903.274 | 21557.808 | 21417.258 | 20100.048 | 18277.243 | 16807.746
2008-06-09 | 13902.243 | 13627.102 | 13671.525 | 13305.261 | 13617.908 | 13768.716 | 15242.62 | 17399.977 | 18833.035 | 19863.939 | 21576.595 | 22837.349 | 23364.697 | 23878.048 | 24402.19 | 24404.579 | 24630.178 | 23818.499 | 23366.006 | 22738.964 | 22390.876 | 21587.594 | 18783.533 | 16808.952
2008-06-10 | 15387.441 | 14056.851 | 13859.398 | 13960.124 | 14512.242 | 14578.479 | 15530.404 | 17701.64 | 19020.011 | 19979.206 | 21699.788 | 22851.098 | 23528.064 | 24432.004 | 24606.818 | 24462.564 | 24660.437 | 24057.191 | 23463.32 | 22502.511 | 22417.442 | 20941.128 | 17968.311 | 15876.75
2008-07-08 | 14417.414 | 13981.245 | 13290.276 | 13265.907 | 13308.153 | 13773.124 | 15116.626 | 17432.885 | 18679.596 | 19923.623 | 21388.633 | 21667.863 | 21992.336 | 22998.407 | 23706.677 | 23883.236 | 23719.295 | 23294.826 | 22378.892 | 21280.999 | 20718.161 | 20270.493 | 18315.488 | 16844.812
2008-07-09 | 15501.799 | 15037.341 | 14628.511 | 14442.814 | 14371.242 | 14856.856 | 15638.686 | 17786.114 | 18890.805 | 19992.995 | 20603.09 | 21232.606 | 21822.394 | 22540.896 | 22679.043 | 22560.049 | 22454.06 | 22222.755 | 21054.997 | 19792.543 | 19936.216 | 19391.894 | 17742.263 | 15424.276
2008-07-18 | 14706.869 | 14543.407 | 14359.925 | 13792.075 | 13864.965 | 13796.85 | 14352.43 | 16639.438 | 17804.99 | 18854.393 | 20436.425 | 21659.43 | 21937.179 | 22341.584 | 22604.277 | 22758.171 | 22849.239 | 22266.914 | 21548.289 | 20220.446 | 20045.281 | 19268.489 | 17326.408 | 16009.007
2009-08-17 | 14838 | 14534 | 14195 | 13990 | 14257 | 14664 | 15331 | 16508 | 18035 | 19739 | 21082 | 21621 | 21571 | 22239 | 22467 | 22890 | 22992 | 23017 | 21713 | 20797 | 21198 | 20109 | 18686 | 17150
2009-08-18 | 18014 | 17018 | 16115 | 16065 | 16118 | 16603 | 17549 | 19450 | 20625 | 21533 | 22987 | 24041 | 24242 | 24465 | 24316 | 24306 | 24398 | 24389 | 23431 | 22791 | 22956 | 21524 | 19738 | 18392
2009-08-19 | 15849 | 15144 | 14394 | 14019 | 14188 | 14590 | 15262 | 17075 | 18778 | 19741 | 20870 | 21393 | 21882 | 22664 | 22436 | 22044 | 22461 | 22205 | 21281 | 20552 | 20674 | 19770 | 18091 | 16597
2009-08-20 | 16057 | 15312 | 15067 | 14232 | 14249 | 14970 | 15369 | 16667 | 18140 | 19262 | 20127 | 20768 | 21548 | 22230 | 22416 | 22475 | 22387 | 21588 | 20682 | 20607 | 20673 | 19752 | 18120 | 16495
2009-08-21 | 15670 | 15138 | 14581 | 14810 | 15081 | 15693 | 16745 | 18117 | 19519 | 21044 | 21815 | 22282 | 22579 | 23149 | 23576 | 23337 | 22790 | 21806 | 20195 | 19597 | 19523 | 18406 | 16872 | 15830
NOTE: The generation figures shown here are generally slightly lower than the peak figures shown in the report's Table 1 and values in the Daily Load NOx by Fuel Type spreadsheet. These values do not include settlement only generation (mostly small hydro and internal combustion sources) and readjustments during the financial settlements process. These values are consistent with the generating units used for the system-wide emissions calculations.

## 2
Hourly New England NOx Emissions (Tons/h)
Date | Hour
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2005-07-19 | 5.4846 | 5.5032 | 5.191 | 5.1912 | 5.3148 | 5.4093 | 5.7324 | 6.4207 | 7.1488 | 8.7222 | 9.1734 | 9.3617 | 10.1257 | 11.0253 | 11.287 | 11.2476 | 11.5027 | 11.1506 | 10.5179 | 9.8707 | 9.6372 | 9.6255 | 8.9802 | 7.351
2005-07-26 | 5.8764 | 5.6792 | 5.6296 | 5.6226 | 6.366 | 5.9931 | 7.8337 | 6.6563 | 7.2037 | 7.8883 | 8.3212 | 9.3902 | 10.0689 | 10.5901 | 10.5057 | 11.3072 | 11.42 | 11.2343 | 10.8279 | 10.4082 | 10.2029 | 9.6572 | 8.6829 | 7.4401
2005-07-27 | 6.7885 | 6.6293 | 6.3838 | 6.1396 | 6.3061 | 6.4639 | 6.9911 | 7.7341 | 9.0259 | 9.5578 | 10.0447 | 10.95 | 11.9902 | 13.0059 | 13.2391 | 13.0172 | 12.9029 | 12.9446 | 12.5958 | 10.7681 | 9.691 | 8.6358 | 7.0841 | 6.1329
2005-08-05 | 6.0398 | 5.9986 | 5.6881 | 5.7607 | 5.8639 | 6.8017 | 6.377 | 8.29 | 7.5816 | 8.9298 | 9.7507 | 10.3221 | 10.832 | 11.6187 | 11.7013 | 11.8206 | 11.5427 | 10.5827 | 9.5342 | 8.5705 | 8.4629 | 7.5772 | 6.4353 | 6.7287
2005-08-11 | 6.0751 | 5.6037 | 5.5616 | 5.5065 | 5.4592 | 5.5428 | 6.5023 | 6.7538 | 8.6617 | 8.0006 | 8.6249 | 9.5959 | 9.989 | 10.1455 | 10.6416 | 10.666 | 10.6218 | 10.4599 | 10.267 | 9.6658 | 9.5474 | 8.9392 | 8.2995 | 6.6735
2006-07-17 | 4.6597 | 4.6618 | 4.6012 | 4.5969 | 4.8371 | 5.1147 | 5.398 | 5.5665 | 5.9234 | 6.398 | 7.3141 | 8.1539 | 8.6388 | 9.2208 | 9.6134 | 10.102 | 9.9838 | 9.8541 | 9.7725 | 9.5581 | 8.7662 | 7.8784 | 7.1783 | 6.4433
2006-07-18 | 6.2859 | 6.1477 | 5.7879 | 5.6885 | 5.674 | 5.9318 | 6.3524 | 6.2824 | 6.841 | 7.5954 | 8.5485 | 9.4862 | 10.2519 | 11.5139 | 12.052 | 12.1478 | 11.3565 | 10.9922 | 10.3243 | 9.7585 | 8.5058 | 7.8944 | 7.8592 | 7.5335
2006-08-01 | 4.2839 | 4.33 | 4.2319 | 4.3009 | 4.4545 | 4.6121 | 4.6087 | 5.0299 | 5.3587 | 6.068 | 7.4139 | 8.5249 | 9.1044 | 9.9665 | 10.3914 | 10.9971 | 11.0757 | 11.1732 | 11.6483 | 11.7122 | 11.3286 | 10.5827 | 9.0098 | 7.8444
2006-08-02 | 7.2103 | 6.3867 | 5.7677 | 5.4397 | 5.3637 | 5.4298 | 6.5837 | 6.5832 | 6.9969 | 8.7381 | 10.2417 | 10.524 | 11.4536 | 11.4004 | 12.611 | 12.4166 | 12.8569 | 12.734 | 12.482 | 10.4738 | 9.9596 | 9.5079 | 8.1635 | 6.821
2006-08-03 | 6.4428 | 6.2983 | 5.5466 | 5.355 | 5.2839 | 5.2922 | 5.5896 | 5.9881 | 6.4297 | 7.4332 | 8.295 | 9.0589 | 10.4776 | 10.6534 | 11.7599 | 11.1889 | 11.1813 | 9.8383 | 9.0518 | 7.8165 | 7.2238 | 6.6 | 6.0612 | 5.4518
2007-07-26 | 3.6257 | 3.6323 | 3.6449 | 3.8464 | 3.7576 | 4.0766 | 4.594 | 4.1827 | 4.5054 | 4.2501 | 4.6791 | 5.3394 | 5.7125 | 6.1007 | 6.6666 | 7.4438 | 7.678 | 7.4013 | 6.8138 | 6.2601 | 5.7156 | 5.2776 | 4.8884 | 4.6919
2007-07-27 | 4.6664 | 4.6264 | 4.6305 | 4.5674 | 4.6218 | 4.7098 | 5.08 | 4.9688 | 5.299 | 5.7328 | 6.9221 | 7.217 | 6.7651 | 6.9401 | 7.184 | 7.391 | 7.3873 | 7.0106 | 6.9769 | 6.4165 | 5.9923 | 5.6682 | 5.1228 | 4.6432
2007-08-02 | 3.5507 | 3.5841 | 3.6003 | 3.5795 | 3.7517 | 3.8932 | 4.37 | 4.5454 | 4.5119 | 4.7541 | 5.3201 | 6.0263 | 7.0419 | 7.3849 | 8.4245 | 9.5517 | 10.3681 | 10.3953 | 9.6336 | 8.0784 | 7.0059 | 6.5267 | 5.0973 | 4.4285
2007-08-03 | 4.2317 | 4.1602 | 4.1216 | 4.1228 | 3.9898 | 4.2358 | 4.7131 | 4.9437 | 5.1694 | 5.9178 | 6.3495 | 6.8646 | 7.7177 | 9.2394 | 8.1857 | 8.3027 | 8.2599 | 8.1503 | 7.3495 | 6.3209 | 6.0372 | 5.4383 | 4.9132 | 4.344
2007-08-08 | 4.3204 | 4.1562 | 4.1954 | 4.112 | 4.1024 | 4.1854 | 4.1663 | 4.245 | 4.3016 | 4.5258 | 4.8442 | 5.2602 | 5.5833 | 6.3213 | 7.7576 | 8.4577 | 8.8179 | 9.2473 | 9.044 | 8.1864 | 7.3468 | 6.7007 | 4.5493 | 4.0727
2008-06-09 | 3.8398 | 3.9351 | 3.9626 | 3.9073 | 4.1355 | 4.3778 | 4.9858 | 5.2704 | 5.6315 | 6.6722 | 7.859 | 8.9011 | 9.042 | 9.3188 | 9.8477 | 9.3041 | 10.0936 | 9.7022 | 8.9401 | 8.632 | 8.2283 | 7.4639 | 5.8911 | 5.2688
2008-06-10 | 4.7733 | 4.4185 | 4.3302 | 4.3281 | 4.4997 | 4.8969 | 5.1142 | 5.2333 | 5.5326 | 5.7149 | 6.807 | 7.744 | 8.0661 | 9.0313 | 9.1981 | 9.3549 | 9.3726 | 8.8739 | 8.5349 | 7.607 | 7.544 | 6.9409 | 5.4655 | 4.3661
2008-07-08 | 3.6308 | 3.5479 | 3.5407 | 3.553 | 3.5785 | 3.8341 | 4.04 | 4.306 | 4.456 | 4.9651 | 6.1874 | 6.1642 | 6.3005 | 6.7525 | 7.7538 | 7.5976 | 7.7006 | 7.5159 | 7.2134 | 5.9837 | 5.697 | 5.4175 | 4.4779 | 4.255
2008-07-09 | 4.0151 | 4.0263 | 3.9687 | 3.9296 | 4.036 | 4.14 | 4.4533 | 4.7465 | 5.2297 | 5.9081 | 6.566 | 6.0201 | 6.0205 | 6.4528 | 6.8207 | 6.541 | 6.4607 | 6.2515 | 5.6611 | 4.7082 | 4.8001 | 4.657 | 4.2132 | 3.8732
2008-07-18 | 4.0179 | 3.9785 | 3.9901 | 3.958 | 4.0897 | 4.134 | 4.4088 | 4.696 | 4.7192 | 4.7503 | 5.2655 | 5.5703 | 5.8136 | 6.0549 | 6.2202 | 6.4774 | 6.6836 | 5.9959 | 5.5682 | 5.3384 | 5.3922 | 5.2663 | 5.0533 | 4.689
2009-08-17 | 3.8319 | 3.6512 | 3.4212 | 3.4003 | 3.4358 | 3.6494 | 3.7683 | 4.394 | 4.646 | 4.8332 | 5.027 | 5.6368 | 6.0536 | 5.9488 | 6.0765 | 6.1053 | 6.1022 | 6.0689 | 5.7115 | 5.252 | 5.451 | 5.0096 | 4.564 | 4.2422
2009-08-18 | 3.9058 | 3.6387 | 3.4001 | 3.3007 | 3.3065 | 3.6276 | 3.9683 | 4.1495 | 4.3884 | 4.9856 | 5.2285 | 5.2818 | 5.5463 | 5.7675 | 5.4497 | 5.3217 | 5.3549 | 5.3757 | 5.2263 | 5.0063 | 5.1101 | 4.7215 | 4.0363 | 3.8008
2009-08-19 | 3.5827 | 3.5009 | 3.3881 | 3.3095 | 3.3564 | 3.6089 | 3.5556 | 3.8674 | 4.4107 | 4.9279 | 5.0977 | 4.971 | 5.2932 | 5.8922 | 6.1631 | 5.9493 | 5.9587 | 5.1995 | 5.1624 | 4.5122 | 4.4506 | 4.0561 | 3.5831 | 3.5469
2009-08-20 | 3.1894 | 3.0333 | 2.8112 | 2.6702 | 2.6976 | 2.8723 | 2.8542 | 2.9583 | 3.2575 | 3.5529 | 3.4245 | 3.6909 | 4.029 | 4.4404 | 5.3204 | 5.3173 | 5.0298 | 4.7131 | 4.6662 | 4.3667 | 4.5455 | 4.1059 | 3.7736 | 3.4823
2009-08-21 | 3.2243 | 3.0677 | 2.8644 | 2.7361 | 2.8405 | 3.2403 | 3.2629 | 3.5163 | 3.8708 | 4.5504 | 5.0166 | 5.0924 | 5.2432 | 5.6118 | 6.5102 | 6.462 | 6.082 | 5.4069 | 4.4381 | 4.2181 | 3.9633 | 3.5942 | 3.09 | 2.9925
|  | Low Demand Avg | 4.4041 | [10 empty] | High Demand Average | 8.8994 | [7 empty] | Average | 6.516

## 3
Hourly New England NOx Emissions (Lbs/MWh)
Date | Hour
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2005-07-19 | 0.64195 | 0.65157 | 0.64043 | 0.64608 | 0.6647 | 0.66287 | 0.66689 | 0.70141 | 0.74075 | 0.85047 | 0.83994 | 0.81007 | 0.8625 | 0.91021 | 0.91818 | 0.90478 | 0.92597 | 0.92065 | 0.92425 | 0.9018 | 0.8851 | 0.89683 | 0.90962 | 0.78873
2005-07-26 | 0.75755 | 0.73551 | 0.76291 | 0.77309 | 0.86695 | 0.80052 | 0.97084 | 0.78669 | 0.79478 | 0.8169 | 0.80334 | 0.85801 | 0.89082 | 0.9074 | 0.88737 | 0.93967 | 0.94635 | 0.93815 | 0.93896 | 0.94427 | 0.92527 | 0.90492 | 0.87351 | 0.79132
2005-07-27 | 0.76163 | 0.75972 | 0.74465 | 0.74711 | 0.74983 | 0.74676 | 0.7722 | 0.78507 | 0.86252 | 0.87177 | 0.88473 | 0.92463 | 0.97741 | 1.0476 | 1.0719 | 1.0523 | 1.0464 | 1.0635 | 1.0864 | 0.99166 | 0.90937 | 0.85529 | 0.76827 | 0.73178
2005-08-05 | 0.7435 | 0.74921 | 0.73039 | 0.73743 | 0.74039 | 0.84085 | 0.75574 | 0.91964 | 0.79022 | 0.86609 | 0.8833 | 0.89391 | 0.92288 | 0.96782 | 0.97059 | 0.9815 | 0.9961 | 0.9598 | 0.92018 | 0.84951 | 0.83996 | 0.80423 | 0.73559 | 0.83223
2005-08-11 | 0.7581 | 0.72826 | 0.73216 | 0.72874 | 0.72525 | 0.72638 | 0.79458 | 0.7656 | 0.90116 | 0.79588 | 0.82191 | 0.87034 | 0.88207 | 0.87017 | 0.90622 | 0.90873 | 0.90703 | 0.90399 | 0.92753 | 0.90729 | 0.89376 | 0.88328 | 0.89856 | 0.77062
2006-07-17 | 0.59119 | 0.59986 | 0.60589 | 0.61434 | 0.64495 | 0.66221 | 0.66803 | 0.64738 | 0.63118 | 0.62338 | 0.66149 | 0.69579 | 0.71528 | 0.74503 | 0.77186 | 0.81217 | 0.79961 | 0.79289 | 0.80641 | 0.8026 | 0.74684 | 0.6986 | 0.69539 | 0.68281
2006-07-18 | 0.69479 | 0.70366 | 0.69467 | 0.69914 | 0.69521 | 0.69497 | 0.72817 | 0.67742 | 0.68816 | 0.7071 | 0.73842 | 0.78791 | 0.82506 | 0.9039 | 0.94322 | 0.96701 | 0.91435 | 0.89531 | 0.86006 | 0.83318 | 0.76497 | 0.76557 | 0.85018 | 0.88468
2006-08-01 | 0.5108 | 0.52506 | 0.5322 | 0.55533 | 0.56941 | 0.58198 | 0.5525 | 0.54825 | 0.55586 | 0.58536 | 0.66239 | 0.72191 | 0.75305 | 0.79837 | 0.81267 | 0.84859 | 0.86213 | 0.88357 | 0.936 | 0.96252 | 0.92735 | 0.89528 | 0.83433 | 0.77869
2006-08-02 | 0.73672 | 0.68234 | 0.63948 | 0.63208 | 0.63555 | 0.59735 | 0.68573 | 0.64582 | 0.64702 | 0.75807 | 0.84647 | 0.84117 | 0.89109 | 0.88611 | 0.97657 | 0.95286 | 0.99469 | 0.99361 | 1.0163 | 0.90316 | 0.86805 | 0.85672 | 0.78694 | 0.68076
2006-08-03 | 0.69501 | 0.70652 | 0.63821 | 0.62082 | 0.6148 | 0.60405 | 0.61901 | 0.60205 | 0.59949 | 0.65954 | 0.71313 | 0.73152 | 0.82517 | 0.8284 | 0.9159 | 0.8889 | 0.91287 | 0.82555 | 0.79446 | 0.72277 | 0.68452 | 0.66777 | 0.68397 | 0.66037
2007-07-26 | 0.50404 | 0.52282 | 0.52795 | 0.57535 | 0.55704 | 0.57429 | 0.60459 | 0.50303 | 0.51823 | 0.44992 | 0.46183 | 0.49712 | 0.52071 | 0.55244 | 0.59059 | 0.65377 | 0.66694 | 0.65043 | 0.61191 | 0.58557 | 0.55279 | 0.51167 | 0.51723 | 0.5377
2007-07-27 | 0.56643 | 0.57247 | 0.59573 | 0.59002 | 0.5847 | 0.59532 | 0.61139 | 0.54385 | 0.55109 | 0.56251 | 0.64133 | 0.62811 | 0.57537 | 0.57673 | 0.5954 | 0.60758 | 0.60641 | 0.59255 | 0.60787 | 0.59116 | 0.57035 | 0.54994 | 0.53371 | 0.52684
2007-08-02 | 0.45709 | 0.4644 | 0.46272 | 0.46466 | 0.49131 | 0.50707 | 0.54789 | 0.53046 | 0.49298 | 0.49255 | 0.51426 | 0.54869 | 0.61233 | 0.62309 | 0.69353 | 0.77962 | 0.84875 | 0.86029 | 0.83841 | 0.74224 | 0.63633 | 0.61265 | 0.51442 | 0.47374
2007-08-03 | 0.4701 | 0.4789 | 0.4866 | 0.48987 | 0.47935 | 0.50831 | 0.55463 | 0.53265 | 0.52938 | 0.56643 | 0.57821 | 0.59694 | 0.64402 | 0.75638 | 0.68062 | 0.68766 | 0.6859 | 0.69108 | 0.66209 | 0.5986 | 0.58162 | 0.54254 | 0.52463 | 0.48901
2007-08-07 | 0.52095 | 0.50191 | 0.51649 | 0.51602 | 0.51333 | 0.49606 | 0.4798 | 0.46902 | 0.45868 | 0.47111 | 0.4788 | 0.50371 | 0.51542 | 0.55582 | 0.66686 | 0.71292 | 0.74475 | 0.78353 | 0.78976 | 0.75948 | 0.68606 | 0.66674 | 0.49781 | 0.48462
2008-06-09 | 0.5524 | 0.57753 | 0.57969 | 0.58733 | 0.60736 | 0.63591 | 0.65419 | 0.6058 | 0.59804 | 0.67179 | 0.72847 | 0.77952 | 0.77399 | 0.78053 | 0.80712 | 0.76249 | 0.81961 | 0.81468 | 0.76522 | 0.75922 | 0.73497 | 0.6915 | 0.62726 | 0.6269
2008-06-10 | 0.62042 | 0.62866 | 0.62488 | 0.62007 | 0.62013 | 0.6718 | 0.65861 | 0.59128 | 0.58176 | 0.57208 | 0.62738 | 0.67778 | 0.68566 | 0.7393 | 0.7476 | 0.76483 | 0.76013 | 0.73773 | 0.72751 | 0.6761 | 0.67305 | 0.6629 | 0.60835 | 0.55
2008-07-08 | 0.50366 | 0.50752 | 0.53283 | 0.53566 | 0.53779 | 0.55675 | 0.53451 | 0.49401 | 0.4771 | 0.49841 | 0.57857 | 0.56897 | 0.57297 | 0.58722 | 0.65415 | 0.63623 | 0.64931 | 0.64529 | 0.64466 | 0.56235 | 0.54996 | 0.53452 | 0.48897 | 0.5052
2008-07-09 | 0.51802 | 0.53551 | 0.5426 | 0.54415 | 0.56167 | 0.55732 | 0.56953 | 0.53373 | 0.55368 | 0.59101 | 0.63738 | 0.56707 | 0.55177 | 0.57254 | 0.6015 | 0.57987 | 0.57546 | 0.56262 | 0.53774 | 0.47575 | 0.48154 | 0.48031 | 0.47494 | 0.50222
2008-07-18 | 0.5464 | 0.54712 | 0.55573 | 0.57395 | 0.58994 | 0.59927 | 0.61437 | 0.56445 | 0.53009 | 0.5039 | 0.5153 | 0.51436 | 0.53002 | 0.54203 | 0.55036 | 0.56923 | 0.58501 | 0.53855 | 0.51681 | 0.52802 | 0.538 | 0.54662 | 0.5833 | 0.58579
2009-08-17 | 0.51649 | 0.50244 | 0.48203 | 0.48611 | 0.48198 | 0.49774 | 0.49159 | 0.53235 | 0.51522 | 0.48971 | 0.4769 | 0.52142 | 0.56128 | 0.53499 | 0.54092 | 0.53344 | 0.53081 | 0.52734 | 0.52609 | 0.50507 | 0.51429 | 0.49824 | 0.48849 | 0.49472
2009-08-18 | 0.43364 | 0.42763 | 0.42198 | 0.41092 | 0.41029 | 0.43698 | 0.45225 | 0.42668 | 0.42554 | 0.46306 | 0.45491 | 0.4394 | 0.45758 | 0.47149 | 0.44824 | 0.43789 | 0.43896 | 0.44083 | 0.4461 | 0.43933 | 0.44521 | 0.43872 | 0.40898 | 0.41331
2009-08-19 | 0.4521 | 0.46235 | 0.47077 | 0.47215 | 0.47314 | 0.49471 | 0.46594 | 0.45299 | 0.46977 | 0.49925 | 0.48852 | 0.46473 | 0.4838 | 0.51996 | 0.54939 | 0.53977 | 0.53058 | 0.46832 | 0.48516 | 0.4391 | 0.43055 | 0.41033 | 0.39612 | 0.42741
2009-08-20 | 0.39726 | 0.39619 | 0.37316 | 0.37524 | 0.37863 | 0.38374 | 0.37142 | 0.35498 | 0.35915 | 0.3689 | 0.34029 | 0.35544 | 0.37396 | 0.3995 | 0.47469 | 0.47317 | 0.44935 | 0.43664 | 0.45123 | 0.42381 | 0.43975 | 0.41575 | 0.41651 | 0.42222
2009-08-21 | 0.41153 | 0.4053 | 0.3929 | 0.36949 | 0.3767 | 0.41296 | 0.38971 | 0.38818 | 0.39662 | 0.43247 | 0.45993 | 0.45709 | 0.46443 | 0.48485 | 0.55227 | 0.5538 | 0.53374 | 0.49591 | 0.43953 | 0.43048 | 0.40601 | 0.39055 | 0.36629 | 0.37807
|  | Low Demand Avg | 0.5763 | [10 empty] | High Demand Average | 0.74031 | [7 empty] | Average | 0.64329

## 4
500 MW Decrement Actual Generation (MW)
Date | Hour
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2005-07-19 | 607 | 623 | 633 | 607 | 607 | 607 | 607 | 607 | 623 | 647 | 504 | 535 | 534 | 616 | 520 | 505 | 544 | 510 | 621 | 545 | 521 | 565 | 740 | 660
2005-07-26 | 744 | 689 | 689 | 689 | 689 | 503 | 689 | 501 | 689 | 535 | 503 | 604 | 562 | 549 | 508 | 536 | 511 | 527 | 527 | 610 | 513 | 502 | 507 | 507
2005-07-27 | 716 | 689 | 689 | 689 | 690 | 528 | 726 | 544 | 507 | 583 | 642 | 514 | 518 | 688 | 504 | 519 | 501 | 518 | 544 | 593 | 574 | 539 | 514 | 751
2005-08-05 | 518 | 517 | 511 | 507 | 718 | 514 | 516 | 518 | 710 | 587 | 512 | 503 | 505 | 531 | 506 | 518 | 527 | 591 | 511 | 534 | 616 | 552 | 543 | 542
2005-08-11 | 915 | 918 | 920 | 920 | 920 | 920 | 501 | 591 | 533 | 650 | 599 | 516 | 547 | 507 | 537 | 565 | 520 | 520 | 741 | 577 | 612 | 572 | 600 | 590
2006-07-17 | 506 | 506 | 504 | 845 | 793 | 528 | 615 | 638 | 698 | 510 | 505 | 638 | 570 | 580 | 511 | 618 | 534 | 537 | 588 | 543 | 513 | 501 | 598 | 529
2006-07-18 | 559 | 517 | 538 | 523 | 522 | 510 | 548 | 543 | 557 | 555 | 538 | 573 | 593 | 501 | 538 | 595 | 502 | 502 | 520 | 536 | 517 | 506 | 521 | 524
2006-08-01 | 681 | 699 | 598 | 575 | 719 | 683 | 637 | 513 | 516 | 554 | 541 | 540 | 529 | 502 | 501 | 520 | 516 | 513 | 516 | 501 | 507 | 501 | 505 | 536
2006-08-02 | 565 | 554 | 552 | 536 | 503 | 704 | 665 | 566 | 510 | 520 | 542 | 515 | 541 | 507 | 507 | 504 | 505 | 502 | 517 | 503 | 506 | 502 | 511 | 533
2006-08-03 | 521 | 526 | 533 | 525 | 712 | 520 | 555 | 506 | 613 | 513 | 515 | 503 | 521 | 518 | 505 | 507 | 503 | 516 | 502 | 514 | 574 | 607 | 702 | 546
2007-06-26 | 583 | 514 | 527 | 899 | 540 | 633 | 902 | 708 | 680 | 546 | 563 | 530 | 592 | 530 | 501 | 513 | 504 | 506 | 511 | 519 | 501 | 557 | 554 | 631
2007-06-27 | 710 | 698 | 698 | 697 | 679 | 587 | 702 | 618 | 701 | 501 | 550 | 529 | 511 | 668 | 529 | 555 | 534 | 513 | 516 | 508 | 572 | 581 | 709 | 726
2007-08-02 | 755 | 648 | 683 | 674 | 677 | 758 | 504 | 513 | 717 | 705 | 544 | 504 | 503 | 508 | 525 | 505 | 502 | 506 | 548 | 502 | 503 | 510 | 672 | 662
2007-08-03 | 548 | 606 | 537 | 510 | 909 | 901 | 922 | 545 | 566 | 569 | 544 | 536 | 551 | 552 | 601 | 597 | 608 | 519 | 576 | 544 | 540 | 502 | 592 | 557
2007-08-08 | 579 | 727 | 711 | 719 | 763 | 510 | 502 | 573 | 650 | 611 | 546 | 536 | 556 | 514 | 572 | 522 | 507 | 536 | 527 | 542 | 509 | 523 | 723 | 534
2008-06-09 | 651 | 553 | 545 | 545 | 604 | 736 | 541 | 808 | 664 | 580 | 520 | 534 | 545 | 525 | 571 | 525 | 504 | 642 | 559 | 505 | 522 | 503 | 506 | 598
2008-06-10 | 675 | 391 | 391 | 391 | 395 | 547 | 611 | 580 | 649 | 551 | 608 | 503 | 512 | 524 | 501 | 503 | 514 | 512 | 530 | 519 | 519 | 506 | 540 | 640
2008-07-08 | 243 | 719 | 637 | 634 | 654 | 261 | 549 | 728 | 508 | 525 | 543 | 568 | 529 | 565 | 523 | 515 | 559 | 567 | 534 | 516 | 511 | 578 | 583 | 790
2008-07-09 | 809 | 714 | 622 | 602 | 666 | 469 | 563 | 712 | 564 | 515 | 584 | 525 | 543 | 567 | 520 | 547 | 511 | 595 | 502 | 675 | 548 | 691 | 625 | 722
2008-07-18 | 510 | 346 | 370 | 249 | 310 | 480 | 555 | 683 | 726 | 528 | 553 | 531 | 573 | 513 | 583 | 503 | 501 | 521 | 574 | 547 | 550 | 550 | 550 | 529
2009-08-17 | 506 | 514 | 558 | 505 | 504 | 505 | 520 | 493 | 567 | 506 | 511 | 528 | 589 | 625 | 518 | 501 | 574 | 520 | 551 | 504 | 633 | 611 | 527 | 561
2009-08-18 | 601 | 600 | 600 | 600 | 603 | 628 | 628 | 608 | 626 | 629 | 633 | 636 | 640 | 641 | 641 | 641 | 641 | 641 | 638 | 637 | 636 | 636 | 616 | 604
2009-08-19 | 572 | 552 | 541 | 929 | 956 | 537 | 505 | 702 | 585 | 509 | 521 | 489 | 533 | 502 | 525 | 507 | 540 | 512 | 500 | 502 | 534 | 535 | 504 | 529
2009-08-20 | 512 | 514 | 939 | 798 | 828 | 954 | 926 | 506 | 613 | 649 | 535 | 504 | 559 | 540 | 505 | 518 | 519 | 531 | 484 | 537 | 582 | 831 | 475 | 552
2009-08-21 | 525 | 521 | 501 | 506 | 522 | 508 | 539 | 523 | 584 | 578 | 509 | 523 | 560 | 535 | 575 | 551 | 540 | 528 | 519 | 514 | 507 | 663 | 720 | 502

## 5
500 MW Decrement NOx Emissions (Tons/h)
Date | Hour
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2005-07-19 | 0.13447 | 0.13479 | 0.135 | 0.13447 | 0.13447 | 0.13447 | 0.13447 | 0.13446 | 0.2023 | 0.2483 | 0.37174 | 0.73279 | 0.86505 | 1.1683 | 1.0118 | 0.96597 | 1.1244 | 1.0265 | 0.63427 | 0.53918 | 0.52082 | 0.52974 | 0.34504 | 0.16536
2005-07-26 | 0.12535 | 0.12748 | 0.12748 | 0.12748 | 0.12748 | 0.12031 | 0.12748 | 0.12031 | 0.12748 | 0.14339 | 0.35745 | 0.39409 | 0.56369 | 1.2876 | 1.451 | 1.5584 | 1.7576 | 1.7099 | 1.6494 | 1.284 | 1.172 | 0.66271 | 0.16828 | 0.12032
2005-07-27 | 0.13415 | 0.12748 | 0.12748 | 0.12748 | 0.12774 | 0.1263 | 0.13666 | 0.13209 | 0.19491 | 0.19701 | 1.1884 | 1.3322 | 1.6247 | 2.2616 | 1.8492 | 1.7557 | 1.9148 | 1.9836 | 2.0149 | 1.0907 | 0.33254 | 0.24796 | 0.20416 | 0.14228
2005-08-05 | 0.24028 | 0.23951 | 0.22715 | 0.21617 | 0.21936 | 0.23175 | 0.23755 | 0.24081 | 0.24699 | 0.31489 | 0.58203 | 0.69519 | 1.0254 | 1.2036 | 0.97667 | 1.2343 | 1.3854 | 0.95075 | 0.48291 | 0.41438 | 0.23381 | 0.14505 | 0.11045 | 0.10916
2005-08-11 | 0.023163 | 0.023232 | 0.023292 | 0.023292 | 0.023292 | 0.023292 | 0.012133 | 0.12973 | 0.061209 | 0.24474 | 0.29069 | 0.39932 | 0.37203 | 0.55512 | 0.53421 | 0.56811 | 0.5035 | 0.57182 | 0.32342 | 0.26979 | 0.33901 | 0.20345 | 0.14656 | 0.12715
2006-07-17 | 0.23129 | 0.098095 | 0.12128 | 0.13279 | 0.12809 | 0.11825 | 0.2136 | 0.28098 | 0.22175 | 0.46066 | 0.45996 | 0.89992 | 0.73856 | 0.97776 | 0.95046 | 1.0452 | 1.1327 | 1.3054 | 1.4392 | 0.98882 | 0.70965 | 0.5097 | 0.64017 | 0.52215
2006-07-18 | 0.46234 | 0.52988 | 0.32644 | 0.25864 | 0.23038 | 0.29957 | 0.30743 | 0.72102 | 0.78333 | 0.85451 | 0.92998 | 0.99801 | 1.3107 | 2.0612 | 1.9668 | 1.7101 | 1.6828 | 1.8165 | 1.2619 | 1.0186 | 1.0081 | 2.1308 | 1.9359 | 0.69398
2006-08-01 | 0.21592 | 0.20711 | 0.23506 | 0.19061 | 0.22275 | 0.26592 | 0.32283 | 0.33311 | 0.28782 | 0.41193 | 0.30893 | 0.19146 | 0.62249 | 1.1189 | 1.2541 | 1.2529 | 1.2403 | 1.5393 | 1.5378 | 1.3384 | 1.202 | 1.243 | 0.83378 | 0.77641
2006-08-02 | 0.61003 | 0.37138 | 0.29097 | 0.29156 | 0.29901 | 0.30671 | 0.53835 | 0.47567 | 0.45518 | 0.53245 | 0.74439 | 0.98258 | 1.1953 | 1.7811 | 2.0003 | 2.132 | 2.4772 | 2.4284 | 1.9232 | 1.8643 | 1.8512 | 1.835 | 0.95953 | 0.81365
2006-08-03 | 0.47771 | 0.29186 | 0.31423 | 0.24232 | 0.24341 | 0.26047 | 0.33395 | 0.33607 | 0.50832 | 0.57073 | 0.42181 | 0.88968 | 1.1949 | 1.5576 | 1.389 | 1.3379 | 1.1529 | 0.99166 | 0.70965 | 0.7261 | 0.73631 | 0.49039 | 0.34745 | 0.2368
2007-06-26 | 0.020504 | 0.012776 | 0.013149 | 0.049807 | 0.042034 | 0.066854 | 0.11719 | 0.21499 | 0.26694 | 0.30018 | 0.40738 | 0.60432 | 0.79745 | 1.1687 | 1.9871 | 1.9295 | 1.5032 | 1.022 | 0.69386 | 0.44977 | 0.5253 | 0.57623 | 0.56795 | 0.49155
2007-06-27 | 0.33007 | 0.3173 | 0.31737 | 0.3163 | 0.29828 | 0.19054 | 0.15012 | 0.19063 | 0.36915 | 0.39298 | 0.49698 | 0.44013 | 0.26419 | 0.41102 | 0.31586 | 0.42319 | 0.43488 | 0.42482 | 0.34552 | 0.37518 | 0.44234 | 0.45731 | 0.31706 | 0.15618
2007-08-02 | 0.1665 | 0.050866 | 0.053096 | 0.051919 | 0.069249 | 0.10024 | 0.14552 | 0.13537 | 0.24547 | 0.49237 | 0.46655 | 0.46708 | 0.43634 | 0.71294 | 1.4329 | 2.1985 | 2.2532 | 2.1978 | 1.3628 | 0.55462 | 0.30404 | 0.33701 | 0.37499 | 0.20096
2007-08-03 | 0.1197 | 0.090036 | 0.040367 | 0.037462 | 0.04749 | 0.049545 | 0.087602 | 0.2662 | 0.28339 | 0.39684 | 0.40581 | 0.34204 | 0.53691 | 0.58836 | 0.66918 | 0.70253 | 0.72816 | 0.47722 | 0.77114 | 0.50478 | 0.51649 | 0.48212 | 0.17855 | 0.040853
2007-08-08 | 0.1221 | 0.035 | 0.051136 | 0.041293 | 0.048786 | 0.070317 | 0.072362 | 0.13773 | 0.20227 | 0.34933 | 0.4516 | 0.50506 | 0.58967 | 1.6026 | 2.1936 | 2.8259 | 2.7769 | 2.7094 | 2.7337 | 1.6345 | 0.76332 | 0.56049 | 0.29238 | 0.10355
2008-06-09 | 0.027037 | 0.024977 | 0.024656 | 0.024675 | 0.045463 | 0.084137 | 0.13952 | 0.13516 | 0.32802 | 0.54385 | 0.62888 | 0.49957 | 0.50596 | 0.50336 | 0.34551 | 0.33356 | 1.0402 | 0.64479 | 0.34303 | 0.36914 | 0.47884 | 0.46309 | 0.27904 | 0.33905
2008-06-10 | 0.25325 | 0.025429 | 0.025419 | 0.025419 | 0.025845 | 0.058141 | 0.11613 | 0.18287 | 0.36601 | 0.51632 | 0.57964 | 0.46382 | 0.58483 | 0.51659 | 0.56382 | 0.47001 | 0.41097 | 0.45639 | 0.42335 | 0.42352 | 0.41661 | 0.38289 | 0.55909 | 0.12044
2008-07-08 | 0.016654 | 0.014251 | 0.012724 | 0.014933 | 0.017368 | 0.04341 | 0.108 | 0.12695 | 0.20802 | 0.26925 | 0.54523 | 0.52401 | 0.42395 | 0.44861 | 0.43919 | 0.66607 | 0.73203 | 0.64132 | 0.59172 | 0.55576 | 0.46052 | 0.49759 | 0.2952 | 0.18574
2008-07-09 | 0.12373 | 0.11811 | 0.11428 | 0.11418 | 0.1345 | 0.14002 | 0.16956 | 0.26629 | 0.30695 | 0.4151 | 0.5025 | 0.44924 | 0.47775 | 0.57326 | 0.54978 | 0.55631 | 0.4543 | 0.4708 | 0.37387 | 0.36738 | 0.42131 | 0.38169 | 0.2197 | 0.11806
2008-07-18 | 0.073944 | 0.058409 | 0.063232 | 0.053222 | 0.055129 | 0.10238 | 0.19677 | 0.29686 | 0.33621 | 0.39443 | 0.40538 | 0.42801 | 0.52035 | 0.55503 | 0.63209 | 0.53481 | 0.45655 | 0.53957 | 0.64054 | 0.6434 | 0.64681 | 0.64681 | 0.64681 | 0.58762
2009-08-17 | 0.45704 | 0.47285 | 0.38084 | 0.26557 | 0.27144 | 0.29498 | 0.28187 | 0.31968 | 0.31502 | 0.29312 | 0.34223 | 0.34467 | 0.4323 | 0.39603 | 0.17546 | 0.16501 | 0.21811 | 0.18288 | 0.18877 | 0.15476 | 0.31245 | 0.35902 | 0.2462 | 0.28906
2009-08-18 | 0.10377 | 0.10245 | 0.10245 | 0.10245 | 0.13665 | 0.42334 | 0.42334 | 0.14087 | 0.11646 | 0.11755 | 0.11758 | 0.118 | 0.13806 | 0.1437 | 0.14391 | 0.14393 | 0.1437 | 0.14376 | 0.12545 | 0.12029 | 0.11777 | 0.11764 | 0.10777 | 0.10312
2009-08-19 | 0.16146 | 0.29154 | 0.21843 | 0.18438 | 0.18719 | 0.19584 | 0.2064 | 0.13371 | 0.26628 | 0.41943 | 0.41539 | 0.27943 | 0.19723 | 0.76845 | 0.93729 | 0.22112 | 0.21558 | 0.25444 | 0.25851 | 0.42122 | 0.38558 | 0.27776 | 0.1905 | 0.069252
2009-08-20 | 0.27666 | 0.18729 | 0.1234 | 0.11608 | 0.11775 | 0.12758 | 0.125 | 0.20937 | 0.28826 | 0.096757 | 0.11996 | 0.11581 | 0.14787 | 0.17042 | 1.1867 | 0.63519 | 0.40611 | 0.17303 | 0.15712 | 0.21962 | 0.19922 | 0.21869 | 0.44445 | 0.33933
2009-08-21 | 0.31061 | 0.27485 | 0.19777 | 0.16694 | 0.2347 | 0.27245 | 0.15752 | 0.10133 | 0.14967 | 0.1986 | 0.22809 | 0.23896 | 0.4463 | 0.67775 | 1.1293 | 1.2958 | 1.1227 | 0.65368 | 0.39047 | 0.34085 | 0.32271 | 0.24919 | 0.17287 | 0.18404
|  | Low Demand Avg | 0.13952 | [10 empty] | High Demand Average | 1.0533 | [7 empty] | Average | 0.50783

## 6
500 MW Decrement NOx Emissions (Lbs/MWh)
Date | Hour
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2005-07-19 | 0.44306 | 0.43271 | 0.42654 | 0.44305 | 0.44305 | 0.44306 | 0.44305 | 0.44304 | 0.64944 | 0.76754 | 1.4752 | 2.7394 | 3.2399 | 3.7931 | 3.8915 | 3.8256 | 4.1337 | 4.0255 | 2.0427 | 1.9786 | 1.9993 | 1.8752 | 0.93255 | 0.50109
2005-07-26 | 0.33697 | 0.37004 | 0.37004 | 0.37003 | 0.37004 | 0.47838 | 0.37004 | 0.48029 | 0.37003 | 0.53605 | 1.4213 | 1.3049 | 2.006 | 4.6905 | 5.7124 | 5.8149 | 6.8791 | 6.489 | 6.2596 | 4.21 | 4.5691 | 2.6403 | 0.66381 | 0.47463
2005-07-27 | 0.37473 | 0.37004 | 0.37005 | 0.37004 | 0.37025 | 0.4784 | 0.37647 | 0.48563 | 0.76886 | 0.67586 | 3.7021 | 5.1835 | 6.2728 | 6.5743 | 7.338 | 6.7656 | 7.6438 | 7.6588 | 7.4076 | 3.6787 | 1.1587 | 0.92006 | 0.79441 | 0.37891
2005-08-05 | 0.92771 | 0.92654 | 0.88905 | 0.85275 | 0.61104 | 0.90175 | 0.92075 | 0.92976 | 0.69575 | 1.0729 | 2.2736 | 2.7642 | 4.0609 | 4.5333 | 3.8604 | 4.7657 | 5.2576 | 3.2174 | 1.8901 | 1.552 | 0.75912 | 0.52554 | 0.40683 | 0.40279
2005-08-11 | 0.05063 | 0.050615 | 0.050635 | 0.050635 | 0.050635 | 0.050635 | 0.048433 | 0.43902 | 0.22968 | 0.75305 | 0.97057 | 1.5478 | 1.3603 | 2.1898 | 1.9896 | 2.011 | 1.9365 | 2.1993 | 0.87294 | 0.93515 | 1.1079 | 0.71136 | 0.48854 | 0.43101
2006-07-17 | 0.91419 | 0.38773 | 0.48129 | 0.31429 | 0.32306 | 0.44794 | 0.69465 | 0.88081 | 0.6354 | 1.8065 | 1.8216 | 2.8211 | 2.5914 | 3.3716 | 3.72 | 3.3826 | 4.2424 | 4.862 | 4.8951 | 3.6421 | 2.7667 | 2.0347 | 2.141 | 1.9741
2006-07-18 | 1.6542 | 2.0498 | 1.2135 | 0.98906 | 0.88267 | 1.1748 | 1.122 | 2.6557 | 2.8127 | 3.0793 | 3.4572 | 3.4834 | 4.4204 | 8.2285 | 7.3114 | 5.7482 | 6.7045 | 7.237 | 4.8536 | 3.8006 | 3.8996 | 8.4223 | 7.4314 | 2.6488
2006-08-01 | 0.63413 | 0.5926 | 0.78616 | 0.66298 | 0.61961 | 0.77867 | 1.0136 | 1.2987 | 1.1156 | 1.4871 | 1.1421 | 0.7091 | 2.3535 | 4.4578 | 5.0065 | 4.819 | 4.8075 | 6.0013 | 5.9604 | 5.3428 | 4.7416 | 4.9622 | 3.3021 | 2.897
2006-08-02 | 2.1594 | 1.3407 | 1.0542 | 1.0879 | 1.1889 | 0.87134 | 1.6191 | 1.6808 | 1.785 | 2.0479 | 2.7468 | 3.8158 | 4.4188 | 7.0262 | 7.8906 | 8.4604 | 9.8107 | 9.6749 | 7.4398 | 7.4129 | 7.3169 | 7.3106 | 3.7555 | 3.0531
2006-08-03 | 1.8338 | 1.1097 | 1.1791 | 0.92311 | 0.68372 | 1.0018 | 1.2034 | 1.3284 | 1.6585 | 2.2251 | 1.6381 | 3.5375 | 4.587 | 6.0138 | 5.5008 | 5.2778 | 4.5841 | 3.8436 | 2.8273 | 2.8253 | 2.5655 | 1.6158 | 0.98988 | 0.86738
2007-06-26 | 0.070341 | 0.04971 | 0.049902 | 0.11081 | 0.15568 | 0.21123 | 0.25984 | 0.60731 | 0.78513 | 1.0995 | 1.4472 | 2.2805 | 2.6941 | 4.41 | 7.9326 | 7.5225 | 5.9652 | 4.0397 | 2.7157 | 1.7332 | 2.097 | 2.0691 | 2.0504 | 1.558
2007-06-27 | 0.92976 | 0.90918 | 0.90936 | 0.90761 | 0.87858 | 0.6492 | 0.42769 | 0.61692 | 1.0532 | 1.5688 | 1.8072 | 1.664 | 1.034 | 1.2306 | 1.1942 | 1.525 | 1.6288 | 1.6562 | 1.3392 | 1.4771 | 1.5466 | 1.5742 | 0.89439 | 0.43024
2007-08-02 | 0.44107 | 0.157 | 0.15548 | 0.15406 | 0.20458 | 0.26449 | 0.57746 | 0.52777 | 0.68472 | 1.3968 | 1.7152 | 1.8535 | 1.735 | 2.8068 | 5.4586 | 8.7069 | 8.9771 | 8.6869 | 4.9736 | 2.2096 | 1.2089 | 1.3216 | 1.116 | 0.60713
2007-08-03 | 0.43685 | 0.29715 | 0.15034 | 0.14691 | 0.10449 | 0.10998 | 0.19003 | 0.97689 | 1.0014 | 1.3949 | 1.492 | 1.2763 | 1.9489 | 2.1317 | 2.2269 | 2.3535 | 2.3953 | 1.839 | 2.6776 | 1.8558 | 1.9129 | 1.9208 | 0.6032 | 0.14669
2007-08-08 | 0.42178 | 0.096286 | 0.14384 | 0.11486 | 0.12788 | 0.27575 | 0.2883 | 0.48075 | 0.62237 | 1.1435 | 1.6542 | 1.8845 | 2.1211 | 6.236 | 7.6701 | 10.8274 | 10.9544 | 10.1096 | 10.3745 | 6.0315 | 2.9993 | 2.1434 | 0.80881 | 0.38781
2008-06-09 | 0.083063 | 0.090334 | 0.090481 | 0.090551 | 0.15054 | 0.22863 | 0.51579 | 0.33455 | 0.988 | 1.8754 | 2.4188 | 1.8711 | 1.8567 | 1.9176 | 1.2102 | 1.2707 | 4.1276 | 2.0087 | 1.2273 | 1.4619 | 1.8346 | 1.8413 | 1.1029 | 1.134
2008-06-10 | 0.75038 | 0.13007 | 0.13002 | 0.13002 | 0.13086 | 0.21258 | 0.38013 | 0.63059 | 1.1279 | 1.8741 | 1.9067 | 1.8442 | 2.2845 | 1.9717 | 2.2508 | 1.8688 | 1.5991 | 1.7828 | 1.5975 | 1.6321 | 1.6055 | 1.5134 | 2.0707 | 0.37639
2008-07-08 | 0.13707 | 0.039642 | 0.039951 | 0.047106 | 0.053113 | 0.33265 | 0.39344 | 0.34876 | 0.81897 | 1.0257 | 2.0082 | 1.8451 | 1.6028 | 1.588 | 1.6795 | 2.5867 | 2.6191 | 2.2622 | 2.2162 | 2.1541 | 1.8024 | 1.7218 | 1.0127 | 0.47022
2008-07-09 | 0.30588 | 0.33084 | 0.36747 | 0.37933 | 0.40391 | 0.59708 | 0.60235 | 0.74802 | 1.0885 | 1.612 | 1.7209 | 1.7114 | 1.7597 | 2.0221 | 2.1146 | 2.034 | 1.7781 | 1.5825 | 1.4895 | 1.0885 | 1.5376 | 1.1048 | 0.70305 | 0.32703
2008-07-18 | 0.28998 | 0.33762 | 0.34179 | 0.42748 | 0.35567 | 0.42659 | 0.70908 | 0.86929 | 0.92621 | 1.4941 | 1.4661 | 1.6121 | 1.8162 | 2.1639 | 2.1684 | 2.1265 | 1.8226 | 2.0713 | 2.2319 | 2.3525 | 2.352 | 2.352 | 2.352 | 2.2216
2009-08-17 | 1.8065 | 1.8399 | 1.365 | 1.0518 | 1.0771 | 1.1682 | 1.0841 | 1.2969 | 1.1112 | 1.1586 | 1.3395 | 1.3056 | 1.4679 | 1.2673 | 0.67744 | 0.65873 | 0.75997 | 0.7034 | 0.68518 | 0.61412 | 0.98722 | 1.1752 | 0.93433 | 1.0305
2009-08-18 | 0.34533 | 0.34151 | 0.34151 | 0.34151 | 0.45323 | 1.3482 | 1.3482 | 0.46338 | 0.37209 | 0.37378 | 0.3715 | 0.37107 | 0.43143 | 0.44835 | 0.44903 | 0.44909 | 0.44837 | 0.44855 | 0.39326 | 0.37766 | 0.37035 | 0.36993 | 0.34989 | 0.34145
2009-08-19 | 0.56455 | 1.0563 | 0.80751 | 0.39693 | 0.3916 | 0.72937 | 0.81745 | 0.38094 | 0.91036 | 1.6481 | 1.5946 | 1.1429 | 0.74009 | 3.0615 | 3.5706 | 0.87226 | 0.79843 | 0.99391 | 1.0341 | 1.6782 | 1.4441 | 1.0384 | 0.75597 | 0.26182
2009-08-20 | 1.0807 | 0.72876 | 0.26284 | 0.29092 | 0.28441 | 0.26746 | 0.26997 | 0.82756 | 0.94047 | 0.29817 | 0.44845 | 0.45956 | 0.52906 | 0.63118 | 4.6998 | 2.4525 | 1.565 | 0.65171 | 0.64926 | 0.81794 | 0.68461 | 0.52632 | 1.8714 | 1.2294
2009-08-21 | 1.1833 | 1.0551 | 0.78951 | 0.65983 | 0.89924 | 1.0727 | 0.58451 | 0.38749 | 0.51257 | 0.68721 | 0.89622 | 0.9138 | 1.5939 | 2.5336 | 3.9279 | 4.7035 | 4.1582 | 2.476 | 1.5047 | 1.3263 | 1.273 | 0.75171 | 0.4802 | 0.73322
|  | Low Demand Avg | 0.47058 | [10 empty] | High Demand Average | 4.024 | [7 empty] | Average | 1.8789

## 7
LMP Calculation Method NOx Emissions (Lbs/MWh)
Date | Hour
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2006-07-17 | 0.080405 | 0.073818 | 0.64053 | 0.56808 | 0.64428 | 0.35127 | 0.029064 | 0.042315 | 0.74801 | 1.8087 | 1.6892 | 2.0748 | 2.1115 | 3.6256 | 4.6682 | 4.9442 | 4.0642 | 3.0755 | 2.7962 | 3.7462 | 2.6615 | 1.218 | 1.0734 | 1.4143
2006-07-18 | 0.98171 | 0.37695 | 0.071121 | 0.048459 | 0.05996 | 1.5765 | 0.089002 | 0.61359 | 1.5291 | 0.9795 | 2.2346 | 1.7226 | 9.6303 | 4.7591 | 6.2606 | 5.936 | 7.7955 | 6.2213 | 9.21 | 10.0801 | 10.3452 | 6.48 | 0.48362 | 0.06665
2006-08-01 | 0.06462 | 0.3905 | 0.050922 | 0.074563 | 0.043238 | 0.23463 | 0.059458 | 0.71332 | 1.2224 | 1.4532 | 1.3329 | 2.3215 | 5.7862 | 7.0368 | 8.9645 | 11.9137 | 15.9336 | 7.8005 | 11.3026 | 3.2477 | 1.1047 | 2.472 | 1.1477 | 4.7049
2006-08-02 | 1.0066 | 0.60752 | 0.33186 | 0.034554 | 0.047358 | 1.231 | 0.77752 | 1.2939 | 1.2926 | 1.7601 | 3.5745 | 5.2364 | 6.0686 | 4.1055 | 0.3663 | 5.0547 | 0.34307 | 1.0253 | 0.78703 | 1.1808 | 2.1121 | 1.2947 | 1.3274 | 1.2891
2006-08-03 | 3.2261 | 1.155 | 1.344 | 0.25221 | 0.089765 | 0.40621 | 1.2053 | 1.3601 | 1.3916 | 1.3931 | 1.8259 | 2.7701 | 4.4254 | 7.2308 | 6.5155 | 5.8611 | 5.0869 | 2.4881 | 1.9876 | 1.4093 | 1.5624 | 1.4143 | 1.4293 | 1.3146
|  | Low Demand Avg (lbs/MWh) | 0.28673 | [10 empty] | High Demand Average (lbs/MWh) | 5.7159 | [7 empty] | Average | 2.6698
[15 empty] | Peak Hour Average |  | 6.7711

## 8
Peak Load Hour Statistics
Date |  | Peak Load Hour | NE Gen (MW) | NE NOx (Tons/hr) | NE NOx (Lbs/MWh) | 500 MW NOx (Tons/hr) | 500 MW NOx (Lbs/MWh)
1 | 2005-07-19 | 15 | 24585.53 | 11.287 | 0.91818 | 1.0118 | 3.8915
2 | 2005-07-26 | 17 | 24134.804 | 11.42 | 0.94635 | 1.7576 | 6.8791
3 | 2005-07-27 | 15 | 24702.095 | 13.2391 | 1.0719 | 1.8492 | 7.338
4 | 2005-08-05 | 15 | 24111.823 | 11.7013 | 0.97059 | 0.97667 | 3.8604
5 | 2005-08-11 | 16 | 23474.43 | 10.666 | 0.90873 | 0.56811 | 2.011
6 | 2006-07-17 | 17 | 24971.665 | 9.9838 | 0.79961 | 1.1327 | 4.2424
7 | 2006-07-18 | 15 | 25555.124 | 12.052 | 0.94322 | 1.9668 | 7.3114
8 | 2006-08-01 | 17 | 25693.838 | 11.0757 | 0.86213 | 1.2403 | 4.8075
9 | 2006-08-02 | 15 | 25827.13 | 12.611 | 0.97657 | 2.0003 | 7.8906 | All-time highest load peak day
10 | 2006-08-03 | 14 | 25720.464 | 10.6534 | 0.8284 | 1.5576 | 6.0138
11 | 2007-06-26 | 17 | 23024.426 | 7.678 | 0.66694 | 1.5032 | 5.9652
12 | 2007-06-27 | 15 | 24131.842 | 7.184 | 0.5954 | 0.31586 | 1.1942
13 | 2007-08-02 | 17 | 24431.4 | 10.3681 | 0.84875 | 2.2532 | 8.9771
14 | 2007-08-03 | 15 | 24053.765 | 8.1857 | 0.68062 | 0.66918 | 2.2269
15 | 2007-08-08 | 17 | 23680.033 | 8.8179 | 0.74475 | 2.7769 | 10.9544
16 | 2008-06-09 | 17 | 24630.178 | 10.0936 | 0.81961 | 1.0402 | 4.1276
17 | 2008-06-10 | 17 | 24660.437 | 9.3726 | 0.76013 | 0.41097 | 1.5991
18 | 2008-07-08 | 17 | 23719.295 | 7.7006 | 0.64931 | 0.73203 | 2.6191
19 | 2008-07-09 | 15 | 22679.043 | 6.8207 | 0.6015 | 0.54978 | 2.1146
20 | 2008-07-18 | 16 | 22758.171 | 6.4774 | 0.56923 | 0.53481 | 2.1265
21 | 2009-08-17 | 14 | 22239 | 5.9488 | 0.53499 | 0.39603 | 1.2673
22 | 2009-08-18 | 15 | 24316 | 5.4497 | 0.44824 | 0.14391 | 0.44903
23 | 2009-08-19 | 15 | 22436 | 6.1631 | 0.54939 | 0.93729 | 3.5706
24 | 2009-08-20 | 15 | 22416 | 5.3204 | 0.47469 | 1.1867 | 4.6998 | All-time lowest load peak day
25 | 2009-08-21 | 15 | 23576 | 6.5102 | 0.55227 | 1.1293 | 3.9279
| Average | 15.72 | 24061.1397 | 9.0712 | 0.74886 | 1.1456 | 4.4026
| Minimum | 14 | 22239 | 5.3204 | 0.44824 | 0.14391 | 0.44903
| Maximum | 17 | 25827.13 | 13.2391 | 1.0719 | 2.7769 | 10.9544