NEPOOL Participants’ Net Claimed Capabilities

Revised 11/01/98

ID                      Summer                              Winter

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC

Total Nuclear         N           3466.92    3466.92    3466.92       3498.56    3498.56    3498.56

Total Fossil    C,G,O,P,W,M,CC,R

W/O Deratings                    13867.54   13954.54   14155.85      14371.31   14459.31   14790.17

Fossil Deratings                     0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J

W/O Deratings                     1644.95    1645.15    1729.70       2111.94    2112.14    2188.74

ICU Deratings                        0.00       0.00       0.00          0.00       0.00      -4.00

Total Hydro          H,PS         3308.83    3308.83    3308.83       3426.95    3426.95    3426.95

Total Wind            WI             0.54       0.54       0.54          1.36       1.36       1.36

Total Generation

W/O Deratings                    22288.78   22375.98   22661.84      23410.12   23498.32   23905.78

Total Deratings                      0.00       0.00       0.00          0.00       0.00      -4.00

Net Purchases                     1100.50    1100.50    1100.50       2044.50    2044.50    2044.50

Special Q.F. Capacity               12.00      12.00      12.00         12.00      12.00      12.00

Net Installed Capability

W/O Deratings                    23401.28   23488.48   23774.34      25466.62   25554.82   25962.28

Net Installed Capability

After Deratings                  23401.28   23488.48   23774.34      25466.62   25554.82   25958.28

* Does not include units establishing capability for the first time as of 10/1/98 under the provisions of the Regional

Market Operations Committee approved treatment of < 5 MW units.

Unit Identification Codes and Notes

ID Codes:

C  = Fossil unit (primary fuel is coal)						(  ) = Non-Utility Generation *

G  = Fossil unit (primary fuel is gas)						{  } = External Purchase/Sale **

O  = Fossil unit (primary fuel is oil)

P  = Fossil unit (primary fuel is peat)

W  = Fossil unit (primary fuel is wood)

M  = Fossil unit (primary fuel is methane)

R  = Fossil unit (primary fuel is refuse)

CC = Fossil unit (Combined Cycle type)

N  = Nuclear unit

D  = Diesel unit

GT = Gas Turbine

J  = Jet

H  = Hydro unit

PS = Pump Storage unit

WI = Wind

S  = System Power (External Purchase/Sale)

Notes:

* Note: Certain NEPOOL Participants ((1) Cinergy Capital & Trading (2) Duke Energy Trad. & Mkt. (3) Indeck Maine Energy, LLC, (4) Indeck Pepperell Pwr. Ass. Inc, (5) Milford Operating Company, (6) PG&E Energy Trading, L.P. and (7) Sithe New England Holdings LLC) are not classified as utilities by the FERC.  As a result, the capability they claim is reported as Non-Utility Generation.

** Detailed information on External Purchase contracts is considered proprietary and is not included in the Net Claimed Capabilities Report.  Only the total “Net Purchases” (Purchases – Sales) is reported, on page 1.

ISO New England - Operations

Capability Changes This Month

ID                Summer                             Winter                Date of

Unit               Code      NCC        RCC        MCC          NCC        RCC        MCC      Change

________   ________   ________     ________   ________   ________   ________

BHE   Bar Harbor            D         8.10       8.10       8.10         6.30       6.30       6.30   11/01/98

Eastport 1-2          D         2.00       2.00       2.00         0.95       0.95       0.95   11/01/98

Great Northern       (H)       18.75      18.75      18.75        19.15      19.15      19.15   11/01/98

CMP   Cape GT 4             GT       13.60      13.60      16.47        19.30      19.30      20.55   11/01/98

Kezar Ledgemere       H         0.56       0.56       0.56         1.32       1.32       1.32   11/01/98

North Gorham Sta.     H         1.56       1.56       1.56         1.56       1.56       1.56   11/01/98

MERC                 (R)       18.92      18.92      18.92        18.86      18.86      18.86   11/01/98

AEI-Livermore        (W)       35.30      35.30      35.30        34.89      34.89      34.89   11/01/98

Greenville           (W)       15.47      15.47      15.47        15.68      15.68      15.68   11/01/98

Scott-West Brook     (W)       43.07      43.07      43.07        32.34      32.34      32.34   11/01/98

Miller Hydro         (H)        7.52       7.52       7.52        14.00      14.00      14.00   11/01/98

CCT   Stratton Energy      (W)       46.44      46.44      46.44        46.67      46.67      46.67   11/01/98

CES   Kendall J2            J        15.00      15.00      18.00        19.00      19.00      22.00   11/01/98

Dartmouth Power      (CC)      61.80      61.80      61.80        68.18      68.18      71.18   11/01/98

SEMASS 1             (R)       46.18      46.18      46.18        52.58      52.58      52.58   11/01/98

SEMASS 2             (R)       20.85      20.85      20.85        24.32      24.32      24.32   11/01/98

EUA   Eldred Station        D         8.40       8.40       8.40         8.90       8.90       8.90   11/01/98

Pawtucket #2          H         0.41       0.41       0.41         1.20       1.20       1.20   11/01/98

ISO New England - Operations

Capability Changes This Month       (continued)

ID                Summer                             Winter                Date of

Unit               Code      NCC        RCC        MCC          NCC        RCC        MCC      Change

________   ________   ________     ________   ________   ________   ________

FGE   Pinetree             (W)       17.55      17.55      17.55        17.49      17.49      17.49   11/01/98

HM&PM Dudley Hydro         (H)        0.09       0.09       0.09         0.30       0.30       0.30   11/01/98

IME   Indeck-W Enfield     (W)       24.63      24.63      25.89        24.63      24.63      25.89   11/01/98

IPPAI Pepperell            (CC)      34.09      34.09      34.09        41.87      41.87      41.87   11/01/98

LELWD Centennial Island    (H)        0.40       0.40       0.40         0.79       0.79       0.79   11/01/98

Methuen Hydro        (H)        0.12       0.12       0.12         0.26       0.26       0.26   11/01/98

Miniwawa             (H)        0.00       0.00       0.00         0.99       0.99       0.99   11/01/98

NU    Devon 14              GT       32.08      32.08      32.08        41.42      41.42      41.42   11/01/98

Chicopee River        H         9.17       9.17       9.17        13.15      13.15      13.15   11/01/98

PGET  Pontook Hydro        (H)        7.07       7.07       7.07         9.09       9.09       9.09   11/01/98

PSNH  Smith Sta. (PSNH)     H        11.32      11.32      11.32        15.29      15.29      15.29   11/01/98

Rochester Landfill   (R)        4.90       4.90       4.90         4.98       4.98       4.98   11/01/98

Briar                (H)        1.13       1.13       1.13         5.50       5.50       5.50   11/01/98

Clement Dam Sta.     (H)        0.86       0.86       0.86         1.68       1.68       1.68   11/01/98

Gregg's Falls        (H)        0.17       0.17       0.17         2.23       2.23       2.23   11/01/98

Milton               (H)        0.37       0.37       0.37         1.31       1.31       1.31   11/01/98

Mine Falls           (H)        0.00       0.00       0.00         1.76       1.76       1.76   11/01/98

Pembroke             (H)        0.52       0.52       0.52         2.49       2.49       2.49   11/01/98

ISO New England - Operations

Capability Changes This Month       (continued)

ID                Summer                             Winter                Date of

Unit               Code      NCC        RCC        MCC          NCC        RCC        MCC      Change

________   ________   ________     ________   ________   ________   ________

Penacook Falls Upper (H)        0.92       0.92       0.92         3.60       3.60       3.60   11/01/98

Penacook Falls Lower (H)        1.11       1.11       1.11         4.61       4.61       4.61   11/01/98

River Bend           (H)        0.66       0.66       0.66         1.49       1.49       1.49   11/01/98

SNEH  Mystic  5            (O)      103.35     103.35     103.35        95.88      95.88      95.88   11/01/98

UI    Bridgeport Harbor 2   O       170.00     170.00     170.00       166.15     166.15     166.15   11/01/98

UNTIL Agawam Turbo         (G)        1.48       1.48       1.48         1.48       1.48       1.48   11/01/98

VELCO Burlington Jet        J        20.00      20.00      20.00        23.05      23.05      23.05   11/01/98

VELCO Pittsford Sta.        H         3.20       3.20       3.20         2.95       2.95       2.95   11/01/98

Cavendish Sta.        H         0.39       0.39       0.39         1.48       1.48       1.48   11/01/98

Smith Sta. (CVPS)     H         0.55       0.55       0.55         1.37       1.37       1.37   11/01/98

East Barnet Sta.      H         0.95       0.95       0.95         1.90       1.90       1.90   11/01/98

VELCO Newport 9             D         1.00       1.00       1.00         1.00       1.00       1.00   11/01/98

Newport Hydro Sta.    H         3.88       3.88       3.88         3.94       3.94       3.94   11/01/98

VELCO Gorge 1               GT        8.90       8.90       8.90        13.30      13.30      13.30   11/01/98

Searsburg Wind Sta.   WI        0.48       0.48       0.48         1.26       1.26       1.26   11/01/98

VELCO Moretown 8           (H)        0.36       0.36       0.36         1.07       1.07       1.07   11/01/98

Winooski Sta.  8     (H)        0.40       0.40       0.40         0.95       0.95       0.95   11/01/98

YAE   Vermont Yankee        N       500.41     500.41     500.41       529.08     529.08     529.08   11/09/98

Deratings to Net Claimed Capabilities

Due to ISO NE Initiated Audits

as of 11/01/98

ID                               Summer                           Winter

Unit           Code                       NCC      RCC      MCC            NCC      RCC      MCC

_______  _______  _______        _______  _______  _______

SNEH  West Medway   J1     (J)  W/O   Deratings       36.10    36.10    39.20          58.20    58.20    62.20

Deratings        0.00     0.00     0.00           0.00     0.00    -2.70

After Deratings       36.10    36.10    39.20          58.20    58.20    59.50

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

Bangor Hydro-Electric Company

Utility Generation      51.27      51.27      51.27         49.07      49.07      49.07

Non-Utility Generation      51.92      51.92      51.92         59.41      59.41      59.41

--------   --------   --------      --------   --------   --------

Total Generation     103.19     103.19     103.19        108.48     108.48     108.48

Boston Edison Company

Utility Generation     664.88     664.88     664.88        667.48     667.48     667.48

Non-Utility Generation     619.76     619.76     625.51        752.72     752.72     758.47

--------   --------   --------      --------   --------   --------

Total Generation    1284.64    1284.64    1290.39       1420.20    1420.20    1425.95

Braintree Electric Light Dept.

Utility Generation      81.75      81.75      81.75         99.75      99.75      99.75

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      81.75      81.75      81.75         99.75      99.75      99.75

Central Maine Power Company

Utility Generation    1315.62    1315.62    1321.04       1349.92    1349.92    1352.83

Non-Utility Generation     249.76     249.76     249.76        260.51     260.51     260.51

--------   --------   --------      --------   --------   --------

Total Generation    1565.38    1565.38    1570.80       1610.43    1610.43    1613.34

Chicopee Municipal Lighting Pl

Utility Generation       7.50       7.50       8.25          7.50       7.50       8.25

Non-Utility Generation       2.40       2.40       2.80          2.40       2.40       2.80

--------   --------   --------      --------   --------   --------

Total Generation       9.90       9.90      11.05          9.90       9.90      11.05

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

Cinergy Capital & Trading

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation      46.44      46.44      46.44         46.67      46.67      46.67

--------   --------   --------      --------   --------   --------

Total Generation      46.44      46.44      46.44         46.67      46.67      46.67

Commonwealth Energy System Co.

Utility Generation    1228.29    1228.29    1241.54       1255.80    1255.80    1270.30

Non-Utility Generation     152.25     152.25     152.25        168.50     168.50     171.50

--------   --------   --------      --------   --------   --------

Total Generation    1380.54    1380.54    1393.79       1424.30    1424.30    1441.80

Conn. Mun. Elec Energy Coop

Utility Generation      47.75      47.75      47.75         52.90      52.90      52.90

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      47.75      47.75      47.75         52.90      52.90      52.90

Duke Energy Trad. & Mkt.

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation     294.30     294.30     294.30        365.30     365.30     365.30

--------   --------   --------      --------   --------   --------

Total Generation     294.30     294.30     294.30        365.30     365.30     365.30

Eastern Utilities Assoc Co

Utility Generation     166.41     166.41     169.21        176.70     176.70     181.00

Non-Utility Generation     504.93     546.93     546.93        595.39     638.39     638.39

--------   --------   --------      --------   --------   --------

Total Generation     671.34     713.34     716.14        772.09     815.09     819.39

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

Fitchburg Gas and El Lt Co

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation      20.55      20.55      20.55         20.49      20.49      20.49

--------   --------   --------      --------   --------   --------

Total Generation      20.55      20.55      20.55         20.49      20.49      20.49

Groton Electric Light Dept

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation       1.69       1.69       1.69          2.00       2.00       2.00

--------   --------   --------      --------   --------   --------

Total Generation       1.69       1.69       1.69          2.00       2.00       2.00

Holden Mun Lt & Princeton Mun

Utility Generation       0.06       0.06       0.06          0.10       0.10       0.10

Non-Utility Generation       0.30       0.30       0.30          0.83       0.83       0.83

--------   --------   --------      --------   --------   --------

Total Generation       0.36       0.36       0.36          0.93       0.93       0.93

Holyoke Gas and Electric Dept.

Utility Generation      20.10      20.10      20.10         17.10      17.10      17.10

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      20.10      20.10      20.10         17.10      17.10      17.10

Hudson Light and Power Dept.

Utility Generation      16.90      17.10      19.60         16.90      17.10      19.60

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      16.90      17.10      19.60         16.90      17.10      19.60

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

Indeck Maine Energy, LLC

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation      49.26      49.26      52.42         49.26      49.26      52.42

--------   --------   --------      --------   --------   --------

Total Generation      49.26      49.26      52.42         49.26      49.26      52.42

Indeck Pepperell Pwr. Ass. Inc

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation      34.09      34.09      34.09         41.87      41.87      41.87

--------   --------   --------      --------   --------   --------

Total Generation      34.09      34.09      34.09         41.87      41.87      41.87

Ipswich Municipal Light Dept.

Utility Generation      11.27      11.27      12.56         11.27      11.27      12.56

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      11.27      11.27      12.56         11.27      11.27      12.56

Littleton El. Lt & Water Dept.

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation       0.60       0.60       0.60          2.24       2.24       2.24

--------   --------   --------      --------   --------   --------

Total Generation       0.60       0.60       0.60          2.24       2.24       2.24

Marblehead Mun. Light Dept

Utility Generation       6.00       6.00       6.00          6.00       6.00       6.00

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation       6.00       6.00       6.00          6.00       6.00       6.00

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

Mass Mun Wholesale Elec Co

Utility Generation     421.00     421.00     421.00        522.00     522.00     522.00

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation     421.00     421.00     421.00        522.00     522.00     522.00

Milford Operating Company

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation     149.00     149.00     149.00        170.73     170.73     170.73

--------   --------   --------      --------   --------   --------

Total Generation     149.00     149.00     149.00        170.73     170.73     170.73

New England El. Sys. Oper. Co.

Utility Generation      24.00      24.00      24.00         26.00      26.00      26.00

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      24.00      24.00      24.00         26.00      26.00      26.00

Northeast Utilities Sys. Co.

Utility Generation    5201.59    5201.59    5254.89       5362.89    5362.89    5421.19

Non-Utility Generation     414.20     414.20     414.20        421.09     421.09     433.56

--------   --------   --------      --------   --------   --------

Total Generation    5615.79    5615.79    5669.09       5783.98    5783.98    5854.75

Peabody Mun. Light Plant

Utility Generation      44.60      44.60      44.60         65.90      65.90      65.90

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      44.60      44.60      44.60         65.90      65.90      65.90

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

PG&E Energy Trading, L.P.

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation    4106.90    4106.90    4206.90       4253.29    4253.29    4386.29

--------   --------   --------      --------   --------   --------

Total Generation    4106.90    4106.90    4206.90       4253.29    4253.29    4386.29

Public Service New Hampshire

Utility Generation    2293.30    2293.30    2293.30       2320.49    2320.49    2370.32

Non-Utility Generation     111.94     111.94     111.94        137.83     137.83     137.83

--------   --------   --------      --------   --------   --------

Total Generation    2405.24    2405.24    2405.24       2458.32    2458.32    2508.15

Shrewsbury Electric Light Plt.

Utility Generation      13.75      13.75      13.75         13.75      13.75      13.75

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation      13.75      13.75      13.75         13.75      13.75      13.75

Sithe New England Holdings LLC

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation    1822.49    1867.49    1932.59       1898.12    1943.12    2009.82

--------   --------   --------      --------   --------   --------

Total Generation    1822.49    1867.49    1932.59       1898.12    1943.12    2009.82

Sterling Mun. El. Light Dept.

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation       0.33       0.33       0.33          0.33       0.33       0.33

--------   --------   --------      --------   --------   --------

Total Generation       0.33       0.33       0.33          0.33       0.33       0.33

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

Taunton Municipal Lighting Plt

Utility Generation     131.00     131.00     131.00        136.00     136.00     136.00

Non-Utility Generation       6.30       6.30       6.30          6.75       6.75       6.75

--------   --------   --------      --------   --------   --------

Total Generation     137.30     137.30     137.30        142.75     142.75     142.75

Templeton Municipal Light. Pl.

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation       0.29       0.29       0.29          0.33       0.33       0.33

--------   --------   --------      --------   --------   --------

Total Generation       0.29       0.29       0.29          0.33       0.33       0.33

United Illuminating Company

Utility Generation    1005.48    1005.48    1035.60       1007.35    1007.35    1052.65

Non-Utility Generation      59.50      59.50      59.50         60.50      60.50      60.50

--------   --------   --------      --------   --------   --------

Total Generation    1064.98    1064.98    1095.10       1067.85    1067.85    1113.15

Unitil Power Corp.

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation       1.48       1.48       1.48          1.48       1.48       1.48

--------   --------   --------      --------   --------   --------

Total Generation       1.48       1.48       1.48          1.48       1.48       1.48

Vermont Electric Power Co.

Utility Generation     269.96     269.96     271.98        315.58     315.58     318.88

Non-Utility Generation      62.01      62.01      62.01         79.35      79.35      79.35

--------   --------   --------      --------   --------   --------

Total Generation     331.97     331.97     333.99        394.93     394.93     398.23

NEPOOL Participant Net Claimed Capabilities without Derating Due to ISO NE Initiated Audits

Revised 11/01/98

Summer                              Winter

Company                  NCC        RCC        MCC           NCC        RCC        MCC

West Boylston Electric Dept.

Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

Non-Utility Generation       3.20       3.20       3.20          3.20       3.20       3.20

--------   --------   --------      --------   --------   --------

Total Generation       3.20       3.20       3.20          3.20       3.20       3.20

Yankee Atomic Electric

Utility Generation     500.41     500.41     500.41        529.08     529.08     529.08

Non-Utility Generation       0.00       0.00       0.00          0.00       0.00       0.00

--------   --------   --------      --------   --------   --------

Total Generation     500.41     500.41     500.41        529.08     529.08     529.08

Total Utility Generation         13522.89   13523.09   13634.54      14009.53   14009.73   14192.71

Total Non-Utility Generation      8765.89    8852.89    9027.30       9400.59    9488.59    9713.07

========   ========   ========      ========   ========   ========

Total Generation                 22288.78   22375.98   22661.84      23410.12   23498.32   23905.78

Bangor Hydro-Electric Company                                                                Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Bar Harbor            D              8.10       8.10       8.10          6.30       6.30       6.30   11/01/98

Eastport 1-2          D              2.00       2.00       2.00          0.95       0.95       0.95   11/01/98

Eastport 3            D              2.05       2.05       2.05          2.10       2.10       2.10   03/01/90

Medway 1-4            D              7.95       7.95       7.95          8.60       8.60       8.60   03/01/90

Ellsworth Hydro Sta.  H              9.10       9.10       9.10          9.05       9.05       9.05   10/01/96

Penobscot River Hydr  H             22.07      22.07      22.07         22.07      22.07      22.07   05/01/96

Total Utility Generation            51.27      51.27      51.27         49.07      49.07      49.07

Perc-Orrington 1     (R)            21.76      21.76      21.76         21.16      21.16      21.16   05/01/98

Great Northern       (H)            18.75      18.75      18.75         19.15      19.15      19.15   11/01/98

West Enfield         (H)            11.41      11.41      11.41         19.10      19.10      19.10   10/01/98

Total Non-Utility Generation        51.92      51.92      51.92         59.41      59.41      59.41

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      21.76      21.76      21.76         21.16      21.16      21.16

Total I.C.U.        D,GT,J          20.10      20.10      20.10         17.95      17.95      17.95

Total Hydro          H,PS           61.33      61.33      61.33         69.37      69.37      69.37

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                   103.19     103.19     103.19        108.48     108.48     108.48

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings     103.19     103.19     103.19        108.48     108.48     108.48

Boston Edison Company                                                                        Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Pilgrim               N            664.88     664.88     664.88        667.48     667.48     667.48   08/01/98

Total Utility Generation           664.88     664.88     664.88        667.48     667.48     667.48

M St. Jet            (J)            50.00      50.00      50.00         68.10      68.10      68.10   10/01/96

L'Energia            (CC)           73.20      73.20      73.20         86.94      86.94      86.94   05/01/96

Mass Power           (CC)          225.75     225.75     231.50        264.25     264.25     270.00   09/01/96

NEA Bellingham       (CC)          270.81     270.81     270.81        333.43     333.43     333.43   12/01/95

Total Non-Utility Generation       619.76     619.76     625.51        752.72     752.72     758.47

Total Nuclear         N            664.88     664.88     664.88        667.48     667.48     667.48

Total Fossil  C,G,O,P,W,M,CC,R     569.76     569.76     575.51        684.62     684.62     690.37

Total I.C.U.        D,GT,J          50.00      50.00      50.00         68.10      68.10      68.10

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  1284.64    1284.64    1290.39       1420.20    1420.20    1425.95

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings    1284.64    1284.64    1290.39       1420.20    1420.20    1425.95

Braintree Electric Light Dept.                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Potter 2 CC           CC            79.50      79.50      79.50         97.50      97.50      97.50   07/01/98

Potter Diesel 1       D              2.25       2.25       2.25          2.25       2.25       2.25   08/01/91

Total Utility Generation            81.75      81.75      81.75         99.75      99.75      99.75

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      79.50      79.50      79.50         97.50      97.50      97.50

Total I.C.U.        D,GT,J           2.25       2.25       2.25          2.25       2.25       2.25

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    81.75      81.75      81.75         99.75      99.75      99.75

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      81.75      81.75      81.75         99.75      99.75      99.75

Central Maine Power Company                                                                  Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Cape GT 4             GT            13.60      13.60      16.47         19.30      19.30      20.55   11/01/98

Cape GT 5             GT            13.80      13.80      16.35         19.10      19.10      20.76   12/01/95

Yarmouth 1            O             53.50      53.50      53.50         53.50      53.50      53.50   04/01/87

Yarmouth 2            O             53.50      53.50      53.50         53.50      53.50      53.50   04/01/87

Yarmouth 3            O            116.00     116.00     116.00        119.00     119.00     119.00   12/01/92

Yarmouth 4            O            614.50     614.50     614.50        620.00     620.00     620.00   12/01/96

Mason 3               O             31.66      31.66      31.66         31.66      31.66      31.66   09/01/98

Mason 4               O             32.89      32.89      32.89         32.89      32.89      32.89   09/01/98

Mason 5               O             33.23      33.23      33.23         33.23      33.23      33.23   11/01/97

Harris 1-3            H             86.00      86.00      86.00         86.95      86.95      86.95   03/01/89

Harris 4              H              1.50       1.50       1.50          1.50       1.50       1.50   03/01/83

Wyman                 H             80.00      80.00      80.00         80.95      80.95      80.95   03/01/89

Williams Sta.         H             14.90      14.90      14.90         14.90      14.90      14.90   05/01/96

Weston Sta.           H             13.20      13.20      13.20         13.20      13.20      13.20   05/01/96

Shawmut Sta.          H              9.50       9.50       9.50          9.50       9.50       9.50   05/01/96

Oakland Sta.          H              2.75       2.75       2.75          2.75       2.75       2.75   05/01/96

Rice Rips Sta.        H              1.65       1.65       1.65          1.65       1.65       1.65   08/01/98

Union Gas Sta.        H              1.52       1.52       1.52          1.55       1.55       1.55   10/01/98

Fort Halifax Sta.     H              1.80       1.80       1.80          1.80       1.80       1.80   05/01/96

Gulf Island Project   H             32.97      32.97      32.97         32.97      32.97      32.97   01/01/97

Monty Sta.            H             22.83      22.83      22.83         28.00      28.00      28.00   10/01/98

Kezar Ledgemere       H              0.56       0.56       0.56          1.32       1.32       1.32   11/01/98

Lewiston Canal Sys.   H              0.00       0.00       0.00          6.94       6.94       6.94   07/01/98

Brunswick Sta.        H             20.20      20.20      20.20         20.20      20.20      20.20   05/01/96

Hiram Sta.            H             11.60      11.60      11.60         11.60      11.60      11.60   05/01/96

Bonny Eagle Sta.      H             10.20      10.20      10.20         10.20      10.20      10.20   05/01/96

West Buxton Sta.      H              7.30       7.30       7.30          7.30       7.30       7.30   05/01/96

Bar Mills Sta.        H              4.00       4.00       4.00          4.00       4.00       4.00   05/01/96

Skelton Sta.          H             20.00      20.00      20.00         20.00      20.00      20.00   06/01/89

Cataract East/West    H              8.90       8.90       8.90          8.90       8.90       8.90   05/01/96

Central Maine Power Company                                                  (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

North Gorham Sta.     H              1.56       1.56       1.56          1.56       1.56       1.56   11/01/98

Total Utility Generation          1315.62    1315.62    1321.04       1349.92    1349.92    1352.83

Boise Cascade        (C)            47.82      47.82      47.82         56.19      56.19      56.19   11/01/97

Greater Portland RR  (R)            11.39      11.39      11.39         12.69      12.69      12.69   11/01/97

MERC                 (R)            18.92      18.92      18.92         18.86      18.86      18.86   11/01/98

AEI-Livermore        (W)            35.30      35.30      35.30         34.89      34.89      34.89   11/01/98

Gorbell/Thermo       (W)            13.74      13.74      13.74         14.07      14.07      14.07   05/01/94

Greenville           (W)            15.47      15.47      15.47         15.68      15.68      15.68   11/01/98

Scott-West Brook     (W)            43.07      43.07      43.07         32.34      32.34      32.34   11/01/98

Scott Winslow        (W)             0.00       0.00       0.00          0.00       0.00       0.00   05/01/98

Aziscohos Hydro      (H)             6.81       6.81       6.81          6.81       6.81       6.81   05/01/96

I P Riley            (H)             6.35       6.35       6.35          6.78       6.78       6.78   10/01/98

I P Otis             (H)            10.00      10.00      10.00         10.00      10.00      10.00   05/01/96

Lockwood             (H)             7.50       7.50       7.50          7.50       7.50       7.50   05/01/96

Miller Hydro         (H)             7.52       7.52       7.52         14.00      14.00      14.00   11/01/98

Pejepscot            (H)            10.21      10.21      10.21         13.55      13.55      13.55   10/01/98

United Amer. Hydro   (H)            15.66      15.66      15.66         17.15      17.15      17.15   10/01/98

Total Non-Utility Generation       249.76     249.76     249.76        260.51     260.51     260.51

Central Maine Power Company                                                  (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R    1120.99    1120.99    1120.99       1128.50    1128.50    1128.50

Total I.C.U.        D,GT,J          27.40      27.40      32.82         38.40      38.40      41.31

Total Hydro          H,PS          416.99     416.99     416.99        443.53     443.53     443.53

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  1565.38    1565.38    1570.80       1610.43    1610.43    1613.34

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings    1565.38    1565.38    1570.80       1610.43    1610.43    1613.34

Chicopee Municipal Lighting Pl                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Front Street 1        D              2.50       2.50       2.75          2.50       2.50       2.75   06/01/89

Front Street 2        D              2.50       2.50       2.75          2.50       2.50       2.75   06/01/89

Front Street 3        D              2.50       2.50       2.75          2.50       2.50       2.75   04/01/95

Total Utility Generation             7.50       7.50       8.25          7.50       7.50       8.25

APLP (BFI)           (R)             2.40       2.40       2.80          2.40       2.40       2.80   11/01/95

Total Non-Utility Generation         2.40       2.40       2.80          2.40       2.40       2.80

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       2.40       2.40       2.80          2.40       2.40       2.80

Total I.C.U.        D,GT,J           7.50       7.50       8.25          7.50       7.50       8.25

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     9.90       9.90      11.05          9.90       9.90      11.05

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       9.90       9.90      11.05          9.90       9.90      11.05

Cinergy Capital & Trading                                                                    Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Stratton Energy      (W)            46.44      46.44      46.44         46.67      46.67      46.67   11/01/98

Total Non-Utility Generation        46.44      46.44      46.44         46.67      46.67      46.67

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      46.44      46.44      46.44         46.67      46.67      46.67

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    46.44      46.44      46.44         46.67      46.67      46.67

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      46.44      46.44      46.44         46.67      46.67      46.67

Commonwealth Energy System Co.                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Blackstone 1          O             13.30      13.30      13.30         15.30      15.30      15.30   07/01/98

Canal 1               O            556.16     556.16     559.16        563.00     563.00     566.00   03/01/98

Canal 2               O            553.33     553.33     556.33        562.00     562.00     565.00   03/01/98

Kendall 1-3           O             63.00      63.00      63.00         64.00      64.00      65.25   10/01/98

Kendall J1            J             15.00      15.00      18.00         20.00      20.00      23.00   04/01/94

Kendall J2            J             15.00      15.00      18.00         19.00      19.00      22.00   11/01/98

Oak Bluffs 1-3        D              7.50       7.50       8.25          7.50       7.50       8.25   11/01/72

W. Tisbury 1-2        D              5.00       5.00       5.50          5.00       5.00       5.50   06/01/75

Total Utility Generation          1228.29    1228.29    1241.54       1255.80    1255.80    1270.30

Boott Hydro          (H)            20.00      20.00      20.00         20.00      20.00      20.00   05/01/96

Chicopee Hydro       (H)             2.17       2.17       2.17          2.17       2.17       2.17   05/01/96

Collins Hydro        (H)             1.25       1.25       1.25          1.25       1.25       1.25   05/01/96

Dartmouth Power      (CC)           61.80      61.80      61.80         68.18      68.18      71.18   11/01/98

SEMASS 1             (R)            46.18      46.18      46.18         52.58      52.58      52.58   11/01/98

SEMASS 2             (R)            20.85      20.85      20.85         24.32      24.32      24.32   11/01/98

Total Non-Utility Generation       152.25     152.25     152.25        168.50     168.50     171.50

Commonwealth Energy System Co.                                               (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R    1314.62    1314.62    1320.62       1349.38    1349.38    1359.63

Total I.C.U.        D,GT,J          42.50      42.50      49.75         51.50      51.50      58.75

Total Hydro          H,PS           23.42      23.42      23.42         23.42      23.42      23.42

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  1380.54    1380.54    1393.79       1424.30    1424.30    1441.80

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings    1380.54    1380.54    1393.79       1424.30    1424.30    1441.80

Conn. Mun. Elec Energy Coop                                                                  Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

A. L. Pierce          O             14.60      14.60      14.60         15.65      15.65      15.65   11/01/97

Norwich               J             15.25      15.25      15.25         18.80      18.80      18.80   03/01/98

S. Norwalk 1          D              4.95       4.95       4.95          5.07       5.07       5.07   01/01/93

S. Norwalk 2-5        D             10.12      10.12      10.12         10.50      10.50      10.50   01/01/93

S. Norwalk 6          D              1.05       1.05       1.05          1.10       1.10       1.10   02/01/95

Greenville Dam        H              0.53       0.53       0.53          0.53       0.53       0.53   05/01/96

Tenth St. Hydro       H              1.25       1.25       1.25          1.25       1.25       1.25   05/01/96

Total Utility Generation            47.75      47.75      47.75         52.90      52.90      52.90

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      14.60      14.60      14.60         15.65      15.65      15.65

Total I.C.U.        D,GT,J          31.37      31.37      31.37         35.47      35.47      35.47

Total Hydro          H,PS            1.78       1.78       1.78          1.78       1.78       1.78

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    47.75      47.75      47.75         52.90      52.90      52.90

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      47.75      47.75      47.75         52.90      52.90      52.90

Duke Energy Trad. & Mkt.                                                                     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Bridgeport Energy 11 (GT)          146.20     146.20     146.20        181.70     181.70     181.70   08/01/98

Bridgeport Energy 12 (GT)          148.10     148.10     148.10        183.60     183.60     183.60   09/01/98

Total Non-Utility Generation       294.30     294.30     294.30        365.30     365.30     365.30

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J         294.30     294.30     294.30        365.30     365.30     365.30

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                   294.30     294.30     294.30        365.30     365.30     365.30

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings     294.30     294.30     294.30        365.30     365.30     365.30

Eastern Utilities Assoc Co                                                                   Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Somerset 6            C            113.00     113.00     113.00        113.10     113.10     113.10   05/01/98

Somerset J1           J             18.10      18.10      19.40         22.50      22.50      24.00   10/01/98

Somerset J2           J             18.50      18.50      20.00         23.00      23.00      25.80   05/01/98

Eldred Station        D              8.40       8.40       8.40          8.90       8.90       8.90   11/01/98

Jepson Station        D              8.00       8.00       8.00          8.00       8.00       8.00   10/01/95

Pawtucket #2          H              0.41       0.41       0.41          1.20       1.20       1.20   11/01/98

Total Utility Generation           166.41     166.41     169.21        176.70     176.70     181.00

Worcester Energy     (W)            20.93      20.93      20.93         21.39      21.39      21.39   02/01/98

Ocean State Power I  (CC)          242.00     264.00     264.00        287.00     310.00     310.00   10/01/98

Ocean State Power II (CC)          242.00     262.00     262.00        287.00     307.00     307.00   10/01/98

Total Non-Utility Generation       504.93     546.93     546.93        595.39     638.39     638.39

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R     617.93     659.93     659.93        708.49     751.49     751.49

Total I.C.U.        D,GT,J          53.00      53.00      55.80         62.40      62.40      66.70

Total Hydro          H,PS            0.41       0.41       0.41          1.20       1.20       1.20

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                   671.34     713.34     716.14        772.09     815.09     819.39

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings     671.34     713.34     716.14        772.09     815.09     819.39

Fitchburg Gas and El Lt Co                                                                   Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Pinetree             (W)            17.55      17.55      17.55         17.49      17.49      17.49   11/01/98

Linweave             (H)             3.00       3.00       3.00          3.00       3.00       3.00   05/01/96

Total Non-Utility Generation        20.55      20.55      20.55         20.49      20.49      20.49

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      17.55      17.55      17.55         17.49      17.49      17.49

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            3.00       3.00       3.00          3.00       3.00       3.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    20.55      20.55      20.55         20.49      20.49      20.49

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      20.55      20.55      20.55         20.49      20.49      20.49

Groton Electric Light Dept                                                                   Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Crescent Dam         (H)             0.85       0.85       0.85          1.00       1.00       1.00   10/01/98

Glendale Hydro       (H)             0.84       0.84       0.84          1.00       1.00       1.00   10/01/98

Total Non-Utility Generation         1.69       1.69       1.69          2.00       2.00       2.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            1.69       1.69       1.69          2.00       2.00       2.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     1.69       1.69       1.69          2.00       2.00       2.00

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       1.69       1.69       1.69          2.00       2.00       2.00

Holden Mun Lt & Princeton Mun                                                                Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Wind Farm             WI             0.06       0.06       0.06          0.10       0.10       0.10   10/14/84

Total Utility Generation             0.06       0.06       0.06          0.10       0.10       0.10

Dudley Hydro         (H)             0.09       0.09       0.09          0.30       0.30       0.30   11/01/98

Powder Mill Hydro    (H)             0.08       0.08       0.08          0.14       0.14       0.14   10/01/98

South Barre Hydro    (H)             0.13       0.13       0.13          0.14       0.14       0.14   10/01/98

Webster Hydro        (H)             0.00       0.00       0.00          0.25       0.25       0.25   10/01/98

Total Non-Utility Generation         0.30       0.30       0.30          0.83       0.83       0.83

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.30       0.30       0.30          0.83       0.83       0.83

Total Wind            WI             0.06       0.06       0.06          0.10       0.10       0.10

Total Generation                     0.36       0.36       0.36          0.93       0.93       0.93

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       0.36       0.36       0.36          0.93       0.93       0.93

Holyoke Gas and Electric Dept.                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Cabot 6               O              9.00       9.00       9.00          6.00       6.00       6.00   01/01/96

Cabot 8               O              9.00       9.00       9.00          9.00       9.00       9.00   02/01/96

Holyoke Hyd (Cab 1-4  H              2.10       2.10       2.10          2.10       2.10       2.10   05/01/96

Total Utility Generation            20.10      20.10      20.10         17.10      17.10      17.10

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      18.00      18.00      18.00         15.00      15.00      15.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            2.10       2.10       2.10          2.10       2.10       2.10

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    20.10      20.10      20.10         17.10      17.10      17.10

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      20.10      20.10      20.10         17.10      17.10      17.10

Hudson Light and Power Dept.                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Cherry Street 7       D              2.60       2.60       3.00          2.60       2.60       3.00   06/01/94

Cherry Street 8       D              3.10       3.10       3.60          3.10       3.10       3.60   05/01/87

Cherry Street 9       D              2.60       2.60       3.00          2.60       2.60       3.00   11/01/96

Cherry Street 10      D              1.90       1.90       2.20          1.90       1.90       2.20   06/01/90

Cherry Street 11      D              1.90       1.90       2.20          1.90       1.90       2.20   06/01/90

Cherry Street 12      D              4.80       5.00       5.60          4.80       5.00       5.60   05/01/87

Total Utility Generation            16.90      17.10      19.60         16.90      17.10      19.60

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J          16.90      17.10      19.60         16.90      17.10      19.60

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    16.90      17.10      19.60         16.90      17.10      19.60

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      16.90      17.10      19.60         16.90      17.10      19.60

Indeck Maine Energy, LLC                                                                     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Indeck-W Enfield     (W)            24.63      24.63      25.89         24.63      24.63      25.89   11/01/98

Indeck-Jonesboro     (W)            24.63      24.63      26.53         24.63      24.63      26.53   11/01/97

Total Non-Utility Generation        49.26      49.26      52.42         49.26      49.26      52.42

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      49.26      49.26      52.42         49.26      49.26      52.42

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    49.26      49.26      52.42         49.26      49.26      52.42

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      49.26      49.26      52.42         49.26      49.26      52.42

Indeck Pepperell Pwr. Ass. Inc                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Pepperell            (CC)           34.09      34.09      34.09         41.87      41.87      41.87   11/01/98

Total Non-Utility Generation        34.09      34.09      34.09         41.87      41.87      41.87

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      34.09      34.09      34.09         41.87      41.87      41.87

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    34.09      34.09      34.09         41.87      41.87      41.87

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      34.09      34.09      34.09         41.87      41.87      41.87

Ipswich Municipal Light Dept.                                                                Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Ipswich 1             D              1.10       1.10       1.25          1.10       1.10       1.25   07/28/86

Ipswich 2             D              1.25       1.25       1.36          1.25       1.25       1.36   10/01/83

Ipswich 3             D              0.54       0.54       0.60          0.54       0.54       0.60   02/01/91

Ipswich 4             D              0.54       0.54       0.60          0.54       0.54       0.60   07/01/97

Ipswich 6             D              1.02       1.02       1.14          1.02       1.02       1.14   10/01/83

Ipswich 7             D              1.25       1.25       1.36          1.25       1.25       1.36   10/01/83

Ipswich 8             D              1.02       1.02       1.14          1.02       1.02       1.14   12/01/94

Ipswich 9             D              1.25       1.25       1.36          1.25       1.25       1.36   10/01/83

Ipswich 10            D              1.10       1.10       1.25          1.10       1.10       1.25   05/01/84

Ipswich 11            D              1.10       1.10       1.25          1.10       1.10       1.25   10/01/83

Ipswich 12            D              1.10       1.10       1.25          1.10       1.10       1.25   10/01/83

Total Utility Generation            11.27      11.27      12.56         11.27      11.27      12.56

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J          11.27      11.27      12.56         11.27      11.27      12.56

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    11.27      11.27      12.56         11.27      11.27      12.56

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      11.27      11.27      12.56         11.27      11.27      12.56

Littleton El. Lt & Water Dept.                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Centennial Island    (H)             0.40       0.40       0.40          0.79       0.79       0.79   11/01/98

Methuen Hydro        (H)             0.12       0.12       0.12          0.26       0.26       0.26   11/01/98

Miniwawa             (H)             0.00       0.00       0.00          0.99       0.99       0.99   11/01/98

River Mill Hydro     (H)             0.08       0.08       0.08          0.20       0.20       0.20   10/01/98

Total Non-Utility Generation         0.60       0.60       0.60          2.24       2.24       2.24

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.60       0.60       0.60          2.24       2.24       2.24

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     0.60       0.60       0.60          2.24       2.24       2.24

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       0.60       0.60       0.60          2.24       2.24       2.24

Marblehead Mun. Light Dept                                                                   Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Commercial St 2       D              1.00       1.00       1.00          1.00       1.00       1.00   04/01/89

Wilkins St 1          D              2.50       2.50       2.50          2.50       2.50       2.50   11/01/84

Wilkins St 2          D              2.50       2.50       2.50          2.50       2.50       2.50   11/01/84

Total Utility Generation             6.00       6.00       6.00          6.00       6.00       6.00

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           6.00       6.00       6.00          6.00       6.00       6.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     6.00       6.00       6.00          6.00       6.00       6.00

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       6.00       6.00       6.00          6.00       6.00       6.00

Mass Mun Wholesale Elec Co                                                                   Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

**Stony Brook GT1     GT            65.00      65.00      65.00         85.00      85.00      85.00   05/01/84

**Stony Brook GT2     GT            65.00      65.00      65.00         85.00      85.00      85.00   05/01/84

**Stony Brook GT3     GT            65.00      65.00      65.00         85.00      85.00      85.00   05/01/84

Stony Brook CC        CC           291.00     291.00     291.00        352.00     352.00     352.00   08/01/98

Stony Brook 2A        GT            65.00      65.00      65.00         85.00      85.00      85.00   05/01/86

Stony Brook 2B        GT            65.00      65.00      65.00         85.00      85.00      85.00   05/01/86

Total Utility Generation           421.00     421.00     421.00        522.00     522.00     522.00

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R     291.00     291.00     291.00        352.00     352.00     352.00

Total I.C.U.        D,GT,J         130.00     130.00     130.00        170.00     170.00     170.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                   421.00     421.00     421.00        522.00     522.00     522.00

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings     421.00     421.00     421.00        522.00     522.00     522.00

**    Not included in any totals

Milford Operating Company                                                                    Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Milford Power        (CC)          149.00     149.00     149.00        170.73     170.73     170.73   04/01/95

Total Non-Utility Generation       149.00     149.00     149.00        170.73     170.73     170.73

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R     149.00     149.00     149.00        170.73     170.73     170.73

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                   149.00     149.00     149.00        170.73     170.73     170.73

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings     149.00     149.00     149.00        170.73     170.73     170.73

New England El. Sys. Oper. Co.                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Glouc. Diesels 1-11   D             19.00      19.00      19.00         20.50      20.50      20.50   10/01/95

Newburyport Diesels   D              5.00       5.00       5.00          5.50       5.50       5.50   10/01/97

Total Utility Generation            24.00      24.00      24.00         26.00      26.00      26.00

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J          24.00      24.00      24.00         26.00      26.00      26.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    24.00      24.00      24.00         26.00      26.00      26.00

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      24.00      24.00      24.00         26.00      26.00      26.00

Northeast Utilities Sys. Co.                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Devon 7               O            106.00     106.00     107.00        107.00     107.00     109.00   08/01/75

Devon 8               O            106.00     106.00     107.00        107.00     107.00     109.00

Devon 10              J             14.30      14.30      17.20         19.20      19.20      19.20   06/01/95

Devon 11              GT            32.00      32.00      32.00         40.37      40.37      40.37   09/01/98

Devon 12              GT            30.86      30.86      30.86         40.07      40.07      40.07   09/01/98

Devon 13              GT            31.91      31.91      31.91         41.03      41.03      41.03   09/01/98

Devon 14              GT            32.08      32.08      32.08         41.42      41.42      41.42   11/01/98

Middletown 1          O             66.37      66.37      66.37         70.00      70.00      70.00   04/01/97

Middletown 2          O            117.00     117.00     117.00        117.00     117.00     120.00

Middletown 3          O            236.00     236.00     236.00        236.00     236.00     245.00   12/01/92

Middletown 4          O            400.00     400.00     400.00        402.00     402.00     402.00   04/01/97

Middletown 10         J             14.30      14.30      17.20         19.20      19.20      19.20   05/01/96

Millstone Point 1     N              0.00       0.00       0.00          0.00       0.00       0.00   11/01/97

Millstone Point 2     N              0.00       0.00       0.00          0.00       0.00       0.00   11/01/97

Millstone Point 3     N           1140.00    1140.00    1140.00       1140.00    1140.00    1140.00   08/01/98

Montville 5           O             81.00      81.00      81.00         81.00      81.00      82.00

Montville 6           O            402.00     402.00     410.00        402.00     402.00     410.00   11/01/97

Montville 10,11       D              5.50       5.50       5.50          5.50       5.50       5.50

Mount Tom             C            146.00     146.00     146.00        147.00     147.00     147.00   05/01/86

Norwalk Harbor 1      O            159.00     159.00     162.00        162.00     162.00     164.00   01/01/76

Norwalk Harbor 2      O            168.00     168.00     168.00        172.00     172.00     172.00   12/01/89

Norwalk Harbor 10     J             10.90      10.90      11.80         15.65      15.65      17.00   11/01/97

W Springfield 1       O             51.21      51.21      51.21         51.21      51.21      51.21   05/01/98

W Springfield 2       O             51.25      51.25      51.25         51.25      51.25      51.25   05/01/98

W Springfield 3       O            107.00     107.00     107.00        107.00     107.00     107.00   12/01/93

W Springfield 10      J             14.30      14.30      17.20         19.00      19.00      22.00   05/01/98

Branford 10           J             12.75      12.75      14.90         18.80      18.80      18.80   05/01/95

Cos Cob 10            J             16.00      16.00      17.85         21.40      21.40      23.30   12/01/95

Cos Cob 11            J             16.10      16.10      17.05         20.55      20.55      22.40   12/01/95

Cos Cob 12            J             16.35      16.35      16.35         20.55      20.55      22.80   12/01/94

Northeast Utilities Sys. Co.                                                 (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Doreen                J             13.80      13.80      16.60         18.25      18.25      21.10   05/01/95

Franklin Dr 10        J             14.30      14.30      17.20         18.25      18.25      18.25   12/01/95

S. Meadow 11          J             36.00      36.00      38.80         46.00      46.00      49.00   12/01/87

S. Meadow 12          J             36.00      36.00      39.00         46.00      46.00      49.00   12/01/87

S. Meadow 13          J             36.00      36.00      39.00         46.00      46.00      48.60   05/01/89

S. Meadow 14          J             36.00      36.00      39.00         46.00      46.00      49.00   12/01/87

Torrington Term 10    J             14.30      14.30      17.20         19.00      19.00      21.80   05/01/88

Tunnel 10             J             14.30      14.30      16.85         19.00      19.00      20.80   05/01/91

Woodland              J             13.80      13.80      16.60         18.50      18.50      20.40   05/01/94

Falls Village         H              9.76       9.76       9.76         11.00      11.00      11.00   10/01/98

Bulls Bridge          H              8.40       8.40       8.40          8.40       8.40       8.40   05/01/96

Rocky River           H             29.35      29.35      29.35         29.90      29.90      29.90   10/01/98

Shepaug               H             42.95      42.95      42.95         43.40      43.40      43.40   12/01/92

Stevenson             H             28.94      28.94      28.94         28.90      28.90      28.90   12/01/93

Northfield Mt. 1      PS           280.00     280.00     280.00        280.00     280.00     280.00   06/01/98

Northfield Mt. 2      PS           280.00     280.00     280.00        280.00     280.00     280.00   06/01/98

Northfield Mt. 3      PS           280.00     280.00     280.00        280.00     280.00     280.00   06/01/98

Northfield Mt. 4      PS           280.00     280.00     280.00        280.00     280.00     280.00   06/01/98

Cabot                 H             53.00      53.00      53.00         53.00      53.00      53.00   05/01/96

Turners Falls         H              6.25       6.25       6.25          6.25       6.25       6.25   05/01/96

Holyoke Water Co.     H             43.56      43.56      43.56         43.56      43.56      43.56   05/01/96

Chicopee River        H              9.17       9.17       9.17         13.15      13.15      13.15   11/01/98

Cobble Mountain       H             33.99      33.99      33.99         33.96      33.96      33.96   07/01/97

Gardner Falls         H              3.70       3.70       3.70          3.70       3.70       3.70   05/01/96

Bantam Hydro          H              0.07       0.07       0.07          0.32       0.32       0.32   10/01/98

Rainbow               H              8.20       8.20       8.20          8.20       8.20       8.20   05/01/96

Robertsville          H              0.32       0.32       0.32          0.62       0.62       0.62   10/01/98

Scotland              H              1.69       1.69       1.69          2.20       2.20       2.20   10/01/98

Taftville             H              2.03       2.03       2.03          2.03       2.03       2.03   05/01/96

Tunnel                H              1.53       1.53       1.53          2.10       2.10       2.10   10/01/98

Northeast Utilities Sys. Co.                                                 (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation          5201.59    5201.59    5254.89       5362.89    5362.89    5421.19

AES Thames           (C)           181.00     181.00     181.00        181.00     181.00     182.15   10/01/98

Bristol Refuse       (R)            13.20      13.20      13.20         13.20      13.20      13.20   05/01/88

CDEC (Aetna)         (CC)           50.24      50.24      50.24         45.00      45.00      56.32   10/01/98

C.H Dexter           (CC)           38.00      38.00      38.00         39.00      39.00      39.00   05/02/90

Exeter               (R)            26.00      26.00      26.00         26.00      26.00      26.00   12/01/91

G. Fox               (GT)            3.00       3.00       3.00          3.70       3.70       3.70   12/01/95

Hartford Hospital    (G)             0.00       0.00       0.00          0.00       0.00       0.00   06/01/98

Lisbon Res. Recov    (R)            13.10      13.10      13.10         13.10      13.10      13.10   05/01/96

New Milford LF       (D)             2.30       2.30       2.30          2.59       2.59       2.59   12/01/96

Preston(SCRRRA)      (R)             9.88       9.88       9.88         13.85      13.85      13.85   04/01/92

S. Meadow 5+6        (R)            57.10      57.10      57.10         60.89      60.89      60.89   10/01/98

Springfield Refuse   (R)             6.00       6.00       6.00          6.00       6.00       6.00   09/01/88

Wallingford Refuse   (R)             6.35       6.35       6.35          6.90       6.90       6.90   12/01/92

Derby Dam            (H)             7.05       7.05       7.05          7.05       7.05       7.05   05/01/96

Quinebaug            (H)             0.98       0.98       0.98          2.81       2.81       2.81   10/01/98

Total Non-Utility Generation       414.20     414.20     414.20        421.09     421.09     433.56

Northeast Utilities Sys. Co.                                                 (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N           1140.00    1140.00    1140.00       1140.00    1140.00    1140.00

Total Fossil  C,G,O,P,W,M,CC,R    2597.70    2597.70    2610.70       2617.40    2617.40    2656.87

Total I.C.U.        D,GT,J         467.15     467.15     507.45        606.03     606.03     637.33

Total Hydro          H,PS         1410.94    1410.94    1410.94       1420.55    1420.55    1420.55

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  5615.79    5615.79    5669.09       5783.98    5783.98    5854.75

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings    5615.79    5615.79    5669.09       5783.98    5783.98    5854.75

Peabody Mun. Light Plant                                                                     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Waters River 1        J             14.00      14.00      14.00         20.00      20.00      20.00   09/01/82

Waters River 2        J             30.60      30.60      30.60         45.90      45.90      45.90   10/01/91

Total Utility Generation            44.60      44.60      44.60         65.90      65.90      65.90

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J          44.60      44.60      44.60         65.90      65.90      65.90

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    44.60      44.60      44.60         65.90      65.90      65.90

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      44.60      44.60      44.60         65.90      65.90      65.90

PG&E Energy Trading, L.P.                                                                    Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Brayton Point 1      (C)           238.00     238.00     247.00        241.00     241.00     255.00   12/01/95

Brayton Point 2      (C)           238.00     238.00     240.00        245.00     245.00     258.00   04/01/98

Brayton Point 3      (C)           605.00     605.00     612.00        610.00     610.00     633.00   02/01/98

Brayton Point 4      (O)           425.00     425.00     441.00        430.00     430.00     446.00   11/01/94

Brayton Diesels 1-4  (D)            10.00      10.00      10.00         10.00      10.00      10.00   04/01/98

Manchester 9/9A      (CC)          137.00     137.00     140.00        160.00     160.00     165.00   06/01/98

Manchester 10/10A    (CC)          137.00     137.00     140.00        160.00     160.00     165.00   06/01/98

Manchester 11/11A    (CC)          137.00     137.00     145.00        160.00     160.00     165.00   07/01/98

Salem Harbor 1       (C)            79.00      79.00      82.00         81.00      81.00      84.00   11/01/93

Salem Harbor 2       (C)            78.00      78.00      80.00         78.00      78.00      80.00   08/01/96

Salem Harbor 3       (C)           143.00     143.00     150.00        143.00     143.00     150.00   10/01/94

Salem Harbor 4       (O)           360.00     360.00     400.00        360.00     360.00     400.00   05/01/98

Moore                (H)           192.96     192.96     192.96        191.96     191.96     191.96   09/01/98

Comerford            (H)           163.96     163.96     163.96        163.96     163.96     163.96   11/01/93

McIndoes             (H)            13.00      13.00      13.00         13.00      13.00      13.00   05/01/96

Wilder               (H)            42.88      42.88      42.88         43.88      43.88      43.88   09/01/98

Bellows Falls        (H)            48.54      48.54      48.54         48.54      48.54      48.54   05/01/96

Vernon               (H)            24.39      24.39      24.39         24.39      24.39      24.39   05/01/96

Searsburg            (H)             4.96       4.96       4.96          4.96       4.96       4.96   05/01/96

Harriman             (H)            40.49      40.49      40.49         37.99      37.99      37.99   04/01/97

Sherman              (H)             6.50       6.50       6.50          6.50       6.50       6.50   04/01/97

Deerfield 5          (H)            13.99      13.99      13.99         13.99      13.99      13.99   05/01/96

Fife Brook           (H)             9.90       9.90       9.90          9.90       9.90       9.90   05/01/96

Deerfield 4          (H)             5.72       5.72       5.72          5.72       5.72       5.72   05/01/96

Deerfield 3          (H)             6.52       6.52       6.52          6.52       6.52       6.52   05/01/96

Deerfield 2          (H)             6.50       6.50       6.50          6.50       6.50       6.50   05/01/96

Bear Swamp Sta.      (PS)          572.00     572.00     572.00        588.50     588.50     588.50   03/01/98

Ogden-Martin 1       (R)            41.68      41.68      41.68         41.06      41.06      41.06   06/01/98

Resco N.A.           (R)            30.38      30.38      30.38         30.74      30.74      30.74   06/01/98

Resco Sg.            (R)            32.79      32.79      32.79         31.00      31.00      31.00   11/01/97

PG&E Energy Trading, L.P.                                                    (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

WMI Millbury 1       (R)            40.94      40.94      40.94         40.73      40.73      40.73   11/01/97

Altresco             (CC)          141.04     141.04     141.04        173.00     173.00     173.00   11/01/97

Pawtucket Power      (CC)           64.29      64.29      64.29         69.26      69.26      69.26   09/01/97

Clark U.             (D)             0.00       0.00       0.00          0.00       0.00       0.00   04/01/97

Lawrence Hydro       (H)             9.40       9.40       9.40         14.10      14.10      14.10   10/01/98

Pontook Hydro        (H)             7.07       7.07       7.07          9.09       9.09       9.09   11/01/98

Total Non-Utility Generation      4106.90    4106.90    4206.90       4253.29    4253.29    4386.29

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R    2928.12    2928.12    3028.12       3053.79    3053.79    3186.79

Total I.C.U.        D,GT,J          10.00      10.00      10.00         10.00      10.00      10.00

Total Hydro          H,PS         1168.78    1168.78    1168.78       1189.50    1189.50    1189.50

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  4106.90    4106.90    4206.90       4253.29    4253.29    4386.29

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings    4106.90    4106.90    4206.90       4253.29    4253.29    4386.29

Public Service New Hampshire                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Merrimack 1           C            112.50     112.50     112.50        113.50     113.50     122.33   04/01/98

Merrimack 2           C            320.00     320.00     320.00        320.00     320.00     353.50   04/01/98

Merrimack CT1         J             16.30      16.30      16.30         21.10      21.10      21.10   07/01/98

Merrimack CT2         J             16.80      16.80      16.80         21.10      21.10      21.10   07/01/98

Newington 1           O            407.50     407.50     407.50        407.50     407.50     415.00   06/01/98

Seabrook              N           1161.63    1161.63    1161.63       1162.00    1162.00    1162.00   07/01/98

Schiller 4            C             47.50      47.50      47.50         48.00      48.00      48.00   04/01/97

Schiller 5            C             49.60      49.60      49.60         49.60      49.60      49.60   02/01/91

Schiller 6            C             48.00      48.00      48.00         49.00      49.00      49.00   04/01/97

Schiller CT 1         J             17.00      17.00      17.00         18.00      18.00      18.00   06/01/97

Lost Nation           GT            13.65      13.65      13.65         19.05      19.05      19.05   06/01/98

White Lake            J             17.70      17.70      17.70         22.60      22.60      22.60   06/01/98

Canaan Sta.           H              1.10       1.10       1.10          1.10       1.10       1.10   05/01/96

Gorham Sta.           H              2.05       2.05       2.05          2.05       2.05       2.05   05/01/96

Smith Sta. (PSNH)     H             11.32      11.32      11.32         15.29      15.29      15.29   11/01/98

Ayers Sta.            H              9.08       9.08       9.08          9.08       9.08       9.08   05/01/96

Eastman Sta.          H              6.47       6.47       6.47          6.47       6.47       6.47   05/01/96

Garvins Sta.          H             12.10      12.10      12.10         12.10      12.10      12.10   10/01/98

Hooksett Sta.         H              1.90       1.90       1.90          1.90       1.90       1.90   05/01/96

Amoskeag Sta.         H             17.50      17.50      17.50         17.50      17.50      17.50   05/01/96

Jackman Sta.          H              3.60       3.60       3.60          3.55       3.55       3.55   12/01/90

Total Utility Generation          2293.30    2293.30    2293.30       2320.49    2320.49    2370.32

SES Concord          (R)            12.19      12.19      12.19         13.14      13.14      13.14   12/01/97

Rochester Landfill   (R)             4.90       4.90       4.90          4.98       4.98       4.98   11/01/98

Bethlehem            (W)            15.00      15.00      15.00         15.70      15.70      15.70   12/01/97

Bio-Energy           (W)             9.00       9.00       9.00          9.45       9.45       9.45   12/01/97

Bridgewater          (W)            15.00      15.00      15.00         15.70      15.70      15.70   12/01/97

Concord No. 1        (W)             0.00       0.00       0.00          1.34       1.34       1.34   12/01/92

Hemphill No. 1       (W)            13.80      13.80      13.80         14.45      14.45      14.45   12/01/97

Tamworth             (W)            20.00      20.00      20.00         21.00      21.00      21.00   12/01/97

Whitefield           (W)            13.80      13.80      13.80         14.40      14.40      14.40   12/01/97

Public Service New Hampshire                                                 (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Briar                (H)             1.13       1.13       1.13          5.50       5.50       5.50   11/01/98

Clement Dam Sta.     (H)             0.86       0.86       0.86          1.68       1.68       1.68   11/01/98

Errol                (H)             2.51       2.51       2.51          3.00       3.00       3.00   10/01/98

Gregg's Falls        (H)             0.17       0.17       0.17          2.23       2.23       2.23   11/01/98

Milton               (H)             0.37       0.37       0.37          1.31       1.31       1.31   11/01/98

Mine Falls           (H)             0.00       0.00       0.00          1.76       1.76       1.76   11/01/98

Pembroke             (H)             0.52       0.52       0.52          2.49       2.49       2.49   11/01/98

Penacook Falls Upper (H)             0.92       0.92       0.92          3.60       3.60       3.60   11/01/98

Penacook Falls Lower (H)             1.11       1.11       1.11          4.61       4.61       4.61   11/01/98

River Bend           (H)             0.66       0.66       0.66          1.49       1.49       1.49   11/01/98

Total Non-Utility Generation       111.94     111.94     111.94        137.83     137.83     137.83

Total Nuclear         N           1161.63    1161.63    1161.63       1162.00    1162.00    1162.00

Total Fossil  C,G,O,P,W,M,CC,R    1088.79    1088.79    1088.79       1097.76    1097.76    1147.59

Total I.C.U.        D,GT,J          81.45      81.45      81.45        101.85     101.85     101.85

Total Hydro          H,PS           73.37      73.37      73.37         96.71      96.71      96.71

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  2405.24    2405.24    2405.24       2458.32    2458.32    2508.15

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings    2405.24    2405.24    2405.24       2458.32    2458.32    2508.15

Shrewsbury Electric Light Plt.                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Diesel No 1           D              2.75       2.75       2.75          2.75       2.75       2.75

Diesel No 2           D              2.75       2.75       2.75          2.75       2.75       2.75

Diesel No 3           D              2.75       2.75       2.75          2.75       2.75       2.75   12/15/75

Diesel No 4           D              2.75       2.75       2.75          2.75       2.75       2.75   12/15/75

Diesel No 5           D              2.75       2.75       2.75          2.75       2.75       2.75   05/01/78

Total Utility Generation            13.75      13.75      13.75         13.75      13.75      13.75

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J          13.75      13.75      13.75         13.75      13.75      13.75

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    13.75      13.75      13.75         13.75      13.75      13.75

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      13.75      13.75      13.75         13.75      13.75      13.75

Sithe New England Holdings LLC                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

L Street   Jet       (J)            14.60      14.60      16.60         20.00      20.00      22.25   12/01/93

Mystic  4            (O)           135.00     135.00     135.00        135.00     135.00     135.00   10/01/93

Mystic  5            (O)           103.35     103.35     103.35         95.88      95.88      95.88   11/01/98

Mystic  6            (O)           138.00     138.00     138.00        138.28     138.28     138.28   11/01/92

Mystic  7            (O)           565.00     580.00     592.00        565.00     580.00     592.00   09/01/93

Mystic  Jet          (J)             8.75       8.75       9.75         11.36      11.36      13.46   10/01/97

New Boston  1        (G)           350.00     365.00     380.00        350.00     365.00     380.00   06/01/97

New Boston  2        (G)           350.00     365.00     380.00        350.00     365.00     380.00   05/01/87

Edgar  J1            (J)             9.09       9.09      10.59         12.00      12.00      15.00   02/01/97

Edgar  J2            (J)             8.05       8.05       9.85         12.00      12.00      15.00   02/01/97

Fram   J1            (J)             8.90       8.90      10.35         11.40      11.40      14.40   10/01/97

Fram   J2            (J)             8.35       8.35      11.00         11.00      11.00      11.00   05/01/96

Fram   J3            (J)             8.50       8.50      11.10         11.60      11.60      14.20   10/01/97

West Medway   J1     (J)            36.10      36.10      39.20         58.20      58.20      62.20*  10/01/98

West Medway   J2     (J)            41.60      41.60      42.30         59.50      59.50      60.75   05/01/96

West Medway   J3     (J)            37.20      37.20      43.50         56.90      56.90      60.40   10/01/97

Total Non-Utility Generation      1822.49    1867.49    1932.59       1898.12    1943.12    2009.82

* Winter MCC Derated, for Capability Responsibility purposes, due to failed ISO NE Initiated Audit (see page 6).

Sithe New England Holdings LLC                                               (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R    1641.35    1686.35    1728.35       1634.16    1679.16    1721.16

Total I.C.U.        D,GT,J         181.14     181.14     204.24        263.96     263.96     288.66

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  1822.49    1867.49    1932.59       1898.12    1943.12    2009.82

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00      -4.00

Total Generation

After Deratings    1822.49    1867.49    1932.59       1898.12    1943.12    2005.82

Sterling Mun. El. Light Dept.                                                                Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Sterling Diesel      (D)             0.33       0.33       0.33          0.33       0.33       0.33   01/01/88

Total Non-Utility Generation         0.33       0.33       0.33          0.33       0.33       0.33

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.33       0.33       0.33          0.33       0.33       0.33

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     0.33       0.33       0.33          0.33       0.33       0.33

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       0.33       0.33       0.33          0.33       0.33       0.33

Taunton Municipal Lighting Plt                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Cleary 8              O             26.00      26.00      26.00         26.00      26.00      26.00   05/01/91

**Cleary 9            O             85.00      85.00      85.00         85.00      85.00      85.00   01/01/78

****Cleary 9A         GT            18.00      18.00      18.00         23.00      23.00      23.00   01/01/97

Cleary 9,9A CC        CC           105.00     105.00     105.00        110.00     110.00     110.00   08/01/83

Total Utility Generation           131.00     131.00     131.00        136.00     136.00     136.00

E Bridgewater 1-BFI  (R)             3.80       3.80       3.80          3.90       3.90       3.90   04/01/98

Halifax-BFI          (R)             2.50       2.50       2.50          2.85       2.85       2.85   04/01/98

Total Non-Utility Generation         6.30       6.30       6.30          6.75       6.75       6.75

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R     137.30     137.30     137.30        142.75     142.75     142.75

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                   137.30     137.30     137.30        142.75     142.75     142.75

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings     137.30     137.30     137.30        142.75     142.75     142.75

**    Not included in any totals

Templeton Municipal Light. Pl.                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Hunt's Pond          (H)             0.02       0.02       0.02          0.06       0.06       0.06   07/01/98

Orange Hydro 1       (H)             0.15       0.15       0.15          0.15       0.15       0.15   10/01/98

Orange Hydro 2       (H)             0.12       0.12       0.12          0.12       0.12       0.12   10/01/98

Total Non-Utility Generation         0.29       0.29       0.29          0.33       0.33       0.33

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.29       0.29       0.29          0.33       0.33       0.33

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     0.29       0.29       0.29          0.33       0.33       0.33

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       0.29       0.29       0.29          0.33       0.33       0.33

United Illuminating Company                                                                  Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Bridgeport Harbor 2   O            170.00     170.00     170.00        166.15     166.15     166.15   11/01/98

Bridgeport Harbor 3   C            375.00     375.00     385.00        375.00     375.00     400.00   11/01/97

Bridgeport Harbor 4   J             13.48      13.48      14.60         19.20      19.20      20.50   07/01/98

New Haven Harbor      O            447.00     447.00     466.00        447.00     447.00     466.00   11/01/97

Total Utility Generation          1005.48    1005.48    1035.60       1007.35    1007.35    1052.65

Bridgeport Resco     (R)            59.50      59.50      59.50         60.50      60.50      60.50   10/01/98

Total Non-Utility Generation        59.50      59.50      59.50         60.50      60.50      60.50

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R    1051.50    1051.50    1080.50       1048.65    1048.65    1092.65

Total I.C.U.        D,GT,J          13.48      13.48      14.60         19.20      19.20      20.50

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                  1064.98    1064.98    1095.10       1067.85    1067.85    1113.15

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings    1064.98    1064.98    1095.10       1067.85    1067.85    1113.15

Unitil Power Corp.                                                                           Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Agawam Turbo         (G)             1.48       1.48       1.48          1.48       1.48       1.48   11/01/98

Total Non-Utility Generation         1.48       1.48       1.48          1.48       1.48       1.48

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       1.48       1.48       1.48          1.48       1.48       1.48

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     1.48       1.48       1.48          1.48       1.48       1.48

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       1.48       1.48       1.48          1.48       1.48       1.48

VELCO-Burlington Electric Dept                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

J C McNeil            W             50.00      50.00      52.00         50.00      50.00      53.00   06/01/90

Burlington Jet        J             20.00      20.00      20.00         23.05      23.05      23.05   11/01/98

Total Utility Generation            70.00      70.00      72.00         73.05      73.05      76.05

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      50.00      50.00      52.00         50.00      50.00      53.00

Total I.C.U.        D,GT,J          20.00      20.00      20.00         23.05      23.05      23.05

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    70.00      70.00      72.00         73.05      73.05      76.05

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      70.00      70.00      72.00         73.05      73.05      76.05

VELCO-Cent Vt Pub Ser Co                                                                     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Ascutney GT           GT            10.30      10.30      10.30         14.70      14.70      14.70   12/01/91

Rutland 5             GT            10.40      10.40      10.40         14.80      14.80      14.80   05/01/96

St Albans 1 & 2       D              2.22       2.22       2.22          2.40       2.40       2.40   12/01/91

Pittsford Sta.        H              3.20       3.20       3.20          2.95       2.95       2.95   11/01/98

Glen Sta.             H              2.00       2.00       2.00          2.00       2.00       2.00   05/01/96

Patch Sta.            H              0.30       0.30       0.30          0.30       0.30       0.30   05/01/96

Carver Falls Sta.     H              0.66       0.66       0.66          1.90       1.90       1.90   10/01/98

Cavendish Sta.        H              0.39       0.39       0.39          1.48       1.48       1.48   11/01/98

Silver Lake Sta.      H              2.20       2.20       2.20          2.20       2.20       2.20   05/01/94

Salisbury Sta.        H              1.20       1.20       1.20          1.20       1.20       1.20   05/01/86

Middlebury Sta.       H              1.81       1.81       1.81          1.85       1.85       1.85   10/01/98

Weybridge Sta.        H              2.22       2.22       2.22          3.35       3.35       3.35   10/01/98

Fairfax Sta.          H              3.25       3.25       3.25          3.25       3.25       3.25   08/01/98

Clark Falls Sta.      H              3.00       3.00       3.00          3.00       3.00       3.00   12/01/91

Milton Sta.           H              7.00       7.00       7.00          7.00       7.00       7.00   05/01/96

Peterson Sta.         H              5.80       5.80       5.80          6.35       6.35       6.35   12/01/91

Taftsville Sta.       H              0.15       0.15       0.15          0.40       0.40       0.40   10/01/98

Pierce Mills Sta.     H              0.19       0.19       0.19          0.20       0.20       0.20   10/01/98

Arnold Falls Sta.     H              0.23       0.23       0.23          0.30       0.30       0.30   10/01/98

Passumpsic Sta.       H              0.61       0.61       0.61          0.70       0.70       0.70   10/01/98

Gage Sta.             H              0.39       0.39       0.39          0.80       0.80       0.80   10/01/98

Smith Sta. (CVPS)     H              0.55       0.55       0.55          1.37       1.37       1.37   11/01/98

East Barnet Sta.      H              0.95       0.95       0.95          1.90       1.90       1.90   11/01/98

Total Utility Generation            59.02      59.02      59.02         74.40      74.40      74.40

NH/VT Solid Waste 1  (R)             3.90       3.90       3.90          4.00       4.00       4.00   07/01/94

Bath Electric        (H)             0.40       0.40       0.40          0.40       0.40       0.40   05/01/96

Total Non-Utility Generation         4.30       4.30       4.30          4.40       4.40       4.40

VELCO-Cent Vt Pub Ser Co                                                     (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       3.90       3.90       3.90          4.00       4.00       4.00

Total I.C.U.        D,GT,J          22.92      22.92      22.92         31.90      31.90      31.90

Total Hydro          H,PS           36.50      36.50      36.50         42.90      42.90      42.90

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    63.32      63.32      63.32         78.80      78.80      78.80

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      63.32      63.32      63.32         78.80      78.80      78.80

VELCO-Citizens Utilities Co                                                                  Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Newport 4             D              0.90       0.90       0.90          0.90       0.90       0.90   12/01/85

Newport 5             D              0.90       0.90       0.90          0.90       0.90       0.90   12/01/85

Newport 6             D              0.90       0.90       0.90          0.90       0.90       0.90   12/01/85

Newport 7             D              0.90       0.90       0.90          0.90       0.90       0.90   12/01/85

Newport 8             D              1.00       1.00       1.00          1.00       1.00       1.00   12/01/85

Newport 9             D              1.00       1.00       1.00          1.00       1.00       1.00   11/01/98

Newport 10            D              1.00       1.00       1.00          1.00       1.00       1.00   12/01/85

Newport Hydro Sta.    H              3.88       3.88       3.88          3.94       3.94       3.94   11/01/98

West Charleston Sta   H              0.80       0.80       0.80          0.80       0.80       0.80   05/01/96

Troy Sta              H              0.60       0.60       0.60          0.60       0.60       0.60   05/01/96

Total Utility Generation            11.88      11.88      11.88         11.94      11.94      11.94

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           6.60       6.60       6.60          6.60       6.60       6.60

Total Hydro          H,PS            5.28       5.28       5.28          5.34       5.34       5.34

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    11.88      11.88      11.88         11.94      11.94      11.94

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      11.88      11.88      11.88         11.94      11.94      11.94

VELCO-Green Mountain Power Co                                                                Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Berlin 1              J             41.20      41.20      41.20         58.00      58.00      58.00   04/01/98

Essex 5->8 Diesels    D              4.40       4.40       4.40          4.40       4.40       4.40   10/01/98

Gorge 1               GT             8.90       8.90       8.90         13.30      13.30      13.30   11/01/98

Vergennes 5&6 Diesel  D              4.20       4.20       4.20          4.24       4.24       4.24   12/01/95

Vergennes No. 9 Sta.  H              2.10       2.10       2.10          2.10       2.10       2.10   05/01/96

Middlesex No. 2 Sta.  H              2.34       2.34       2.34          3.30       3.30       3.30   10/01/98

Marshfield No. 6 Sta  H              4.90       4.90       4.90          4.90       4.90       4.90   12/01/95

West Danville #15 St  H              1.10       1.10       1.10          1.10       1.10       1.10   05/01/96

Bolton Falls Sta.     H              7.80       7.80       7.80          7.80       7.80       7.80   05/01/96

Gorge No. 18 Sta.     H              3.30       3.30       3.30          3.30       3.30       3.30   05/01/96

Essex No. 19 Sta.     H              7.80       7.80       7.80          7.80       7.80       7.80   05/01/96

Waterbury No. 22 Sta  H              4.80       4.80       4.80          5.00       5.00       5.00   06/01/98

Searsburg Wind Sta.   WI             0.48       0.48       0.48          1.26       1.26       1.26   11/01/98

Total Utility Generation            93.32      93.32      93.32        116.50     116.50     116.50

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

VELCO-Green Mountain Power Co                                                (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J          58.70      58.70      58.70         79.94      79.94      79.94

Total Hydro          H,PS           34.14      34.14      34.14         35.30      35.30      35.30

Total Wind            WI             0.48       0.48       0.48          1.26       1.26       1.26

Total Generation                    93.32      93.32      93.32        116.50     116.50     116.50

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      93.32      93.32      93.32        116.50     116.50     116.50

VELCO-Barton Village                                                                         Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Barton Dsls. 1-4      D              1.10       1.10       1.12          1.10       1.10       1.40   10/01/98

Barton Hydro          H              1.30       1.30       1.30          1.30       1.30       1.30   05/01/96

Total Utility Generation             2.40       2.40       2.42          2.40       2.40       2.70

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           1.10       1.10       1.12          1.10       1.10       1.40

Total Hydro          H,PS            1.30       1.30       1.30          1.30       1.30       1.30

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     2.40       2.40       2.42          2.40       2.40       2.70

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       2.40       2.40       2.42          2.40       2.40       2.70

VELCO-Enosburg Falls                                                                         Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Enosburg Diesel # 2   D              0.70       0.70       0.70          0.70       0.70       0.70   05/01/96

Enosburg Sta.         H              0.95       0.95       0.95          0.95       0.95       0.95   05/01/96

Total Utility Generation             1.65       1.65       1.65          1.65       1.65       1.65

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.70       0.70       0.70          0.70       0.70       0.70

Total Hydro          H,PS            0.95       0.95       0.95          0.95       0.95       0.95

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     1.65       1.65       1.65          1.65       1.65       1.65

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       1.65       1.65       1.65          1.65       1.65       1.65

VELCO-Village of Swanton                                                                     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Highgate Falls Sta.   H              6.00       6.00       6.00          6.00       6.00       6.00   08/01/94

Total Utility Generation             6.00       6.00       6.00          6.00       6.00       6.00

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            6.00       6.00       6.00          6.00       6.00       6.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     6.00       6.00       6.00          6.00       6.00       6.00

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       6.00       6.00       6.00          6.00       6.00       6.00

VELCO-Hardwick Electric Dept                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Hardwick Hydro        H              0.49       0.49       0.49          0.80       0.80       0.80   10/01/98

Total Utility Generation             0.49       0.49       0.49          0.80       0.80       0.80

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.49       0.49       0.49          0.80       0.80       0.80

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     0.49       0.49       0.49          0.80       0.80       0.80

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       0.49       0.49       0.49          0.80       0.80       0.80

VELCO-Lyndonville                                                                            Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Great Falls Sta.      H              1.70       1.70       1.70          1.70       1.70       1.70   05/01/96

Vail Sta.             H              0.40       0.40       0.40          0.40       0.40       0.40   05/01/96

Total Utility Generation             2.10       2.10       2.10          2.10       2.10       2.10

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            2.10       2.10       2.10          2.10       2.10       2.10

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     2.10       2.10       2.10          2.10       2.10       2.10

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       2.10       2.10       2.10          2.10       2.10       2.10

VELCO-Morrisville                                                                            Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Cady Falls #1 Sta.    H              1.10       1.10       1.10          1.10       1.10       1.10   05/01/96

Morrisville #2 Sta.   H              1.43       1.43       1.43          1.80       1.80       1.80   10/01/98

H. K. Sanders Sta.    H              1.80       1.80       1.80          1.80       1.80       1.80   12/01/89

Total Utility Generation             4.33       4.33       4.33          4.70       4.70       4.70

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            4.33       4.33       4.33          4.70       4.70       4.70

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     4.33       4.33       4.33          4.70       4.70       4.70

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       4.33       4.33       4.33          4.70       4.70       4.70

VELCO-Vermont Marble Company                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Beldens Sta.          H              4.58       4.58       4.58          5.70       5.70       5.70   10/01/98

Center Rutland Sta.   H              0.35       0.35       0.35          0.35       0.35       0.35   05/01/96

Proctor Sta.          H              6.65       6.65       6.65          6.65       6.65       6.65   05/01/96

Florence CG 1         J              3.25       3.25       3.25          4.32       4.32       4.32   11/01/97

Florence CG 2         J              3.19       3.19       3.19          4.27       4.27       4.27   06/01/98

Total Utility Generation            18.02      18.02      18.02         21.29      21.29      21.29

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           6.44       6.44       6.44          8.59       8.59       8.59

Total Hydro          H,PS           11.58      11.58      11.58         12.70      12.70      12.70

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    18.02      18.02      18.02         21.29      21.29      21.29

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      18.02      18.02      18.02         21.29      21.29      21.29

VELCO-Vt Elec Gen&Tra Co Inc                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

North Hartland Sta.   H              0.00       0.00       0.00          0.00       0.00       0.00   07/01/98

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     0.00       0.00       0.00          0.00       0.00       0.00

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       0.00       0.00       0.00          0.00       0.00       0.00

VELCO-Vermont Power Exch Inc                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Ryegate # 1          (W)            20.50      20.50      20.50         20.60      20.60      20.60   07/01/98

Barnet Sta.          (H)             0.35       0.35       0.35          0.49       0.49       0.49   10/01/98

Comtu Falls Sta.     (H)             0.29       0.29       0.29          0.46       0.46       0.46   10/01/98

Dewey Mills Sta.     (H)             1.57       1.57       1.57          2.79       2.79       2.79   10/01/98

Dodge Falls          (H)             5.00       5.00       5.00          5.00       5.00       5.00   05/01/96

Emerson Falls Sta.   (H)             0.23       0.23       0.23          0.23       0.23       0.23   05/01/96

Huntington Falls Sta (H)             4.37       4.37       4.37          5.76       5.76       5.76   10/01/98

Killington           (H)             0.07       0.07       0.07          0.10       0.10       0.10   07/01/98

Kingsbury            (H)             0.08       0.08       0.08          0.20       0.20       0.20   07/01/98

Ladd's Mill Sta.     (H)             0.17       0.17       0.17          0.17       0.17       0.17   05/01/96

Martinsville         (H)             0.08       0.08       0.08          0.25       0.25       0.25   10/01/98

Moretown 8           (H)             0.36       0.36       0.36          1.07       1.07       1.07   11/01/98

Nantana Mill 1&2     (H)             0.10       0.10       0.10          0.22       0.22       0.22   10/01/98

Newbury              (H)             0.22       0.22       0.22          0.27       0.27       0.27   10/01/98

Ottauquechee Hydro   (H)             1.48       1.48       1.48          2.18       2.18       2.18   10/01/98

Sheldon Springs      (H)            14.82      14.82      14.82         26.38      26.38      26.38   10/01/98

Slack Dam            (H)             0.21       0.21       0.21          0.41       0.41       0.41   10/01/98

Winooski Sta.  1     (H)             7.30       7.30       7.30          7.30       7.30       7.30   05/01/96

Winooski Sta.  8     (H)             0.40       0.40       0.40          0.95       0.95       0.95   11/01/98

Woodside Sta.        (H)             0.11       0.11       0.11          0.12       0.12       0.12   10/01/98

Total Non-Utility Generation        57.71      57.71      57.71         74.95      74.95      74.95

VELCO-Vermont Power Exch Inc                                                 (continued)     Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      20.50      20.50      20.50         20.60      20.60      20.60

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS           37.21      37.21      37.21         54.35      54.35      54.35

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                    57.71      57.71      57.71         74.95      74.95      74.95

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings      57.71      57.71      57.71         74.95      74.95      74.95

VELCO-Washington Elec Coop Inc                                                               Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Wrightsville Sta.     H              0.75       0.75       0.75          0.75       0.75       0.75   05/01/96

Total Utility Generation             0.75       0.75       0.75          0.75       0.75       0.75

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

VELCO Totals                                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R      74.40      74.40      76.40         74.60      74.60      77.60

Total I.C.U.        D,GT,J         116.46     116.46     116.48        151.88     151.88     152.18

Total Hydro          H,PS          140.63     140.63     140.63        167.19     167.19     167.19

Total Wind            WI             0.48       0.48       0.48          1.26       1.26       1.26

Total Generation                   331.97     331.97     333.99        394.93     394.93     398.23

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings     331.97     331.97     333.99        394.93     394.93     398.23

West Boylston Electric Dept.                                                                 Revised  11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Total Utility Generation             0.00       0.00       0.00          0.00       0.00       0.00

Oakdale Hydro        (H)             3.20       3.20       3.20          3.20       3.20       3.20   05/01/96

Total Non-Utility Generation         3.20       3.20       3.20          3.20       3.20       3.20

Total Nuclear         N              0.00       0.00       0.00          0.00       0.00       0.00

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            3.20       3.20       3.20          3.20       3.20       3.20

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                     3.20       3.20       3.20          3.20       3.20       3.20

Deratings Due to

ISO NE Initiated Audits       0.00       0.00       0.00          0.00       0.00       0.00

Total Generation

After Deratings       3.20       3.20       3.20          3.20       3.20       3.20

Yankee Atomic Electric                                                                       Revised 11/01/98

ID                     Summer                              Winter                Date of

Unit         Code           NCC        RCC        MCC           NCC        RCC        MCC      Change

________   ________   ________      ________   ________   ________   ________

Vermont Yankee        N            500.41     500.41     500.41        529.08     529.08     529.08   11/01/98

Total Utility Generation           500.41     500.41     500.41        529.08     529.08     529.08

Total Non-Utility Generation         0.00       0.00       0.00          0.00       0.00       0.00

Total Nuclear         N            500.41     500.41     500.41        529.08     529.08     529.08

Total Fossil  C,G,O,P,W,M,CC,R       0.00       0.00       0.00          0.00       0.00       0.00

Total I.C.U.        D,GT,J           0.00       0.00       0.00          0.00       0.00       0.00

Total Hydro          H,PS            0.00       0.00       0.00          0.00       0.00       0.00

Total Wind            WI             0.00       0.00       0.00          0.00       0.00       0.00

Total Generation                   500.41     500.41     500.41        529.08     529.08     529.08

Deratings Due to

ISO NE Initiated Audits     500.41     500.41     500.41        529.08     529.08     529.08

Total Generation

After Deratings    1000.82    1000.82    1000.82       1058.16    1058.16    1058.16