## Sheet1
NEW ENGLAND POWER POOL
POOL TRANSMISSION FACILITIES
(PTF)
AS OF
1999-01-01
Twenty-second issue February 17, 1998
Twenty-third issue March 18, 1999

## toc
Table of Contents
Total Circuit Miles of PTF Transmission by Company | 1
Bangor Hydro Electric Company | 2
Boston Edison Company | 3
Town of Braintree Electric Light Department | 9
Central Maine Power Company | 10
Commonwealth Energy System Companies | 15
The Connecticut Light and Power Company | 18
Eastern Utilities Associates Companies | 30
Holyoke Gas and Electric Department | 34
Holyoke Water Power Company | 35
New England Electric System Operating Companies | 36
Public Service Company of New Hampshire | 45
Taunton Municipal Lighting Plant | 49
The United Illuminating Company | 50
Vermont Electric Power Company, Inc. | 53
Western Massachusetts Electric Company | 56

## sum
Total Circuit Miles of PTF Transmission by Company
| EHV-PTF | LV-PTF | TOTAL
BANGOR HYDRO ELECTRIC COMPANY CKT. MILES |  | 24.9 | 24.9
BOSTON EDISON COMPANY CKT. MILES | 179.6 | 244.8 | 424.4
TOWN OF BRAINTREE ELECTRIC LIGHT DEPARTMENT COMPANY CKT. MILES |  | 0.7 | 0.7
CENTRAL MAINE POWER COMPANY CKT. MILES | 184.4 | 879.8 | 1064.2
COMMONWEALTH ENERGY SYSTEM COMPANIES CKT. MILES | 62.9 | 138.6 | 201.5
THE CONNECTICUT LIGHT AND POWER COMPANY CKT. MILES | 388.9 | 1035 | 1423.9
EASTERN UTILITIES ASSOCIATES COMPANIES CKT. MILES | 68.5 | 245.8 | 314.3
HOLYOKE GAS AND ELECTRIC DEPARTMENT CKT. MILES |  | 9.2 | 9.2
HOLYOKE WATER POWER COMPANY CKT. MILES |  | 14.3 | 14.3
NEW ENGLAND ELECTRIC SYSTEM OPERATING COMPANIES CKT. MILES | 683.2 | 1341.9 | 2025.1
PUBLIC SERVICE COMPANY OF NEW HAMPSHIRE CKT. MILES | 260.6 | 518.3 | 778.9
TAUNTON MUNICIPAL LIGHTING PLANT CKT. MILES |  | 1.8 | 1.8
THE UNITED ILLUMINATING COMPANY CKT. MILES | 6.1 | 111.1 | 117.2
VERMONT ELECTRIC POWER COMPANY, INC. CKT. MILES | 84.5 | 301.4 | 385.9
WESTERN MASSACHUSETTS ELECTRIC COMPANY CKT. MILES | 104.5 | 256.5 | 361
TOTAL NEPOOL CKT. MILES | 2023.2 | 5124.1 | 7147.3

## BHE-LO
Bangor Hydro Electric Company
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Graham-Orrington | 115 | 795 ACSR | OH | 2 | 7.25 | 14.5
Orrington-Bucksport | 115 | 795 ACSR | OH | 2 | 5.2 | 10.4
-------------
TOTAL BANGOR HYDRO ELECTRIC COMPANY LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 24.9
-------------
TOTAL BANGOR HYDRO ELECTRIC COMPANY CKT. MILES | [5 empty] | 24.9

## BECO-HI
Boston Edison Company
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
W. Medway #446 - Framingham #240 | 230 | 1113 ACSR | OH | 1 | 10.96 | 10.96
W. Medway #446 - Waltham #282 | 230 | 1113 ACSR | OH | 1 | 24.84 | 24.84
W. Medway #446 - W. Walpole #447 (325) | 345 | 2500 ACSR | OH | 1 | 9.62 | 9.62
W. Medway #446 - W. Walpole #447 (389) | 345 | 2-954 ACSR | OH | 1 | 9.57 | 9.57
W. Medway #446 - Milford/Millbury (BECo Sec.of 323) | 345 | 2-900 AL | OH | 1 | 1.83 | 1.83
W. Medway #446 - Milford/Millbury (BECo Sec.of 357) | 345 | 2-1113 ACSR | OH | 1 | 1.83 | 1.83
W. Medway #446 - Brayton Pt. (BECo Sec. of 303) | 345 | 2-900 AL | OH | 1 | 0.1 | 0.1
W. Medway #446 - Sherman Road (Sec. of 336 in MA) | 345 | 2-1024 ACAR | OH | 1 | 13.06 | 13.06 | *
W. Medway #446 - W. Walpole Jct. (BECo Sec. of 344) | 345 | 2-1703 ACAR | OH | 1 | 8.93 | 8.93
W. Walpole #447 - W. Walpole Jct. (BECo Sec.of 331) | 345 | 2500 ACSR | OH | 1 | 0.65 | 0.65
W. Walpole #447 - Holbrook #478 (316) | 345 | 2-1590 ACSR | OH | 1 | 14.61 | 14.61
Pilgrim #650 - Snake Hill Road (Pilgrim Tap) #355 | 345 | 2-1703 ACAR | OH | 1 | 7.3 | 7.3
Pilgrim #650 - Jordan Rd. Jct. #342 | 345 | 2-1703 ACAR | OH | 1 | 4.7 | 4.7
Jordan Rd. Jct. - Snake Hill Rd (Pilgrim Tap) #342 | 345 | 2-1703 ACAR | OH | 1 | 2.6 | 2.6
Jordan Rd. Jct. - Whitman #451 (EUA Station) #342 | 345 | 2-1590 ACSR | OH | 1 | 25.85 | 25.85
Whitman (EUA Substation) #451 - Holbrook #478 (335) | 345 | 2-1590 ACSR | OH | 1 | 7.3 | 7.3
* Total line length in Massachusetts is 16.33 miles. The conductors and structures are owned jointly by Boston Edison Company and Commonwealth Energy System Companies. This total reflects 80% Boston Edison Company ownership.
Mystic #250, Everett - Golden Hills (349) | 345 | 2-2000 Cu | UG | 1 | 6.28 | 6.28
Mystic #250, Everett - N. Cambridge #509 (358) | 345 | 2500 Cu | UG | 1 | 4.96 | 4.96
Mystic #250, Everett - Kingston Street #514T, Boston (372) | 345 | 2250 Cu | UG | 1 | 4.2 | 4.2
N. Cambridge #509 - Woburn #211 (346) | 345 | 2-2500 Cu | UG | 1 | 6.02 | 6.02
Woburn #211 - Billerica Town Line (BECo Sec. of 338) | 345 | 2-954 ACSR | OH | 1 | 6.18 | 6.18
Woburn #211 - Lexington #320 (319) | 345 | 2-1113 ACSR | OH | 1 | 8.24 | 8.24
-------------
TOTAL BOSTON EDISON COMPANY EHV PTF CKT. MILES | [5 empty] | 179.6

## BECO-LO
Boston Edison Company
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Mystic #250, Everett - Woburn #211 (211-514) | 115 | 1250 Cu | UG | 1 | 7.72 | 7.72
Mystic #250 - Everett (BECo) (BECO sec. of 423-515) | 115 | 1250 Cu | UG | 1 | 0.31 | 0.31
Mystic #250, Everett - Chelsea #488 (BECo) (BECO sec. of 488-518) | 115 | 2250 Cu | UG | 1 | 0.22 | 1.32
|  | 795 Al | OH | 1 | 1.1
Chelsea #488 - Revere (BECo) (128-518) | 115 | 795 Al | OH | 1 | 0.85 | 0.85
Mystic #250, Everett - Somerville #402 (329-510/511) | 115 | 1250 Cu | UG | 2 | 1.98 | 3.96
Somerville #402 - Brighton #329 (329-510/511) | 115 | 1250 Cu | UG | 2 | 2.59 | 5.18
Kingston Street #514 - Carver St. #71 (329-512/513) | 115 | 2250 Cu | UG | 2 | 1.1 | 2.2
Carver St. #71 - Scotia St. #492 (329-512/513) | 115 | 1500 Cu | UG | 2 | 1.54 | 3.08
Scotia St. #492 - Brighton #329 (329-512/513) | 115 | 1500 Cu | UG | 2 | 2.88 | 5.76
Kingston St. #514 - Colburn St. (110-510/511) | 115 | 3500 Al | UG | 2 | 3.45 | 6.9
Colburn St. - Washington St. Tap (110-510/511) | 115 | 1750 Al | UG | 2 | 2.1 | 4.2
Brighton #329 - Washington St. (110-510/511) | 115 | 1250 Cu | UG | 2 | 1.26 | 2.52
Washington St. Tap - Baker St. #110 (110-510/511) | 115 | 1250 Cu | UG | 2 | 5.46 | 10.92
Brighton #329 - Watertown #467 (282-520/521) | 115 | 1250 Cu | UG | 2 | 2.63 | 5.26
Watertown #467 - Waltham #282 (282-520/521) | 115 | 1250 Cu | UG | 2 | 4.79 | 9.58
Brighton #329 - N. Cambridge #509 (329-530/531) | 115 | 2250 Cu | UG | 2 | 2.85 | 5.7
Waltham #282 - Trapelo Rd. #450 (320-507/508) | 115 | 4/0 Cu | OH | 2 | 2.66 | 5.32
Trapelo Rd. #450 - Lexington #320 (320-507/508) | 115 | 4/0 Cu | OH | 2 | 2.54 | 5.08
Lexington #320 - Hartwell Ave. #533 (533-508) | 115 | 1113 ACSR | OH | 1 | 1.9 | 1.9
Hartwell Ave. #533 - Burlington #391 (391-508) | 115 | 1113 ACSR | OH | 1 | 2.64 | 2.64
Burlington #391 - Woburn #211 (211-508) | 115 | 1113 ACSR | OH | 1 | 3.74 | 3.74
Woburn #211 - North Woburn Tap (211-503/504) | 115 | 795 ACSR | OH | 2 | 4.06 | 8.12
North Woburn Tap - Billerica Town Line (BECo) (211-503/504) | 115 | 795 ACSR | OH | 2 | 2.17 | 4.34
Holbrook #478 - Swift's Beach Tap (478-502) | 115 | 2000-02-04 | OH | 1 | 4.93 | 4.93
| 115 | 750 Cu SCOF | UG | 1 | 0.1 | 0.1
Swift's Beach Tap - Braintree Line | 115 | 636 ACSR | OH | 1 | 0.16 | 0.16
Swift's Beach Tap - Edgar #150, Weymouth (478-502) | 115 | 2000-02-04 | OH | 1 | 0.98 | 0.98
Holbrook #478 - East Weymouth Tap (478-508) | 115 | 795 ACSR | OH | 1 | 4.95 | 4.95
| 115 | 750 Cu SCOF | UG | 1 | 0.08 | 0.08
East Weymouth Tap - Edgar #150, Weymouth (478-508) | 115 | 795 ACSR | OH | 1 | 0.98 | 0.98
Holbrook #478 - Grove St. Tap (478-509) | 115 | 795 ACSR | OH | 1 | 1.73 | 1.73
| 115 | 750 Cu SCOF | UG | 1 | 0.11 | 0.11
Grove St. Tap - Mid Weymouth Tap (478-509) | 115 | 795 ACSR | OH | 1 | 1.58 | 1.58
Mid Weymouth Tap - Edgar #150, Weymouth (478-509) | 115 | 795 ACSR | OH | 1 | 2.61 | 2.61
Holbrook Tap- Auburn St. #451, Whitman (451-536) | 115 | 2-1590 ACSR & | OH | 1 | 7.42 | 7.42
2-795 ACSR
Holbrook #478 - Holbrook Tap (451-536) | 115 | 2-795 ACSR | OH | 1 | 0.014 | 0.014
Holbrook #478 - South Randolph Tap (447-508/509) | 115 | 795 ACSR | OH | 2 | 2.39 | 4.78
South Randolph Tap - Canton #470 (447-508/509) | 115 | 795 ASCR | OH | 2 | 6.78 | 13.56
Canton #470 - Norwood Tap (447-508/509) | 115 | 795 ACSR | OH | 2 | 0.72 | 1.44
Norwood Tap - Walpole #146 (447-508/509) | 115 | 795 ACSR | OH | 2 | 4.15 | 8.3
Walpole #146 - W. Walpole #447 (447-508/509) | 115 | 795 ACSR | OH | 2 | 0.64 | 1.28
W. Walpole #447 - Medway #65 (65-502) | 115 | 4/0 Cu | OH | 1 | 9.32 | 9.32
W. Walpole #447 - Medway #65 (65-508) | 115 | 4/0 HT Cu | OH | 1 | 9.66 | 9.66
W. Walpole #447 - Dover #456 Tap (148-522) | 115 | 2-795 Al | OH | 1 | 5.64 | 5.64
Dover #456 Tap - Needham #148 (148-522) | 115 | 2-795 Al | OH | 1 | 3.77 | 5.08
|  | 2-1250 Cu | UG | 1 | 1.31
Medway #65 - Milford/Millbury Town Line (BECo) (201-501) | 115 | 795 Al | OH | 1 | 2.02 | 2.02
Bellingham - Milford Town Lines (BECo) (201-501) | 115 | 795 ACSR | OH | 1 | 2.02 | 2.02
Sherborn #274 - Medway #65 (274-509) | 115 | 956 ACSR | OH | 1 | 9.35 | 9.35
Framingham #240 - Sherborn #274 (240- 508) | 115 | 795 ACSR | OH | 1 | 1.51 | 1.51
Sherborn #274 - W. Framingham #455 (455-507) | 115 | 795 ACSR | OH | 1 | 5.75 | 5.75
W. Framingham #455 - Str. 81, Southborough (BECo) (513-507) | 115 | 795 ACSR | OH | 1 | 0.95 | 0.95
Framingham #240 - Needham #148 (240-510) | 115 | 795 Al | OH | 1 | 9.15 | 9.15
Needham #148 - Baker St. #110 (240-510+110-522) | 115 | 2-954 Al | OH | 2 | 3.8 | 7.6
Framingham #240 - Speen St. #433 (433-507) | 115 | 1113 ACSR | OH | 1 | 4.43 | 4.43
Speen St. #433 - Sudbury #342 (342-507) | 115 | 350 HT Cu | OH | 1 | 3.49 | 3.49
Sudbury #342 - Waltham #282 (282-507) | 115 | 350 HT Cu | OH | 1 | 7.19 | 7.19
-------------
TOTAL BOSTON EDISON COMPANY LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 244.8
-------------
TOTAL BOSTON EDISON COMPANY CKT. MILES | [5 empty] | 424.4

## BELD-LO
Town of Braintree Electric Light Department
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Potter Sta. #16 - Swift's Beach Tap | 115 | 636 MCM ACSR | OH | 1 | 0.23 | 0.72
|  | 1000 MCM | UG | 1 | 0.49
pipe type
cable
-------------
TOTAL TOWN OF BRAINTREE ELECTRIC LIGHT DEPARTMENT LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 0.7
-------------
TOTAL TOWN OF BRAINTREE ELECTRIC LIGHT DEPARTMENT COMPANY CKT. MILES | [5 empty] | 0.7

## CMP-HI
Central Maine Power Company
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Scobie - Buxton (CMP Section) (391) | 345 | 2-850.8 ACSR | OH | 1 | 30.6 | 30.6
Buxton - Surowiec (374) | 345 | 2-850.8 ACSR | OH | 1 | 26.6 | 26.6
Deerfield - Buxton (CMP Section) (385) | 345 | 2-850.5 ACSR | OH | 1 | 30.6 | 30.6
Buxton - Maine Yankee (375) | 345 | 2-850.8 ACSR | OH | 1 | 54.5 | 56.2
|  | 2-900 ACSR | OH | 1 | 1.7
Surowiec - Maine Yankee (377) | 345 | 2-850.8 ACSR | OH | 1 | 25.9 | 29.8
|  | 2-900 ACSR | OH | 1 | 3.9
Maine Yankee - Mason (378) | 345 | 2-850.8 ACSR | OH | 1 | 3.5 | 3.5
Buxton - South Gorham (386) | 345 | 2-954 ACSR | OH | 1 | 7.1 | 7.1
-------------
TOTAL CENTRAL MAINE POWER COMPANY EHV PTF CKT. MILES | [5 empty] | 184.4

## CMP-LO
Central Maine Power
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Wyman - Livermore Falls (63) | 115 | 795 ACSR | OH | 1 | 47.2 | 47.2
Livermore Falls - Gulf Island (200) | 115 | 795 ACSR | OH | 1 | 24.3 | 24.3
Wyman - Winslow (83) | 115 | 477 ACSR | OH | 1 | 42.1 | 42.1
Winslow - Maxcys (84) | 115 | 477 ACSR | OH | 1 | 25.7 | 25.7
Wyman - Detroit (66) | 115 | 795 ACSR | OH | 1 | 33.4 | 33.4
Detroit - Maxcys (67) | 115 | 795 ACSR | OH | 1 | 40.5 | 40.5
Detroit - Bucksport (203) | 115 | 795 ACSR | OH | 1 | 34.1 | 34.1
Bucksport - Orrington (CMP Secs only) (65 & 205) | 115 | 795 ACSR | OH | 2 | 6.63 | 13.3
Bucksport - Highland (86) | 115 | 477 ACSR | OH | 1 | 5.5 | 39.3
|  | 1272 A1 | OH | 1 | 30.2
|  | 795 ACSR | OH | 1 | 3.6
Highland - Newcastle (226) | 115 | 1272 Al | OH | 1 | 19 | 19
Mason - Newcastle (204) | 115 | 1272 Al | OH | 1 | 11.1 | 11.1
Highland - Maxcys (80) | 115 | 266.8 ACSR | OH | 1 | 22 | 22
Maxcys - Mason (68) | 115 | 795 ACSR | OH | 1 | 23.2 | 23.2
Maxcys - Bowman Street (60) | 115 | 795 ACSR | OH | 1 | 12.4 | 12.4
Bowman St. - Gulf Island (212) | 115 | 795 ACSR | OH | 1 | 22.5 | 22.5
Mason - Maine Yankee Tap (207) | 115 | 795 ACSR | OH | 1 | 2.8 | 2.8
Mason - Surowiec (81) | 115 | 336.4 ACSR | OH | 1 | 28.6 | 28.6
Gulf Island - Surowiec (64) | 115 | 795 ACSR | OH | 1 | 17.6 | 17.6
Surowiec - Spring Street (166) | 115 | 795 ACSR | OH | 1 | 24.2 | 24.2
Gulf Island - Crowleys (201) | 115 | 4/0 Cu | OH | 1 | 8.3 | 8.3
Crowleys - Surowiec (62) | 115 | 795 ACSR | OH | 1 | 9.3 | 9.3
Yarmouth - Moshers (165) | 115 | 795 ACSR | OH | 1 | 19.9 | 19.9
Yarmouth - Spring St. (164) | 115 | 795 ACSR | OH | 1 | 23.3 | 23.3
Moshers - South Gorham (162) | 115 | 1113 ACSR | OH | 1 | 3.4 | 3.4
Spring St. - South Gorham (169) | 115 | 795 ACSR | OH | 1 | 3.9 | 3.9
Three Rivers - Quaker Hill (197) | 115 | 266.8 ACSR | OH | 1 | 9.4 | 9.4
Louden - Three Rivers (250) | 115 | 795 ACSR | OH | 1 | 30.9 | 30.9
Spring St. - Cape Steam (160) | 115 | 4/0 Cu | OH | 1 | 1.2 | 9.6
|  | 795 ACSR | OH | 1 | 8.4
Maine Yankee Tap - Surowiec (69) | 115 | 266.8 ACSR | OH | 1 | 0.5 | 29.73
|  | 795 ACSR | OH | 1 | 29.23
Sewall St. - Cape Steam (275) | 115 | 2500 MCM AL | UG | 1 | 2.5 | 2.5
Surowiec - Moshers (167) | 115 | 795 ACSR | OH | 1 | 20.9 | 20.9
Gulf Island - Norway (61) | 115 | 795 ACSR | OH | 1 | 18.4 | 18.4
Norway - Kimball Rd. (87) | 115 | 795 ACSR | OH | 1 | 6.6 | 6.6
Surowiec - Raymond (208) | 115 | 795 ACSR | OH | 1 | 15.7 | 15.7
Raymond - Kimball Rd. (209) | 115 | 795 ACSR | OH | 1 | 16.5 | 16.5
Moshers - Sewall St. (161) | 115 | 795 ACSR | OH | 1 | 7.6 | 7.6
Livermore Falls - Rumford (89) | 115 | 795 ACSR | OH | 1 | 21.5 | 21.5
Rumford - Woodstock (211) | 115 | 795 ACSR | OH | 1 | 13.4 | 13.4
Woodstock - Kimball Rd. (210) | 115 | 795 ACSR | OH | 1 | 20.6 | 20.6
Maxcys - Augusta East (88) | 115 | 795 ACSR | OH | 1 | 11 | 11
Augusta East - Bowman St. (213) | 115 | 795 ACSR | OH | 1 | 17 | 17
South Gorham - Louden (219 & 220) | 115 | 795 ACSR | OH | 2 | 9.25 | 18.5
Crowley's - Lewiston Lower (202) | 115 | 795 ACSR | OH | 1 | 3.5 | 3.5
Hotel Road - Lewiston Lower (75) | 115 | 795 ACSR | OH | 1 | 7.9 | 7.9
Hotel Road - Junction Section 61 (61A) | 115 | 795 ACSR | OH | 1 | 10.6 | 10.6
South Gorham - W. Buxton (223) | 115 | 1113 ACSR | OH | 1 | 9.1 | 9.1
W. Buxton - Waterboro (224) | 115 | 1113 ACSR | OH | 1 | 8.1 | 8.1
Waterboro - Sanford (225) | 115 | 1113 ASCR | OH | 1 | 12.6 | 12.6
Sanford - Quaker Hill (140) | 115 | 795 ASCR | OH | 1 | 6.8 | 6.8
-------------
TOTAL CENTRAL MAINE POWER COMPANY LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 879.8
-------------
TOTAL CENTRAL MAINE POWER COMPANY CKT. MILES | [5 empty] | 1064.2

## CES-HI
Commonwealth Energy System Companies
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Canal Plant - Snake Hill Rd (Pilgrim Tap) (#322) | 345 | 1-2335 ACAR | OH | 1 | 13 | 13
Snake Hill Rd (Pilgrim Tap) - Carver (#322) | 345 | 1-2335 ACAR | OH | 1 | 7.4 | 7.4
Carver - Bridgewater/Middleboro Line (#331) | 345 | 1-2335 ACAR | OH | 1 | 9.4 | 9.4
Canal Plant - Snake Hill Rd (Pilgrim Tap) (#342) | 345 | 2-1703 ACAR | OH | 1 | 13 | 13
Snake Hill Rd (Pilgrim Tap) (#342) - Middleboro/ | 345 | 2-1703 ACAR | OH | 1 | 16.8 | 16.8
Bridgewater Line (#355)
W Medway (#446)- Sherman Rd. (sec. of 336 in MA) | 345 | 2-1024 ACAR | OH | 1 | 3.27 | 3.27 | *
-------------
TOTAL COMMONWEALTH ENERGY SYSTEM COMPANIES EHV PTF CKT. MILES | [5 empty] | 62.9
* Total line length in Massachusetts is 16.33 miles. The conductors and structures are owned jointly by Boston Edison Company and Commonwealth Energy System Companies. This total reflects 20% Commonwealth Energy System Companies ownership.

## CES-LO
Commonwealth Energy System Companies
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Kingston - Auburn St (Com/Elec Section) (#191) | 115 | 1-336 | OH | 1 | 15.3 | 15.3
Kingston - Brook St (#117) | 115 | 1-336 | OH | 1 | 3.1 | 3.1
Brook St - Carver (#116) | 115 | 2338 ACAR | OH | 1 | 4.9 | 4.9
Carver - SEMASS TP (#127) | 115 | 1-2338 ACAR | OH | 1 | 7.2 | 7.2
SEMASS TP - Tremont (#128) | 115 | 1-2338 ACAR | OH | 1 | 1 | 1
Tremont - Bourne (#108, #113) | 115 | 1-795 | OH | 2 | 11.2 | 22.4
Tremont - Ind. Park Tap (#112) | 115 | 1-795 | OH | 1 | 10.3 | 10.3
Ind. Park Tap - Acushnet (#112) | 115 | 1-795 | OH | 1 | 2.4 | 2.4
Tremont - Mendall Road (#114) | 115 | 1-2338 ACAR | OH | 1 | 10.2 | 10.2
Mendall Road - Acushnet (#114) | 115 | 1-2338 ACAR | OH | 1 | 2.5 | 2.5
Ind. Park Tap - Ind. Park (#112) | 115 | 1-795 | OH | 1 | 4.1 | 4.1
Ind. Park - High Hill (#111) | 115 | 1-795 | OH | 1 | 2.4 | 2.4
High Hill - Dartmouth Line (#D21) | 115 | 1-795 | OH | 1 | 1.2 | 1.2
Canal Plant - Bourne (#121) | 115 | 1-2338 ACAR | OH | 1 | 2.5 | 2.5
Canal Plant - Pavepaws (#120) | 115 | 2-1703 ACAR | OH | 1 | 3.67 | 3.67
Pavepaws - Sandwich (#120) | 115 | 2-1703 ACAR | OH | 1 | 4.9 | 4.9
Sandwich - Oak Street (#120) | 115 | 2-1703 ACAR | OH | 1 | 6.75 | 6.75
Oak Street - S.F. Hill Rd (#120) | 115 | 2338 ACAR | OH | 1 | 0.48 | 0.48
S.F. Hill Rd - Barnstable (#120) | 115 | 2338 ACAR | OH | 1 | 3.3 | 3.3
Bourne - Otis (#107) | 115 | 2338 ACAR | OH | 1 | 3.4 | 3.4
Otis - Fal Tap (#107) | 115 | 1590 ACSR | OH | 1 | 6.6 | 6.6
Fal Tap - Hatchville (#115) | 115 | 795 ACSR | OH | 1 | 2.5 | 2.5
Hatchville - Mashpee (#115) | 115 | 795 ACSR | OH | 1 | 5.2 | 5.2
Mashpee - Barnstable (#115) | 115 | 795 ACSR | OH | 1 | 12.26 | 12.26
TOTAL COMMONWEALTH ENERGY SYSTEM COMPANIES LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 138.6
-------------
TOTAL COMMONWEALTH ENERGY SYSTEM COMPANIES CKT. MILES | [5 empty] | 201.5

## CLP-HI
The Connecticut Light and Power Company
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Manchester - Card (368) | 345 | 2156 ACSR | OH | 1 | 20 | 20
Southington - Frost Bridge (329) | 345 | 2156 ACSR | OH | 1 | 12.7 | 12.7
East Shore - Scovill Rock (CL&P Sec. of 387) | 345 | 2 - 954 ACSR | OH | 1 | 17 | 26.7
|  | 2156 ACSR | OH | 1 | 9.7
Southington - Haddam Neck (362) | 345 | 2-954 ACSR | OH | 1 | 17 | 24.7
|  | 2-1192 ACSR | OH | 1 | 0.6
|  | 2-1272 ACSR | OH | 1 | 7.1
Long Mountain - Pleasant Valley (CL&P Sec. of 398) | 345 | 2156 ACSR | OH | 1 | 5.6 | 5.6
Frost Bridge - Long Mountain (352) | 345 | 2156 ACSR | OH | 1 | 20.6 | 20.6
Manchester - Ludlow via North Bloomfield (CL&P Sec. of 395) | 345 | 2156 ACSR | OH | 1 | 21 | 34.9
|  | 2-954 ACSR | OH | 1 | 13.6
|  | 2-1192 ACSR |  |  | 0.3
Montville - Haddam Neck (364) | 345 | 2-954 ACSR | OH | 1 | 22.6 | 22.6
Millstone - Montville (371) | 345 | 2-954 ACSR | OH | 1 | 12.5 | 12.5
Millstone - Southington (348) | 345 | 2-954 ACSR | OH | 1 | 52.6 | 53.3
|  | 2-1192 ACSR | OH | 1 | 0.7
Millstone - Card (383) | 345 | 2-954 ACSR | OH | 1 | 28.8 | 28.8
Long Mountain - Plumtree (321) | 345 | 2-954 ACSR | OH | 1 | 6.2 | 17.8
|  | 2-1272 ACSR | OH | 1 | 11.6
Card - Sherman Rd. (CL&P Sec. of 347) | 345 | 2-954 ACSR | OH | 1 | 36.5 | 36.5
Millstone - Manchester (310) | 345 | 2-1272 ACSR | OH | 1 | 45.9 | 47.1
|  | 2-954 ACSR | OH | 1 | 1.2
Haddam Neck - Scovill Rock (376) | 345 | 2-954 ACSR | OH | 1 | 4.6 | 5.1
|  | 2-1192 ACSR | OH | 1 | 0.5
Scovill Rock - Manchester (353) | 345 | 2156 ACSR | OH | 1 | 17 | 20
|  | 2-954 ACSR | OH | 1 | 3
-------------
TOTAL OF THE CONNECTICUT LIGHT AND POWER COMPANY EHV PTF CKT. MILES | [5 empty] | 388.9

## CLP-LO
The Connecticut Light and Power Company
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Bunker Hill - Freight St (1668) | 115 | 1272 ACSR | OH | 1 | 2.1 | 2.1
Freight St. - Frost Bridge (1721) | 115 | 1272 ACSR | OH | 1 | 2.3 | 6.2
|  | 1590 ACSR | OH | 1 | 3.9
Frost Bridge - Campville (1191) | 115 | 2-2/0 Cu | OH | 1 | 7.7 | 10.4
|  | 556 ACSR | OH | 1 | 2.7
Southington - Canal (1950) | 115 | 795 ACSR | OH | 1 | 2.1 | 2.1
Southington - Todd (1910) | 115 | 795 ACSR | OH | 1 | 5.9 | 5.9
Frost Bridge - Todd (1163) | 115 | 795 ACSR | OH | 1 | 5.6 | 5.6
Frost Bridge - Canal (1550) | 115 | 795 ACSR | OH | 1 | 9.5 | 9.5
Frost Bridge - Shaws Hill (1445) | 115 | 1590 ACSR | OH | 1 | 1.7 | 1.7
Shaws Hill - Bunker Hill (1272) | 115 | 1590 ACSR | OH | 1 | 2.2 | 2.2
Frost Bridge - Stevenson via Baldwin (1990) | 115 | 4/0 Cu | OH | 1 | 3.1 | 20.6
|  | 2-1272 ACSR | OH | 1 | 0.1
|  | 2-556 ACSR | OH | 1 | 1.1
|  | 2-4/0 Cu | OH | 1 | 13.5
|  | 4/0 Cu & 556 ACSR | OH | 1 | 2.8
Bunker Hill - Beacon Falls via Baldwin (1575) | 115 | 4/0 Cu | OH | 1 | 6.8 | 14.8
|  | 556 ACSR | OH | 1 | 8
Bunker Hill - South Naugatuck (1585) | 115 | 4/0 Cu | OH | 1 | 3 | 13.2
|  | 556 ACSR | OH | 1 | 7.7
|  | 795 ACSR | OH | 1 | 2.5
Southington - Devon via Hanover (1690) | 115 | 4/0 Cu | OH | 1 | 0.7 | 35.2
|  | 2-4/0 Cu | OH | 1 | 34.5
South Naugatuck - Devon (1580) | 115 | 4/0 Cu | OH | 1 | 13.2 | 23.9
|  | 795 ACSR | OH | 1 | 8
|  | 556 ACSR | OH | 1 | 2.7
Devon - Beacon Falls via Derby (1570) | 115 | 795 ACSR | OH | 1 | 18.9 | 22.6
|  | 4/0 Cu | OH | 1 | 3.7
Stevenson - Trap Falls via Derby (1560) | 115 | 795 ACSR | OH | 1 | 8.8 | 8.8
Trap Falls - Devon (1545) | 115 | 795 ACSR | OH | 1 | 4.7 | 4.7
Southington - North Haven (CL&P Sec. of 1630) | 115 | 556 ACSR | OH | 1 | 2.9 | 13.6
|  | 1272 ACSR | OH | 1 | 10.7
Southington - June St. (CL&P Sec. of 1610) | 115 | 556 ACSR | OH | 1 | 18.3 | 21.2
|  | 795 ACSR | OH | 1 | 2.9
Devon - June St. (CL&P Sec. of 1685) | 115 | 795 ACSR | OH | 1 | 13.4 | 13.4
Southington - Berlin (1670) | 115 | 556 ACSR | OH | 1 | 10.2 | 10.2
Southington - Berlin (1771) | 115 | 556 ACSR | OH | 1 | 10.1 | 10.1
West Side - Berlin (1765) | 115 | 556 ACSR | OH | 1 | 7.9 | 7.9
Dooley - West Side (1766) | 115 | 556 ACSR | OH | 1 | 6.5 | 9.2
|  | 795 ACSR | OH | 1 | 2.7
Manchester - Hopewell (1767) | 115 | 556 ACSR | OH | 1 | 7 | 7
Berlin - East New Britain (1769) | 115 | 1272 ACSR | OH | 1 | 3.6 | 3.6
Southington - Colony via Hanover (1355) | 115 | 4/0 Cu | OH | 1 | 0.7 | 8.6
|  | 556 ACSR | OH | 1 | 6.3
|  | 2-4/0 Cu | OH | 1 | 1.5
|  | 954 ACSR | OH | 1 | 0.1
North Wallingford - E. Meriden (1466) | 115 | 4/0 Cu | OH | 1 | 0.5 | 2
|  | 556 ACSR | OH | 1 | 1.5
North Wallingford - Colony (1588) | 115 | 954 ACSR | OH | 1 | 0.1 | 2.5
|  | 4/0 Cu | OH | 1 | 2.4
E. Meriden - Haddam (1975) | 115 | 2-4/0 Cu | OH | 1 | 7.1 | 15.1
|  | 1272 ACSR | OH | 1 | 8
Haddam - Bokum (1261) | 115 | 795 ACSR | OH | 1 | 11.6 | 12
|  | 1272 ACSR | OH | 1 | 0.4
Middletown - Bokum (1620) | 115 | 1272 ACSR | OH | 1 | 7.6 | 25.2
|  | 795 ACSR | OH | 1 | 11.7
|  | 556 ACSR | OH | 1 | 5.9
Montville - Mystic (1280) | 115 | 795 ACSR | OH | 1 | 9.1 | 14.8
|  | 1272 ACSR | OH | 1 | 5.7
Wallingford - Devon (1640) | 115 | 4/0 Cu | OH | 1 | 23.8 | 26.7
|  | 556 ACSR | OH | 1 | 2.9
Mystic - Wood River (CL&P Sec.of 1870) | 115 | 795 ACSR | OH | 1 | 8.9 | 8.9
Norwalk - Weston (1637) | 115 | 556 ACSR | OH | 1 | 6.3 | 6.3
Norwalk - Flax Hill (1389) | 115 | 556 ACSR | OH | 1 | 2.9 | 2.9
Weston - Devon (CL&P Sec. of 1730) | 115 | 556 ACSR | OH | 1 | 12.5 | 16.9
|  | 2-4/0 Cu | OH | 1 | 1.4
|  | 1590 ACSR | OH | 1 | 3
Norwalk - Hawthorne (1720) | 115 | 556 ACSR | OH | 1 | 13.8 | 13.8
Oldtown - Devon via Pequonnock (CL&P Sec. of 1710) | 115 | 556 ACSR | OH | 1 | 4.3 | 7.3
|  | 1590 ACSR | OH | 1 | 3
Norwalk - Peaceable via Ridgefield (1470) | 115 | 556 ACSR | OH | 1 | 10.4 | 14.3
|  | 1272 ACSR | OH | 1 | 0.2
|  | 336 ACSR | OH | 1 | 3.7
Peaceable - Plumtree via Ridgefield (1565) | 115 | 1272 ACSR | OH | 1 | 9.5 | 13.2
|  | 336 ACSR | OH | 1 | 3.7
Plumtree - Bates Rock via Stony Hill (1770) | 115 | 4/0 Cu | OH | 1 | 5.9 | 16
|  | 795 SSAC | OH | 1 | 0.7
|  | 2-1272 ACSR | OH | 1 | 3.4
|  | 795 ACSR | OH | 1 | 6
Plumtree - Newtown (1760) | 115 | 1272 ACSR | OH | 1 | 6 | 6
Newtown - Stevenson via Sandy Hook (1876) | 115 | 1272 ACSR | OH | 1 | 6.6 | 6.6
So. End - Glenbrook (1450) | 115 | 1272 SSAC | OH | 1 | 1.4 | 1.4
So. End - Darien (1977) | 115 | 1272 ACSR | OH | 1 | 4.1 | 4.1
Darien - Pequonnock via Compo (CL&P Sec. of 1130) | 115 | 1272 ACSR | OH | 1 | 2.8 | 11
|  | 1590 SSAC | OH | 1 | 8.2
Sasco Creek - Ash Creek (CL&P Sec. of 1430) | 115 | 1272 ACSR | OH | 1 | 0.7 | 0.7
Haddam - Connecticut Yankee (1206) | 115 | 1272 ACSR | OH | 1 | 4.4 | 5.1
|  | 2-1192 ACSR | OH | 1 | 0.7
Rocky River - W. Brookfield (1618) | 115 | 4/0 Cu | OH | 1 | 0.2 | 9.3
|  | 336 ACSR | OH | 1 | 1.4
|  | 2-954 ACSR | OH | 1 | 3
|  | 2-1272 ACSR | OH | 1 | 4.7
W. Brookfield - Shepaug (1887) | 115 | 4/0 Cu | OH | 1 | 6.6 | 11.6
|  | 336 ACSR | OH | 1 | 1.4
|  | 795 ACSR | OH | 1 | 0.1
|  | 2-1272 ACSR | OH | 1 | 3.5
Branford - East Shore (CL&P Sec. of 1460) | 115 | 1272 ACSR | OH | 1 | 2.4 | 2.4
Branford - North Haven (CL&P Sec of 1655) | 115 | 795 ACSR | OH | 1 | 11.1 | 11.1
Rocky River - Carmel Hill (1813) | 115 | 1272 ACSR | OH | 1 | 11.1 | 11.1
Carmel Hill - Frost Bridge (1238) | 115 | 1272 ACSR | OH | 1 | 9.7 | 9.7
Norwalk Harbor - Northport L.I. (CL&P of 1385) | 138 | 2-600 kcm Cu+ | UG | 1 | 5.8 | 5.8
|  | 2-700 kcm Cu | UG | 1
Norwalk Harbor - Glenbrook via Flax Hill (1867) | 115 | 795 ACSR | OH | 1 | 1.2 | 8.2
|  | 1272 ACSR | OH | 1 | 5.5
|  | 2500 MCM Cu | UG | 1 | 1.5
Norwalk Harbor - Glenbrook via Sasco Creek (1890) | 115 | 795 ALUM | OH | 1 | 4.4 | 14.6
|  | 1272 ALUM | OH | 1 | 1.1
|  | 2000 MCM Cu | UG | 1 | 1.5
|  | 1272 ACSR | OH | 1 | 7.6
Norwalk Harbor - Glenbrook via Norwalk (1880) | 115 | 1272 ALUM | OH | 1 | 1.1 | 11.1
|  | 795 ALUM+ACSR | OH | 1 | 4.4
|  | 795 ACSR | OH | 1 | 4.1
|  | 2000 MCM Cu | UG | 1 | 1.5
Campville - Canton via Franklin Drive (1732) | 115 | 556 ACSR | OH | 1 | 7.4 | 16.3
|  | 2/0 CWC | OH | 1 | 8.9
Campville - Thomaston (1921) | 115 | 1272 ACSR | OH | 1 | 5.7 | 5.7
Bristol - Chippen Hill via Southington ( 1810) | 115 | 1272 ACSR | OH | 1 | 4 | 12.9
|  | 556 ACSR | OH | 1 | 4.5
|  | 795 ACSR | OH | 1 | 4.4
Southington - Forestville via UTC ( 1800) | 115 | 1272 ACSR | OH | 1 | 6.2 | 6.2
Forestville - Bristol (1825) | 115 | 4/0 Cu | OH | 1 | 2.7 | 5
|  | 1272 ACSR | OH | 1 | 2.3
Campville - Torrington Terminal (1900) | 115 | 1272 ACSR | OH | 1 | 3.7 | 5.9
|  | 556 ACSR | OH | 1 | 2.2
Ludlow - Scitico (CL&P Sec. of 1515) | 115 | 1272 ACSR | OH | 1 | 6.5 | 6.5
Scitico - Franconia (CL&P Sec. of 1394) | 115 | 1272 ACSR | OH | 1 | 6.5 | 6.5
Montville - Stockhouse(Bozrah) (1090) | 115 | 556 ACSR | OH | 1 | 11.1 | 11.1
Stockhouse(Bozrah) - Card (1490) | 115 | 556 ACSR | OH | 1 | 10.7 | 10.7
Montville - Tunnel via Card & Lisbon (1080) | 115 | 556 ACSR | OH | 1 | 12.7 | 30.4
|  | 1272 ACSR | OH | 1 | 16.8
|  | 336 ACSR | OH | 1 | 0.9
Montville - Bean Hill (1000) | 115 | 556 ACSR | OH | 1 | 9.1 | 9.9
|  | 1272 ACSR | OH | 1 | 0.8
Bean Hill - Tunnel (1675) | 115 | 1272 ACSR | OH | 1 | 6.9 | 6.9
Shepaug - Bates Rock (1622) | 115 | 795 ACSR | OH | 1 | 5.6 | 5.6
Branford - Green Hill (1508) | 115 | 795 ACSR | OH | 1 | 11.4 | 11.4
Green Hill - Bokum (1342) | 115 | 795 ACSR | OH | 1 | 11.3 | 11.3
North Bloomfield - Agawam via Franconia & Silver (CL&P Sec. of 1781) | 115 | 556 ACSR | OH | 1 | 12 | 17.6
|  | 1272 ACSR | OH | 1 | 5.6
North Bloomfield - Agawam via Silver (CL&P Sec. of 1782) | 115 | 556 ACSR | OH | 1 | 12 | 12
North Bloomfield - Canton (1784) | 115 | 795 ACSR | OH | 1 | 12.5 | 12.5
North Bloomfield - Bloomfield (1777) | 115 | 1272 ACSR | OH | 1 | 5.3 | 5.9
|  | 556 ACSR | OH | 1 | 0.6
Northwest Hartford - Bloomfield via Manchester (1751) | 115 | 1272 ACSR | OH | 1 | 16 | 21.1
|  | 2-954 ACSR | OH | 1 | 1.5
|  | 556 ACSR | OH | 1 | 3.6
Chippen Hill - Thomaston (1835) | 115 | 2-336 ACSR | OH | 1 | 0.5 | 6.7
|  | 795 ACSR | OH | 1 | 5.6
|  | 1272 ACSR | OH | 1 | 0.6
North Bloomfield - Farmington (1726) | 115 | 1272 ACSR | OH | 1 | 11.7 | 11.7
Berlin - Newington (1785) | 115 | 556 ACSR | OH | 1 | 6.7 | 7
|  | 1272 ACSR | OH | 1 | 0.3
Berlin - Newington via East New Britain (1783) | 115 | 1272 ACSR | OH | 1 | 3.5 | 7.1
|  | 336 ACSR | OH | 1 | 3.6
South Meadow - Rocky Hill (1773) | 115 | 2-556 ACSR | OH | 1 | 1.7 | 7.6
|  | 1272 ACSR | OH | 1 | 5.9
Rocky Hill - Berlin (1752) | 115 | 1272 ACSR | OH | 1 | 3.4 | 3.4
S. Meadow - Bloomfield (1779) | 115 | 556 ACSR | OH | 1 | 2.1 | 11.8
|  | 2-211 ACSR | OH | 1 | 0.3
|  | 2-4/0 Cu. | OH | 1 | 4.8
|  | 1272 ACSR | OH | 1 | 4.3
|  | 2-1192 ACSR | OH | 1 | 0.3
Manchester - East Hartford (1207) | 115 | 1272 ACSR | OH | 1 | 3.2 | 3.2
East Hartford - South Meadow (1786) | 115 | 1272 ACSR | OH | 1 | 2.4 | 2.6
|  | 2-477 SSAC |  | 1 | 0.2
Manchester - South Meadow (1775) | 115 | 1272 ACSR | OH | 1 | 5.7 | 5.9
|  | 2-477 SSAC |  | 1 | 0.2
Bloomfield - N.W. Hartford (1756) | 115 | 556 ACSR | OH | 1 | 3.5 | 3.6
|  | 1272 ACSR | OH | 1 | 0.1
N.W. Hartford - S.W. Hartford (1722) | 115 | 3000 MCM ALUM | UG | 1 | 2.8 | 2.8
South Meadow - S.W. Hartford (1704) | 115 | 3000 MCM ALUM | UG | 1 | 3.8 | 3.8
Middletown - Pratt & Whitney (Middletown) (1572) | 115 | 556 ACSR | OH | 1 | 1.5 | 1.5
Middletown - Dooley (1050) | 115 | 1272 ACSR | OH | 1 | 2.8 | 6.6
|  | 556 ACSR | OH | 1 | 3.8
Middletown - Portland (1443) | 115 | 795 ACSR | OH | 1 | 0.9 | 0.9
Portland - Hopewell (1759) | 115 | 556 ACSR | OH | 1 | 9.1 | 9.1
Connecticut Yankee - P&WA Middletown (1772) | 115 | 1272 ACSR | OH | 1 | 7.5 | 8.3
|  | 556 ACSR | OH | 1 | 0.2
|  | 1192 ACSR | OH | 1 | 0.6
Glenbrook - Waterside (1440) | 115 | 1272 ACSR | OH | 1 | 2.7 | 2.7
Waterside - Cos Cob (1740) | 115 | 1272 ACSR | OH | 1 | 2.5 | 2.5
Cos Cob - South End via Tomac (1750) | 115 | 1272 ACSR | OH | 1 | 3.4 | 3.8
|  | 795 ACSR | OH | 1 | 0.4
Old Town - Hawthorne (1222) | 115 | 556 ACSR | OH | 1 | 2 | 2
N. Bloomfield - Southwick (CL&P Sec. of 1768) | 115 | 556 ACSR | OH | 1 | 8.7 | 8.7
Montville - Gales Ferry (100) | 69 | 556 ACSR | OH | 1 | 2.4 | 2.4
Gales Ferry Tunnel via Buddington (CL&P Sec. of 400) | 69 | 2/0 Cu.C78 | OH | 1 | 5.2 | 8.5
|  | 4/0 Cu. | OH | 1 | 3.3
Falls Village - Salisbury (667) | 69 | 4/0 Cu. | OH | 1 | 6.1 | 6.1
Falls Village - Torrington Terminal (689) | 69 | 336 ACSR | OH | 1 | 19.9 | 19.9
Salisbury - Smithfield (CL&P Sec. of 690) | 69 | 4/0 Cu. | OH | 1 | 1.5 | 1.5
Falls Village - Torrington Terminal (693) | 69 | 336 ACSR | OH | 1 | 19.9 | 19.9
-------------
TOTAL OF THE CONNECTICUT LIGHT AND POWER COMPANY LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 1035
-------------
TOTAL OF THE CONNECTICUT LIGHT AND POWER COMPANY CKT. MILES | [5 empty] | 1423.9

## EUA-HI
Eastern Utilities Associates Companies
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Bridgewater/Middleboro Line - Walpole Jct.(EUA sec of 331) | 345 | 2335 ACAR | OH | 1 | 23.6 | 23.6
Sherman Rd - Mass Line (EUA sec of 336) | 345 | 2-1024 ACAR | OH | 1 | 0.23 | 0.23
Sherman Rd - Conn Line (EUA sec of 347) | 345 | 2-1024 ACAR | OH | 1 | 8.66 | 8.66
Sherman Rd - W Farnum (328) | 345 | 2-1024 ACAR | OH | 1 | 8.99 | 8.99
Bridgewater - Walpole Jct. (EUA sec of 344) | 345 | 2-1703 ACAR | OH | 1 | 19.1 | 19.1
Bridgewater - Bridgewater/Middleboro Line (EUA sec. of 355) | 345 | 2-1703 ACAR | OH | 1 | 4.5 | 4.5
W. Farnum - Riverside Jct. (EUA Sec. of 315) | 345 | 2-1024 ACAR | OH | 1 | 3.4 | 3.4
-------------
TOTAL EASTERN UTILITIES ASSOCIATES COMPANIES EHV PTF CKT. MILES | [5 empty] | 68.5

## EUA-LO
Eastern Utilities Associates Companies
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Bell Rock - Dartmouth Line (D-21) | 115 | 795 ACSR | OH | 1 | 4.2 | 4.2
Somerset - Pawtucket (X-3) | 115 | 336.4 ACSR | OH | 1 | 18.3 | 18.3
Somerset - Pawtucket (T-7) | 115 | 4/0 HD CU | OH | 1 | 18 | 18
Somerset - Swansea (W-4) | 115 | 447 ACSR | OH | 1 | 4.5 | 4.5
Swansea - Robinson (K-15) | 115 | 477 ACSR | OH | 1 | 16.2 | 16.2
Pawtucket - Robinson (P-11) | 115 | 477 ACSR | OH | 1 | 8.3 | 8.3
Somerset - Taunton Tap (S-8) | 115 | 628.7 ACSR | OH | 1 | 9.9 | 9.9
Taunton Tap - Bridgewater (S-8) | 115 | 628.7 ACSR | OH | 1 | 9.9 | 9.9
Somerset - Dighton (U-6) | 115 | 636 ACSR | OH | 1 | 6.8 | 6.8
Dighton - EMI Dighton (U-6) | 115 | 636 ACSR | OH | 1 | 1 | 1
EMI Dighton - Bridgewater (U-6) | 115 | 2/0 HD Cu | OH | 1 | 12 | 12
Somerset - Dighton (V-5) | 115 | 636 ACSR | OH | 1 | 6.8 | 6.8
Dighton - Taunton Tap (V-5) | 115 | 636 ACSR | OH | 1 | 3.1 | 3.1
Taunton Tap - Bridgewater (V-5) | 115 | 636 ACSR | OH | 1 | 9.9 | 9.9
Robinson - Staples (Q-10) | 115 | 477 ACSR | OH | 1 | 5.9 | 5.9
Staples - Riverside (J-16) | 115 | 465.4 AAAC | OH | 1 | 3.8 | 3.8
Bridgewater - E. Bridgewater Tap (E-20) | 115 | 628.7 ACSR | OH | 1 | 4.1 | 4.1
E. Bridgewater Tap - Auburn (E-20) | 115 | 628.7 ACSR | OH | 1 | 4.5 | 4.5
Dupont - Auburn (C-2) | 115 | 636 ACSR | OH | 1 | 1.98 | 1.98
Robinson - Valley Sub. (P-11) | 115 | 336.4 ACSR | OH | 1 | 0.89 | 0.89
Auburn - Kingston (CES) 191 Line | 115 | 336.4 ACSR | OH | 1 | 0.2 | 0.2
Valley Sub. - Riverside (R-9) | 115 | 465.4 AAAC | OH | 1 | 9.3 | 9.3
Riverside - Riverside Jct. (H-17) | 115 | 477 AAAC | OH | 1 | 1.55 | 1.55
Riverside Jct. - Farnum Tap (H-17) | 115 | 795 ACSR | OH | 1 | 1.82 | 1.82
Bridgewater - Dupont (G-18) | 115 | 636 ACSR | OH | 1 | 7.6 | 7.6
Bridgewater - Auburn Street (F-19) | 115 | 628.7 ACSR | OH | 1 | 8.5 | 8.5
Belmont Tap - Belmont (51) | 115 | 336.4 ACSR | OH | 1 | 4.27 | 4.27
Belmont - Stoughton Tap (U2) | 115 | 636 ACSR | OH | 1 | 2.83 | 2.83
Stoughton Tap - Parkview (U2) | 115 | 363 ACSR | OH | 1 | 0.74 | 0.74
Parkview - Court St. (A94) | 115 | 336.4 ACSR | OH | 1 | 7.33 | 7.33
Court St. - Auburn (A94) | 115 | 636 ACSR | OH | 1 | 1.2 | 1.2
W. Farnum - Farnum Tap (H-17) | 115 | 795 ACSR | OH | 1 | 2.07 | 2.07
Somerset - Bell Rock (N-12) (M-13) | 115 | 795 ACSR | OH | 2 | 3.5 | 7
Bell Rock - Canonicus (M-13) (L-14) | 115 | 636 ACSR | OH | 2 | 8.8 | 17.6
Canonicus - Dexter (M-13) (L-14) | 115 | 636 AAC/ACSR | OH | 2 | 7.46 | 14.92
Dexter - Jepson (61) (62) | 69 | 636 AAC | OH | 2 | 4.4 | 8.8
-------------
TOTAL EASTERN UTILITIES ASSOCIATES COMPANIES LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 245.8
-------------
TOTAL EASTERN UTILITIES ASSOCIATES COMPANIES CKT. MILES | [5 empty] | 314.3

## HGE-LO
Holyoke Gas And Electric Department
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Fairmont - Holyoke (HG&E)(1525 line) | 115 | 795 ACSR | OH | 1 | 0.8 | 0.8
Holyoke - Ingleside (1292 line) | 115 | 795 ACSR | OH | 1 | 3.14 | 3.14
Southampton Jct. - Ingleside (1657 line) | 115 | 795 ACSR | OH | 1 | 5.23 | 5.23
-------------
TOTAL HOLYOKE GAS AND ELECTRIC DEPARTMENT LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 9.2
-------------
TOTAL HOLYOKE GAS AND ELECTRIC DEPARTMENT CKT. MILES | [5 empty] | 9.2

## HWP-LO
Holyoke Water Power Company
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Fairmont - Holyoke (HWP Sec. of 1525) | 115 | 795 ACSR | OH | 1 | 0.5 | 0.5
Mt. Tom - Fairmont (1428) | 115 | 795 ACSR | OH | 1 | 6.6 | 6.6
Mt. Tom - Midway (HWP Sec. of 1039) | 115 | 795 ACSR | OH | 1 | 0.6 | 0.6
Mt. Tom - Pineshed (1447) | 115 | 795 ACSR | OH | 1 | 2.8 | 2.8
Pineshed - Fairmont (1327) | 115 | 795 ACSR | OH | 1 | 3.8 | 3.8
-------------
TOTAL HOLYOKE WATER POWER COMPANY LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 14.3
-------------
TOTAL HOLYOKE WATER POWER COMPANY CKT. MILES | [5 empty] | 14.3

## NEES-HI
New England Electric System Operating Companies
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Carpenter Hill-Belchertown/Ludlow Town Line(NEP Sec.of 301) | 345 | 2-900 AL | OH | 1 | 23.1 | 23.1
Carpenter Hill - Millbury (302) | 345 | 2-900 AL | OH | 1 | 15.95 | 15.95
Millbury - Milford/Medway (NEP Sec. of 323) | 345 | 2-900 AL | OH | 1 | 14.3 | 14.3
Millbury - Milford/Medway (NEP Sec. of 357) | 345 | 2-1113 ACSR | OH | 1 | 14.3 | 14.3
Brayton Point - W. Medway #446 (NEP Sec. of 303) | 345 | 2-900 AL | OH | 1 | 36.6 | 36.6
Brayton Point - Riverside Jct.(NEP Sec. of 315) | 345 | 2-954 ACSR | OH | 1 | 34.5 | 34.5
Millbury - Sandy Pond (343) | 345 | 2-1113 AAC | OH | 1 | 36 | 36
Millbury - Sandy Pond (314) | 345 | 2-1113 ACSR | OH | 1 | 36 | 36
Sandy Pond - Tewksbury (337) | 345 | 2-954 ACSR | OH | 1 | 15.9 | 15.9
Tewksbury - Billerica/Burlington (NEP Sec. of 338) | 345 | 2-954 ACSR | OH | 1 | 6.6 | 6.6
Tewksbury - Ward Hill - MA/NH State Line (NEP Sec. of 394) | 345 | 2-2156 ACSR | OH | 1 | 14.11 | 32.02
|  | 2-1590 ACSR | OH | 1 | 17.91
Sandy Pond - MA/NH State Line (NEP Sec. of 326) | 345 | 2-900 AL | OH | 1 | 12.4 | 12.4
Kent County - West Farnum (EUA) (332) | 345 | 2-954 ACSR | OH | 1 | 21.4 | 21.4
Tewksbury - Golden Hills (339) | 345 | 2-1590 ACSR | OH | 1 | 17.3 | 17.3
Moore - Comerford (C-203) | 230 | 554 AL | OH | 1 | 6.61 | 6.61
Comerford - Littleton Tap (D-204) | 230 | 554 AL | OH | 1 | 5.9 | 5.9
Littleton Tap - Littleton Sub. (PSNH) (D-204) | 230 | 795 ACSR | OH | 1 | 0.4 | 0.4
Comerford - Dunbarton (B-202) | 230 | 795 ACSR | OH | 1 | 91.4 | 91.4
Dunbarton - Tewksbury (B-202) | 230 | 795 ACSR | OH | 1 | 35 | 35
Comerford - Tewksbury (A-201) | 230 | 795 ACSR | OH | 1 | 126.4 | 126.4
Pratts Jct. - Bear Swamp (E-205E) | 230 | 795 AL, ACSR | OH | 1 | 73.9 | 73.9
Bear Swamp - Vermont/NY State Line (NMPC) (E-205W) | 230 | 795 AL, ACSR | OH | 1 | 27.2 | 27.2
-------------
TOTAL NEW ENGLAND ELECTRIC SYSTEM OPERATING COMPANIES EHV PTF CKT. MILES | [5 empty] | 683.2

## NEES-LO
New England Electric System Operating Companies
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Moore - Littleton Tap (PSNH) (Q-195) | 115 | 477 ACSR | OH | 1 | 0.045 | 0.045
Keene (PSNH) - Vernon Rd. tap (N-186) | 115 | 795 ACSR | OH | 1 | 0.3 | 0.3
Hudson (PSNH) - Dracut Jct. (Y-151) | 115 | 4/0 CU | OH | 1 | 9.2 | 9.2
W. Methuen - Dracut Jct. - Tewksbury (Y-151) | 115 | 795 ACSR | OH | 1 | 9.8 | 9.8
1590 ACSR
W. Methuen - E. Methuen (G-133W) | 115 | 795 ACSR | OH | 1 | 2.1 | 2.1
E. Methuen - Ward Hill (G-133E) | 115 | 795 ACSR | OH | 1 | 3.2 | 3.2
Salem Harbor - S. Danvers (B-154S/C-155S) | 115 | 1351 SSAC | OH | 2 | 4.9 | 9.8
1590 ACSR
S. Danvers - King St. Tap - Ward Hill (B-154N/C-155N) | 115 | 795 AL, ACSR | OH | 2 | 17.3 | 34.6
Salem Harbor - Canal St./Railyard (S-145) | 115 | 2200 CU | UG | 1 | 1.4 | 1.4
Salem Harbor - Canal St./Railyard (T-146) | 115 | 2-1000 CU | UG | 1 | 1.3 | 1.3
Canal St./Railyard - Wakefield Jct. (S-145/T-146) | 115 | 1590 ACSR | OH | 2 | 8.3 | 16.6
Wakefield Jct. - E. Tewksbury - Tewksbury (S-145/T-146) | 115 | 300 CU | OH | 2 | 15.1 | 30.2
Wakefield Jct. - Golden Hills (S-145/T-146) | 115 | 795 & 1590 ACSR | OH | 2 | 2.4 | 4.8
Golden Hills - Maplewood(F-158N) | 115 | 1113 AL & | OH | 1 | 4.28 | 4.28
795 ACSR
Maplewood - Everett (F-158S) | 115 | 795 ACSR | OH | 1 | 2.48 | 2.48
Everett - Mystic #250 (BECo)(O-167) | 115 | 795 ACSR | OH | 1 | 1.5 | 1.7
|  | 1250 CU | UG | 1 | 0.2
Golden Hills - Resco - GE Lynn - Lynnway (Q-169) | 115 | 900 AL, | OH | 1 | 6.9 | 6.9
795 ACSR
Lynnway - GE Lynn - Revere (A-179) | 115 | 795 ACSR | OH | 1 | 4.9 | 4.9
Revere - Chelsea (BECo) (P-168) | 115 | 795 ACSR | OH | 1 | 0.2 | 0.2
Chelsea (BECo) - Mystic (BECo) (P-168) | 115 | 795 AL | OH | 1 | 1.2 | 1.47
|  | 2250 CU | UG | 1 | 0.27
Tewksbury - Billerica/Burlington (BECo) (M-139/N-140) | 115 | 795 ACSR | OH | 2 | 6.6 | 13.2
Tewksbury - Sandy Pond (K-137E/L-138E) | 115 | 1590 ACSR | OH | 2 | 15.8 | 31.6
Sandy Pond - Pratts Jct. (L-138W) | 115 | 1590 ACSR | OH | 1 | 14.8 | 14.8
Sandy Pond - Ayer (K-137) | 115 | 1590 ACSR | OH | 1 | 3.5 | 3.5
Ayer - Pratts Jct. (K-137W) | 115 | 1590 ACSR | OH | 1 | 13.2 | 13.2
Pratts Jct. - Flagg Pond (I-135S/J-136S) | 115 | 4/0 CU | OH | 2 | 8.2 | 16.4
Flagg Pond - Monadnock - Bellows Falls (I-135N) | 115 | 4/0 CU | OH | 1 | 52 | 52
Flagg Pond - Bellows Falls (J-136N) | 115 | 4/0 CU | OH | 1 | 52 | 52
Bellows Falls - Ascutney Tap - Slayton Hill (W-149S) | 115 | 336 ACSR | OH | 1 | 19.4 | 37.1
|  | 954 ACSR | OH | 1 | 17.7
Slayton Hill - Mt. Support - Wilder (W-149N) | 115 | 954 ACSR | OH | 1 | 3.3 | 3.3
Pratts Jct. - Sterling - Greendale (O-141N) | 115 | 477 & | OH | 1 | 12.7 | 12.7
954 ACSR
Greendale - Nashua St. (O-141) | 115 | 477 & 954 ACSR OH |  | 1 | 2.5 | 2.5
Nashua St. - Millbury (O-141S) | 115 | 477 AL, | OH | 1 | 15.4 | 15.4
954 ACSR
Pratts Jct. - Sterling - Wachusett - W. Boylston (P-142N) | 115 | 954 ACSR | OH | 1 | 9.2 | 9.2
W. Boylston - Rolfe Ave., Shrewsbury (P-142) | 115 | 954 ACSR | OH | 1 | 5.8 | 5.8
Rolfe Ave., Shrewsbury - Bloomingdale - Millbury (P-142S) | 115 | 954 ACSR | OH | 1 | 5.8 | 5.8
Millbury - Depot St. Tap - Medway (BECo) (D-130) | 115 | 795 AL | OH | 1 | 14.5 | 14.5
Millbury - Depot St. Tap - Medway (BECO)(C-129N) | 115 | 795 AL | OH | 1 | 14.5 | 14.5
Beaver Pond - Medway (BECO)(C-129N) | 115 | 2-636 AL | OH | 1 | 5.3 | 5.3
Beaver Pond - Union St. (C-129) | 115 | 2-636 AL | OH | 1 | 1.7 | 1.7
Union St. - S. Wrentham (C-129S) | 115 | 2-636 AL | OH | 1 | 3.3 | 3.3
Depot St. Tap - Milford Power Tap - Milford Power (C-129N) | 115 | 477 & 1590ACSR | OH | 1 | 2.9 | 2.9
Depot St. Tap - Milford Power Tap - Milford Power (D-130) | 115 | 394 AL & | OH | 1 | 2.9 | 2.9
1590 ACSR
Millbury - Webster St. Tap (A-127/B-128) | 115 | 4/0 CU | OH | 2 | 6.9 | 13.8
Webster St. Tap - Cabot Tap (A-127/B-128) | 115 | 4/0 CU | OH | 2 | 46.3 | 92.6
Cabot Tap - Harriman (A-127/B-128) | 115 | 4/0 CU | OH | 2 | 21.1 | 42.2
Webster St. Tap - Webster St. (A-127) | 115 | 4/0 CU | OH | 2 | 2.1 | 4.2
Cabot Tap - Indeck - Cabot/Montague (NU) (B-128) | 115 | 4/0 CU | OH | 1 | 2.7 | 2.7
Adams - Bear Swamp Jct. (E-131) | 115 | 1113 ACSR | OH | 1 | 6.7 | 6.7
Harriman - Bear Swamp Jct. (E-131) | 115 | 1113 ACSR | OH | 1 | 5.6 | 5.6
Bear Swamp - Bear Swamp Jct. (E-131) | 115 | 2-1113 ACSR | OH | 1 | 2.6 | 2.6
Adams - Lanesboro (WMECO) (F-132) | 115 | 1113 ACSR | OH | 1 | 12.6 | 12.6
Palmer - Thorndike - Belchertown/Ludlow Town Line (WMECO) (X-176) | 115 | 1113 AL | OH | 1 | 9 | 9
Bear Swamp - Deerfield No. 4 Station (S-197) | 115 | 795 ACSR | OH | 1 | 14.1 | 14.1
Palmer - Little Rest - W. Charlton - Carpenter Hill (W-175) | 115 | 795 AL | OH | 1 | 17.4 | 17.4
Carpenter Hill - N. Oxford - Millbury (V-174) | 115 | 1113 AL | OH | 1 | 15.2 | 15.2
Adams - Bennington (VELCO) (Q-117) | 115 | 795 ACSR | OH | 1 | 7.4 | 7.4
Harriman - Cabot (Y-177) | 115 | 795 AL & | OH | 1 | 25.8 | 25.8
ASCR
Millbury - Woonsocket (Q-143/R-144) | 115 | 795 ACSR | OH | 2 | 19.4 | 38.8
Brayton Point - Chartley Pond (C-181S) | 115 | 2-636 AL | OH | 1 | 17.8 | 17.8
Chartley Pond - S. Wrentham (C-181N) | 115 | 2-636 AL | OH | 1 | 8.7 | 8.7
Brayton Point - S. Wrentham (D-182) | 115 | 2-636 AL | OH | 1 | 26.6 | 26.6
Brayton Point - Merriman Jct. - Mink St. - Read St. (F-184) | 115 | 2-1113 AL | OH | 1 | 20.8 | 20.8
Read St. - Robinson Ave Tap - Washington Tap - Woonsocket (V-148) | 115 | 795 AL | OH | 1 | 11.5 | 11.5
1113 AL
Brayton Point - Merriman Jct.- Mink St.- Wampanoag (E-183E) | 115 | 2-1113 AL | OH | 1 | 12.5 | 12.5
Wampanoag - Providence (E-183W) | 115 | 2-1113 AL | OH | 1 | 3.62 | 3.62
Providence-Hartford Ave. (E-105/F-106) | 115 | 2750 CU | UG | 2 | 6.82 | 13.64
Woonsocket - Hartford Ave. via W. Farnum Taps (S-171 N/T-172N) | 115 | 1590 ACSR | OH | 2 | 12.36 | 24.72
West Farnum (EUA) - W. Farnum Taps (S-171N/T-172N) | 115 | 1590 ACSR | OH | 2 | 0.2 | 0.4
Hartford Ave.-Johnston tap-W.Cranston-Drumrock (S-171S/T-172S) | 115 | 1590 ACSR | OH | 2 | 0.7 | 1.4
|  | 795 AL | OH | 2 | 9.53 | 19.06
Drumrock - Kent County (G-185N) | 115 | 795 AL | OH | 1 | 1 | 1
Drumrock - Kent County (K-189) | 115 | 2-795 ACSR | OH | 1 | 1 | 1
Kent County - West Kingston (G-185S) | 115 | 795 AL | OH | 1 | 17.5 | 17.5
West Kingston - Kenyon (1870N) | 115 | 795 AL | OH | 1 | 4.3 | 4.3
Kenyon - Wood River (1870) | 115 | 795 AL | OH | 1 | 3.9 | 3.9
Wood River - Mystic (CL&P) (1870S) | 115 | 795 AL | OH | 1 | 7.2 | 7.2
Grove St. Tap (BECo) - Mid-Weymouth - Edgar (478-509) | 115 | 795 ACSR | OH | 1 | 0.2 | 0.2
Millbury - East Main Street - Northboro Road (E-157) | 115 | 795 ACSR | OH | 1 | 13.7 | 13.7
Northboro Rd. - W. Framingham (BECo) (D-156) | 115 | 795 ACSR | OH | 1 | 5.6 | 5.6
Millbury #2 - Millbury #1 (No. 1 Trans. Line) | 115 | 1113 ACSR | OH | 1 | 0.2 | 0.2
Millbury #2 - Millbury #1 (No. 2 Trans. Line) | 115 | 4/0 CU | OH | 1 | 0.2 | 0.2
Millbury #2 - Millbury #1 (No. 3 Trans. Line) | 115 | 4/0 ACSR | OH | 1 | 0.2 | 0.2
Millbury - N. Grafton Tap - Westboro (X-24W) | 69 | 795 ACSR | OH | 1 | 10.3 | 10.3
Westboro - Northboro Road (X-24E) | 69 | 795 ACSR, AL | OH | 1 | 4.2 | 4.2
Pratts Jct. - Fitch Road, Clinton (N-40) | 69 | 2-2/0 CU | OH | 1 | 4.4 | 4.4
Fitch Road, Clinton - Wachusett (M-39) | 69 | 2-2/0 CU | OH | 1 | 6.6 | 6.6
Pratts Jct. - Otter River (A-1) | 69 | 2/0 CU | OH | 1 | 21.8 | 21.8
Otter River - Chestnut Hill, Athol (A-1) | 69 | 2/0 CU | OH | 1 | 11.1 | 11.1
Chestnut Hill, Athol - Vernon (A-1) | 69 | 2/0 CU | OH | 1 | 26.3 | 26.3
Pratts Jct. - Park St., Gardner (B-2) | 69 | 2/0 CU | OH | 1 | 18.9 | 18.9
Park St., Gardner - Vernon (B-2) | 69 | 2/0 CU | OH | 1 | 31.8 | 31.8
Vernon - Deerfield No. 4 Station (C-3/D-4) | 69 | #1 CU | OH | 2 | 16.6 | 33.2
Millbury - Meadow St., Spencer (E-5E/F-6E) | 69 | 477 ACSR | OH | 2 | 14.65 | 29.3
Meadow St., Spencer - Ware (E-5/F-6) | 69 | 477 ACSR | OH | 2 | 10.85 | 21.7
Ware - Shutesbury (E-5W) | 69 | 2/0 CU | OH | 1 | 19.4 | 19.4
Shutesbury-Deerfield No.3 Sta.-Deerfield No.4 Sta. (E-5D) | 69 | 2/0 & #1 CU | OH | 1 | 21.2 | 21.2
Ware-Deerfield No.2 Sta.-Deerfield No.4 Sta. (F-6W) | 69 | 2/0 & #1 CU | OH | 1 | 40.6 | 40.6
Deerfield No. 5 Station - Adams (I-9/J-10) | 69 | 2-#1 CU | OH | 1 | 8.6 | 8.6
394 AL
Ware - Palmer (O-15) | 69 | 795 AL | OH | 1 | 10.4 | 10.4
4/0 ACSR
Deerfield No. 5 Station - Harriman (Y-25S) | 69 | 2/0 CU | OH | 1 | 5.4 | 5.4
Harriman - Searsburg (Y-25N) | 69 | 477 ACSR | OH | 1 | 8.4 | 8.4
Searsburg - GMP Wind Farm Tap - Bennington (VELCO)(Y-25N) | 69 | #1 CU | OH | 1 | 3 | 3
-------------
TOTAL NEW ENGLAND ELECTRIC SYSTEM OPERATING COMPANIES LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 1341.9
-------------
TOTAL NEW ENGLAND ELECTRIC SYSTEM OPERATING COMPANIES CKT. MILES | [5 empty] | 2025.1

## PSNH-HI
Public Service Company of New Hampshire
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Scobie - Buxton, ME (CMP) (PSNH sec of 391) | 345 | 2-850.8 ACSR | OH | 1 | 37.31 | 37.31
Scobie Pond - Lawrence Rd. - | 345 | 2-850.8 ACSR | OH | 1 | 18.44 | 18.44
Sandy Pond, MA (NEES) (PSNH Sec.of 326)
Scobie Pond - Amherst - Vernon, VT (VELCO)(PSNH sec of 379) | 345 | 2-850.8 | OH | 1 | 67.86 | 67.86
& 2500 ACSR
Vernon, VT (VELCO) - Northfield, MA (NU) (PSNH sec of 381) | 345 | 2-850.8 | OH | 1 | 10.61 | 10.61
& 2500 ACSR
Seabrook - Scobie (363) | 345 | 2-2156 ACSR | OH | 1 | 29.89 | 29.89
& SF6 BUS
Seabrook - Timber Swamp Rd - Newington (369) | 345 | 2-1113 ACSR | OH | 1 | 17.16 | 17.16
& SF6 BUS
Scobie Pond - Deerfield (373) | 345 | 2-850.8 ACSR | OH | 1 | 18.63 | 18.63
Deerfield - Buxton, ME (CMP) (PSNH sec of 385) | 345 | 2-850.8 ACSR | OH | 1 | 18.69 | 18.69
Deerfield - Newington (307) | 345 | 2-1113 ACSR | OH | 1 | 25.58 | 25.58
& 1-4500 ACSR
Seabrook - Tewksbury,MA (NEES) (PSNH Sec. of 394) | 345 | 2-2156 ACSR | OH | 1 | 7.72 | 7.72
& SF6 BUS
Merrimack - Dunbarton (A-253) | 230 | 795 ACSR | OH | 1 | 8.73 | 8.73
-------------
TOTAL PUBLIC SERVICE COMPANY OF NEW HAMPSHIRE EHV PTF CKT. MILES | [5 empty] | 260.6

## PSNH-LO
Public Service Company of New Hampshire
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Moore (NEES) - Whitefield (Q-195) | 115 | 477 & 366.4 | OH | 1 | 16.4 | 16.4
ACSR
U-199 Tap - Littleton (U-199) | 115 | 795 ACSR | OH | 1 | 9 | 9
Whitefield - U-199 Tap (X-178) | 115 | 795 ACSR | OH | 1 | 14.83 | 14.83
U-199 Tap - Woodstock - Beebe River (X-178) | 115 | 795 ACSR | OH | 1 | 34.88 | 34.88
Webster - North Road (M-127) | 115 | 795 ACSR | OH | 1 | 25.6 | 25.6
North Road - Ascutney, VT (VELCO) (PSNH sec of K-174) | 115 | 795 ACSR | OH | 1 | 16.03 | 16.03
Webster - Oak Hill Tap - Merrimack (P-145) | 115 | 795 ACSR | OH | 1 | 26.5 | 26.5
Webster - Garvins (V-182) | 115 | 336.4 ACSR | OH | 1 | 23.76 | 23.76
Greggs - Jackman (F-162) | 115 | 266.8 & 336.4 | OH | 1 | 20.43 | 20.43
ACSR
Jackman - Keene (L-163) | 115 | 336.4 ACSR | OH | 1 | 26.13 | 26.13
Keene - Monadnock (T-198) | 115 | 477 ACSR | OH | 1 | 11.16 | 11.16
Garvins - Merrimack (H-137) | 115 | 795 ACSR | OH | 1 | 2.68 | 2.68
Merrimack - Eddy (D-121) | 115 | 795 ACSR | OH | 1 | 11.3 | 11.3
Eddy - Rimmon - Greggs (J-114) | 115 | 795 ACSR | OH | 1 | 5.45 | 5.45
Madbury - Dover (M-183) | 115 | 795 & 477 ACSR | OH | 1 | 6.43 | 6.43
Greggs - Merrimack (C-196) | 115 | 795 ACSR | OH | 1 | 10.8 | 10.8
Greggs - Merrimack (Q-171) | 115 | 795 ACSR | OH | 1 | 10.87 | 10.87
Greggs - Mammoth Rd. - Scobie Pond (R-187) | 115 | 477 & 795 ACSR | OH | 1 | 18.54 | 18.54
Scobie Pond - Kingston - Ocean Rd. (R-193) | 115 | 477 &795 ACSR | OH | 1 | 29.9 | 29.9
Scobie Pond - Chester - Ocean Rd.(H-141) | 115 | 336.4 & 795 | OH | 1 | 29.9 | 29.9
ACSR
Scobie Pond - Hudson (X-116) | 115 | 795 ACSR | OH | 1 | 11.18 | 11.18
Greggs - Reeds Ferry (B-143) | 115 | 795 ACSR | OH | 1 | 11 | 11
Hudson - Dracut, MA (NEES) (PSNH sec of Y-151) | 115 | 4/0 Cu & | OH | 1 | 3.6 | 3.6
795 ACSR
Keene - Swanzey - Westport - Chestnut Hill - Vernon, VT | 115 | 795, 477 & | OH | 1 | 19.37 | 19.37
(VELCO) (PSNH Sec of N-186) |  | 2500 ACSR
Garvins - Deerfield (G-146) | 115 | 477 & 795 | OH | 1 | 16.86 | 16.86
ACSR
Greggs - Deerfield (O-161) | 115 | 795 ACSR | OH | 1 | 21.88 | 21.88
Deerfield - Madbury (L-175) | 115 | 2-266.8 & | OH | 1 | 12.96 | 12.96
795 ACSR
Deerfield - Rochester - Madbury (C-129) | 115 | 477 & 795 ACSR | OH | 1 | 12.98 | 12.98
Schiller - Bolt Hill Tap - Three Rivers (N-133) | 115 | 795, 2-1113 & | OH | 1 | 7.17 | 7.17
1-4500 ACSR
Dover - Three Rivers (R-169) | 115 | 795 & 2-1113 | OH | 1 | 2.99 | 2.99
ACSR
Pemigewasett - Webster (A-111) | 115 | 336.4 & 795 | OH | 1 | 10.62 | 10.62
ACSR
Schiller - Ocean Road (E-194) | 115 | 477 & 795 | OH | 1 | 5.44 | 5.44
ACSR
Schiller - Ocean Road (U-181) | 115 | 336.4 & 795 | OH | 1 | 5.5 | 5.5
ACSR
Reeds Ferry - Milford Tap - Busch - Hudson (K-165) | 115 | 795 ACSR | OH | 1 | 7.88 | 7.88
Beebe - Ashland - Pemigewasset (E115) | 115 | 336.4 & 795 | OH | 1 | 18.28 | 18.28
ACSR
-------------
TOTAL PUBLIC SERVICE COMPANY OF NEW HAMPSIRE LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 518.3
-------------
TOTAL PUBLIC SERVICE COMPANY OF NEW HAMPSHIRE CKT. MILES | [5 empty] | 778.9

## TMLP-LO
Taunton Municipal Lighting Plant
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Cleary/Flood - Taunton Tap (S-8) | 115 | 795 ACSR | OH | 1 | 0.9 | 0.9
Cleary/Flood - Taunton Tap (V-5) | 115 | 795 AAC | OH | 1 | 0.9 | 0.9
-------------
TOTAL TAUNTON MUNICIPAL LIGHTING PLANT LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 1.8
-------------
TOTAL TAUNTON MUNICIPAL LIGHTING PLANT CKT. MILES | [5 empty] | 1.8

## UI-HI
The United Illuminating Company
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
East Shore - Black Pond Jct. (UI) [387] | 345 | 2-954 ACSR | OH | 1 | 6.1 | 6.1
-------------
TOTAL OF THE UNITED ILLUMINATING COMPANY EHV PTF CKT. MILES | [5 empty] | 6.1

## UI-LO
The United Illuminating Company
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Pequonnock - Trumbull Jct. [1710 ; 1730] | 115 | 795 ACSR | OH | 2 | 3.87 | 10.56
| 115 | 1750 Cu | UG | 2 | 1.41
Pequonnock - Congress [8809A ; 8909B] | 115 | 1590 ACSR | OH | 2 | 0.7 | 1.4
Congress - Baird [8809A ; 8909B] | 115 | 795 ACSR | OH | 2 | 2.33 | 4.66
Baird - Devon (UI) [88006A ; 89006B] | 115 | 1272 SSAC | OH | 2 | 2.33 | 4.66
Devon (UI) - Milvon [88005A ; 89005B] | 115 | 795 ACSR | OH | 2 | 1.38 | 2.76
Milvon - Woodmont [88005A ; 89005B] | 115 | 1272 SSAC | OH | 2 | 4.07 | 8.14
Woodmont - W. River [8804A,88003A ; 8904B,89003B] | 115 | 1272 SSAC | OH | 2 | 5.5 | 11
W. River - Grand Avenue [88003A ; 89003B] | 115 | 2500 Cu | UG | 2 | 2.69 | 5.38
Grand Avenue - Sackett [8400] | 115 | 1272 ACSR | OH | 1 | 4.2 | 4.2
Sackett - Mix [84004] | 115 | 1250 Cu | UG | 1 | 2.32 | 2.32
Mix - Glen Lake [1610] | 115 | 556 ACSR | OH | 1 | 2.9 | 2.9
Pequonnock - Ash Creek [91001] | 115 | 1590 ACSR | OH | 1 | 3.36 | 3.36
Ash Creek - Sasco Creek (UI) [1430] | 115 | 1590 ACSR | OH | 1 | 4.06 | 4.06
Pequonnock - Darien (UI) [1130] | 115 | 1590 SSAC | OH | 1 | 6.84 | 6.84
Pease Rd. Jct. - June Street [1610 ; 1685] | 115 | 1272 ACSR | OH | 2 | 0.77 | 1.54
Derby Jct. - Ansonia [1560] | 115 | 4/0 Cu | OH | 1 | 3.77 | 4.08
|  | 336.4 SSAC | OH | 1 | 0.31
Indian Well - Ansonia [1594] | 115 | 4/0 Cu | OH | 1 | 2.61 | 2.61
Derby Jct. - Indian Well [1570] | 115 | 4/0 Cu | OH | 1 | 1.16 | 1.47
|  | 336.4 SSAC | OH | 1 | 0.31
Grand Avenue - Water Street [8500] | 115 | 2250 Cu | UG | 1 | 1.45 | 1.45
Water Street - W. River [8700] | 115 | 2250 Cu | UG | 1 | 1.53 | 1.53
East Shore - Grand Avenue [8100 ; 8200] | 115 | 2-1590 ACSR | OH | 2 | 1.53 | 3.06
Mill River - Broadway [9502] | 115 | 1500 Cu | UG | 1 | 1.66 | 1.66
Broadway - Water Street [9500] | 115 | 1500 Cu | UG | 1 | 1.49 | 1.49
Quinnipiac - Cedar Hill [8300 ; 8600] | 115 | 1272 ACSR | OH | 2 | 1.04 | 2.08
East Shore - Branford (UI) [1460] | 115 | 1272 ACSR | OH | 1 | 6.1 | 6.1
Mill River/Grand Avenue - Cedar Hill [8300] | 115 | 1272 ACSR | OH | 1 | 1.25 | 1.3
|  | 1590 ACSR | OH | 1 | 0.05
Cedar Hill - North Haven [8600] | 115 | 1272 ACSR | OH | 1 | 7.15 | 7.15
North Haven - Wharton Brook Jct. [1630 ; 1655] | 115 | 1272 ACSR | OH | 2 | 1.67 | 3.34
-------------
TOTAL OF THE UNITED ILLUMINATING COMPANY LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 111.1
-------------
TOTAL OF THE UNITED ILLUMINATING COMPANY CKT. MILES | [5 empty] | 117.2

## VEL-HI
Vermont Electric Power Company, Inc
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Vernon - Northfield (VT) | 345 | 2-927 ACAR | OH | 1 | 0.4 | 0.4
Vernon - Scobie (VT) | 345 | 2-927 ACAR | OH | 1 | 0.4 | 0.4
Vernon - Coolidge | 345 | 2-927 ACAR | OH | 1 | 51.22 | 51.22
Comerford - Granite | 230 | 927 ACAR | OH | 1 | 32.09 | 32.48
| 230 | 954 ACSR | OH | 1 | 0.39
-------------
TOTAL VERMONT ELECTRIC POWER COMPANY, INC. EHV PTF CKT. MILES | [5 empty] | 84.5

## VEL-LO
Vermont Electric Power Company, Inc
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Sand Bar - Essex | 115 | 954 ACSR | OH | 1 | 11.19 | 11.19
Plattsburgh - Sand Bar (VT/NY border) | 115 | 1000 Cable | UG | 1 | 0.6 | 12.39
| 115 | 500 Cable | UG | 1 | 0.6
| 115 | 954 AA | OH | 1 | 7.2
| 115 | 954 ACSR | OH | 1 | 2.98
| 115 | 954 AA | OH | 1 | 1.01
Essex - Barre | 115 | 795 ACSR | OH | 1 | 36.34 | 36.34
Barre - Wilder | 115 | 795 ACSR | OH | 1 | 39.67 | 39.67
W. Rutland Tap - Whitehall (VT) | 115 | 795 ACSR | OH | 1 | 12.17 | 12.17
Coolidge - Ascutney | 115 | 795 ACSR | OH | 1 | 12.95 | 12.95
Ascutney - North Road (VT) | 115 | 798 ACSR | OH | 1 | 1.2 | 1.2
Bennington - Hoosick (VT) | 115 | 795 ACSR | OH | 1 | 6.8 | 6.8
Bennington - Adams (VT) | 115 | 927 ACAR | OH | 1 | 11 | 11
Essex - Middlebury | 115 | 1272 ACSR | OH | 1 | 5.27 | 33.7
| 115 | 954 ACSR | OH | 1 | 28.43
W. Rutland Tap - Middlebury | 115 | 927 ACAR | OH | 1 | 29.02 | 29.02
Vernon - Keene (VT) | 115 | 1-927 ACAR | OH | 1 | 0.35 | 0.35
Coolidge - Rutland | 115 | 795 ACSR | OH | 1 | 23.83 | 23.83
Ascutney - Ascutney Tap | 115 | 477 ACSR | OH | 1 | 2.2 | 2.2
Rutland - W. Rutland Tap | 115 | 795 ACSR | OH | 1 | 3.96 | 3.96
Georgia - Essex | 115 | 1-954 ACSR | OH | 1 | 18.07 | 18.07
Georgia - Sand Bar | 115 | 1-927 ACAR | OH | 1 | 8.88 | 8.88
Coolidge - W. Rutland | 115* | 2-954 ACSR | OH | 1 | 27.37 | 27.37
Bennington - Searsburg (VT) | 69 | 2/0 ACSR | OH | 1 | 10.32 | 10.32
-------------
TOTAL VERMONT ELECTRIC POWER COMPANY, INC. LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 301.4
-------------
TOTAL VERMONT ELECTRIC POWER COMPANY, INC. CKT. MILES | [5 empty] | 385.9
* Constructed for 345 kV operation.

## WME-HI
Western Massachusetts Electric Company
EHV PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Manchester - Ludlow (WMECO Sec. of 395) | 345 | 2156 ACSR | OH | 1 | 11.6 | 11.6
Ludlow - Carpenter Hill (WMECO Sec. of 301) | 345 | 2156 ACSR | OH | 1 | 2.7 | 2.7
Northfield - Berkshire (312) | 345 | 2 x 954 ACSR | OH | 1 | 36.9 | 36.9
Northfield - Vernon (WMECO Sec. of 381) | 345 | 2 x 954 ACSR | OH | 1 | 9.3 | 9.3
Northfield - Ludlow (354) | 345 | 2 x 954 ACSR | OH | 1 | 29.4 | 29.4
Berkshire - Alps (WMECO Sec. of 393) | 345 | 2 x 954 ACSR | OH | 1 | 14.6 | 14.6
-------------
TOTAL WESTERN MASSACHUSETTS ELECTRIC COMPANY EHV PTF CKT. MILES | [5 empty] | 104.5

## WME-LO
Western Massachusetts Electric Company
Lower Voltage PTF
|  |  | UG | NO OF | MILES | CKT
LINE | KV | CONDUCTOR | OH | CKTS | PER CKT | MILES
Doreen - Berkshire (1551) | 115 | 1272 ACSR | OH | 1 | 6 | 6
Doreen - Berkshire (1662) | 115 | 1272 ACSR | OH | 1 | 6 | 6
Berkshire - Cumberland via Plainfield and Ashfield (1231) | 115 | 2/0 Cu | OH | 1 | 26 | 26.1
|  | 1272 ACSR | OH | 1 | 0.1
Berkshire - Cumberland via Plainfield and Ashfield (1242) | 115 | 2/0 Cu | OH | 1 | 28.8 | 28.9
|  | 1272 ACSR | OH | 1 | 0.1
Cumberland - Montague (1361) | 115 | 2/0 Cu | OH | 1 | 2.8 | 2.8
Doreen - Oswald (1211) | 115 | 336 ACSR | OH | 1 | 3.7 | 7.8
|  | 1272 ACSR | OH | 1 | 4.1
Doreen - Woodland via Oswald (1161) | 115 | 1272 ACSR | OH | 1 | 12.4 | 12.4
Pleasant - Blanford (1421) | 115 | 556 ACSR | OH | 1 | 17.9 | 17.9
Blanford - Southwick via Elm (1512) | 115 | 556 ACSR | OH | 1 | 24 | 24.5
|  | 1272 ACSR | OH | 1 | 0.5
Pleasant - Woodland (1371) | 115 | 556 ACSR | OH | 1 | 4.1 | 4.1
Fairmont - Holyoke (WMECO Sec. of 1525) | 115 | 795 ACSR | OH | 1 | 0.1 | 0.1
Fairmont - Chicopee via Shawinigan (1254) | 115 | 795 ACSR | OH | 1 | 2.6 | 5.5
|  | 1272 ACSR | OH | 1 | 2.9
Ludlow - Shawinigan (1845) | 115 | 1113 ALUM | OH | 1 | 5.2 | 6.2
|  | 1272 ACSR | OH | 1 | 1
East Springfield - Orchard (1426) | 115 | 1113 ALUM | OH | 1 | 0.6 | 3.6
|  | 1113 ACSR | OH | 1 | 1.3
|  | 1272 ACSR | OH | 1 | 1.7
Orchard - Ludlow (1552) | 115 | 1113 ALUM | OH | 1 | 0.6 | 5.4
|  | 1272 ACSR | OH | 1 | 4.8
East Springfield - Ludlow (1481) | 115 | 1272 ACSR | OH | 1 | 6.1 | 7.4
|  | 1113 ACSR | OH | 1 | 1.3
Piper - East Springfield Jct. via Fairmont No. & East Springfield (1723) | 115 | 336 ACSR | OH | 1 | 4.2 | 10
|  | 795 ACSR | OH | 1 | 1.7
|  | 1272 ACSR | OH | 1 | 2.5
|  | 2-336 ACSR | OH | 1 | 1.6
East Springfield - Breckwood (1322) | 115 | 650 Cu | UG | 1 | 2.8 | 2.8
Breckwood - West Springfield (1433) | 115 | 650 Cu | UG | 1 | 4.4 | 4.4
West Springfield - Agawam (1311) | 115 | 336 ACSR | OH | 1 | 2.3 | 2.5
|  | 4/0 Cu | OH | 1 | 0.1
|  | 1272 ACSR | OH | 1 | 0.1
West Springfield - Agawam (1412) | 115 | 336 ACSR | OH | 1 | 2.3 | 2.5
|  | 4/0 Cu | OH | 1 | 0.1
|  | 1272 ACSR | OH | 1 | 0.1
Midway - Gunn (1962) | 115 | 1272 ACSR | OH | 1 | 5.5 | 5.5
Midway - Mount Tom (WMECO Sec. of 1039) | 115 | 795 ACSR | OH | 1 | 0.2 | 0.2
Agawam - Elm (1007) | 115 | 1272 ACSR | OH | 1 | 7.5 | 7.5
Ludlow - Palmer (WMECO Sec. of X176) | 115 | 1113 ALUM | OH | 1 | 2.9 | 2.9
Ludlow - Scitico (WMECO Sec. of 1515) | 115 | 1272 ACSR | OH | 1 | 11.8 | 11.8
Franconia - Scitico (WMECO Sec. of 1394) | 115 | 1272 ACSR | OH | 1 | 6.1 | 6.1
Doreen - North Adams (WMECO Sec. of F132) | 115 | 1272 ACSR | OH | 1 | 6.5 | 6.5
Agawam - Piper (1230) | 115 | 336 ACSR | OH | 1 | 3.6 | 3.6
Agawam - Buck Pond via Pochassic (1302) | 115 | 1272 ACSR | OH | 1 | 8.6 | 8.6
North Bloomfield - Southwick (WMECO Sec. of 1768) | 115 | 556 ACSR | OH | 1 | 1.2 | 1.2
Agawam - North Bloomfield via Silver & Franconia (WMECO Sec. of 1781) | 115 | 556 ACSS | OH | 1 | 3.7 | 7.4
| 115 | 1272 ACSR | OH | 1 | 3.7
Agawam - North Bloomfield via Silver (WMECO Sec. of 1782) | 115 | 556 ACSS | OH | 1 | 6 | 6
Agawam - Chicopee (1314) | 115 | 556 ACSR | OH | 1 | 2.3 | 2.3
-------------
TOTAL WESTERN MASSACHUSETTS ELECTRIC COMPANY LOWER VOLTAGE PTF CKT. MILES | [5 empty] | 256.5
-------------
TOTAL WESTERN MASSACHUSETTS ELECTRIC COMPANY CKT. MILES | [5 empty] | 361

## cover
Prepared
for
NEPOOL
by
ISO New England Inc.
One Sullivan Road
Holyoke, MA 01040-2841
Telephone (413) 535-4166
Report Requests: (413) 535-4112
Web Site: http://www.iso-ne.com