RSP07 Table of Generating Capacity by Subarea, SMD Load Zone, and State

	
	
	
	Summer (a)
	Winter (a)

	
	
	
	Capacity Rating (MW)
	Percent of
	Capacity Rating (MW)
	Percent of

	RSP Subarea
	SMD
Load
Zone
	State
	
	RSP Subarea
	State
	
	RSP Subarea
	State

	BHE
	
	
	862
	
	
	975
	
	

	
	ME
	Maine
	862
	100
	28
	975
	100
	28

	ME
	
	
	730
	
	
	892
	
	

	
	ME
	Maine
	730
	100
	24
	892
	100
	26

	
	NH
	Maine
	<1
	0
	0
	<1
	0
	0

	SME
	
	
	1,492
	
	
	1,570
	
	

	
	ME
	Maine
	1,492
	100
	48
	1,570
	100
	46

	NH
	
	
	4,035
	
	
	4,258
	
	

	
	NH
	New Hampshire
	3,977
	99
	100
	4,199
	99
	100

	
	NH
	Vermont
	1
	0
	0
	1
	0
	0

	
	VT
	New Hampshire
	1
	0
	0
	2
	0
	0

	
	VT
	Vermont
	39
	1
	4
	40
	1
	3

	
	WCMA
	Massachusetts
	17
	0
	0
	17
	0
	0

	VT
	
	
	978
	
	
	1,050
	
	

	
	NH
	New Hampshire
	1
	0
	0
	2
	0
	0

	
	NH
	Vermont
	90
	9
	8
	90
	9
	8

	
	VT
	Vermont
	887
	91
	82
	958
	91
	83

	BOSTON
	
	
	3,573
	
	
	4,074
	
	

	
	SEMA
	Massachusetts
	<1
	0
	0
	<1
	0
	0

	
	WCMA
	Massachusetts
	15
	0
	0
	20
	0
	0

	
	NEMA/Boston
	Massachusetts
	3,558
	100
	27
	4,054
	100
	28

	CMA/NEMA
	
	
	123
	
	
	126
	
	

	
	SEMA
	Massachusetts
	<1
	0
	0
	<1
	0
	0

	
	WCMA
	Massachusetts
	118
	96
	1
	121
	96
	1

	
	NEMA/Boston
	Massachusetts
	5
	4
	0
	5
	4
	0

	WMA
	
	
	3,710
	
	
	3,987
	
	

	
	WCMA
	Massachusetts
	3,643
	98
	28
	3,921
	98
	27

	
	WCMA
	Vermont
	67
	2
	6
	66
	2
	6

	SEMA
	
	
	3,017
	
	
	3,607
	
	

	
	RI
	Rhode Island
	245
	8
	13
	279
	8
	13

	
	SEMA
	Massachusetts
	2,769
	92
	21
	3,325
	92
	23

	
	NEMA/Boston
	Massachusetts
	3
	0
	0
	3
	0
	0

	RI
	
	
	5,170
	
	
	5,772
	
	

	
	CT
	Connecticut
	698
	14
	9
	805
	14
	10

	
	RI
	Rhode Island
	1,573
	30
	87
	1,797
	31
	87

	
	SEMA
	Massachusetts
	2,899
	56
	22
	3,170
	55
	22

	CT
	
	
	4,379
	
	
	4,496
	
	

	
	CT
	Connecticut
	4,379
	100
	58
	4,496
	100
	56

	SWCT
	
	
	1,992
	
	
	2,244
	
	

	
	CT
	Connecticut
	1,992
	100
	26
	2,244
	100
	28

	NOR
	
	
	466
	
	
	492
	
	

	
	CT
	Connecticut
	466
	100
	6
	492
	100
	6


