## Slide 1
NEPOOL Markets Committee | November 7-8, 2023 | Westborough, MA
Winter Gas and Oil Qualification, Modeling, and Accreditation
Resource Capacity Accreditation in the Forward Capacity Market
Technical Manager
Feng Zhao

## Slide 2
WMPP ID:
157
Proposed Effective Date: FCA 19 (with a one-year delay)
The Resource Capacity Accreditation (RCA) project proposes improvements to ISO-NE’s accreditation processes in the Forward Capacity Market (FCM) to further support a reliable, clean-energy transition by implementing methodologies that will more appropriately accredit resource contributions to resource adequacy as the resource mix transforms
A software bug triggered the review of winter risk modeling and an adjustment to the RCA project schedule
While the region is assessing prompt and/or seasonal options for the 2028-29 Capacity Commitment Period (CCP 19), this presentation resumes the RCA discussions under a forward, annual construct and targets proposed RCA improvements for the nineteenth Forward Capacity Auction (FCA 19) with a one-year delay
The focus of today’s presentation is to review a revised approach to qualifying, modeling, and accrediting gas and oil resources in the winter
Resource Capacity Accreditation in the Forward Capacity Market

## Slide 3
WMPP ID:
157
Proposed Effective Date: FCA 19 (with a one-year delay)
Outline of today’s discussion:
Review of Previously Proposed Gas and Oil De-rating Framework (slides 5-8)
Highlight of Revised Gas and Oil Models in De-rating Framework (slides 10-11)
Revised Gas and Oil Models in Seasonal Risk Assessment Process (slides 13-19)
Revised Gas and Oil Models in Resource Accreditation Process (slides 21-32)
Key Takeaways (slide 34)
Stakeholder Schedule (slides 36-37)
Resource Capacity Accreditation in the Forward Capacity Market

## Slide 4: Review of Previously Proposed De-rating Framework

## Slide 5: Previously Proposed De-rating Framework
Resource Qualification
Gas Capacity De-rating Factor Determination
Resource MRI/QMRIC Calculation
Gas Forecast
Adequacy Risk Assessment
Winter Risk Assessment
Resource Accreditation
Introduced
December 2022 MC/RC Meeting
The previously proposed de-rating framework had three components:
1. Resource Qualification: Determine portions of a gas resource’s winter Qualified Capacity (QC) that are backed by firm gas (no de-rating) or non-firm gas (subject to de-rating), and de-rated winter QC of an oil resource based on its storage capability in the qualification process
2. Risk Assessment (with a focus on winter): Develop regional gas forecasts for the winter period, and model aggregated gas resources and individual de-rated oil resources in the Resource Adequacy Assessment (RAA) to reflect adequacy risk in winter
3. Resource Accreditation: Use an equivalencing process to determine the capacity De-rating Factor (DF) for gas capacity without firm gas contracts, and calculate Qualified Marginal Reliability Impact Capacities (QMRICs) using individual gas and oil thermal resource models with De-rated QC
* The diagram is modified to include both gas and oil resources
De-rated Oil Capacity

## Slide 6: Previously Proposed De-rating Framework, Cont’d
The de-rating framework was proposed to reflect the winter energy limitations of gas and oil resources through winter De-rated QC (DQC)
  Gas energy limits were represented by a weather-correlated hourly pipeline gas profile and a monthly Liquefied Natural Gas (LNG) storage resource in the winter period (Dec. through Feb.)
  Firm gas contracts were compared to corresponding fuel requirements (daily and seasonal) to calculate the gas capacity supported by these contracts
  An equivalencing process was used to identify the uniform gas capacity DF that resulted in the same winter risk as the gas energy limits
  Gas resource DQC is the sum of the gas capacity associated with firm gas contracts (not de-rated) and the de-rated gas capacity without firm gas contracts
  Oil resources’ usable tank sizes were compared to an oil storage requirement to obtain oil resource DQC
  Gas and oil resources were modeled as individual thermal resources with their DQC and EFORd in the RAA base case for accreditation
  Resource MRIs and QMRICs were derived from these individual resource models

## Slide 7: Models in Previous De-rating Framework
* The diagram is modified to include both gas and oil models in the previous de-rating framework
Introduced
January 2023 MC/RC Meeting
Gas-only Resources
Dual-fuel Resources
Gas Capacity Non-firm Fuel
Gas Capacity
Firm Fuel
Gas Capacity Non-firm Fuel
Gas Capacity
Firm Fuel
Oil DQC Tank Size
Aggregated Profile representing
Hourly Available Pipeline Gas
and
Aggregated Storage representing
Monthly Available LNG
Individual Oil Resources
with DQC and EFORd
Aggregated Gas Energy Limits
Oil Resources
Oil DQC
Tank Size
Individual Oil Resources with Oil DQC and EFORd
Individual Oil Capacity Limits
Equivalencing
Resource Accreditation
Individual Gas-only Resources with DQC and EFORd
Individual Oil Resources with DQC and EFORd
Resource Qualification
Risk Assessment
Individual Dual-fuel Resources with DQC and EFORd

## Slide 8: Motivations for Enhancements
The ISO’s review of the previously proposed winter gas and oil models revealed:
  Separate modeling of the pipeline gas and LNG for generation requires capturing the complex interplay between pipeline, LNG and LDC systems
  Gas supply for generation is typically restricted on a daily timeframe rather than a monthly or seasonal timeframe
  The energy limitation of oil resources has a significant impact on the winter risk level
Upon further analysis, the ISO has determined that the winter risk needs to be more accurately reflected by revising the previous winter gas and oil models to better represent their energy limitations

## Slide 9: Revised Gas and Oil Models

## Slide 10: Modeling Enhancements to Gas and Oil Resources
The three-component framework (qualification, risk assessment, and resource accreditation) remains the same
The following model enhancements for gas and oil resources related to their energy limitations in the winter have been incorporated into the seasonal risk assessment:
  Represent the total available gas (pipelines and LNG) for generation as hourly profile (derived from daily energy limits)
  Represent the oil limitation of aggregated Distillate Fuel Oil (DFO) resources as bi-weekly oil energy limits
The revised accreditation process will now:
  Model the aggregated gas profile, and calculate the gas fleet’s total winter accreditation value for the gas profile
  Oil resources continue to be accredited as individually de-rated resources
  Assign EFORd-based winter MRIs for gas resources, and derive gas DF using those MRIs instead of an equivalencing process

## Slide 11: Revised Models in the De-rating Framework
Major changes are circled in red
Gas-only Resources
Dual-fuel Resources
Gas Capacity Non-firm Gas
Gas Capacity
Firm Gas
Gas Capacity Non-firm Gas
Gas Capacity
Firm Gas
Oil Capacity
Tank-size
Individual RFO Resources with EFORd
Aggregated Gas Energy Limits
Oil Resources
Oil Capacity
Tank-size
A Storage Resource representing
Bi-weekly Available DFO Oil
Individual RFO Capacity Limits
Seasonal Risks
Resource Accreditation
Individual DFO Resources with Oil DQC and EFORd
Qualification
Risk Assessment
A Profile Resource representing
Hourly Available Total Gas
A Profile Resource representing
Hourly Available Total Gas (with Allocation of the Fleet value to individual resources)
Aggregated DFO Energy Limits
Individual RFO Resources with EFORd

## Slide 12: Revised Gas and Oil Models in Seasonal Risk Assessment

## Slide 13: The Role of Seasonal Risks in QMRIC Calculation
A resource’s QMRIC reflects its annual contribution to adequacy, which includes summer and winter contributions during the simulated summer and winter MRI reliability hours, respectively
The resource’s seasonal MRI (hrs/yr) reflects its expected performing time associated with its seasonal QC during the MRI reliability hours of the season
  With zero risk in one season, the MRI of the season is 0 and the resource’s QMRIC will be solely determined in the other season
  The seasonal risk levels play an important role in determining QMRIC
“Summer contribution or QMRICSummer”
“Winter contribution or QMRICWinter”
“Annual contribution or QMRIC”
Introduced
February 2023 MC/RC Meeting

## Slide 14: Purpose of Seasonal Risk Assessment
Due to the lack of seasonal resource adequacy criteria, the proposed seasonal risk assessment will establish the seasonal risk levels under expected resource performance and 1-in-10 load conditions
  Winter risk is mainly driven by energy limitations (e.g., gas and oil)
  Summer risk is mainly driven by capacity limitations (e.g., outages)
These seasonal risk levels will be measured in LOLE to be consistent with the 1-in-10 annual criterion and used as inputs for the resource accreditation process

## Slide 15: Revised Gas Model for Seasonal Risk Assessment
Under the new proposal, the gas limitation for the winter period will be represented by HDD-correlated daily total available gas (including pipeline gas and LNG)
  The relationship between daily available gas and HDD will be formulated based on historical data
  The daily available gas will be converted to the daily total gas generation using the gas fleet heat rate
  The daily total gas generation will be distributed to hours of the day based on the historical gas generation pattern
The revised gas model will more accurately represent the total available gas for generation in the winter period

## Slide 16: Revised Gas Model for Seasonal Risk Assessment, Cont’d
Under the new proposal, the aggregated gas capacity (from gas-only and dual-fuel resources) will be modeled as a single hourly profile for the winter period
  The single profile model for total available gas replaces the previously separate pipeline and LNG models for the winter period
  The gas-only and dual-fuel resources will continue to be modeled as individual thermal resources at their winter QC (without energy limitations) in other months
  * Model details will be presented at upcoming RC meetings

## Slide 17: Revised Oil Model for Seasonal Risk Assessment
Under the new proposal, an aggregated oil energy limit will be modeled in the seasonal risk assessment
  Based on historical cold weather patterns, a two-week timeframe will be used for representing the oil energy limitation
  The limit will represent total oil supply for aggregated DFO resources within two weeks
  The limit will be established based on historical starting inventory levels and replenishments
  No energy limit is considered for Residual Fuel Oil (RFO) units as they typically have large tank sizes and their large historical inventory levels allow for continuous operation over two weeks
The aggregated energy limit will provide a more accurate characterization of the winter risk impact of oil limitations in the winter period

## Slide 18: Revised Oil Model for Seasonal Risk Assessment, Cont’d
Under the new proposal, the total DFO capacity (from oil-only and dual-fuel resources) will be modeled as an aggregated storage resource with energy limits over two-week periods in the winter risk assessment
  On a rolling basis, the winter period (December through February) will be divided into a series of independent two-week assessment periods
  During each of these two-week assessment periods, the total amount of energy from DFO units will be limited
    DFO resources will continue to be modeled as individual thermal resources for other months (March to November)
  RFO resources will be modeled as individual thermal resources for all months
  * Model details will be presented at upcoming RC meetings

## Slide 19: Key Takeaways of Revised Oil and Gas Models in Seasonal Risk Assessment
The newly proposed gas and oil models better capture the characteristics of gas and oil energy limitations and historical performance in the winter period, and therefore are expected to yield a more accurate winter risk level
The seasonal risk levels will serve as inputs for the accreditation process

## Slide 20: Revised Gas and Oil Models in Resource Accreditation

## Slide 21: Relationship between Seasonal Risk Assessment and Resource Accreditation
The seasonal risk assessment process will establish the summer and winter risk levels, measured in LOLE consistent with the annual risk criterion
The seasonal risk levels will be used for the construction of the RAA base case
  Seasonal load adjustments will be used to obtain the seasonal risk levels
The relationship of the two processes is illustrated as follows:
Revised Resource Accreditation Process
Revised Seasonal Risk Assessment Process
Seasonal Risks
The accreditation process calculates resource MRIs and QMRICs

## Slide 22: Revised Gas and Oil Models in Accreditation Process
The RAA base case will be used for resource accreditation and demand curve construction using the seasonal risk targets established in the risk assessment process
Under the new proposal, the RAA base case for accreditation will use the following gas and oil models:
  Gas capacity (from gas-only and dual-fuel) will use the same aggregated hourly profile as the seasonal risk assessment process
  Oil capacity (from oil-only and dual-fuel) including RFOs and DFOs will be modeled as individual de-rated resources (same as previously proposed oil model)

## Slide 23: Different Oil Models in Risk Assessment Process and Accreditation Process
Bi-weekly energy limits will be modeled for the aggregated DFO capacity in the seasonal risk assessment process, while de-rated individual DFOs will be modeled in the resource accreditation process
  While the bi-weekly energy limits better characterize the system risk impact of oil supply constraints including initial inventory and replenishment, they are not suitable for individual oil resource accreditation since unlike gas resources, oil resources do not share a common infrastructure for their stored fuel
  Without accurately modeling the timing of oil replenishment, the bi-weekly energy limit may link multiple loss of load events during a 2-week period, resulting in an overstated duration of MRI reliability events
  Different models are used in the two processes with different focuses: the risk assessment process focuses on system risks based on expected system conditions, and the accreditation process focuses on individual resource accreditations based on infrastructure limitations

## Slide 24: Fuel Requirements
The following requirements will continue to be used to qualify the capacity associated with gas arrangements and oil storage capability:
  Daily Operating Hours Requirement (DOHR)
  Seasonal Operating Hours Requirement (SOHR)
  Oil Storage Hours Requirement (OSHR)
The application of these requirements remains unchanged
  Values are being reviewed and will be presented at the January MC

## Slide 25: Fuel-backed Capacity Qualification
Volumes of gas contracts or oil storage capability will be converted to hours of operation, i.e., Daily Operating Hours (DOH), Seasonal Operating Hours (SOH), and Oil Storage Hours (OSH)
The operating hours associated with firm gas contracts or oil storage capability will be compared to the corresponding fuel requirements to determine the capacity associated with firm gas contracts or oil storage capability (see LAI’s February Presentation)

## Slide 26: Revised Gas Accreditation: Gas Fleet Value
Under the revised proposal, the aggregated gas profile modeled in the accreditation process will be used to calculate the total gas capacity’s winter contribution, i.e.,
  The calculation of the gas fleet’s winter QMRIC component follows a similar process for other profile modeled resources
  The gas profile will represent all gas available for generation, whether contracted or not; the gas fleet’s winter value will represent the total accreditation value of all gas capacities, whether backed by firm gas contracts or not

## Slide 27: Revised Gas Accreditation: Individual Gas MRIs
Under the new proposal, gas resources will be represented by the aggregated gas profile instead of individual gas models
  Thus individual gas resource MRIs cannot be derived directly from the RAA base case without individual models
  A gas resource i’s winter-period MRI will be calculated as
    The above calculation of gas MRI represents the gas resource’s winter-period performance by discounting the perfect capacity resource’s performance with the gas resource’s EFORd
Perfect capacity’s winter-period performance

## Slide 28: Revised Gas Accreditation: Total Value of Gas Capacity without Firm Gas Contracts
With individual gas resources’ winter-period MRIs, the winter accreditation value associated with gas resource i’s gas capacity that is backed by firm gas contracts will be:
The total value of gas capacity without backing of firm gas contracts is the remaining value after carving out the value associated with firm gas contracts, i.e.,

## Slide 29: Revised Gas Accreditation: Gas DF and Winter Accreditation Value
The uniform gas de-rating factor will reflect the ratio of the above total gas capacity value without firm gas contracts from the “would-be” full accreditation value, i.e.,
  The above gas DF is calculated using the winter-period MRIs calculated in Slide 27 instead of the equivalencing process
Gas resource i’s De-rated QC (DQC) will be the sum of the capacity backed by firm gas contracts and a de-rate of the remaining capacity without firm gas, i.e.,
With gas resource i’s winter-period MRI, its winter accreditation value, or winter QMRIC component, will be
“Full value”

## Slide 30: Oil Resource Accreditation
The oil resource accreditation framework remains the same as the previous proposal
  The de-rated oil capacity, or DQC, will be calculated by comparing the oil storage capability with Oil Storage Requirement (OSR)
  Oil resources (both RFOs and DFOs) will be modeled as individually de-rated thermal resources (with DQC and EFORd) in the RAA base case for accreditation
  An oil resource’s winter-period MRI will be calculated from the individual oil model in the RAA base case
  An oil resource’s winter accreditation value will be:

## Slide 31: Dual-fuel Resource Accreditation
Under the new proposal, a dual-fuel resource’s winter QC will be composed of oil capacity backed by oil storage capability (), gas capacity backed by firm gas contracts (), and gas capacity without firm gas contracts ()
  The calculation of the oil capacity associated with storage capability or the gas capacity associated with firm contracts will continue to be based on comparing with corresponding fuel requirements
The oil capacity will be modeled as an individual thermal resource, and the gas capacity will be treated as part of the gas fleet profile
The winter-period accreditation value of a dual-fuel resource will be the sum of accreditation values associated with oil and gas capacities

## Slide 32: Key Takeaways of Revised Gas and Oil Models in Resource Accreditation
Resource accreditation will be based on the seasonal risk levels established from the seasonal risk assessment process
Gas and oil capacities associated with firm fuel will be calculated by comparing with corresponding fuel requirements
Gas capacities will be modeled as an aggregated profile and oil resources will be modeled as individually de-rated thermal units for the winter period
The winter-period gas fleet accreditation value will be calculated from the aggregated profile, and allocated to individual gas resources using EFORd-based individual gas resource MRIs

## Slide 33: Key Takeaways

## Slide 34: Key Takeaways
The RCA stakeholder process will continue under a forward, annual construct and targets FCA 19 implementation with a one-year delay
The ISO proposes enhancements to its gas and oil models to better characterize the winter risk factors in the seasonal risk assessment process
The resulting seasonal risk levels will be used as inputs to construct the base case for accreditation
The gas accreditation is modified with the aggregated profile model replacing individual models and the allocation of the gas fleet’s total winter value replacing the individual resource accreditation

## Slide 35: Stakeholder Schedule

## Slide 36: Stakeholder Process - Overview
There are several broad phases laid out in the stakeholder process:
  RCA Refresher: October 2023
  Conceptual & Detailed Design: November 2023 – March 2024
  Finalize Design, Review Tariff Language, and Stakeholder Amendments: April 2024 – June 2024
  Voting: July 2024 (Technical Committees) and August 2024 (Participants Committee)
In addition, there are several key dates for the revised impact analysis projected in the process:
  January 2024: Review revised input assumptions and scenarios
  February 2024 – May 2024: Review available results
  June 2024: Final report
 | 2023 |  |  | 2024 |  |  |  |  |  |  |  |  |  |  | 
 | Q4 |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  | 
 | O | N | D | J | F | M | A | M | J | J | A | S | O | N | D
Current Schedule | Refresher | Conceptual and Detail Design |  |  |  |  | Final Design, Review Tariff, and Amendments |  |  | MC/RC Vote | PC Vote File |  |  | Eff. Date | 
Review
Revised IA
Input Assumptions
and Scenarios
Review
Available
IA Results
Final
IA Report

## Slide 37: Parallel Stakeholder Processes
While the ISO continues to evaluate plans of moving to prompt and/or seasonal auctions for CCP 19 and beyond, it is preparing to implement RCA for CCP 19 with the auction delayed to 2026
Below are the parallel stakeholder processes associated with these FCA 19-related efforts
 | 2023 |  |  | 2024 |  |  |  |  |  |  |  |  |  |  |  | 
 | Q4 |  |  | Q1 |  |  | Q2 |  |  |  | Q3 |  |  | Q4 |  | 
 | O | N | D | J | F | M | A | M |  | J | J | A | S | O | N | D
RCA Forward, Annual (for FCA 19 if delayed) | Refresher | Conceptual and Detail Design |  |  |  |  | Final Design, Review Tariff, and Amendments |  |  |  | MC/RC Vote | PC Vote File |  |  | Eff. Date | 
FCA 19 One-Year Delay | Review Tariff; MC Vote | PC Vote File |  | Eff. Date |  |  |  |  |  |  |  |  |  |  |  | 
Alternative FCM Commitment Horizons | Analysis - Scope, Methodology, and Findings |  |  | ISO recommendation on whether to develop prompt proposal |  |  |  |  |  |  |  |  |  |  |  |