## Cover Page
2022 ISO New England Electric Generator Air Emissions Report: Appendix
© ISO New England Inc. System Planning
December 21, 2023
ISO-NE PUBLIC USE

## Table of Contents
Table of Contents
Section 1 Executive Summary
Section 2 Assumed Import/Export Emission Rates and System Conditions
2.1 Import and Export Emission Rates
|  | Table 2-1 | 2022 Import and Export Emission Rates (lbs/MWh) and Emissions (ktons)
2.2 2022 New England Weather
|  | Table 2-2 | ISO New England Total Cooling and Heating Degree Days, 2001 to 2022
2.3 ISO New England Generating Capacity
|  | Table 2-3 | 2022 ISO New England Summer and Winter Generating Capacity (MW, %)
Section 3 Results
3.1 ISO New England Average Annual Emissions
|  | Table 3-1 | 2021 and 2022 ISO New England Average Emissions (ktons) and Emission Rates (lbs/MWh)
|  | Table 3-2 | 2022 ISO New England Generation Average Annual Emissions by State (lbs/MWh, ktons)
|  | Table 3-3 | 2022 ISO New England Monthly Average Emission Rates (lbs/MWh)
|  | Table 3-4 | ISO New England Average Generator Emissions, 2001 to 2022 (kTons)
|  | Table 3-5 | ISO New England Annual Average Generator Emission Rates, 2001 to 2022 (lbs/MWh)
3.2 ISO New England Marginal Heat Rate
|  | Table 3-6 | 2022 LMU Monthly Marginal Heat Rate (MMBtu/MWh)
|  | Table 3-7 | LMU Marginal Heat Rate, 2013 to 2022 (MMBtu/MWh)
3.3 ISO New England Marginal Emission Rates
3.3.1 All LMUs
|  | Table 3-8 | 2022 Monthly Time- and Load-Weighted LMU Marginal Emission Rates - All LMUs (lbs/MWh)
|  | Table 3-9 | NOX Time- and Load-Weighted LMU Marginal Emission Rates - All LMUs, 2013 to 2022 (lbs/MWh)
|  | Table 3-10 | SO2 Time- and Load-Weighted LMU Marginal Emission Rates - All LMUs, 2013 to 2022 (lbs/MWh)
|  | Table 3-11 | CO2 Time- and Load- Weighted LMU Marginal Emission Rates - All LMUs, 2013 to 2022 (lbs/MWh)
|  | Table 3-12 | Time-Weighted LMU Marginal Emission Rates - All LMUs (lbs/MMBtu)
|  | Table 3-13 | Load-Weighted LMU Marginal Emission Rates - All LMUs (lbs/MMBtu)
3.3.2 Emitting LMUs
|  | Table 3-14 | 2022 Monthly Time- and Load-Weighted LMU Marginal Emission Rates - Emitting LMUs (lbs/MWh)
|  | Table 3-15 | NOX Time- and Load-Weighted LMU Marginal Emission Rates - Emitting LMUs, 2013 to 2022 (lbs/MWh)
|  | Table 3-16 | SO2 Time- and Load-Weighted LMU Marginal Emission Rates - Emitting LMUs, 2013 to 2022 (lbs/MWh)
|  | Table 3-17 | CO2 Time- and Load- Weighted LMU Marginal Emission Rates - Emitting LMUs, 2013 to 2022 (lbs/MWh)
|  | Table 3-18 | Time-Weighted LMU Marginal Emission Rates - Emitting LMUs (lbs/MMBtu)
|  | Table 3-19 | Load-Weighted LMU Marginal Emission Rates - Emitting LMUs (lbs/MMBtu)
3.3.3 Combined LMUs
|  | Table 3-20 | 2022 Time-Weighted and Load-Weighted LMU Marginal Emission Rates
|  | Table 3-21 | 2021 and 2022 Annual Time-Weighted and Load-Weighted LMU Marginal Emission Rates
3.3.4 High Electric Demand Days
|  | Table 3-22 | High Electric Demand Day LMU Marginal Emission Rates (lbs/MWh)
Section 4 Supplementary Figures
4.1 Annual
|  | Figure 2-1 | 2022 ISO New England generator summer capacity by state (MW)
|  | Figure 2-2 | ISO New England summer capacity additions, 2013 to 2022 (MW)
|  | Figure 2-3 | ISO New England major retirements, 2013 to 2022 (MW)
|  | Figure 2-4 | 2022 ISO New England monthly generation by resource type, including imports (% GWh, GWh)
|  | Figure 2-5 | ISO New England annual generation by resource type, 2018 to 2022 (GWh)
|  | Figure 2-6 | Percentage energy generation by resource type, 2013 compared with 2022
|  | Figure 2-7 | 2022 ISO New England average annual generation emissions of NOX, SO2, and CO2 (ktons)
|  | Figure 2-8 | ISO New England average annual emissions, 2013 to 2022 (ktons)
|  | Figure 2-9 | ISO New England annual average emission rates, 2013 to 2022 (lbs/MWh)
|  | Figure 2-10 | LMU annual marginal heat rate, 2013-2022 (MMBtu/MWh)
|  | Figure 2-11 | Time-weighted LMU marginal emission rates, 2013 to 2022—all LMUs (lbs/MWh)
|  | Figure 2-12 | Time-weighted LMU marginal emission rates, 2013 to 2022—emitting LMUs (lbs/MWh)
|  | Figure 2-13 | Annual percentage of time various resource types were marginal — all LMUs, 2018 to 2022
|  | Figure 2-14 | Annual percentage of time various resource types were marginal – emitting LMUs, 2018 to 2022
|  | Figure 2-15 | Annual percentage of load for which various resource types were marginal – all LMUs, 2018 to 2022
|  | Figure 2-16 | Annual percentage of load for which various resource types were marginal – emitting LMUs, 2018 to 2022
|  | Figure 2-17 | Comparison of 2022 annual marginality for various resource types using the time-weighted vs. load-weighted approach —all LMUs
|  | Figure 2-18 | Comparison of 2022 annual marginality for various resource types using the time-weighted vs. load-weighted approach —emitting LMUs
4.2 Monthly
|  | Figure 3-1 | 2022 ISO New England monthly average emission rates (lbs/MWh)
|  | Figure 3-2 | 2022 time- and load-weighted LMU monthly marginal heat rate (MMBtu/MWh)
|  | Figure 3-3 | 2022 percentage of time for which various resource types were marginal —all LMUs
|  | Figure 3-4 | 2022 percentage of time for which various resource types were marginal —emitting LMUs
|  | Figure 3-5 | 2022 time-weighted monthly LMU marginal emission rates—all LMUs (lbs/MWh)
|  | Figure 3-6 | 2022 time-weighted monthly LMU marginal emission rates—emitting LMUs (lbs/MWh)
|  | Figure 3-7 | 2022 percentage of load for which various resource types were marginal —all LMUs
|  | Figure 3-8 | 2022 percentage of load for which various resource types were marginal —emitting LMUs
|  | Figure 3-9 | 2022 load-weighted monthly LMU marginal emission rates—all LMUs (lbs/MWh)
|  | Figure 3-10 | 2022 load-weighted monthly LMU marginal emission rates—emitting LMUs (lbs/MWh)
|  | Figure 3-11 | 2022 time- and load-weighted monthly LMU marginal SO2 emission rates
|  | Figure 3-12 | 2022 time- and load-weighted monthly LMU marginal NOX emission rates
|  | Figure 3-13 | 2022 time- and load-weighted monthly LMU marginal CO2 emission rates

## 1. Executive Summary
Section 1 Executive Summary |  |  | Return to Table of Contents
| Link: | 2022 ISO New England Emissions Report Executive Summary

## 2.1 Imports and Exports
2.1 Import and Export Emission Rates |  |  | Return to Table of Contents
Table 2-1 shows the assumed import and export CO2 emission rates used in this report. CO2 emission rates for 2022 imports are based on the eGRID2021 database for imports from NYISO, and on Canada’s Greenhouse Gas Inventory Report for imports from New Brunswick and Quebec. The assumed emission rate for exports is the ISO-NE annual generation emission rate.
Table 2-1 2022 Import and Export Emission Rates (lbs/MWh) and Emissions (ktons)
Source | CO2 Emission Rate (lbs/MWh) | GWh | CO2 Emissions (ktons)
Imports | 177 | 20059 | 1778
Exports | 643 | -3283 | -1055

## 2.2 2022 NE Weather
2.2 2022 New England Weather |  |  | Return to Table of Contents
Table 2-2 shows New England's historical cooling and heating degree days for 2001 through 2022. The difference between the cooling and heating degree days for a particular year and the average is also provided. In Q1 2022, temperatures averaged 32⁰F, 1⁰F cooler than previous year and the five-year average. Warmer temperatures in the remainder of the year and heat waves in July and August 2022 increased loads as air-conditioning demand increased.
Table 2-2 ISO New England Total Cooling and Heating Degree Days, 2001 to 2022
Year | Total Cooling Degree Days | Difference from Average (%) | Total Heating Degree Days | Difference from Average (%)
2001 | 319 | -4.861% | 5870 | -2.143%
2002 | 353 | 5.279% | 5938 | -1.009%
2003 | 350 | 4.384% | 6628 | 10.49%
2004 | 249 | -25.74% | 6332 | 5.559%
2005 | 417 | 24.37% | 6331 | 5.542%
2006 | 334 | -0.3877% | 5532 | -7.777%
2007 | 287 | -14.41% | 6153 | 2.575%
2008 | 278 | -17.09% | 6027 | 0.4746%
2009 | 223 | -33.49% | 6272 | 4.559%
2010 | 403 | 20.19% | 5636 | -6.044%
2011 | 354 | 5.577% | 5802 | -3.276%
2012 | 350 | 4.384% | 5285 | -11.9%
2013 | 398 | 18.7% | 6137 | 2.308%
2014 | 238 | -29.02% | 6299 | 5.009%
2015 | 334 | -0.3877% | 6080 | 1.358%
2016 | 351 | 4.682% | 5705 | -4.893%
2017 | 309 | -7.844% | 5839 | -2.66%
2018 | 499 | 48.82% | 6060 | 1.025%
2019 | 324.7 | -3.161% | 6046.1 | 0.793%
2020 | 414.5 | 23.62% | 5512.6 | -8.101%
2021 | 436.8 | 38.2% | 5437.3 | -10.1%
2022 | 366.7 | 16% | 5616 | -7.1%
Average | 344.9409 |  | 5933.5455

## 2.3 NE Generating Capacity
2.3 ISO New England Generating Capacity |  |  |  |  | Return to Table of Contents
Table 2-3 shows the total 2022 summer and winter capacity for ISO New England generation as obtained from ISO New England’s 2023 Forecast Report of Capacity, Energy, Loads and Transmission (CELT).
Table 2-3 2022 ISO New England Summer and Winter Generating Capacity (MW, %) (a, b)
Summer Generating Capacity
| Connecticut |  | Massachusetts |  | Maine |  | New Hampshire |  | Rhode Island |  | Vermont |  | New England
Unit Type | MW | % | MW | % | MW | % | MW | % | MW | % | MW | % | MW | %
Coal | 0 | 0 | 0 | 0 | 0 | 0 | 436.62 | 11.0404 | 0 | 0 | 0 | 0 | 436.62 | 1.4287
Natural Gas | 4304.608 | 45.7657 | 6630.102 | 57.1594 | 1573.53 | 50.3285 | 1224.776 | 30.9697 | 1834.854 | 90.1525 | 0 | 0 | 15567.87 | 50.9407
Nuclear | 2108.113 | 22.413 | 0 | 0 | 0 | 0 | 1245.7 | 31.4987 | 0 | 0 | 0 | 0 | 3353.813 | 10.9743
Oil | 2561.011 | 27.2281 | 1889.458 | 16.2894 | 570.772 | 18.2558 | 483.149 | 12.2169 | 0 | 0 | 132.068 | 30.0765 | 5636.458 | 18.4435
Hydro | 89.989 | 0.95674 | 148.399 | 1.2794 | 508.205 | 16.2547 | 398.673 | 10.0808 | 2.224 | 0.10927 | 196.983 | 44.8599 | 1344.473 | 4.3993
Pumped Storage | 27.973 | 0.2974 | 1832.94 | 15.8021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1860.913 | 6.0892
Solar | 104.588 | 1.112 | 780.761 | 6.7311 | 172.584 | 5.52 | 1.874 | 0.047386 | 151.962 | 7.4664 | 10.264 | 2.3375 | 1222.033 | 3.9987
Wind | 0 | 0 | 11.018 | 0.094988 | 122.575 | 3.9205 | 25.38 | 0.64176 | 9.363 | 0.46004 | 20.944 | 4.7697 | 189.28 | 0.61936
Other Renewables | 209.474 | 2.2271 | 306.643 | 2.6436 | 178.854 | 5.7205 | 138.589 | 3.5044 | 36.874 | 1.8117 | 78.848 | 17.9564 | 949.282 | 3.1062
Total | 9405.756 | 100 | 11599.321 | 100 | 3126.52 | 100 | 3954.761 | 100 | 2035.277 | 100 | 439.107 | 100 | 30560.742 | 100
Winter Generating Capacity
| Connecticut |  | Massachusetts |  | Maine |  | New Hampshire |  | Rhode Island |  | Vermont |  | New England
Unit Type | MW | % | MW | % | MW | % | MW | % | MW | % | MW | % | MW | %
Coal | 0 | 0 | 0 | 0 | 0 | 0 | 486.563 | 11.416 | 0 | 0 | 0 | 0 | 486.563 | 1.5119
Natural Gas | 4632.01 | 46.5334 | 7516.482 | 63.42 | 1725.804 | 49.7081 | 1371.381 | 32.176 | 2052.003 | 97.5529 | 0 | 0 | 17297.68 | 53.7497
Nuclear | 2104.135 | 21.1382 | 0 | 0 | 0 | 0 | 1247.4 | 29.2671 | 0 | 0 | 0 | 0 | 3351.535 | 10.4144
Oil | 2881.358 | 28.9463 | 2058.025 | 17.3645 | 739.469 | 21.2988 | 504.375 | 11.8339 | 0 | 0 | 166.398 | 30.9107 | 6349.625 | 19.7304
Hydro | 108.245 | 1.0874 | 209.223 | 1.7653 | 549.287 | 15.821 | 455.507 | 10.6873 | 2.415 | 0.11481 | 247.533 | 45.9827 | 1572.21 | 4.8854
Pumped Storage | 27.906 | 0.28035 | 1760.868 | 14.8572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1788.774 | 5.5583
Solar | 0.69 | 0.0069318 | 11.62 | 0.098043 | 5.679 | 0.16357 | 0 | 0 | 0.778 | 0.036986 | 0 | 0 | 18.767 | 0.058315
Wind | 0 | 0 | 15.91 | 0.13424 | 268.75 | 7.7408 | 51.535 | 1.2091 | 18.634 | 0.88587 | 42.587 | 7.9111 | 397.416 | 1.2349
Other Renewables | 199.815 | 2.0074 | 279.791 | 2.3607 | 182.888 | 5.2677 | 145.368 | 3.4107 | 29.648 | 1.4095 | 81.8 | 15.1955 | 919.31 | 2.8566
Total | 9954.159 | 100 | 11851.919 | 100 | 3471.877 | 100 | 4262.129 | 100 | 2103.478 | 100 | 538.318 | 100 | 32181.88 | 100
(a) Sum may not equal total due to rounding. (b) Seasonal Claimed Capability as of January 1, 2023.

## 3.1 Average Annual Emissions
3.1 ISO New England Average Annual Emissions |  |  |  |  | Return to Table of Contents
This section presents the monthly and annual average emissions from regional generation. The major change in emissions from 2021 to 2022 was the significant increase in SO2 emissions as a result of increased oil-fired generation.
Table 3-1 2021 and 2022 ISO New England Average Emissions (ktons) and Emission Rates (lbs/MWh)
| 2021 Emissions (ktons) | 2022 Emissions (ktons) | Total Emissions % Change | 2021 Emission Rate (lbs/MWh) | 2022 Emission Rate (lbs/MWh) | Emission Rate % Change
New England Generation Only
NOX | 12.4365 | 12.2974 | -1.1191 | 0.24474 | 0.23674 | -3.2662
SO2 | 2.1085 | 3.3806 | 60.3349 | 0.041492 | 0.065082 | 56.8533
CO2 | 33439.0448 | 33382.3137 | -0.16966 | 658.0441 | 642.6629 | -2.3374
Total System Emissions with Imports
CO2 | 34543 | 34105.4088 | -1.2668 | 574 | 565.2955 | -1.5398
Table 3-2 2022 ISO New England Generation Average Annual Emissions by State (lbs/MWh, kTons) (a, b)
Average Emission Rates (lbs/MWh)
State | NOX | SO2 | CO2
Connecticut | 0.15386 | 0.035295 | 563.3222
Maine | 0.20997 | 0.14717 | 548.8026
Massachusetts | 0.49535 | 0.10614 | 950.4744
New Hampshire | 0.16127 | 0.061455 | 425.197
Rhode Island | 0.13443 | 0.0094714 | 852.6499
Vermont | 0.31889 | 0.023133 | 582.349
New England | 0.23674 | 0.065082 | 642.6629
Annual Emissions (kTons)
State | NOX | SO2 | CO2
Connecticut | 3.2306 | 0.74108 | 11827.9438
Maine | 1.1581 | 0.81174 | 3027.0694
Massachusetts | 5.5736 | 1.1943 | 10694.6053
New Hampshire | 1.5078 | 0.57458 | 3975.4321
Rhode Island | 0.51954 | 0.036606 | 3295.3902
Vermont | 0.30768 | 0.02232 | 561.8729
New England | 12.2974 | 3.3806 | 33382.3137
(a) Average annual native generation emissions based on physical location of the generating resources. (b) Sum may not equal ISO New England system total due to rounding.
Table 3-3 2022 ISO New England Monthly Average Emission Rates (lbs/MWh)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
NOX | 0.33734 | 0.26532 | 0.21267 | 0.22323 | 0.21864 | 0.21813 | 0.2271 | 0.2127 | 0.1963 | 0.21145 | 0.20215 | 0.31186
SO2 | 0.27118 | 0.078384 | 0.030312 | 0.02806 | 0.025258 | 0.025066 | 0.044001 | 0.030391 | 0.02269 | 0.02452 | 0.022862 | 0.1641
CO2 | 759.0902 | 655.131 | 575.9067 | 584.7947 | 656.6181 | 637.5402 | 694.3326 | 693.3368 | 620.1298 | 569.4084 | 583.9446 | 630.0789
CO2 with Net Imports | 659.737 | 573.131 | 508.5314 | 510.2202 | 571.3684 | 553.5804 | 605.8947 | 610.8933 | 566.5276 | 499.5754 | 523.7577 | 549.8769
Table 3-4 ISO New England Average Generator Emissions, 2001 to 2022 (kTons) (c) | bar: Jan to May
Year | Jan: Native Generation; May: Native Gen Plus Imports
| NOX | SO2 | CO2 |  | CO2
| kilotons (short) | kilotons (short) | kilotons (short) | kilotons (metric) | kilotons (short)
2001 | Jan: 59.73; Feb: 200.01; Mar: 52991; Apr: 48072.6403
2002 | Jan: 56.4; Feb: 161.1; Mar: 54497; Apr: 49438.8609
2003 | Jan: 54.23; Feb: 159.41; Mar: 56278; Apr: 51054.5574
2004 | Jan: 50.64; Feb: 149.75; Mar: 56723; Apr: 51458.2548
2005 | Jan: 58.01; Feb: 150; Mar: 60580; Apr: 54957.2673
2006 | Jan: 42.86; Feb: 101.78; Mar: 51649; Apr: 46855.1981
2007 | Jan: 35; Feb: 108.7969; Mar: 59168.8343; Apr: 53677.0789
2008 | Jan: 32.5657; Feb: 94.1786; Mar: 55427.1026; Apr: 50282.6361
2009 | Jan: 27.55; Feb: 76.85; Mar: 49380; Apr: 44796.7953
2010 | Jan: 28.79; Feb: 80.88; Mar: 52321; Apr: 47464.8264
2011 | Jan: 25.3; Feb: 57.01; Mar: 46959; Apr: 42600.5004; May: 46292
2012 | Jan: 20.32; Feb: 16.61; Mar: 41975; Apr: 38079.0904; May: 41776
2013 | Jan: 20.32; Feb: 18.04; Mar: 40901; Apr: 37104.7737; May: 42127
2014 | Jan: 20.4927; Feb: 11.674; Mar: 39319.3664; Apr: 35669.9394; May: 41109
2015 | Jan: 18.86; Feb: 9.11; Mar: 40312; Apr: 36570.4417; May: 42137
2016 | Jan: 16.271; Feb: 4.4659; Mar: 37467.3755; Apr: 33989.841; May: 39599
2017 | Jan: 15.3; Feb: 4; Mar: 34969; Apr: 31723.3523; May: 36205
2018 | Jan: 15.61; Feb: 4.96; Mar: 34096; Apr: 30931.3798; May: 35942
2019 | Jan: 12.87; Feb: 2.34; Mar: 30997; Apr: 28120.0134; May: 32906
2020 | Jan: 12.0903; Feb: 1.8811; Mar: 31027.8683; Apr: 28148.0167; May: 33168
2021 | Jan: 12.4365; Feb: 2.1085; Mar: 33439.0448; Apr: 30335.3999; May: 34543
2022 | Jan: 12.2974; Feb: 3.3806; Mar: 33382.3137; Apr: 30283.9342; May: 34105.4088
Percent Reduction, 2001-2022 | Jan: 79.41%; Feb: 98.31%; Mar: 37%; Apr: 37%
(c) Since greenhouse gas data is often expressed in metric tons, an additional column showing CO2 emissions in metric kilotons is included in this table. A metric ton is approximately 2,205 lbs.
Table 3-5 ISO New England Annual Average Generator Emission Rates 2001 to 2022 (lbs/MWh) | bar: Jan to May
Year | Jan: Total Generation (GWh); Feb: NOX; Mar: SO2; Apr: CO2; May: CO2 with Net Imports
2001 | Jan: 114626; Feb: 1.05; Mar: 3.51; Apr: 930
2002 | Jan: 120539; Feb: 0.94; Mar: 2.69; Apr: 909
2003 | Jan: 127195; Feb: 0.93; Mar: 2.75; Apr: 970
2004 | Jan: 129459; Feb: 0.78; Mar: 2.31; Apr: 876
2005 | Jan: 131874; Feb: 0.88; Mar: 2.27; Apr: 919
2006 | Jan: 128046; Feb: 0.67; Mar: 1.59; Apr: 808
2007 | Jan: 130723; Feb: 0.53666; Mar: 1.6645; Apr: 905.2551
2008 | Jan: 124748.7936; Feb: 0.52; Mar: 1.51; Apr: 890
2009 | Jan: 119282; Feb: 0.46; Mar: 1.29; Apr: 828
2010 | Jan: 126383; Feb: 0.46; Mar: 1.28; Apr: 829
2011 | Jan: 120612; Feb: 0.42; Mar: 0.95; Apr: 780; May: 708
2012 | Jan: 116942; Feb: 0.35; Mar: 0.28; Apr: 719; May: 645
2013 | Jan: 112040; Feb: 0.36; Mar: 0.32; Apr: 730; May: 643
2014 | Jan: 108356; Feb: 0.38; Mar: 0.22; Apr: 726; May: 643
2015 | Jan: 107916; Feb: 0.35; Mar: 0.17; Apr: 747; May: 657
2016 | Jan: 105570; Feb: 0.30825; Mar: 0.084606; Apr: 709.8117; May: 630
2017 | Jan: 102562.4245; Feb: 0.3; Mar: 0.08; Apr: 682; May: 592
2018 | Jan: 103740; Feb: 0.3; Mar: 0.1; Apr: 658; May: 577
2019 | Jan: 97890; Feb: 0.26308; Mar: 0.047913; Apr: 633.4827; May: 547
2020 | Jan: 94945; Feb: 0.25472; Mar: 0.039632; Apr: 653.7087; May: 561
2021 | Jan: 101692; Feb: 0.24474; Mar: 0.041492; Apr: 658.0441; May: 574
2022 | Jan: 103887.4758; Feb: 0.23674; Mar: 0.065082; Apr: 642.6629; May: 566
Percent Reduction, 2001-2022 | Feb: 77.45%; Mar: 98.15%; Apr: 30.9%

## 3.2 Marginal Heat Rate
3.2 ISO New England Marginal Heat Rate | [5 empty] | Return to Table of Contents
The calculated annual marginal heat rate reflects the average annual efficiency of all the marginal emitting units dispatched throughout 2022.
Table 3-6 2022 LMU Monthly Marginal Heat Rate (MMBtu/MWh)
Time-Weighted
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
All LMUs | 6.0247 | 5.3625 | 5.5334 | 4.802 | 6.0545 | 5.7049 | 6.4082 | 6.5684 | 5.8409 | 5.8408 | 5.5272 | 5.1348
Emitting LMUs | 7.948 | 7.7315 | 7.6183 | 7.7843 | 7.627 | 7.4263 | 7.8789 | 7.8151 | 7.3503 | 7.3991 | 7.5823 | 7.8926
Load-Weighted
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
All LMUs | 6.6889 | 6.0992 | 6.1266 | 6.135 | 6.6885 | 6.3006 | 6.6439 | 6.9191 | 6.4238 | 5.8244 | 5.835 | 6.2675
Emitting LMUs | 7.9498 | 7.6922 | 7.5465 | 7.5774 | 7.5954 | 7.4054 | 7.8486 | 7.8552 | 7.3661 | 7.5684 | 7.6541 | 7.9012
Table 3-7 LMU Marginal Heat Rate, 2013 to 2022 (MMBtu/MWh) (a) | bar: Jan to Apr
| Time-Weighted |  | Load-Weighted
Year | Jan: All LMUs; Feb: Emitting LMUs; Mar: All LMUs; Apr: Emitting LMUs
2013 | Jan: 6.841; Feb: 8.271
2014 | Jan: 7.6921; Feb: 9.0336
2015 | Jan: 6.7066; Feb: 8.0957
2016 | Jan: 6.625; Feb: 7.925
2017 | Jan: 5.4278; Feb: 8.0431
2018 | Jan: 5.1532; Feb: 7.855; Mar: 5.962; Apr: 7.744
2019 | Jan: 5.223; Feb: 7.8149; Mar: 5.9183; Apr: 7.7156
2020 | Jan: 5.6639; Feb: 7.7275; Mar: 6.1778; Apr: 7.4914
2021 | Jan: 5.6755; Feb: 7.902; Mar: 6.3135; Apr: 7.5569
2022 | Jan: 5.7394; Feb: 7.672; Mar: 6.3328; Apr: 7.665
(a) Prior to 2018, only the time-weighted approach was used to calculate marginal heat rate.

## 3.3.1 Emissions - All LMUs
3.3.1 Marginal Emissions - All LMUs |  |  |  | Return to Table of Contents
This section presents the 2022 calculated LMU-based marginal emission rates for all LMUs (units the LMP identified as marginal). Compared with the emitting-LMU scenario (see tab 3.3.2), the all-LMU scenario has lower marginal emission rates because it includes zero-air-emission resources that lower the average emission rate. The 2022 rates based on both the time-weighted and load-weighted LMU approaches are included; however, only time-weighted LMU results are available for years prior to 2018. The NOX data for both approaches are provided for each of the five time periods studied. Since the ozone and non-ozone seasons are not relevant to SO2 and CO2, only the on-peak, off-peak, and annual rates are provided for these emissions. Note that Tables 3-12 and 3-13 show the rates in lbs/MMBtu, with the associated marginal heat rate of 5.739 MMBtu/MWh used as the conversion factor for the time-weighted approach and 6.333 MMBtu/MWh for the load-weighted approach.
Table 3-8 2022 Monthly Time- and Load-Weighted LMU Marginal Emission Rates - All LMUs (lbs/MWh)
| Time-Weighted |  |  | Load-Weighted
Month | SO2 | NOX | CO2 | SO2 | NOX | CO2
January | 0.4727 | 0.27349 | 800.5454 | 0.52487 | 0.30172 | 885.7039
February | 0.094479 | 0.15692 | 661.8491 | 0.098457 | 0.16657 | 749.574
March | 0.026925 | 0.16251 | 685.3638 | 0.025908 | 0.17418 | 743.9496
April | 0.005849 | 0.070006 | 586.0955 | 0.0056227 | 0.071105 | 720.6829
May | 0.0049996 | 0.076368 | 716.5768 | 0.0047772 | 0.075447 | 800.1777
June | 0.0061075 | 0.081351 | 683.1177 | 0.0053293 | 0.079948 | 745.6282
July | 0.047194 | 0.22041 | 778.1524 | 0.045226 | 0.22551 | 811.8318
August | 0.03366 | 0.13677 | 788.8065 | 0.034396 | 0.14044 | 828.7096
September | 0.0039076 | 0.063842 | 686.1533 | 0.0043632 | 0.065798 | 774.3088
October | 0.0040993 | 0.069917 | 691.3301 | 0.0042092 | 0.071021 | 686.7547
November | 0.0055306 | 0.088946 | 651.0388 | 0.0070165 | 0.10513 | 698.4197
December | 0.17432 | 0.48405 | 702.6632 | 0.19901 | 0.54269 | 882.2872
Table 3-9 NOX Time- and Load-Weighted LMU Marginal Emission Rates - All LMUs, 2013 to 2022 (lbs/MWh) (a, b, c)
| Time-Weighted | [5 empty] | Load-Weighted
| Ozone Season |  | Non-Ozone Season |  |  |  | Ozone Season |  | Non-Ozone Season
Year | On-Peak | Off-Peak | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change | On-Peak | Off-Peak | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change
2013 | 0.32 | 0.21 | 0.35 | 0.43 | 0.34 | 56.682
2014 | 0.20886 | 0.13843 | 0.5086 | 0.56494 | 0.38465 | 13.1326
2015 | 0.3412 | 0.15574 | 0.32316 | 0.31935 | 0.28 | -27.2067
2016 | 0.26474 | 0.1412 | 0.25274 | 0.19165 | 0.21 | -25
2017 | 0.23234 | 0.10585 | 0.14159 | 0.14663 | 0.15 | -28.5714
2018 | 0.19601 | 0.13624 | 0.18793 | 0.16999 | 0.17 | 13.3333 | 0.22 | 0.19 | 0.19 | 0.25 | 0.2 | -
2019 | 0.1086 | 0.1039 | 0.091691 | 0.1004 | 0.10057 | -40.8402 | 0.12 | 0.11 | 0.1 | 0.11 | 0.11 | -46.2
2020 | 0.17748 | 0.1203 | 0.087817 | 0.07841 | 0.10817 | 7.5533 | 0.17 | 0.1 | 0.09 | 0.08 | 0.10139 | -5.9
2021 | 0.15472 | 0.075532 | 0.10997 | 0.12068 | 0.11295 | 4.4177 | 0.15792 | 0.078004 | 0.091 | 0.10659 | 0.10474 | 3.3014
2022 | 0.13291 | 0.10196 | 0.15971 | 0.21261 | 0.15798 | 39.8738 | 0.13288 | 0.088517 | 0.21321 | 0.19243 | 0.16933 | 61.6605
% Change 2013 - 2022 | -58.4664 | -51.4487 | -54.3685 | -50.5564 | -53.5344
(a) Prior to 2018, only the time-weighted approach was used to calculate marginal emissions. (b) The ozone season occurs between May 1 and September 30, while the non-ozone season occurs from January 1 to April 30 and from October 1 to December 31. (c) On-peak hours consist of all weekdays between 7:00 a.m. and 11:00 p.m. Off-peak hours consist of all weekdays between 11:00 p.m. and 7:00 a.m. and all weekend hours.
Table 3-10 SO2 Time- and Load-Weighted LMU Marginal Emission Rates - All LMUs, 2013 to 2022 (lbs/MWh) (a, c)
| Time-Weighted |  |  |  | Load-Weighted
Year | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change
2013 | 0.51 | 0.59 | 0.55 | 55.9713
2014 | 0.45873 | 0.44512 | 0.45079 | -18.0373
2015 | 0.3983 | 0.28877 | 0.33 | -26.796
2016 | 0.22473 | 0.10902 | 0.16 | -51.5152
2017 | 0.11781 | 0.049213 | 0.08 | -50
2018 | 0.14097 | 0.084141 | 0.11 | 37.5 | 0.16 | 0.11 | 0.13 | -
2019 | 0.026337 | 0.018021 | 0.021488 | -80.5205 | 0.03 | 0.02 | 0.03 | -78.5
2020 | 0.023857 | 0.019685 | 0.021427 | -0.28149 | 0.026609 | 0.019166 | 0.022275 | -19.4
2021 | 0.036133 | 0.019662 | 0.026531 | 23.8193 | 0.039562 | 0.022106 | 0.029388 | 31.9331
2022 | 0.074509 | 0.073422 | 0.073928 | 178.6434 | 0.080918 | 0.080093 | 0.080643 | 174.4049
% Change 2013 - 2022 | -85.3905 | -87.5556 | -86.5586
Table 3-11 CO2 Time- and Load- Weighted LMU Marginal Emission Rates - All LMUs, 2013 to 2022 (lbs/MWh) (a, c)
| Time-Weighted |  |  |  | Load-Weighted
Year | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change
2013 | 921 | 937 | 930 | 8.8993
2014 | 930.6208 | 948.7191 | 941.1721 | 1.2013
2015 | 891.2457 | 832.1883 | 856.8305 | -8.9613
2016 | 891.8027 | 806.8603 | 842 | -1.7309
2017 | 681.2093 | 635.3897 | 654 | -22.3278
2018 | 690.4497 | 630.1983 | 655 | 0.15291 | 779 | 720 | 745 | -
2019 | 678.1195 | 626.2254 | 647.8603 | -1.09 | 749 | 697 | 719 | -3.5
2020 | 722.5966 | 693.2931 | 705.5346 | 8.9023 | 765.316 | 725.4769 | 742.1196 | 3.3
2021 | 738.9782 | 704.6961 | 718.993 | 1.9075 | 774.5471 | 746.6241 | 758.2728 | 2.1766
2022 | 716.0412 | 692.646 | 703.5351 | -2.1499 | 785.5814 | 762.9222 | 778.0249 | 2.6049
% Change 2013 - 2022 | -22.2539 | -26.0783 | -24.3511
Table 3-12 Time-Weighted LMU Marginal Emission Rates - All LMUs (lbs/MMBtu)
Ozone / Non-Ozone Season Emissions (NOx)
Air Emission | Ozone Season |  | Non-Ozone Season |  | Annual Average (All Hours)
| On-Peak | Off-Peak | On-Peak | Off-Peak
NOX | 0.023157 | 0.017765 | 0.027827 | 0.037044 | 0.027526
Annual Emissions (SO2 and CO2)
Air Emission |  | Annual |  |  | Annual Average (All Hours)
|  | On-Peak | Off-Peak
SO2 |  | 0.012982 | 0.012793 |  | 0.012881
CO2 |  | 124.7599 | 120.6836 |  | 122.5809
Table 3-13 Load-Weighted LMU Marginal Emission Rates - All LMUs (lbs/MMBtu)
Ozone / Non-Ozone Season Emissions (NOx)
Air Emission | Ozone Season |  | Non-Ozone Season |  | Annual Average (All Hours)
| On-Peak | Off-Peak | On-Peak | Off-Peak
NOX | 0.020982 | 0.013978 | 0.033667 | 0.030386 | 0.026738
Annual Emissions (SO2 and CO2)
Air Emission |  | Annual |  |  | Annual Average (All Hours)
|  | On-Peak | Off-Peak
SO2 |  | 0.012778 | 0.012647 |  | 0.012734
CO2 |  | 124.0493 | 120.4712 |  | 122.856

## 3.3.2 Emissions - Emitting LMUs
3.3.2 Marginal Emissions - Emitting LMUs |  |  |  |  | Return to Table of Contents
This section presents the 2022 calculated LMU-based marginal emission rates for emitting LMUs, which excludes all non-emitting units with no associated air emissions, such as pumped storage, hydro-electric, and nuclear generation, as well as wind and solar renewables. The 2022 rates based on both the time-weighted and load-weighted LMU approaches are included; however, only time-weighted LMU results are available for years prior to 2018. The NOX data for both approaches are provided for each of the five time periods studied. Since the ozone and non-ozone seasons are not relevant to SO2 and CO2, only the on-peak, off-peak, and annual rates are provided for these emissions. Note that Tables 3-18 and 3-19 show the rates in lbs/MMBtu, with the associated marginal heat rate of 7.672 MMBtu/MWh used as the conversion factor for the time-weighted approach and 7.665 MMBtu/MWh for the load-weighted approach.
Table 3-14 2022 Monthly Time- and Load-Weighted LMU Marginal Emission Rates - Emitting LMUs (lbs/MWh)
| Time-Weighted |  |  | Load-Weighted
Month | SO2 | NOX | CO2 | SO2 | NOX | CO2
January | 0.63606 | 0.38194 | 1060.4016 | 0.64363 | 0.38545 | 1056.7504
February | 0.13137 | 0.25848 | 954.8801 | 0.13063 | 0.24468 | 954.4655
March | 0.036903 | 0.23928 | 950.1405 | 0.032753 | 0.22131 | 918.5876
April | 0.010799 | 0.13223 | 977.0548 | 0.0071707 | 0.091637 | 895.1411
May | 0.007011 | 0.10095 | 909.4415 | 0.0060421 | 0.088015 | 911.4785
June | 0.010335 | 0.15025 | 893.6572 | 0.0068493 | 0.11105 | 874.2406
July | 0.07077 | 0.32899 | 962.4649 | 0.065088 | 0.31842 | 964.1583
August | 0.043041 | 0.19691 | 945.042 | 0.043459 | 0.19271 | 946.6684
September | 0.0050857 | 0.079962 | 864.6233 | 0.0051444 | 0.075662 | 889.0492
October | 0.0051688 | 0.087859 | 876.1284 | 0.0056091 | 0.093216 | 892.6787
November | 0.0079402 | 0.12155 | 893.3893 | 0.0099377 | 0.14721 | 915.6732
December | 0.24468 | 0.82236 | 1084.2459 | 0.23822 | 0.76371 | 1134.0588
Table 3-15 NOX Time- and Load- Weighted LMU Marginal Emission Rates - Emitting LMUs, 2013 to 2022 (lbs/MWh) (a, b, c)
| Time-Weighted | [5 empty] | Load-Weighted
| Ozone Season |  | Non-Ozone Season |  |  |  | Ozone Season |  | Non-Ozone Season
Year | On-Peak | Off-Peak | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change | On-Peak | Off-Peak | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change
2013 | 0.37 | 0.26 | 0.42 | 0.56 | 0.42 | 62.7252
2014 | 0.25597 | 0.16663 | 0.5906 | 0.71629 | 0.47084 | 12.1039
2015 | 0.44061 | 0.19243 | 0.39369 | 0.40955 | 0.36 | -23.5403
2016 | 0.32609 | 0.17824 | 0.29981 | 0.23626 | 0.25 | -30.5556
2017 | 0.31155 | 0.14305 | 0.25184 | 0.2405 | 0.23 | -8
2018 | 0.27164 | 0.19656 | 0.31244 | 0.30914 | 0.28 | 21.7391 | 0.29 | 0.26 | 0.25 | 0.32 | 0.27 | -
2019 | 0.14429 | 0.15514 | 0.14228 | 0.16867 | 0.15463 | -44.7744 | 0.14 | 0.15 | 0.13 | 0.15 | 0.15 | -46.1
2020 | 0.24265 | 0.16082 | 0.13306 | 0.12251 | 0.15549 | 0.55497 | 0.22 | 0.12 | 0.11 | 0.11 | 0.13209 | -9.1
2021 | 0.21499 | 0.10154 | 0.17271 | 0.19869 | 0.17136 | 10.2044 | 0.20197 | 0.091302 | 0.11298 | 0.14692 | 0.13462 | 1.9158
2022 | 0.2126 | 0.13716 | 0.25297 | 0.32978 | 0.24282 | 41.7018 | 0.18776 | 0.099033 | 0.29914 | 0.24285 | 0.22893 | 70.0591
% Change 2013 - 2022 | -42.5417 | -47.2455 | -39.7699 | -41.11 | -42.1868
(a) Prior to 2018, only the time-weighted approach was used to calculate marginal emissions. (b) The ozone season occurs between May 1 and September 30, while the non-ozone season occurs from January 1 to April 30 and from October 1 to December 31. (c) On-peak hours consist of all weekdays between 7:00 a.m. and 11:00 p.m. Off-peak hours consist of all weekdays between 11:00 p.m. and 7:00 a.m. and all weekend hours.
Table 3-16 SO2 Time- and Load- Weighted LMU Marginal Emission Rates - Emitting LMUs, 2013 to 2022 (lbs/MWh) (a, c)
| Time-Weighted |  |  |  | Load-Weighted
Year | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change
2013 | 0.59 | 0.76 | 0.69 | 65.8944
2014 | 0.53285 | 0.56306 | 0.55035 | -20.2395
2015 | 0.48085 | 0.3617 | 0.41 | -25.5016
2016 | 0.27778 | 0.13282 | 0.19 | -53.6585
2017 | 0.17638 | 0.082009 | 0.12 | -36.8421
2018 | 0.20959 | 0.13853 | 0.17 | 41.6667 | 0.2 | 0.14 | 0.16 | -
2019 | 0.049222 | 0.03171 | 0.039064 | -77.0214 | 0.05 | 0.03 | 0.04 | -76.3
2020 | 0.032765 | 0.027551 | 0.029741 | -23.865 | 0.032787 | 0.02664 | 0.02922 | -25.2
2021 | 0.052847 | 0.034173 | 0.041987 | 41.175 | 0.050924 | 0.034231 | 0.041216 | 41.0546
2022 | 0.10639 | 0.097404 | 0.10159 | 141.9678 | 0.10371 | 0.093952 | 0.10046 | 143.7356
% Change 2013-2022 | -81.9676 | -87.1837 | -85.2761
Table 3-17 CO2 Time- and Load- Weighted LMU Marginal Emission Rates - Emitting LMUs, 2013 to 2022 (lbs/MWh) (a, c)
| Time-Weighted |  |  |  | Load-Weighted
Year | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change | On-Peak | Off-Peak | Annual Average (All Hours) | Annual Average Percentage Change
2013 | 1079 | 1163 | 1125 | 11.3861
2014 | 1064.0805 | 1138.2466 | 1107.0291 | -1.5974
2015 | 1053.2859 | 1023.0963 | 1035.7979 | -6.4344
2016 | 1034.9623 | 987.4988 | 1007 | -2.7803
2017 | 980.9067 | 964.492 | 971 | -3.575
2018 | 1027.5462 | 989.3212 | 1005 | 3.5015 | 987 | 960 | 971 | -
2019 | 975.1616 | 966.3524 | 970.0516 | -3.4775 | 950 | 938 | 943 | -2.9
2020 | 983.6897 | 961.3279 | 970.7198 | 0.068881 | 917.8128 | 893.2441 | 903.5565 | -4.2
2021 | 1043.6188 | 996.24 | 1016.0653 | 4.6713 | 931.4331 | 894.0618 | 909.7 | 0.67993
2022 | 972.5369 | 926.4905 | 947.9621 | -6.7026 | 970.2689 | 899.275 | 946.5961 | 4.0559
% Change 2013 - 2022 | -9.8668 | -20.3362 | -15.7367
Table 3-18 Time-Weighted LMU Marginal Emission Rates - Emitting LMUs (lbs/MMBtu)
Ozone / Non-Ozone Season Emissions (NOx)
Air Emission | Ozone Season |  | Non-Ozone Season |  | Annual Average (All Hours)
| On-Peak | Off-Peak | On-Peak | Off-Peak
NOX | 0.02771 | 0.017878 | 0.032973 | 0.042985 | 0.031649
Annual Emissions (SO2 and CO2)
Air Emission |  | Annual |  |  | Annual Average (All Hours)
|  | On-Peak | Off-Peak
SO2 |  | 0.013867 | 0.012696 |  | 0.013242
CO2 |  | 126.764 | 120.7622 |  | 123.5608
Table 3-19 Load-Weighted LMU Marginal Emission Rates - Emitting LMUs (lbs/MMBtu)
Ozone / Non-Ozone Season Emissions (NOx)
Air Emission | Ozone Season |  | Non-Ozone Season |  | Annual Average (All Hours)
| On-Peak | Off-Peak | On-Peak | Off-Peak
NOX | 0.024496 | 0.01292 | 0.039027 | 0.031683 | 0.029867
Annual Emissions (SO2 and CO2)
Air Emission |  | Annual |  |  | Annual Average (All Hours)
|  | On-Peak | Off-Peak
SO2 |  | 0.013531 | 0.012257 |  | 0.013106
CO2 |  | 126.5837 | 117.3216 |  | 123.4952

## 3.3.3 Emissions - Combined LMUs
3.3.3 Marginal Emissions - Combined LMUs |  |  |  | Return to Table of Contents
This section compares the 2022 time-weighted and load-weighted marginal emission rates and the year-over-year differences. The load-weighted marginal emission rates are typically higher than the time-weighted approach for the all-LMU scenario because of reduced contribution of wind generators in export constrained areas. The main difference between the 2022 and 2021 marginal emission rates is the significant increase in the SO2 emission rates due to more oil resources on the margin in 2022. The time-weighted marginal emission rate for CO2 exhibited a slight decrease due to a decrease in the times that coal generators were on the margin in 2022. In contrast, the load-weighted marginal emission rate for CO2 slightly increased due to oil generators serving more load in 2022.
Table 3-20 2022 Time-Weighted and Load-Weighted LMU Marginal Emission Rates (lbs/MWh, %)
| 2022 Time-Weighted Annual Rate (lbs/MWh) | 2022 Load-Weighted Annual Rate (lbs/MWh) | 2022 Load- Weighted vs. 2022 Time-Weighted (%)
All LMUs
NOX | 0.16 | 0.17 | 6.25%
SO2 | 0.07 | 0.08 | 14.29%
CO2 | 704 | 778 | 10.51%
Emitting LMUs
NOX | 0.24 | 0.23 | -4.167%
SO2 | 0.1 | 0.1 | 0%
CO2 | 948 | 947 | -0.1055%
Table 3-21 2021 and 2022 Annual Time-Weighted and Load-Weighted LMU Marginal Emission Rates (lbs/MWh, %)
| Time-Weighted |  |  | Load-Weighted
All LMUs | 2021 Annual Rate | 2022 Annual Rate | Percent Change 2021 to 2022 | 2021 Annual Rate | 2022 Annual Rate | Percent Change 2021 to 2022
| (lb/MWh) | (lb/MWh) | (%) | (lb/MWh) | (lb/MWh) | (%)
All LMUs
NOX | 0.11 | 0.16 | 45.4545 | 0.1 | 0.17 | 70
SO2 | 0.03 | 0.07 | 133.3333 | 0.03 | 0.08 | 166.6667
CO2 | 719 | 704 | -2.0862 | 758 | 778 | 2.6385
Emitting LMUs
NOX | 0.17 | 0.24 | 41.1765 | 0.13 | 0.23 | 76.9231
SO2 | 0.04 | 0.1 | 150 | 0.04 | 0.1 | 150
CO2 | 1016 | 948 | -6.6929 | 910 | 947 | 4.0659

## 3.3.4 High Electric Demand Days
3.3.4 High Electric Demand Days |  |  |  |  | Return to Table of Contents
Using the LMU methodology, the top-five high electric demand days in 2022 were examined. In 2022, the top five HEDDs were July 20-21 and August 4, 8, and 9. The temperatures in New England during these days ranged from 89° to 91°F. Peak daily loads ranged from 23,996 MW on July 21 to a high of 24,445 MW on August 4. Table 3-22 shows the average LMU marginal emission rate during these five days.
Table 3-22 High Electric Demand Day LMU Marginal Emission Rates (lbs/MWh)
| Time-Weighted |  | Load-Weighted
| All LMUs | Emitting LMUs | All LMUs | Emitting LMUs
NOX | 0.67043 | 1.2315 | 0.67978 | 1.2095
SO2 | 0.25942 | 0.37553 | 0.28554 | 0.41334
CO2 | 939.7972 | 1245.9992 | 981.122 | 1265.6685

## 4.1 Supp. Figures - Annual
4.1 Supplementary Figures - Annual |  |  |  | Return to Table of Contents
2.3 ISO New England Generating Capacity
| Figure 2-1: 2022 ISO New England generator summer capacity by state (MW) | [6 empty] | Figure 2-2 : ISO New England summer capacity additions, 2013 to 2022 (MW) |  |  |  |  | Figure 2-3: ISO New England major retirements, 2013 to 2022 (MW) (*Residual Fuel Oil category includes dual fuel units)
| See Table 2-3 for the values behind this graph | [11 empty] | See the ISO external retirement tracker for a listing of FCM retirements
2.4 ISO New England System Energy Production
| Figure 2-4: 2022 ISO New England monthly generation by resource type, including imports (% GWh, GWh) | [7 empty] | Figure 2-5: ISO New England annual generation by resource type, 2018 to 2022 (GWh) |  |  | Figure 2-6: Percentage energy generation by resource type, 2013 compared with 2022
2.5 ISO New England Average Annual Emissions
Figure 2-7: 2022 ISO New England average annual generation emissions of | [5 empty] | Figure 2-8: ISO New England average annual emissions, 2013 to 2022 (ktons) |  |  |  |  | Figure 2-9: ISO New England annual average emission rates, 2013 to 2022 (lbs/MWh)
|  |  | NOX, SO2, and CO2 (ktons) |  |  | See Table 3-4 for values behind this graph |  |  |  |  | See Table 3-5 for values behind this graph
See Table 3-2 for values behind this graph
2.6 ISO New England Annual Marginal Heat Rates
Figure 2-10: LMU annual marginal heat rate, 2013-2022 (MMBtu/MWh)
See Table 3-7 for values behind this graph
2.7 ISO New England Annual Marginal Emission Rates
| Figure 2-11: Time-weighted LMU marginal emission rates, 2013 to 2022—all LMUs (lbs/MWh) | [5 empty] | Figure 2-12: Time-weighted LMU marginal emission rates, 2013 to 2022—emitting LMUs (lbs/MWh)
| See tables in Section 3.3.1-3.3.3 for values behind this graph | [5 empty] | See tables in Section 3.3.1-3.3.3 for values behind this graph
2.5 Resource Marginality
Time-Weighted Approach
Figure 2-13: Annual percentage of time various resource types were marginal — all LMUs, 2018 to 2022 | [6 empty] | Figure 2-14: Annual percentage of time various resource types were marginal – emitting LMUs, 2018 to 2022
Load-Weighted Approach
Figure 2-15: Annual percentage of load for which various resource types were marginal – all LMUs, 2018 to 2022 | [6 empty] | Figure 2-16: Annual percentage of load for which various resource types were marginal – emitting LMUs, 2018-2022
Comparison of Approaches
Figure 2-17: Comparison of 2022 annual marginality for various resource types using the time- |  |  |  |  | Figure 2-18: Comparison of 2022 annual marginality for various resource types using the time-weighted vs. load-weighted
|  | weighted vs. load-weighted approach —all LMUs | [7 empty] | approach —emitting LMUs
Annual Emissions of NOX, SO2, CO2 (kTons)

## 4.2 Supp. Figures-Monthly
4.2 Supplementary Figures - Monthly |  |  | Return to Table of Contents
3.1 Monthly Average Emissions
Figure 3-1: 2022 ISO New England monthly average emission rates (lbs/MWh)
See Table 3-3 for values behind this graph
3.2 Monthly Marginal Heat Rate
Figure 3-2: 2022 time- and load-weighted LMU monthly marginal heat rate (MMBtu/MWh)
See Table 3-6 for values behind this graph
3.3 ISO New England Monthly Marginal Emission Rates
Time-Weighted Approach
| Figure 3-3: 2022 percentage of time for which various resource types were marginal —all LMUs |  |  |  |  | Figure 3-4: 2022 percentage of time for which various resource types were marginal —emitting LMUs
Figure 3-5: 2022 time-weighted monthly LMU marginal emission rates— all LMUs (lbs/MWh) |  |  |  | Figure 3-6: 2022 time-weighted monthly LMU marginal emission rates—emitting LMUs (lbs/MWh)
See Table 3-8 for values behind this graph |  |  |  |  | See Table 3-14 for values behind this graph
Load-Weighted Approach
| Figure 3-7: 2022 percentage of load for which various resource types were marginal —all LMUs | [5 empty] | Figure 3-8: 2022 percentage of load for which various resource types were marginal —emitting LMUs
Figure 3-9: 2022 load-weighted monthly LMU marginal emission rates—all LMUs (lbs/MWh) | [5 empty] | Figure 3-10: 2022 load-weighted monthly LMU marginal emission rates—emitting LMUs (lbs/MWh)
See Table 3-8 for values behind this graph | [5 empty] | See Table 3-14 for values behind this graph
Comparison of Approaches
Figure 3-11: 2022 time- and load-weighted monthly LMU marginal SO2 emission rates |  |  |  | Figure 3-12: 2022 time- and load-weighted monthly LMU marginal NOX emission rates |  |  |  | Figure 3-13: 2022 time- and load-weighted monthly LMU marginal CO2 emission rates
See Table 3-8 and Table 3-14 for values behind this graph |  |  |  | See Table 3-8 and Table 3-14 for values behind this graph |  |  |  | See Table 3-8 and Table 3-14 for values behind this graph