## NX12
Generator Technical Data Form NX-12 | [6 empty] | Revision 13 | Effective: TBD | Review By Date: TBD
Lead Participant |  | LP ID# |  | Local Control Center |  |  |  | Gen/Asset ID
Select LCC
Designated Entity |  | DE ID# | [5 empty] | Generator Name
1. Data Revision Information
Data Revision No. |  |  |  | Date Prepared
Requested Effective Date
2. Operational Basic Information
Generator Type:
Click here to select Type
Startup Fuel Type:
Click here to select Type |  |  |  |  | A | Enter Name
Predominant (Primary) Fuel Type:
Click here to select Type |  |  |  |  | A | Click here to select Pipeline
Secondary (Alternate) Fuel Type:
Click here to select Type |  |  |  |  | A | Click here to select Pipeline
Primary Fuel |  |  | Y
Heat Rate (Btu/kWh), Primary Fuel: |  |  | Y
Primary Fuel Onsite Storage Indicator | [7 empty] | Y
Primary Fuel Transport Method
Primary Fuel Maximum Storage Capacity
Primary Fuel Maximum Usable Fuel Amount
Shared Onsite Storage Indicator - Primary Fuel
Fuel Switch: | 1. | Preparation Time (Hours) - Primary to Alternate
| 2. | Preparation Time (Hours) - Alternate to Primary
| 3. | Online Fuel Switch Capable
Capabilities: | 1. | Blackstart Capable
| 2. | Electronic Dispatch Capable
| 3. | Do Not Exceed Dispatchable
| 4. | Fast Start Capable
| 5. | Auto Start Capable* (Requires ISO Exemption)
| 6. | Regulation Capable
3. Physical Generator Capabilities
Nameplate Capability | [6 empty] | MVA
Rated Power Factor
Minimum Manual Load Point | [6 empty] | MW
Minimum Permitting-Restricted Load Point | [6 empty] | MW
Network Resource Capability (NRC)
Winter NRC |  |  | MW | Summer NRC |  |  | MW
ISO-NE Public (Blank form)
4. Additional Information Required for Gas Turbine & Combined Cycle Assets Only
| F | Capability (MW) @ |  |  | F | Capability (MW) @
| 0 |  |  |  | 51
| 1 |  |  |  | 52
| 2 |  |  |  | 53
| 3 |  |  |  | 54
| 4 |  |  |  | 55
| 5 |  |  |  | 56
| 6 |  |  |  | 57
| 7 |  |  |  | 58
| 8 |  |  |  | 59
| 9 |  |  |  | 60
| 10 |  |  |  | 61
| 11 |  |  |  | 62
| 12 |  |  |  | 63
| 13 |  |  |  | 64
| 14 |  |  |  | 65
| 15 |  |  |  | 66
| 16 |  |  |  | 67
| 17 |  |  |  | 68
| 18 |  |  |  | 69
| 19 |  |  |  | 70
| 20 |  |  |  | 71
| 21 |  |  |  | 72
| 22 |  |  |  | 73
| 23 |  |  |  | 74
| 24 |  |  |  | 75
| 25 |  |  |  | 76
| 26 |  |  |  | 77
| 27 |  |  |  | 78
| 28 |  |  |  | 79
| 29 |  |  |  | 80
| 30 |  |  |  | 81
| 31 |  |  |  | 82
| 32 |  |  |  | 83
| 33 |  |  |  | 84
| 34 |  |  |  | 85
| 35 |  |  |  | 86
| 36 |  |  |  | 87
| 37 |  |  |  | 88
| 38 |  |  |  | 89
| 39 |  |  |  | 90
| 40 |  |  |  | 91
| 41 |  |  |  | 92
| 42 |  |  |  | 93
| 43 |  |  |  | 94
| 44 |  |  |  | 95
| 45 |  |  |  | 96
| 46 |  |  |  | 97
| 47 |  |  |  | 98
| 48 |  |  |  | 99
| 49 |  |  |  | 100
| 50 |  |  |  | n/a | n/a
5. Additional Information
ISO-NE Public (Blank form)
Generator Type |  |  | Temp Curve
Click here to select Type |  |  | N
CAS - Compressed Air Energy Storage | Compressed Air Energy Storage |  | N
CC - Combined Cycle Total Unit | Combined Cycle Total Unit |  | N
ES - Energy Storage (Excludes Pumped Storage) | Energy Storage (Excludes Pumped Storage) |  | Y
FC - Fuel Cell - Electrochemical | Fuel Cell - Electrochemical |  | Y
GT - Combustion (Gas) Turbine | Combustion (Gas) Turbine |  | N
HDP - Hydraulic Turbine - Conv Daily Pondage | Hydraulic Turbine - Conv Daily Pondage |  | N
HDR - Hydraulic Turbine - Conv Daily ROR | Hydraulic Turbine - Conv Daily ROR |  | N
HTT - Hydraulic Turbine - Tidal | Hydraulic Turbine - Tidal |  | N
HW - Hydraulic Turbine - Conv Weekly Pondage | Hydraulic Turbine - Conv Weekly Pondage |  | N
PS - Hydraulic Turbine - Reversible | Hydraulic Turbine - Reversible |  | N
IG - Integrated Coal Gasification Comb Cycle | Integrated Coal Gasification Comb Cycle |  | N
IC - Internal Combustion Engine | Internal Combustion Engine |  | N
OT - Other | Other |  | N
PV - Photovoltaic | Photovoltaic |  | N
PB - Pressurized Fluidized Bed Combustion | Pressurized Fluidized Bed Combustion |  | N
ST - Steam Turbine | Steam Turbine |  | N
WT - Wind Turbine | Wind Turbine |  | N
Fuel Type |  |  | Label | Storage | Heat
Click here to select Type |  |  | A | Y | Y
AB - Agricultural Crop Byproducts/Straw/Energy Crops | Agricultural Crop Byproducts/Straw/Energy Crops |  | 0 | Y | Y
BIT - Anthracite Coal and Bituminous Coal | Anthracite Coal and Bituminous Coal |  | 2 | Y | Y
BLQ - Black Liquor | Black Liquor |  | 0 | Y | Y
BFG - Blast Furnace Gas | Blast Furnace Gas |  | 0 | Y | Y
SC - Coal Synfuel | Coal Synfuel. |  | 2 | Y | Y
DFO - Distillate Fuel Oil. Including Diesel, Nos. 1,2,3 and ULSD | Distillate Fuel Oil. Including Diesel, No. 1 |  | 3 | Y | Y
BAT- Energy Storage (Battery) | Energy Storage (Battery) |  | 0 | N | N
FC - Energy Storage (Fuel Cell) | Energy Storage (Fuel Cell) |  | 0 | N | N
PG - Gaseous Propane | Gaseous Propane |  | 0 | Y | Y
GEO - Geothermal | Geothermal |  | 0 | N | N
HSB - Hybrid Solar/Battery | Hybrid Solar/Battery |  | 0 | N | N
HWB - Hybrid Wind/Battery | Hybrid Wind/Battery |  | 0 | N | N
JF - Jet Fuel | Jet Fuel |  | 3 | Y | Y
KER - Kerosene | Kerosene |  | 3 | Y | Y
LFG - Landfill Gas | Landfill Gas |  | 0 | Y | Y
LIG - Lignite Coal | Lignite Coal |  | 2 | Y | Y
MSW - Municipal Solid Waste | Municipal Solid Waste |  | 0 | Y | Y
NG - Natural Gas | Natural Gas |  | 1 | N | Y
NUC - Nuclear Uranium, Plutonium, Thorium | Nuclear Uranium, Plutonium, Thorium |  | 0 | Y | Y
OES - Energy Storage (Other) | Energy Storage (Other) |  | 0 | N | N
OTH - Other | Other |  | 0 | Y | Y
OBG - Other Biomass Gas. Includes digester gas, methane, and other biomass gasses | Other Biomass Gas. Includes digester gas, methane, and other biomass gasses. |  | 0 | Y | Y
OBL - Other Biomass Liquids. | Other Biomass Liquids. |  | 0 | Y | Y
OBS - Other Biomass Solids | Other Biomass Solids |  | 0 | Y | Y
PC - Petroleum Coke | Petroleum Coke |  | 0 | Y | Y
PS - Pumped Storage | Pumped Storage |  | 0 | N | N
PUR - Purchased Steam | Purchased Steam |  | 0 | N | Y
RFO - Residual Fuel Oil. Includes No. 6 and Bunker C | Residual Fuel Oil No. 6 |  | 3 | Y | Y
SLW - Sludge Waste | Sludge Waste |  | 0 | Y | Y
SUN - Solar | Solar |  | 0 | N | N
SUB - Subbituminous Coal | Subbituminous Coal |  | 2 | Y | Y
TDF - Tire-derived Fuels | Tire-derived Fuels |  | 0 | Y | Y
WC - Waste/Other Coal | Waste/Other Coal. |  | 2 | Y | Y
WO - Waste/Other Oil | Waste/Other Oil. |  | 0 | Y | Y
WAT - Water | Water |  | 0 | N | N
WOF - Wind (Offshore) | Wind (Offshore) |  | 0 | N | N
WON - Wind (Onshore) | Wind (Onshore) |  | 0 | N | N
WDL - Wood Waste Liquids excluding Black Liquor | Wood Waste Liquids excluding Black Liquor. |  | 0 | Y | Y
WDS - Wood/Wood Waste Solids | Wood/Wood Waste Solids. |  | 0 | Y | Y
Local Control Center
Select LCC
CONVEX
Maine
New Hampshire
NGRID
NSTAR
RIE
VELCO
Gas Pipeline
Algonquin
Distrigas
Iroquois
M&N
PNGTS
Tennessee
Vermont Gas
Note on A4: The Market Participant responsible for submitting supply offers to market and assigning the Designated Entity for the generator.
Note on C4: The Market Participant ID # assigned by ISO-NE to the Market Participant during the membership registration process.
Note on E4: The name of the organization that provides local reliability control in the geographic area which the generator operates.
Note on I4: The ID # assigned by ISO-NE during the generator asset registration process.
Note on A7: The name of the dispatch location (Operations Desk, Company, Dispatch Desk, etc.) that receives dispatch instructions from ISO-NE and is available 24/7/365.
Note on C7: The ID # assigned by ISO-NE during the Designated Entity registration and validation process.
Note on B11: The Data Revision # increases by one (1) each time the NX-12 is updated.
Note on G11: The date that the NX-12 form was submitted to or received by ISO-NE. The date shall be at least 7-business days in advance of the Request Effective Date.
Note on G13: The date that the Lead Participant wants the submitted changes to be in effect. The date shall be at least 7-business days after the Date Prepared or date it was received by ISO-NE.
Note on A31: Heat Rate based on the Primary Fuel
Note on G31: Heat Rate based on the Alternate Fuel
Note on A55: *If the Generator Asset is comprised of multiple units, enter the sum of the nameplate capabilities of the individual units.
Note on G57: Leading Rate Power Factor (to 4 decimal places)
Note on I57: Lagging Rate Power Factor (to 4 decimal places)
Note on A63: The net Network Resource Capability for the specified season. *If NRC is only specified in the Interconnection Agreement (IA) as a total for the generating facility consisting of multiple assets, the summed NRC of the individual assets may not exceed the total NRC specified in the IA.