This version of OP-16 and Appendices A, B, C, D, E, G, H, and I were approved at the May 21, 2026, Reliability Committee meeting and will become effective on October 21, 2026, to coincide with deployment of the redesigned NX Application as part of FERC Order No. 881.

Appendix H - Explanation of Terms and Instructions

for Data Preparation of NX-9H

ISO New England Transmission Equipment Rating, Characteristic, and Operational Data

Series Device

Effective Date: October 21, 2026

Review By Date: October 21, 2028

Table of Contents

I.	Equipment Requirements	2

II.	General Data Instructions	2

III.	Rating Data Instructions	3

IV.	Characteristric And OperationAL Data Instructions	4

V.	Explanation Of Data Changes	4

VI.	Equipment Notes	4

Example 1, NX-9H Series Device-Reactor	6

Example 2, NX-9H Series Device-Capacitor	7

Example 3, NX-9H Series Device-Inductor	8

VII.	OP-16 Appendix H Revision History	9

# Equipment Requirements

Data for all series reactive devices, including Smartvalve devices, designated as part of the Bulk Electric System (BES) or connecting to the New England Transmission System at a voltage of 69 kV or greater shall be provided by the Transmission Owners and Market Participants who own the equipment.

If a series reactive device cannot be switched in or out independently of the associated line, the line and reactive device can be reported together on a single NX-9 form. Combined impedance and rating information shall be submitted. On all new and revised NX-9A forms, if a series reactive device is combined with a line and reported on a single combined NX-9A form, the MP or TO shall update the Participant Equipment Notes field to indicate that the NX-9A form includes the series reactive device information.

Data for series reactive devices connected at voltages that are less than 69 kV may be required when ISO determines that the data is necessary for reliable operation of the New England Transmission System.  When required by ISO, the TO or MP shall submit the data within thirty (30) calendar days of ISO’s notification.

For Smartvalve devices, a document (.pdf format) defining the various impedance settings shall be included as a file attachment to the NX-9H form.

# General Data Instructions

The NX-9H form provides for entry of both ISO and MP/TO data.  ISO fields cannot be modified by the MP or TO.  The MP or TO is responsible for providing data for all non-ISO fields via the NX Application.

The circuit number shall initially be entered by the MP or TO for new equipment and thereafter maintained by ISO.

Select the terminals that reflect the connection points of the equipment.  Terminals are created and maintained by ISO.  The user should contact the ISO NX-9 Administrator (nx9admin@iso-ne.com) if terminal additions or changes are needed.

To remove equipment from service, select the Remove Equipment From Service checkbox.  Equipment is removed from service either when the equipment is retiring from service or if new forms are being submitted as a replacement due to a change in configuration.

To assist in completing the NX-9H form, completed sample NX-9H forms are attached (Examples 1, 2 and 3).

# Rating Data Instructions

All ratings for equipment shall be provided via the Limit Exchange Portal (LEP). Requirements for ratings data provided in LEP are in ISO New England Operating Procedure No.16, Transmission System Data document Section IV. LEP Data Submittal Requirements.

Certain characteristics of equipment ratings must be indicated on the NX-9 form to allow for accurate equipment modeling in LEP. Required characteristic data includes:

- Nominal Ratings

  - For new equipment, the initial nominal ratings shall be provided on the NX-9 form. Any future revisions to these nominal ratings shall be provided only in LEP.

  - Nominal ratings shall be the lowest of the real-time, forecast or seasonal ratings for a network segment that provides for reliable operation of the New England Transmission System.

  - Initial nominal ratings data shall be provided in MVA (rounded down to the nearest whole number) and must meet nesting requirements: Normal <= LTE <= STE <= DAL

  - Nominal ratings are only enterable on the NX-9 form until the form is effective and approved.

- Bi-directional checkbox

  - Selected to indicate ratings are dependent on flow direction.

- Conditional checkbox

  - Selected to indicate conditional rating sets will be provided.

- Conditional Rating Set

  - Add a conditional rating set record with text that identifies the condition the rating applies to.

- Ratings provided via telemetry checkbox

  - Select for equipment with ratings being determined more frequently than an hourly basis that will be provided via SCADA telemetry as defined by ISO New England Operating Procedure No.18.

# Characteristric And OperationAL Data Instructions

Indicate the device type by selecting capacitor, inductor or reactor in the Device Type field.

Provide positive sequence impedance data in percent on a 100 MVA base. Impedance data provided shall represent the incremental impedance that is realized when the series device is in service. Impedance for the associated line will account for total impedance when the series device is out of service.  Impedance on NX-9H forms shall be calculated and provided out to at least the 3rd decimal place.

R = resistance

X = reactance

For Smartvalve devices, provide the impedance values expected to be in use the majority of the time.

# Explanation Of Data Changes

Any time an NX-9H form is modified or created, a brief description of the reason(s) for the entry shall be provided in the Revision Comments field.  It will provide a written record of the change and clearly identify the equipment changes made in the field and/or other reasons that necessitated the update of the NX-9H form.

This data is utilized by ISO in the NX-9H form review and approval process.

# Equipment Notes

The Equipment Notes field is used to provide explanations of data or other pertinent or operational information.  For example: In the normal configuration, equipment is bypassed and out of service.

Fields are provided for both ISO and MP/TO notes.  An additional private field is available to the MP or TO for internal notes that can be edited and viewed only by the MP or TO owning the record.

Equipment notes are carried forward when an NX-9H form is updated.  MPs and TOs should review and modify or delete any MP or TO note that is no longer pertinent.  ISO is responsible for maintaining ISO notes.

## Example 1, NX-9H Series Device-Reactor

## Example 2, NX-9H Series Device-Capacitor

## Example 3, NX-9H Series Device-Inductor

# OP-16 Appendix H Revision History

Document History (This Document History documents action taken on the equivalent NEPOOL Procedure prior to the RTO Operations Date as well revisions made to the ISO New England Procedure subsequent to the RTO Operations Date.)

| Rev. No. | Date | Reason |
| --- | --- | --- |
| Rev 0 | 11/06/15 | Initial version |
| Rev 1 | 08/05/16 | Globally all footers, added the required corporate document identity; Update equipment requirements to include BES equipment; |
| Rev 2 | 11/03/17 | Biennial review by procedure owner; Globally, made editorial changes to be consistent with current practices and management expectations (e.g., grammar changes from “must” to “shall”’ and “which” to “that” as appropriate; and remove capitalization from non-defined terms; Add language allowing data for series reactive devices that cannot be operated independently to be combined with the associated line and reported on a single NX-9A form; Clarify circumstance for ISO to require reporting of equipment connected at voltages that are less than 69 kV is because it is needed for reliable operation of the New England Transmission System; |
| Rev 2.1 | 06/06/19 | Annual review by procedure owner requiring no changes; Made administrative changes required to publish the Minor Revision; |
| Rev 2.2 | 01/25/21 | Annual review by procedure owner requiring no changes; Made administrative changes required to publish the Minor Revision; |
| Rev 3 | 08/22/22 | Biennial review by procedure owner; Clarify ratings requirements to include relay loadability limits and other equipment deemed necessary by Good Utility Practice. |
| Rev 4 | 10/26/23 | Periodic review by procedure owner; Add footnote to define “relay loadability limits” as used in this Appendix; Add instructions for Smartvalve device impedance reporting. |
| Rev 4.1 | 10/23/25 | Biennial review by procedure owner requiring no changes; Made administrative changes required to publish the Minor Revision. |
| Rev 5 | 10/21/26 | Biennial review by procedure owner; Revise language on ratings requirements in NX App, describe new fields for ratings characteristics on NX forms; Replaced example NX form images with redesigned NX forms. |

Bulk Electric System (BES) is defined in the Glossary of Terms Used in NERC Reliability Standards.

New England Transmission System is defined in the ISO Transmission, Markets, and Services Tariff, Section I.2.2.

Generally, under Section I of Operating Procedure No. 16, data shall be provided by Transmission Owners (TOs) and Market Participants, i.e. Market Participants who own the equipment or Lead Market Participants for Generator Assets (collectively MPs).