## Slide 1
NEPOOL RELIABILITY COMMITTEE | MAY 21, 2026 | FRAMINGHAM, MA
Joshua Ledee
FERC Order No. 881/881-A conforming changes
OP-16 and Appendices A, B, C, D, E, G, H, & I – Transmission System Data
ENGINEER

## Slide 2
OP-16 Redline Overview
Proposed Effective Date: 10/21/2026
The purpose of OP-16 is to define the responsibilities of Transmission Owners (TOs) and Market Participants, i.e., Market Participants who own the equipment or Lead Market Participants (LMPs) for Generator Assets (collectively MPs) to determine and submit the required data for new, reconductored, and reconfigured facilities for all their transmission equipment
Changes are needed to comply with FERC Order No. 881/881-A Managing Transmission Line Ratings
  Address changes to requirements in redesigned NX-9 Application
  Address requirements for ratings in Limit Exchange Portal (LEP) Application
There have been no changes to the ISO’s proposal since the April RC meeting

## Slide 3: Rationale for Change
Historically, the NX Application has hosted data representing the physical characteristics, ratings and operational data of transmission and generation equipment needed to develop accurate system models
To address requirements of FERC Order 881, all rating data is hosted in the Limit Exchange Portal (LEP)
NX Application is redesigned to host certain characteristic information needed to prepare LEP and ISO EMS applications to receive ratings
All other NX functionality remains the same

## Slide 4: Proposal
The following changes to OP-16 are proposed:
  Revisions to References
    Add references to FERC Order 881, OP-18, and OATT Attachment Q
  Revisions to Section I – Overview and Purpose
    Introduce Limit Exchange Portal (LEP) as new ratings host for New England Transmission System equipment
    Revise language on ratings requirements in NX app
    Describe new fields for ratings characteristics on NX forms
    Add footnote to Overview section to define term “nominal ratings”
    Globally change the term "Submission" to "Submittal"
  Revisions to Section II – NX-9 Data Submittal Schedule
    Change submittal dates for new facilities associated with model releases from the 15th to the 1st of March, July, and November
    Remove submittal schedule for planned modifications to existing facilities with OP-3 exception
    Add the timeframe participants have to notify ISO of LMP transfers and to submit LMP transfer revisions
    Add timeframe for submittal of NX forms when adding, removing or modifying rating related fields that require EMS changes
  Addition of Section IV – LEP Data Submittal Requirements
    Add new section for LEP Ratings submittal requirements and schedule
  Revisions to Section V – NX One-line Submittal Schedule Changes
    Change submittal dates for new facility one-line diagrams associated with model releases from the 15th to the 1st of March, July, and November

## Slide 5: Proposal, Continued
The following changes to OP-16 Appendices are proposed:
  Revisions to Appendices A, B, C, G, H, & I Only
    Revise language on ratings requirements in NX App, describe new fields for ratings characteristics on NX forms
  Revisions to Appendices A, B, C, D, G, H, & I only
    Replaced example NX form images with redesigned NX forms
  Revisions to Appendix A only
    Added new example NX forms showing submittal for conditional ratings due to breaker statuses and companion cable statuses
  Revisions to Appendix E only
    Added language to include ratings data provided via the Limit Exchange Portal under the FERC 881 ruling are included in the annual certification of data that defines and represents the physical characteristics, ratings, and operational limits of all New England Transmission System equipment

## Slide 6: Conclusion
The proposed changes to OP-16:
  Revised References
  Section I – Overview and Purpose
  Section II – NX-9 Data Submittal Schedule
  Section IV – LEP Data Submittal Requirements
  Section V – NX One-line Submittal Schedule
  Section VII – Annual NX-9 Data Certification
  Appendices A,B,C,D,E,G,H, & I
  Minor Revisions throughout
Proposed effective date is 10/21/2026 to coincide with go-live date for redesigned NX Application

## Slide 7: Stakeholder Schedule
Stakeholder Committee and Date | Scheduled Project Milestone
Reliability Committee April 22, 2026 | Review Changes and Answer Questions
Reliability Committee May 21, 2026 | Answer Questions and Vote
Participants Committee June 16-18, 2026 | Vote
7

## Slide 8
8

## Slide 9: About the Presenter
Joshua Ledee
Engineer, Power System Modeling and Support
ISO New England
Office: (413) 540-4772
jledee@iso-ne.com

## Slide 10: Appendix
OP-16 and Appendices A, B, C, D, E, G, H, & I Redlines Presented at April RC

## Slide 11: Reference Changes
Section | Procedure Change | Reason for Change
References |  | Add references to FERC Order 881, OP-18, and OATT Attachment Q

## Slide 12: Section I – Overview and Purpose Changes
Section | Procedure Change | Reason for Change
Section I – Overview and Purpose |  | Introduce Limit Exchange Portal (LEP) as new ratings host for New England Transmission System Equipment Revise language on ratings requirements in NX app Globally changed “submission” to “submittal” Add footnote to Overview section to define term “Nominal Ratings”

## Slide 13: Section II – NX-9 Data Submittal Schedule Changes
Section | Procedure Change | Reason for Change
Section II – NX-9 Data Submittal Schedule |  | Changed dates from 15th to 1st Submittals needed earlier to assess modeling requirements to allow LEP to host all applicable ratings for equipment.

## Slide 14: Section II – NX-9 Data Submittal Schedule Changes, Continued
Section | Procedure Change | Reason for Change
Section II – NX-9 Data Submittal Schedule |  | Remove submittal schedule for planned modifications for existing facilities OP-3 exception Add timeframe for submittal of NX forms when adding, removing or modifying rating related fields that require EMS changes. Add the timeframe participants have to notify ISO of LMP transfers and to submit LMP transfer revisions as this requires EMS/LEP changes.

## Slide 15: Section IV – LEP Data Submittal Requirements Addition
Section | Procedure Change | Reason for Change
Section IV – LEP Data Submittal Requirements |  | Add new section for LEP Ratings submittal requirements

## Slide 16: Section IV – LEP Data Submittal Requirements Addition, Continued
Section | Procedure Change | Reason for Change
Section IV – LEP Data Submittal Requirements |  | Add new section for LEP Ratings submittal requirements

## Slide 17: Section IV – LEP Data Submittal Requirements Addition, Continued
Section | Procedure Change | Reason for Change
Section IV – LEP Data Submittal Requirements |  | Add new section for LEP Ratings submittal requirements

## Slide 18: Section IV – LEP Data Submittal Requirements Addition, Continued
Section | Procedure Change | Reason for Change
Section IV – LEP Data Submittal Requirements |  | Add new section for LEP Ratings submittal requirements

## Slide 19: Section V – NX One-line Submittal Schedule Changes
Section | Procedure Change | Reason for Change
Section V – NX One-line Submittal Schedule |  | Changed dates from 15th to 1st Submittals needed earlier to assess modeling requirements to allow LEP to host all applicable ratings for equipment.

## Slide 20: Appendices A, B, C, G, H, and I Changes Only
Section | Procedure Change | Reason for Change
Appendices A, B, C, G, H, and I Only |  | Revise the Rating Data Instructions across all affected appendices to provide requirements for all new fields.

## Slide 21: Appendices A, B, C, G, H, and I Changes Only, Continued
Section | Procedure Change | Reason for Change
Appendices A, B, C, G, H, and I Only |  | Revise the Rating Data Instructions across all affected appendices to provide requirements for all new fields.

## Slide 22: Appendices A, B, C, D, G, H, and I Changes Only
Section | Procedure Change | Reason for Change
Appendices A, B, C, D, G, H, and I Only |  | Replaced example NX form images with redesigned NX forms

## Slide 23: Appendix A Changes Only
Section | Procedure Change | Reason for Change
Appendix A Only Example 2, NX-9A Transmission Line, Breaker In/Out Conditional Ratings |  | Added additional example NX9A form showing conditional rating sets due to breaker statuses.

## Slide 24: Appendix A Changes Only, Continued
Section | Procedure Change | Reason for Change
Appendix A Only Example 3, NX-9A Transmission Line, Companion Cable In/Out Conditional Ratings |  | Added additional example NX form showing conditional rating sets due to companion cable statuses

## Slide 25: Appendix E Changes Only
Section | Procedure Change | Reason for Change
Appendix E Only |  | Modify certification requirements to include data provided in LEP