SECTION III

MARKET RULE 1

APPENDIX H

OPERATIONS DURING COLD WEATHER CONDITIONS

APPENDIX H

Operations During Cold Weather Conditions

Table of Contents

Page

III.H.1.	INTRODUCTION	8132

III.H.2.	DEFINITIONS	8133

III.H.3.	PROCEDURES	8137

III.H.3.1	Industry Coordination	8137

III.H.3.2	Reporting Anticipated Generating Resource Availability	8137

III.H.3.3	ISO Cold Weather Condition Evaluation.	8137

III.H.3.4	Cold Weather Condition Actions.	8139

III.H.3.5	Economic Requests and Economic Outages.	8148

III.H.3.6	Offer Cap During Cold Weather Conditions	8150

III.H.3.7	Sunset Provision	8153

Attachment 1  MAINTENANCE OUTAGE REQUEST PROCESS DURING COLD WEATHER CONDITIONS	8154

Attachment 2  COLD WEATHER CONDITIONS CONFIDENTIAL INFORMATION  DISCLOSURE PROCEDURE	8163

Attachment 3  FORM OF NON-DISCLOSURE AGREEMENT	8169

# INTRODUCTION

The severe cold winter weather of January 2004 brought to light a number of concerns regarding the interplay between natural gas and electric power markets in New England.  The problems revealed during the January 2004 cold snap event also highlighted a number of concerns for system operations and for the on-going reliability of the New England bulk power system during such severe winter weather conditions.  Subsequent stakeholder processes highlighted the impact of differences in scheduling time frames between the electric system (under Market Rule 1 and the Manuals) and the gas industry.  The electric system has utilized generation offers submitted by noon, day ahead, for the next electric day (12:01 a.m. - 12:00 p.m.) and scheduled generation in the Day-Ahead Energy Market between 12:00 noon and 4:00 p.m. and in real-time.  The gas pipeline system, however, relies on submittal of initial day-ahead gas nominations by 12:30 p.m. on the calendar day prior to the start of the gas day (10:00 a.m. to 9:59 a.m. following calendar day).  The majority of gas trading activity occurs between 8:00 a.m. and 11:00 a.m. one Business Day in advance of the gas day.  In many hours of the year, the gas pipeline system can provide additional scheduling flexibility after the initial day-ahead deadline, however, during extreme gas demand periods, significant volumes of gas need to be nominated consistent with the gas trading activity and by the initial day-ahead deadline.

Improved coordination of the different scheduling time frames between the gas and electric systems can increase operable capability during periods of extremely cold temperatures (cold snaps).  Extremely cold temperatures greatly increase the demand for natural gas in two ways: First cold temperatures increase the demand for natural gas used for heating.  Secondly, because large quantities of generation in New England use natural gas, the increased demand for electricity associated with cold weather requires more natural gas.  When these high demands occur on the natural gas pipeline system, intra-day nomination flexibility is often reduced significantly below that available in other periods.  As a consequence, greater market liquidity and nomination certainty in these periods exist prior to the initial day-ahead gas nomination deadline of 12:30 p.m. EST.  Advancing the electricity market schedule during these periods can improve access to natural gas-fired generation.

This Appendix H addresses formal processes that need to exist between the ISO, the owners of gas-fired generation and the natural gas industry.  Improved coordination with the pipeline suppliers will significantly improve the ISO’s ability to forecast and operate under Cold Weather Conditions.

This Appendix H addresses the handling of Economic Outages during Cold Weather Conditions.

This Appendix H also addresses ISO scheduling during Cold Weather Conditions that will allow natural gas units to receive their commitment status in sufficient time to purchase gas by the gas nomination deadline.

This Appendix H will provide electric scheduling certainty necessary to support day ahead gas nominations by owners of natural gas units.

This Appendix H defines processes that will enable the ISO to forecast and operate with greater certainty and facilitate higher unit availability during Cold Weather Conditions.

This Appendix H includes definitions of key terms, responsibilities of market participants and the ISO, as well as rules for outage evaluation, outage requests and reporting.

# DEFINITIONS

For the purposes of this Appendix H, temperatures are the average of the temperatures obtained from the weather services for New England as described in the System Operating Procedure to Create Load Forecast, which is available on the ISO’s website at http://www.iso-ne.com/smd/system_operating_procedures/.

“Effective Temperature” is equal to: dry bulb temperature - [windspeed X (65 – dry bulb temp) / 100].

“Effective Heating Degree Days” is equal to: 68 - (average of max and min effective temperature of the day).

“Cold Weather Conditions”:  Cold Weather Conditions exist for any calendar day when that day’s Effective Temperatures are forecast to be ≤ 0 degrees F for any single on-peak hour and that day’s total Effective Heating Degree Days are forecast to be ≥ 65.

“Cold Weather Watch”:  Days when Cold Weather Conditions are forecast to exist and the 7-Day Capacity Margin Forecast indicates a capacity margin greater than or equal to 1,000 MW.

“Cold Weather Warning”:  Days when Cold Weather Conditions are forecast to exist and the 7-Day Capacity Margin Forecast indicates a capacity margin less than 1,000 MW.   In addition, a Cold Weather Warning will be used for all future days within the 7-Day Capacity Margin Forecast when a capacity margin of less than or equal to 0 MW exists for days not yet declared as a Cold Weather Event.

“Cold Weather Event”:  Days when Cold Weather Conditions are forecast to exist and the 7-Day Capacity Margin Forecast indicates a capacity margin less than or equal to 0 MW for an Operating Day.   Cold Weather Events are declared by 11:00 a.m. two days prior to the Operating Day.  A Cold Weather Warning will be used for all future days within the 7-Day Capacity Margin Forecast when a capacity margin of less than or equal to 0 MW exists, until such time that the ISO declares a Cold Weather Event.

- “Current Year - Annual Maintenance Schedule”:  This cycle begins on January 1st and covers the outages scheduled from the current publication date to the end of the current calendar year.  Updates are provided on a monthly basis in the Current Year - Annual Maintenance Schedule, which is distributed on or about the 5th day of the month.

“Economic Request”:  Means the request for a Maintenance Outage by a Market Participant for the removal of a generating Resource from service for purely economic reasons associated with market conditions.  Market Participant requests for such outages may include, but are not limited to, sale of gas available to the Market Participant as fuel for such generating Resource, reducing output temporarily to defer maintenance in response to unanticipated operating difficulties or refueling, or shutting down a generating Resource during a period when the Market Participant does not reasonably expect the generating Resource-specific market revenues to justify operation of the generating Resource in that period.

“Economic Outage”:  Means an outage pursuant to an Economic Request approved by the ISO.

“First Future Year - Annual Maintenance Schedule”:  The First Future Year – Annual Maintenance Schedule is published on or about each June 15th and covers generating Resource outages scheduled for the next calendar year, known as the First Future Year.  This schedule is intended to provide Market Participants and the ISO sufficient lead-time to schedule all Planned Outages for the next calendar year.  Updates to this schedule are made on a bimonthly basis with distribution on or about the 15th day of the month throughout the current year (August, October

and December).  The December update forms the basis for the January release of the Current Year - Annual Maintenance Schedule.

“Generator Forced Outage”:  As defined in Section III.1.3.

“Maintenance Outage”:  Means an Economic Outage or an outage to perform maintenance that can be deferred beyond the end of the upcoming weekend, (i.e. the weekend following the day when the outage request was made) but requires that the generating Resource be removed from service before the next Planned Outage.

“Maintenance Outage Request Process”:  Means the process described in Attachment 1 to this Appendix H.

“Planned Outage”:  Means an outage that is scheduled in advance and has a predetermined duration, typically for the purpose of performing annual maintenance.  Planned Outages should be scheduled well in advance and must be requested with a minimum of 15 days’ advance notice.  These outages are initially coordinated in the First Future Year - Annual Maintenance Schedule and subsequently in the Current Year - Annual Maintenance Schedule.  Scheduled Extensions (as defined in NERC-GADS) of a Planned Outage may be requested up until the Thursday prior to the scheduled return of a generating Resource to service.

“Return From Economic Outage”:  With respect to an ICAP Resource, or the portion (or entirety) of a de-listed Resource that the owner of the de-listed Resource has identified for voluntary return from outage, Return From Economic Outage means to become subject thereafter (no later than the recall time specified by the Market Participant in its Economic Request) to the provisions of the ISO New England Operating Documents applicable to ICAP Resources or de-listed resources, respectively, that are not on Economic Outage.

“7-Day Capacity Margin Forecast” has the meaning specified in Section III.H.3.3(a) below.

“Short Term Operable Capacity Margin” or “STOCM”:  The measure of the New England Control Area’s projected capacity margin looking ahead 15 days or less.  STOCM is calculated using the components defined below. A positive value of STOCM indicates a potential surplus of operable capacity over and above the estimated capacity requirement.  A negative value indicates a potential operable capacity deficiency.

STOCM= A+B-C-D-E-F  where:

STOCM	is the forecast daily operable capacity margin, either surplus (+) or

deficiency (-).

A	is the Seasonal Claimed Capability of all generating Resources.

B	is the net projected external ICAP Resource purchases minus external ICAP Resource sales.

C	is the forecast load.

D	is the Operating Reserve Requirement as defined in OP 8.

E	is the total of generating Resources actually out-of-service for Planned or Maintenance Outages, or scheduled or known to be out-of-service in the future period of 15 days or less.

F	is a reliability factor to adjust the overall STOCM by considering Generator Forced Outages, changes in load, etc.  The reliability factor will be 1500 MW for day 1 through 7 and 2000 MW for day 8 through 15 of the short-term look ahead period, subject to adjustment in accordance with Section III.H.3.3(a).

# PROCEDURES

## Industry Coordination

.  During the Winter Capability Period, the ISO will confer with natural gas pipeline companies to review pipeline conditions for the coming week.  These discussions will focus on the weather and temperature forecasts, the anticipated demand on the natural gas pipelines and any posted notices issued by the pipeline operators.  These conversations will normally take place at least once a week (normally on Thursday) and may be held more frequently if conditions warrant.

## Reporting Anticipated Generating Resource Availability

.  During a Cold Weather Watch, Warning and Event, owners of generating Resources are responsible for reporting to the ISO anticipated availability and other information required by the ISO New England Operating Documents, including but not limited to the generating Resource’s ability to procure fuel for the pertinent Operating Day or physical limitations that could reduce generating Resource output for the pertinent Operating Day.

## ISO Cold Weather Condition Evaluation.

#### Develop 7-Day Capacity Margin Forecast.  Each day the ISO develops a 7-day Capacity Margin (surplus/deficiency) Forecast by 11:00 a.m.  The 7-Day Capacity Margin Forecast will include the following inputs:

- A review of any notices issued by gas pipeline operators, communications with generating Resources and an assessment of the potential unit availability impact of actions announced in those notices.

- A review of forecasted weather conditions to determine if Cold Weather Conditions are forecast and an assessment of the potential impact of such weather conditions on natural gas unit availability.

- A survey of which dual fuel units normally operating on natural gas have switched or are able to switch to their secondary fuel based on information received from each dual fuel generating Resource.

Based on the information gathered above and information provided by individual generating units, the ISO will adjust the Short Term Operable Capacity Margin (“STOCM”) calculation specified in Appendix H to include any anticipated reductions in total operable generating

capacity resulting from the Cold Weather Conditions.  In the forecast process, the ISO will not change (based on the foregoing information) any data reflecting unit operating limits or unit availability unless requested by the generating Resource.  However, the ISO may change such data reflecting unit operating limits or unit availability, in accordance with other Tariff provisions, ISO New England Operating Procedures or ISO New England Manuals, based upon information provided to the ISO by the generating Resource.

#### Evaluate 7-Day Capacity Margin Forecast.  On each day during the Winter Capability Period, the ISO will evaluate the 7-Day Capacity Margin Forecast and perform a Cold Weather Conditions analysis for each day of the following seven (7) day period (the “Period”).  By 11 a.m. each day the ISO will post its 7-Day Capacity Margin Forecast and the Cold Weather Conditions for each of the days of the  Period will be classified as one of four conditions:

- Cold Weather Watch

- Cold Weather Warning

- Cold Weather Event

- No Cold Weather Conditions exist

The 7-Day Capacity Margin Forecast will indicate, for each day,  the anticipated MW reductions in total operable generating capacity resulting from the Cold Weather Conditions and the MW of de-listed resources included as operable generating capacity in the forecast. The ISO may update its 7-Day Capacity Margin Forecast and the Cold Weather conditions for each of the days of the Period during the day.  This daily process can result in the declaration, reaffirmation, upgrading, downgrading, or cancellation of the Cold Weather Condition for any day in the Period, subject to Section III.H.3.4(c)(i) below.

## Cold Weather Condition Actions.

#### Cold Weather Watch

##### Cold Weather Watch declaration.

###### Cold Weather Watches will be made in advance for the following Period as described in Section III.H.3.3(b) above.

###### If the ISO declares a Cold Weather Watch for specific day(s) in the coming Period or revises conditions to a Cold Weather Watch, a Special Notice will be prominently posted on the ISO’s website:

“ISO-NE has issued a Cold Weather Watch for [dates].  Extreme Cold Weather Conditions are forecast.  ISO-NE forecasts that sufficient capacity is available to meet the forecasted demand and reserve requirements.  The 7-Day Capacity Margin Forecast is posted at http://www.iso-ne.com/smd/operations_forecasting/seven_day_forecast.html.”

###### The ISO will notify the Satellites that a Cold Weather Watch has been declared for [dates].

#### Declaration of Cold Weather Warning

##### Cold Weather Warning declaration.

###### Cold Weather Warnings will be made in advance for the following Period as described in Section III.H.3.3(b).

###### If the ISO declares a Cold Weather Warning for specific day(s) in the coming Period, or revises conditions to a Cold Weather Warning, a Special Notice will be prominently posted on the ISO’s website:

“ISO-NE has issued a Cold Weather Warning for [dates].  Extreme Cold Weather Event conditions are forecast.  ISO-NE forecasts that sufficient capacity may not be available to meet the forecasted demand and reserve requirements.  The 7-Day Capacity Margin Forecast is posted at http://www.iso-ne.com/smd/operations_forecasting/seven_day_forecast.html.”

###### The ISO will notify the Satellites that a Cold Weather Warning has been declared for [dates].

##### Cold Weather Warning Actions.

###### When a Cold Weather Warning is issued, the ISO will request all permitted and equipped dual fuel units that normally burn natural gas to voluntarily take all necessary steps to prepare to switch to secondary fuel in anticipation of Cold Weather Event day(s).

###### The ISO will alert the Load Response Participants that they need to be prepared to activate if and when the ISO reaches the actions of OP 4 at which they are called.

###### The ISO will apply the procedures used in MLCC2 for approving any transmission outage request received for a day in the Period for which a Cold Weather Warning has been forecast.

#### Declaring a Cold Weather Event

##### Cold Weather Event declaration.

###### Cold Weather Event Declarations will be made by no later than 11:00 a.m. two (2) days prior to the Operating Day.  This will be the normal application of this process unless circumstances dictate an earlier notice time.  Once a Cold Weather Event is declared it will not be cancelled.

###### If the ISO declares a Cold Weather Event for specific day(s), the following message will be posted on the ISO’s website:

“Cold Weather Event conditions are forecasted to occur.  ISO-NE forecasts that OP-4 actions will be taken to address anticipated capacity deficiency on [Operating Day(s)].  All Supply Offers, Demand Bids, Increment Offers and Decrement Bids and all External Transactions normally required to be submitted by 12:00 noon on [date] shall be due by 9:00 a.m. on [date].  The 7-Day Capacity margin Forecast is posted at http://www.iso-ne.com/smd/operations_forecasting/seven_day_forecast.html.”

###### The ISO will notify the Satellites that a Cold Weather Event has been declared.

##### Cold Weather Event Actions.  When a Cold Weather Event is declared the following actions will take place:

            - The ISO will communicate the Cold Weather Event to State Regulators, the Electric/Gas Operations Committee, members of the Markets, Reliability and Participants Committees, and Lead Participants and Designated Entities.  Public appeals will be made in accordance with the Actions of OP4 that are implemented by the ISO.

            - The ISO will communicate potential capacity shortages with other control areas and reliability coordinators, and will seek assistance as required.

            - The ISO will implement an alert under Master/Local Control Center Procedure #2.

            - The ISO will request all permitted and equipped dual fuel units which normally burn natural gas to voluntarily switch to secondary fuel for Cold Weather Event Day(s).  The ISO will communicate with dual fuel gas generating Resources to verify if they have switched or are planning to switch to alternate fuel.

            - The ISO will change the Day-Ahead Energy Market Trading Deadline for the Cold Weather Event day(s) from 12:00 noon to 9:00 a.m. the day prior to the Operating Day.  Participants are responsible for submitting offers by the 9:00 a.m. trading deadline.  In connection with its submission of Supply Offers for each Cold Weather Event Day, a generating Resource may re-declare its Start-Up Fee and No-Load Fee in view of fuel cost changes since the Resource was last able to declare its Start-Up Fee and No-Load Fee.  Subsequent re-declaration of those values will be permitted in the bid period for the Operating Day following the Cold Weather Event.  A generating Resource may also re-declare its minimum run-time requirements and ramp rate to reflect limitations on its ability to take gas off the pipeline due to gas pipeline operating limits, but not for a period exceeding the pertinent gas day to which the limits apply.  The foregoing re-declarations shall be made in accordance with implementing ISO business process documents.

            - Between 9:00 a.m. and noon the eMarket MUI will be closed.  The actions normally occurring by 4 p.m. as described in Section III.1.10.8(b) of the Tariff and ISO New England Manual 11 will occur by noon instead.  The re-offer period described in Section III.1.10.9(a) of the Tariff, and normally occurring between 4:00 and 6:00 p.m., will occur between noon and 2 p.m..  A generating Resource may re-declare its ramp rate to reflect limitations on its ability to take gas off the pipeline due to gas pipeline operating limits.  Such re-declaration shall only apply to the gas day to which the limits apply.  The Reserve Adequacy Assessment activities described in Section III.1.10(c) of the Tariff will take place between 2:00 p.m. and 6:00 p.m.

            - Following the submittal of offers, the ISO will complete its Real-Time Resource Scheduling and Commitment (RT-RSC) Analysis.  The RT-RSC will include the following inputs:

              - ISO Load Forecast and Reserve Requirement in accordance with ISO New England Operating

- Procedure No. 8 – Operating Reserve and Regulation (OP 8)

              - External Transactions forecast (Day-Ahead External Transactions submitted by 9:00 a.m.)

              - Participant Day-Ahead Generation Offers.

              - Assumptions with regard to the real time operation of generating Resources that do not submit Day-Ahead Offers.

              - Generation Requirements for Transmission (GRT) spreadsheet information.

              - Must Run Generation for Voltage support (VAR), Special Constraint Resources (SCR) and local transmission (emergency work).

              - Dispatchable Demand Pumps.

            - Between 9:30 a.m. and 10:00 a.m. the day prior to the Operating Day, gas-fired units that are determined by this evaluation to be necessary to meet Load Forecast and Reserve Requirements in accordance with OP 8, will be advised (simultaneously, to the extent feasible) that they will be pool-scheduled in the Day-Ahead Energy Market for a specified minimum set of hours and MWs.

            - The gas-fired units that have received Day-Ahead Schedules for the Operating Day shall advise the ISO by the end of the Re-Offer Period as to whether they have confirmed fuel supplies for the scheduled energy.  For the Reserve Adequacy Assessment process the ISO will review the then-current gas nomination information as posted on the natural gas Electronic Bulletin Board to better understand the overall New England gas supply situation.  The ISO will, to the extent reasonably feasible, contact generating Resources as needed regarding ISO concerns resulting from its review of nomination information.  This information will be used in the Reserve Adequacy Assessments.  In the Reserve Adequacy Assessment process, the ISO will not change (based on the foregoing information) data reflecting operating limits or unit availability unless requested by the generating Resource.  However, the ISO may change such

- data reflecting unit operating limits or unit availability, in accordance with other Tariff provisions, ISO New England Operating Procedures or ISO New England Manuals, based upon information provided to the ISO by the generating Resource.

            - The ISO will alert the Load Response Participants that they need to be prepared to activate if and when the ISO reaches the actions of OP 4 at which they are called.

            - The ISO will declare a Reserve Shortage Condition Pricing Event in the circumstances described in the Market Rule 1 definition of that phrase.  During the hours in which a Reserve Shortage Condition Pricing Event is occurring, the LMP pricing methodology described in Section III.2.5(d) of this Tariff shall be in effect, and the Reserve Shortage Opportunity Cost shall be paid to eligible generating Resources in the circumstances described in Market Rule 1.  Reserve Shortage Opportunity Cost Charges shall be calculated and paid in the manner described in Market Rule 1.

## Economic Requests and Economic Outages.

            - During Cold Weather Conditions, Economic Requests, and return of Generating Units from Economic Outage, will be addressed in the manner specified in this Section III.H.3.5.  “ICAP Resource” includes units that are partially-delisted.

            - Economic Requests shall be coordinated through the Maintenance Outage Request Process.  These requests cannot be made more than seven (7) days in advance of such outage nor for duration in excess of seven (7) days.  Generating Resources must submit Economic Requests by 0900 for an outage start during the next operating day.

            - As part of the Economic Request, the Market Participant shall provide the time needed to restore the generating Resource to service, in the event of an actual or anticipated OP 4 implementation.  Economic Requests from generating Resources that have fully de-listed from the ICAP Market that are submitted in accordance with the Maintenance Outage Request Process will be deemed automatically approved by the ISO.  For ICAP Resources (including partially de-listed Resources) the ISO may withhold approval if granting the approval would result in a risk of OP 4 Action 10 or higher or OP 7 or other serious reliability risk

            - A Market Participant with a generating Resource on an Economic Outage is obligated to make best efforts to restore the generating unit to service from

- the Economic Outage as requested by the ISO in the event of an ISO declaration of Operating Procedure No.4 on an actual or forecasted basis.  This requirement does not apply to fully de-listed Resources, which the ISO may only ask to reschedule on a voluntary basis in accordance with Market Rule 1, Section 8.3.3.1(b).  Prior to requesting fully de-listed Resources to reschedule on a voluntary basis, the ISO will recall the outages of fully-listed and partially de-listed Resources that could alleviate the reliability need.

            - Fully de-listed units making Economic Outage requests following declaration of a Cold Weather Event shall notify the ISO of the time, if any, that it would be willing to Return From Economic Outage during the Cold Weather Event day.

            - For a day for which a Cold Weather Watch has been declared, the ISO will approve new requests for Economic Outages submitted by ICAP Resources if the resulting 7-Day Capacity Margin Forecast for the day will not have a capacity margin less than 1000 MW.

            - For days for which a Cold Weather Warning or Event has been declared, the ISO will not approve new requests for Economic Outages submitted by ICAP Resources, and will request Return From Economic Outage on a “best efforts” basis of ICAP Resources on Economic Outage and will request Return From Economic Outage, on a voluntary basis, of fully de-listed Resources.

            - During Cold Weather Warnings or Events, fully de-listed Resources electing to reschedule Economic Outages or agreeing at the ISO’s request to Return From Economic Outage will receive the compensation described in Section III.8.3.3.1(b).

## Offer Cap During Cold Weather Conditions

#### During Cold Weather Events, a Market Participant that submits a Supply Offer in the Day-Ahead Energy Market or in the Real Time Energy Market of $999.99/MWh contemporaneously may advise the ISO that the Supply Offer would have been equal to or greater than $1000/MWh but for the $1000/MWh Supply Offer cap specified in Market Rule 1, Section III.1.10.1A(d)(viii) (the “Offer Cap”) and provide the ISO with a statement of what the Supply Offer would have been but for the Offer Cap (the “Offer”).  The ISO then shall calculate the Reference Price for the applicable generating Resource based upon the formula set forth in Appendix A to Market Rule 1, Section III.A.5.6.1(b)(iii) using an index price for natural gas at the most applicable hub for deliveries to the Market Participant’s generating Resource and promptly deliver, following receipt of the index price and performance of the calculation, the Reference Price to the Market Participant.   If the applicable Reference Price is below $1,000, the Market Participant’s Offer may be accepted subject to the mitigation procedures in Appendix A.    If the applicable Reference Price is equal to or above $1,000, the Market Participant’s Offer may be accepted subject to the following terms.  The Market Participant shall be paid the lower of its Offer or the Reference Price for each MWh of energy produced from the applicable generating Resource through the payment of the Locational Marginal Price and, subject to refund, appropriate Operating Reserve Credits.  Operating Reserve Credits and Charges will be allocated in accordance with Appendix F of Market Rule 1.

#### Within 30 days of the date on which the Market Participant has been paid a price equal to or in excess of $1000/MWh, the Market Participant shall make a filing with the FERC under Section 205 of the Federal Power Act (“FPA”) with respect to the Operating Reserve payment received that is equal to or in excess of $1000/MWh.  If the Reference Price was lower than the amount the Market Participant would have bid but for the Offer Cap, the Market Participant may request that it be permitted to be paid based on the Reference Price as calculated above or may request to be paid based upon its Offer amount.  In no case shall the Market Participant request that it be paid above what it informed the ISO its Supply Offer would have been but for the Offer Cap.  The Market Participant’s filing shall include such data as are necessary to support its Section 205 Filing.  At the Market Participant’s option, such data may be filed under seal in accordance with the Commission’s rules.  A redacted copy of the filing shall be served upon the utility regulatory commission of each of the New England states.  In accordance with Attachment 2 hereto, the Market Participant, upon execution of a Non-Disclosure Agreement in the form appended hereto as Attachment 3 by (i) a State Public Utility Commission within the geographic limits of the New England Control area that regulates the distribution or supply of electricity to retail customers and is legally charged with monitoring the operation of wholesale or retail markets serving retail suppliers or customers within its State or (ii) a Market Participant; or (iii) the ISO (subject to the ISO New England Information Policy), shall provide the State Public Utility Commission or Market Participant or the ISO, the data that supports the amount that the Market Participant is requesting to be paid.  Nothing herein is intended to limit or restrict the rights of any party to the proceeding initiated by the Market Participant’s Section 205 Filing, including the right to challenge the confidential treatment of data filed under seal by the Market Participant.

#### If the FERC determines that the Market Participant is entitled under Section 205 to be paid based upon the Offer amount or based on an amount less than the

#### Reference Price, payment to or refund from the Market Participant, with interest (in accordance with 18 C.F.R. § 35.19a), will be billed within the first Non-Hourly Services bill at least 30 days from the date of a final and non-appealable FERC order.

## Sunset Provision

.  This Appendix H (including its attachments) shall automatically cease to be in effect after April 15, 2006.

# Attachment 1

MAINTENANCE OUTAGE REQUEST PROCESS DURING COLD WEATHER CONDITIONS

Market Participants must request the ISO’s approval to schedule a Maintenance Outage in accordance with this process, which is to be utilized during Cold Weather Conditions.  In the event of a conflict between the provisions of Operating Procedure No. 5 and the provisions of Market Rule 1 (including this Appendix H and Attachment 1 thereto), the provisions of Market Rule 1 will govern.

I.	Submittal and Contents of Maintenance Outage Requests

A.	Market Participants must submit Maintenance Outage requests to the ISO Forecaster, and provide the information specified in subsection (a)(iii) below.  Submissions shall be made by telephone and/or e-mail, to the number/address specified by the ISO in a document posted on the ISO’s website.

B.	All Resources, including fully de-listed units, submitting a Maintenance Outage request must abide by the timetable listed below to allow for review by the ISO.  ISO response times will be based on the following table:

Response Time

| Participant Submission of Maintenance Outage Request for an Outage Start of | Submitted to the following at ISO | Response time by ISO to the Participant* |
| --- | --- | --- |
| 7 to 14 days in the future (Does not apply to Economic Requests) | Forecaster | Within 3 working Days |
| 7 days or less in the future | Forecaster | Within 1 working day |
| Next Day, Submitted no later than 0900 the day prior to the Operating Day | Forecaster | By 1100 |

*/  Submissions for fully de-listed Resources are deemed approved by the ISO at the time of submittal.

C.	All requests for Maintenance Outage approvals shall contain the following information:  Station or Unit name; Market Asset ID number; Applicable Seasonal Claimed Capability (MW); Amount of Reduction (MW); Requested Outage Start Date/Time (MMDDYY, HHMM); Requested Outage End Date/Time (MMDDYY, HHMM); Work to be accomplished (if for maintenance rather than an Economic Request); Flexibility of the Requested Outage Dates (if for maintenance rather than an Economic Request); Time needed to restore the generator to service (if an Economic Request)

II.	Maintenance Outage Request Processing

A.	Processing of Maintenance Outage Requests by Fully-delisted Resources

1.	Fully-delisted Resources must submit Maintenance Outage Requests by 0900 for an outage start during the next operating day.

2.	Maintenance Outage requests for fully-delisted Resources that are made in accordance with the requirements of Section I and II.A.1 above will be deemed automatically approved by the ISO.

3.	Nothing in the foregoing provisions of Attachment 1 precludes the ISO from requesting, and a fully de-listed Resource from voluntarily agreeing to provide, additional capacity in accordance with the provisions of Section III.8.3.3.1 of this Tariff.

B.	Processing of Maintenance Outage Requests by ICAP Resources (including partially de-listed Resources)

Market Participants will submit, and the ISO and associated Local Control Center will respond to, Maintenance Outage requests for outage duration changes, additions, deletions, and repositioning as follows:

##### 1.	Maintenance Outage Request Information.  A Market Participant requesting to reposition, change duration, add, or delete an outage less than 15 days in advance of the proposed or scheduled start date, must notify the ISO Forecaster as soon as practicable.  This includes data for overnight outages, next day outages, and all other outages scheduled to start less than 15 days into the future.	A Maintenance Outage request for the next day or an overnight Maintenance Outage must be submitted by 0900 of the preceding day.  To the extent that a Maintenance Outage request for the next Scheduled Dispatch Period conflicts with the Real-Time Offer for the generating Resource, ISO will confirm the outage with the Market Participant, and work with the Market Participant to submit necessary Redeclarations in accordance with the ISO New England Manual for Market Operations (M 11).  In this process, the ISO will not change Offer data submitted to the Day-Ahead Market.

2.	If the Maintenance Outage request results in the forecast of any actions of OP 4 or OP 7, the ISO will attempt to move the requested Maintenance Outage to an acceptable period when reliability issues would not be expected to occur.

3.	With prospective outage dates identified (that do not affect system reliability), the ISO will provide the Maintenance Outage request information to the respective Local Control Center.

4.	The Local Control Center will notify the ISO if the Maintenance Outage request poses a local transmission reliability problem.  If it does, the ISO will work with the Local Control Center and the Market Participant to resolve the issue.

5.	In an effort to reduce Congestion Costs, the Local Control Center will compare the Market Participant’s Maintenance Outage request against pending transmission outage schedules to identify cases where outage schedules could be adjusted to meet this objective.  If a potential schedule adjustment is identified, the Local Control Center will first discuss outage rescheduling with the ISO, and then with the respective Transmission Owner.

6.	After consulting with the Transmission Owner, if additional coordination is needed, the Local Control Center will proceed as follows depending on whether the case involves; (1) an importing area, (2) generating station or exporting area involving a single generation owner or (3) an exporting area involving multiple units owned by multiple generation owners.

(i)	Importing Area

For an importing area, the simultaneous outage of transmission supplying the area along with generation within the area can increase Congestion Costs and, in severe cases, jeopardize system reliability.  To relieve this, the following actions will be taken to try to position the transmission and generation outages so that they occur at different times.

- Contact the applicable generation owner to determine if there is additional flexibility in their outage position.

- Contact the Transmission Owner for additional flexibility in their schedule.  (Generating resource outage information can be discussed with the Transmission Owner, as required.)

- If required, continue to alternately contact the Transmission Owner and the generation owner until a determination is made on whether or not activities can be positioned to reduce/eliminate Congestion Costs.  Note: If actions above are not sufficient to relieve congestion, ISO will dispatch generation in accordance with the congestion management process or change the timing of the transmission outage.

(ii)	Generating Station or Exporting Area Involving a Single Owner

This scenario involves a transmission outage that will restrict the commitment or dispatch of generators owned by a single company (i.e., a line leaving a generating station).  The following actions will be taken as soon as possible to try to change or create outage positions so that generation and transmission outages occur simultaneously, thereby relieving the potential locked-in generation.

- Contact the applicable generation owner to determine if there is additional flexibility in their outage application.

- Contact the Transmission Owner for additional flexibility in their timing of the outage.  (Generating Resource outage information can be discussed with the Transmission Owner, as required.)

- If the transmission outage involves a radial circuit to a generating station, this information may be shared with the generation owner. Additionally, non-radial transmission outage information can be shared with the generation owner if the transmission outage solely affects that company.

- If required, continue to alternately contact the Transmission Owner and generation owner until a determination is made on whether or not activities can be scheduled to reduce/eliminate Congestion Costs.

- The Transmission Owner may contact the generation owner directly to facilitate positioning of outages.

(iii)	Exporting Area Involving Multiple Generator Companies

This case involves a transmission outage that will restrict the commitment or dispatch of generation within an exporting area that contains several units owned by different companies.  The following actions will be taken to try to change or create outage positions so that generation and transmission outages occur simultaneously, thereby relieving the potential locked-in generation.

- Contact the applicable generation owner to determine if there is additional flexibility in their outage position in the order that their outage request was received.

- Contact the Transmission Owner for additional flexibility in their position.  (Generating Resource outage information can be discussed with the Transmission Owner, as required.)

- If required, continue to alternately contact the Transmission Owner and generation owner until a determination is made on whether or not activities can be positioned to reduce/eliminate Congestion Costs.

- If units with outage requests are exhausted or no outage requests exist, contact affected generation owner randomly, in a manner to be determined by the Local Control Center, without preference to any one generation owner.  Inform each company that a transmission outage (no details) may result in their unit being restricted and determine if they desire to coordinate an outage of their unit with the transmission outage.

- If required, continue to alternately contact the Transmission Owner and generation owner until a determination is made on whether or not activities can be positioned to reduce/eliminate Congestion Costs.  Note: If actions above do not reduce generation below levels where units will be constrained, ISO will dispatch generation in the constrained export area based on its congestion management process or change the position of the transmission outage.

7.	Upon agreement between all parties, the ISO will: 1) perform the final review to confirm that the New England Control Area-wide and Local Control Center reliability requirements are satisfied and that Congestion Costs have been reduced or eliminated, 2) notify the generation owner if the request is approved as submitted, or approved with modifications in accordance with the principles in paragraph 3 below, 3) list the outage on the short-term (7-day) schedule sent to the Local Control Centers each day, and 4) if applicable, update short-term transmission outage information on the ISO website.

8.	Maintenance Outage Requests - ISO Reporting

ISO shall notify the submitter of the Maintenance Outage request of the decision made by the ISO.  The Market Participant is responsible for communicating all outage information with Entitlement Holders. The ISO will aggregate Market Participants’ outage information and reflect these projections in the STOCM.

9.	Evaluation Principles and Outage Request Approval Principles

a.	Evaluation Principles

The ISO will assign each outage request a tracking number upon receipt.  Each request will be time and date stamped for prioritization purposes.

The ISO shall evaluate, with the Local Control Center Staff, all generating Resource outage requests submitted by generation owners for their impact on system reliability and Congestion Costs.  Outages of any transmission interconnection facilities will be included as a part of this evaluation.

The purpose of the ISO’s evaluation is to identify if, based on current information, generating Resource outages cause either a Transmission Criteria Violation (TCV) or result in a negative Operable Capacity Margin (OCM). Guidelines to avoid historical TCVs are defined in Appendix 5-A of Operating Procedure 5.

Each Local Control Center’s evaluation is to identify: 1) any local system reliability impact resulting from the proposed outage schedule within its control area, and 2) opportunities where the proposed generating Resource outage could be adjusted with respect to a pending transmission outage to reduce or eliminate Congestion Costs.  For each case, the Local Control Center will facilitate/coordinate scheduling as detailed in the Procedure step text.

The Local Control Centers will ensure neither non-public transmission outage information nor outage information associated with other generating Resources is shared with the generation owners contacted.  Additionally, the Local Control Centers will not engage in 3-party communications with the generation owners and Transmission Owners.

b.	Outage Request Approval Principles

Market Participants must request the ISO’s approval to remove a generating Resource from service for a Planned or Maintenance Outage in accordance with the preceding procedures.  The ISO will approve all Planned or Maintenance Outage requests on ICAP Resources to the extent that they would not, in the judgment of the ISO or Local Control Center, cause either a TCV, negative OCM or violate any NERC, NPCC, or ISO operating criteria, policies or procedures.  Once approved, a Market Participant will not subsequently be required to alter its outage request if a TCV or negative OCM conditions arise as a result of another generating Resource or transmission outage.  However, the ISO can delay the start of an outage for reliability reasons.

The ISO shall prioritize the outage requests received in the following order, and evaluate the outage requests on a first come first served basis:

- Generator Forced Outages

- All Planned and Maintenance Outages on the Current Year - Annual Maintenance Schedule.

- Outage requests approved since the last Current Year - Annual Maintenance Schedule was distributed.

In processing Maintenance Outage requests, the ISO prioritization will continue in the following order:

- Maintenance Outages necessary to avoid the risk of Generator Forced Outages.

- Maintenance Outages for economic and all other reasons will be given the lowest priority and be processed on a first-come, first-served basis.

The ISO may reject an outage request of an ICAP Resource if, in the ISO’s judgment, the requested outage(s) would cause a TCV or a negative LTOCM or a negative STOCM.

The ISO will not rescind a previously approved outage request.

The ISO will coordinate with the Local Control Centers regarding any outage repositioning.  The monthly distribution of the Current Year – Annual Maintenance Schedule will provide the Local Control Centers with information regarding any repositioned outages occurring later in the year.  For a Maintenance outage request, the ISO provides the relevant Local Control Center with the outage information.  The Local Control Center will be responsible to notify the ISO if an outage repositioning poses any local system reliability impact within its control area.  Additionally, to reduce or eliminate Congestion Costs, the Local Control Centers and the ISO will promote the continuous flow of information between themselves and the Transmission Owners in an effort to match proposed or forced generating Resource outages with pending transmission outage work to the extent practicable.

# Attachment 2

COLD WEATHER CONDITIONS CONFIDENTIAL INFORMATION 
DISCLOSURE PROCEDURE

A.	DEFINITIONS

For purposes of this Cold Weather Conditions Confidential Information Disclosure Procedure (“Disclosure Procedure”) the following terms shall have the meanings set forth below:

“Authorized Recipient” shall mean (i) those State public utility commissions that are entitled to receive Confidential Information  from the ISO pursuant to Section 3.3 of the ISO New England Information Policy; (ii) any Market Participant and (iii) the ISO.

“Competitive Duty Personnel” shall mean a person whose duties include (i) the marketing or sale of electric power at wholesale; (ii) the purchase or resale of electric power at wholesale; (iii) the direct supervision of any employee with duties specified in subparagraph (i) or (ii) of this paragraph; or (iv) the provision of electricity marketing consulting services to entities engaged in the sale or purchase of electric power at wholesale.  The duties specified in subparagraphs (i), (ii), (iii), and (iv) of this paragraph are hereinafter collectively referred to as “Competitive Duties.”  If any person who has been a “Reviewing Representative” subsequently is assigned to perform any Competitive Duties, that person shall thereafter have no access to Confidential Cold Weather Market Information, shall return all such materials to the “Authorized Recipient”, and shall continue to comply with the requirements set forth in the Non-Disclosure Agreement executed by such person and with this Attachment 2 with respect to Confidential Cold Weather Market Information to which such person previously had access.

“Confidential Cold Weather Market Information”  shall mean information that (i) is furnished by a Filing Market Participant in its Section 205 Cold Weather Filing, (ii) constitutes trade secrets or commercial or financial information, the disclosure of which would harm the Filing Market Participant or prejudice the position of that Market Participant in the New England electricity markets, and (iii) has been designated in writing by the Filing Market Participant as confidential or proprietary either in the document which provided such information, in the transmittal materials accompanying such information, or in a separate document which identifies the information with sufficient specificity and clarity so that the Commission has been made aware that the Filing Market Participant seeks confidential treatment for such information.  “Confidential Cold Weather Market Information” does not include any information if and to the extent such information (x) is contained in the files of the Commission, or any other federal or state agency, or any federal or state court, prior to its submission by the Filing Market Participant in connection with a Section 205 Cold Weather Filing, unless the information or document has been determined to be protected by such agency or court or is contained in the files of the Commission and has been designated as Critical Energy Infrastructure Information; or (y) is public knowledge, or which becomes public knowledge, other than through disclosure in violation of this Agreement; or (z) is labeled as “Non-Internet Public” by the Filing Market Participant, in accordance with Paragraph 30 of FERC Order No. 630, FERC Stat. & Reg. ¶ 31,140.

“Filing Market Participant” shall mean a Market Participant that, in accordance with this Appendix H, (1) makes a Section 205 Cold Weather Filing and (2) includes in or produces in support of that filing Confidential Cold Weather Market Information.

“Information Request” shall mean a written request for information, in accordance with the terms of this Procedure.

“Market Participant” shall mean a participant in the New England Markets that has executed a Market Participant Service Agreement, or on whose behalf an unexecuted Market Participant Service Agreement has been filed with the Commission.

“Non-Disclosure Agreement” shall mean an agreement between a Reviewing Representative and the Filing Market Participant pursuant to this Disclosure Procedure, the form of which is Attachment 3 to this Appendix H, wherein the Reviewing Representative is given access to Confidential Cold Weather Market Information for the benefit of an Authorized Recipient.

“Non-Disclosure Certificate” shall mean the certificate annexed to a Non-Disclosure Agreement by which Reviewing Representatives who have been granted access to Confidential Cold Weather Market Information shall certify their understanding that such access to Information is provided pursuant to the terms and restrictions of the Non-Disclosure Agreement, that they are not Competitive Duty Personnel, and that they have read the Non-Disclosure Agreement and agree to be bound by it.

“Notes of Confidential Cold Weather Market Information” shall mean memoranda, handwritten notes, or any other form of information (including electronic form) which copies or discloses materials described in the definition of Confidential Cold Weather Market Information set forth below.  Notes of Confidential Cold Weather Market Information are subject to the same restrictions provided in this order for Confidential Cold Weather Market Information except as specifically provided in this Agreement.

“Reviewing Representative” shall mean a person who (i) has agreed to be bound by the terms of a Non-Disclosure Agreement by executing a Non-Disclosure Certificate; (ii) has been authorized by an Authorized Recipient in writing to receive Confidential Cold Weather Market Information; and (iii) is an employee or representative of an Authorized Recipient, including but not limited to an attorney, consultant or contractor, whose responsibilities as such an employee or representative of an Authorized Recipient or the Commission require access to Confidential Cold Weather Market Information to evaluate the Filing Market Participant’s Section 205 Cold Weather Filing; provided, however, that consultants or contractors may not initiate requests for Confidential Cold Weather Market Information of the Filing Market Participant.  A “Reviewing Representative” shall not include any person who would be classified as “Competitive Duty Personnel.”

“Section 205 Cold Weather Filing” shall mean a filing in accordance with Section III.H.3.6(b) of Appendix H that is made by a Market Participant pursuant to Section 205 of the Federal Power Act to justify payments for service rendered during Cold Weather Events which exceed $1000/MWh.

“Third Party Request” shall mean any request or demand by any entity upon a Reviewing Representative or an Authorized Recipient for release or disclosure of Confidential Cold Weather Market Information provided to the Reviewing Representative or Authorized Recipient by the Filing Market Participant.  A Third Party Request shall include, but shall not be limited to, any subpoena, discovery request, or other request for Confidential Cold Weather Market Information made by any:  (i) federal, state, or local governmental subdivision, department, official, agency or court, or (ii) arbitration panel, business, company, entity or individual.

1.	SCOPE OF DISCLOSURE PROCEDURE.  This Disclosure Procedure shall govern access to Confidential Cold Weather Market Information from the date of a Section 205 Cold Weather Filing until the earlier of (i) ten business days following the effective date of a Protective Order issued in the proceeding resulting from the Section 205 Cold Weather Filing or (ii) the date of a final, non-appealable Commission order relating to the Section 205 Cold Weather Filing.

2.	FILING CONFIDENTIAL COLD WEATHER MARKET INFORMATION.  Confidential Cold Weather Market Information may include information that has been filed with the Commission by the Filing Market Participant.  Confidential Cold Weather Market Information and Notes of Confidential Cold Weather Market Information also may be filed with the Commission by or on behalf of any Authorized Recipient in response or related to the Section 205 Filing, provided that such information is filed under seal in accordance with Section 388.112 of the Commission’s Rules and Regulations and the Authorized Recipient has informed the Commission in writing, either in the document which provides such information, in the transmittal materials accompanying such information, or in a separate document which identifies the information with sufficient specificity and clarity, that such information has been identified by the Filing Market Participant as confidential pursuant to this Disclosure Procedure.  Any Confidential Cold Weather Market Information and Notes of Confidential Cold Weather Market Information that is filed with the Commission shall be provided to the Filing Market Participant and, upon request, to Reviewing Representatives in sealed envelopes or other appropriate containers endorsed to the effect that they are sealed pursuant to this Procedure.  Such documents containing Critical Energy Infrastructure Information shall be additionally marked “Contains Critical Energy Infrastructure Information  • •Do Not Release”.  For anything filed under seal, redacted versions or, where an entire document is protected, a letter indicating such, shall also be filed with the Commission.  Counsel shall take all reasonable precautions necessary to assure that Confidential Cold Weather Market Information is not distributed to unauthorized persons.

3.	DISCLOSURE AND PROTECTION OF CONFIDENTIAL COLD WEATHER MARKET INFORMATION.

(a)	A Filing Market Participant shall be required to disclose Confidential Cold Weather Market Information to a Reviewing Representative who has executed a Non-Disclosure Certificate agreeing to be bound by the terms of the Non-Disclosure Agreement set forth as Attachment 3 of Appendix H in accordance with the terms of such Non-Disclosure Agreement.  The Filing Market Participant shall make Confidential Cold Weather Market Information available to the Reviewing Representative within two business days following the Filing Market Participant’s receipt of an Information Request from such Reviewing Representative.  All Authorized Recipients and Reviewing Representatives shall be required to maintain such Confidential Cold Weather Market Information in confidence in accordance with the provisions set forth in the Non-Disclosure Agreement.

(b)	The contents of Confidential Cold Weather Market Information or Notes of Confidential Cold Weather Market Information shall not be disclosed to anyone other than in accordance with this Disclosure Procedure and the Non-Disclosure Agreement and shall be used only in connection with evaluating and presenting positions on and comments to the Commission concerning the Section 205 Cold Weather Filing.  Any violation of this Disclosure Procedure and of any Non-Disclosure Agreement or Non-Disclosure Certificate executed hereunder shall constitute a violation of a Commission-approved filed rate.

4.	LIMITS OF DISCLOSURE PROCEDURE

(a)	Nothing in this Disclosure Procedure or the Non-Disclosure Agreement shall be construed as precluding any party to the proceeding, if any, resulting from a Section 205 Cold Weather Filing from objecting to the use of Confidential Cold Weather Market Information on any legal grounds.

(b)	Nothing in this Disclosure Procedure or the Non-Disclosure Agreement shall be deemed to preclude any party to the proceeding, if any, resulting from a Section 205 Cold Weather Filing from independently seeking through discovery in any other administrative or judicial proceeding information or materials produced in this proceeding under this Disclosure Procedure.

(c)	None of the parties to the proceeding, if any, resulting from a Section 205 Cold Weather Filing waives the right to pursue any other legal or equitable remedies that may be available in the event of actual or anticipated disclosure of Confidential Cold Weather Market Information.

# Attachment 3

FORM OF NON-DISCLOSURE AGREEMENT

THIS NON-DISCLOSURE AGREEMENT (the “Agreement”) is made as of [___________] [OR] [the date set forth in the attached Non-Disclosure Certificate (the “Certificate”)] by and between [__________________], a [__________] corporation, with offices at [____________________] (the “Filing Market Participant”), and the Reviewing Representative who has executed the attached Certificate.  The Filing Market Participant and the Reviewing Representative shall be referred to herein individually as a “Party,” or collectively as the “Parties.”

RECITALS

Whereas, as a result of extreme cold weather and in accordance with Appendix H of ISO New England Inc. Market Rule 1 (Section III of the ISO New England Inc. Transmission, Markets and Services Tariff, FERC Electric Tariff No. 3) (“Appendix H”), the Filing Market Participant has made a filing with the Commission under Section 205 of the Federal Power Act (the “Section 205 Cold Weather Filing”) that includes certain Confidential Cold Weather Market Information; and

Whereas, the Reviewing Representative desires to access certain Confidential Cold Weather Market Information in connection with its review of the Section 205 Cold Weather Filing; and

Whereas, Appendix H requires a Market Participant that makes a Section 205 Cold Weather Filing to disclose Confidential Cold Weather Market Information to any Reviewing Representative who executes a Non-Disclosure Certificate agreeing to be bound by the terms of this Agreement and who maintains the confidentiality of such information pursuant to the terms of this Agreement.

NOW, THEREFORE, intending to be legally bound, the Parties hereby agree as follows:

- Definitions.  For purposes of this Agreement:

(a)	The term “Appendix H” shall have the meaning set forth in the Recitals.

(b)	The term “Authorized Recipient” shall mean (i) those State public utility commissions that are entitled to receive Confidential Information from the ISO pursuant to Section 3.3 of the ISO New England Information Policy; (ii) any Market Participant and (iii) the ISO.

(c)	The term “Commission” shall mean the Federal Energy Regulatory Commission, or its successor.

(d) 	The term “Competitive Duty Personnel” shall mean a person whose duties include (i) the marketing or sale of electric power at wholesale; (ii) the purchase or resale of electric power at wholesale; (iii) the direct supervision of any employee with duties specified in subparagraph (i) or (ii) of this paragraph; or (iv) the provision of electricity marketing consulting services to entities engaged in the sale or purchase of electric power at wholesale.  The duties specified in subparagraphs (i), (ii), (iii), and (iv) of this paragraph are hereinafter collectively referred to as “Competitive Duties.”  If any person who has been a “Reviewing Representative” subsequently is assigned to perform any Competitive Duties, that person shall thereafter have no access to Confidential Cold Weather Market Information, shall return all such materials to the “Authorized Recipient”, and shall continue to comply with the requirements set forth in this Agreement with respect to Confidential Cold Weather Market Information to which such person previously had access.

(e)  	The term “Confidential Cold Weather Market Information”  shall mean information that (i) is furnished by a Filing Market Participant in its Section 205 Cold Weather Filing, (ii) constitutes trade secrets or commercial or financial information, the disclosure of which would harm the Filing Market Participant or prejudice the position of that Market Participant in the New England electricity markets, and (iii) has been designated in writing by the Filing Market Participant as confidential or proprietary either in the document which provided such information, in the transmittal materials accompanying such information, or in a separate document which identifies the information with sufficient specificity and clarity so that the Commission has been made aware that the Filing Market Participant seeks confidential treatment for such information.  “Confidential Cold Weather Market Information” does not include any information if and to the extent such information (x) is contained in the files of the Commission, or any other federal or state agency, or any federal or state court, prior to its submission by the Filing Market Participant in connection with a Section 205 Cold Weather Filing unless the information or document has been determined to be protected by such agency or court or is contained in the files of the Commission that has been designated as Critical Energy Infrastructure Information; or (y) is public knowledge, or which becomes public knowledge, other than through disclosure in violation of this Agreement; or (z) is labeled as “Non-Internet Public” by the Filing Market Participant, in accordance with Paragraph 30 of FERC Order No. 630, FERC Stat. & Reg. ¶ 31,140.

(f)	The term “Critical Energy Infrastructure Information” shall mean Critical Energy Infrastructure Information as defined in 18 CFR § 388.113(c)(1).

(g)	The term “Disclosure Procedure” shall mean the procedure set forth as Attachment 2 to Appendix H.

(h)	The term “Filing Market Participant” shall have the meaning set forth in the Recitals.

(i)	The term “Market Participant” shall mean a participant in the New England Markets that has executed a Market Participant Service Agreement, or on whose behalf an unexecuted Market Participant Service Agreement has been filed with the Commission.

(j)	The term “Non-Disclosure Certificate” shall mean the certificate annexed hereto by which Reviewing Representatives who have been granted access to Confidential Cold Weather Market Information shall certify their understanding that such access to Confidential Cold Weather Market Information is provided pursuant to the terms and restrictions of this Agreement, that they are not Competitive Duty Personnel, and that they have read this Agreement and agree to be bound by it.

(k)	The term “Notes of Confidential Cold Weather Market Information” shall mean memoranda, handwritten notes, or any other form of information (including electronic form) which copies or discloses materials described in the definition of Confidential Cold Weather Market Information set forth below.  Notes of Confidential Cold Weather Market Information are subject to the same restrictions provided in this order for Confidential Cold Weather Market Information except as specifically provided in this Agreement.

(l)	The term “Reviewing Representative” shall mean a person who (i) has agreed to be bound by the terms of this Agreement by executing a Non-Disclosure Certificate; (ii) has been authorized by an Authorized Recipient in writing to receive Confidential Cold Weather Market Information; and (iii) is an employee or representative of an Authorized Recipient or the Commission, including but not limited to an attorney, consultant or contractor, whose responsibilities as such an employee or representative of an Authorized Recipient or the Commission require access to Confidential Cold Weather Market Information to evaluate the Filing Market Participant’s Section 205 Cold Weather Filing; provided, however, that consultants or contractors may not initiate requests for Confidential Cold Weather Market Information from the Filing Market Participant.  A “Reviewing Representative” shall not include any person who would be classified as “Competitive Duty Personnel.”

(m)	The term “Section 205 Cold Weather Filing” shall have the meaning set forth in the Recitals.

(n)	The term “Third Party Request” shall mean any request or demand by any entity upon a Authorized Recipient or a Reviewing Representative for release or disclosure of Confidential Cold Weather Market Information provided to the Authorized Recipient or Reviewing Representative by the Filing Market Participant.  A Third Party Request shall include, but shall not be limited to, any subpoena, discovery request, or other request for Confidential Cold Weather Market Information made by any:  (i) federal, state, or local governmental subdivision, department, official, agency or court, or (ii) arbitration panel, business, company, entity or individual.

- Availability of Confidential Cold Weather Market Information.

- (a)	Confidential Cold Weather Market Information shall be made available under the terms of this Agreement only to Authorized Recipients and only through their Reviewing Representatives.

- (b)	The Filing Market Participant shall make Confidential Cold Weather Market Information available to the Reviewing Representative within two business days following the Filing Market Participant’s receipt of an Information Request from such Reviewing Representative.

- (c)	Confidential Cold Weather Market Information shall remain available to the Reviewing Representative until the day immediately following the earlier of (i) ten business days following the effective date of a Protective Order issued in the proceeding resulting from the Section 205 Cold Weather Filing or (ii) the date a final Commission order on the Section 205 Cold Weather Filing is no longer subject to appeal.  If requested to do so in writing after that date, the Reviewing Representative shall, within fifteen days of such request, return the Confidential Cold Weather Market Information (excluding Notes of Confidential Cold Weather Market Information) to the Filing Market Participant, or shall destroy the materials, except that copies of filings, official transcripts and exhibits in this proceeding that contain Confidential Cold Weather Market Information, and Notes of Confidential Cold Weather Market Information may be retained, if they are maintained in accordance with Paragraph 3, below.  Within such time period the Reviewing Representative, if requested to do so, shall also submit to the Filing Market Participant an affidavit stating that, to the best of its knowledge, all Confidential Cold Weather Market Information and all Notes of Confidential Cold Weather Market Information have been returned or have been destroyed or will be maintained in accordance with Paragraph 3.  To the extent Confidential Cold Weather Market Information is not returned or destroyed, it shall remain subject to this Agreement.

- Protection of Confidentiality.

- (a)  	All Confidential Cold Weather Market Information shall be maintained by the Reviewing Representative and the Authorized Recipient represented by the Reviewing Representative in a secure place.  Access to those materials shall be limited to those Reviewing Representatives who have entered into a Non-Disclosure Agreement with the Filing Market Participant by executing a Non-Disclosure Certificate.

- (b)	Confidential Cold Weather Market Information shall be treated as confidential by the Reviewing Representative and by the Authorized Recipient represented by such Reviewing Representative in accordance with the terms of this Agreement and the Disclosure Procedure.  Confidential Cold Weather Market Information shall not be used except as necessary for evaluating and presenting positions on and comments to the Commission concerning the Section 205 Cold Weather Filing.  Except as provided in Section 3(c) below, neither Confidential Cold Weather Market Information nor Notes of Confidential Cold Weather Market Information shall be disclosed in any manner to any person except a Reviewing Representative who is engaged in reviewing the Section 205 Cold Weather Filing and who needs to know the information in order to carry out that person’s responsibilities with respect to such Filing.  A Reviewing Representative may make copies of Confidential Cold Weather Market Information, but such copies become Confidential Cold Weather Market Information.  A Reviewing Representative may make notes of Confidential Cold Weather Market Information, which shall be treated as Notes of Confidential Cold Weather Market Information if they disclose the contents of Confidential Cold Weather Market Information.

(c)	Confidential Cold Weather Market Information and Notes of Confidential Cold Weather Market Information may be filed with the Commission by or on behalf of any Authorized Recipient in response or related to the Section 205 Filing, provided that such information is filed under seal in accordance with Section 388.112 of the Commission’s Rules and Regulations and the Authorized Recipient has informed the Commission in writing, either in the document which provides such information, in the transmittal materials accompanying such information, or in a separate document which identifies the information with sufficient specificity and clarity, that such information has been identified by the Filing Market Participant as confidential pursuant to the Disclosure Procedure.  Any Confidential Cold Weather Market Information and Notes of Confidential Cold Weather Market Information that is filed with the Commission shall be provided to the Filing Market Participant and, upon request, to Reviewing Representatives in sealed envelopes or other appropriate containers endorsed to the effect that they are sealed pursuant to the Disclosure Procedure.  Such documents containing Critical Energy Infrastructure Information shall be additionally marked “Contains Critical Energy Infrastructure Information  • •Do Not Release”.  For anything filed under seal, redacted versions or, where an entire document is protected, a letter indicating such, shall also be filed with the Commission.  Counsel shall take all reasonable precautions necessary to assure that Confidential Cold Weather Market Information is not distributed to unauthorized persons.

- (d)	The Reviewing Representative shall provide the Filing Market Participant with prompt notice of any Third Party Request or legal proceedings, and shall consult with such Filing Market Participant in its efforts to deny the request or defend against such legal process.  In the event a protective order or other remedy is denied, the Reviewing Representative agrees to furnish only that portion of the Confidential Cold Weather Market Information which its legal counsel advises the Filing Market Participant in writing is legally required to be furnished, and to exercise its best efforts to obtain assurance that confidential treatment will be accorded to such Confidential Cold Weather Market Information.

- Attorney Reviewing Representatives.  If the Reviewing Representative is an attorney, the paralegals, secretarial and clerical personnel under the attorney’s instruction, supervision or control can be allowed access to the Confidential Cold Weather Market Information without executing a Non-Disclosure Certificate; provided, however, that the attorney supervising such paralegals, secretarial or clerical personnel is responsible for ensuring that persons under such attorney’s supervision or control comply with the terms of this Agreement.

- Disclosure Among Reviewing Representatives.  The Reviewing Representative may disclose Confidential Cold Weather Market Information to any other Reviewing Representative as long as the disclosing Reviewing Representative and the receiving Reviewing Representative both have executed a Non-Disclosure Certificate agreeing to be bound by the terms of this Agreement.  In the event that any Reviewing Representative to whom the Confidential Cold Weather Market Information is disclosed is employed or retained for a position whose occupant is not qualified to be a Reviewing Representative, access to Confidential Cold Weather Market Information by that person shall be terminated.  In such circumstances, that person who has executed a Non-Disclosure Certificate shall continue to be bound by the provisions of this Agreement.

- Remedies.

- (a)	Material Breach.  The Reviewing Representative agrees that release of Confidential Cold Weather Market Information to persons not authorized to receive it constitutes a breach of this Agreement and may cause irreparable harm to the Filing Market Participant.  In the event of a breach of this Agreement by the Reviewing Representative, the Filing Market Participant shall terminate this Agreement upon written notice to the Reviewing Representative, and all rights of the Reviewing Representative hereunder shall thereupon terminate; provided, however, that the Filing Market Participant may restore an individual’s status as a Reviewing Representative in its sole discretion.

- (b)	Judicial Recourse.  In the event of any breach of this Agreement, the Filing Market Participant shall have the right to seek and obtain all relief otherwise available under law, including without limitation the following types of relief:  (i) an order from the Commission or any court of competent jurisdiction requiring any breach to cease and preventing any future breaches; (ii) temporary, preliminary, and/or permanent injunctive relief with respect to any breach; and (iii) the immediate return of all Confidential Cold Weather Market Information to the Filing Market Participant.  The Reviewing Representative expressly agrees that in the event of a breach of this Agreement, any relief sought properly includes, but shall not be limited to, the immediate return of all Confidential Cold Weather Market Information to the Filing Market Participant.

- Notices.  All notices required pursuant to the terms of this Agreement shall be in writing, and served at the following addresses or email addresses:

If to the Filing Market Participant:

(email address)

with a copy to

(email address)

If to the Reviewing Representative:  To the address set forth in the Non-Disclosure Certificate.

- Severability and Survival.  In the event any provision of this Agreement is determined to be unenforceable as a matter of law, the Parties intend that all other provisions of this Agreement remain in full force and effect in accordance with their terms. The Reviewing Representative acknowledges that any and all obligations of the Reviewing Representative hereunder shall survive the severance or termination of any employment or retention relationship between the Reviewing Representative and the Authorized Recipient represented by such Reviewing Representative.

- Representations.  The Filing Market Participant and the Reviewing Representative represent and warrant that they are vested with all necessary corporate, statutory and/or regulatory authority to execute and deliver this Agreement, and to perform all of the obligations and duties contained herein.

- Amendment.  This Agreement may not be amended except by written agreement executed by authorized representatives of the Parties.

| FILING MARKET PARTICIPANT By: Name: Title: |  |
| --- | --- |

Annex

NON-DISCLOSURE CERTIFICATE

I hereby certify my understanding that access to Confidential Cold Weather Market Information is provided to me pursuant to the terms and restrictions of the attached Non-Disclosure Agreement, that I have read such Non-Disclosure Agreement, and that I agree to be bound by it.  In addition, I hereby certify that I am not a Competitive Duty Personnel as that term is defined in the Non-Disclosure Agreement.  I understand that the contents of the Confidential Cold Weather Market Information, any notes or other memoranda, or any other form of information that copies or discloses Confidential Cold Weather Market Information shall not be disclosed to anyone other than in accordance with that Non-Disclosure Agreement.

By:

Title:

Representing:

Date:

[NOTICE ADDRESS]

Reserved for future use.