APPENDIX F

Operating Reserve Accounting

Table of Contents	Page

1.	OVERVIEW	704

1.1	Effect of Self-Schedules on Operating Reserve Credits.	704A

1.1.1	Ineligibility for Operating Reserve Credits (Day-Ahead Energy Market)	704A

1.1.2	Ineligibility for Operating Reserve Credits (Real-Time  Energy Market)	704B

2.	Operating Reserve Credits	704D

2.1	Credits for Generating Resources.	705

2.1.1	Information Retrieved	706

2.1.2	Hourly Day-Ahead Offer Amount	706

2.1.3	Hourly Day-Ahead Value	707

2.1.4	Daily Day-Ahead Credit	707

2.1.5	Day-Ahead Credit Allocation	707

2.1.6	Day-Ahead Operating Reserve Credit:  Hourly Participant Credit; Operating Day Total	707

2.1.7	Real-Time Operating Reserve Credit Eligibility	708

2.1.8	Hourly Real-Time MWh	710

2.1.9	Hourly Real-Time Energy Offer Amount	710

2.1.10	Application of Start-Up Fee and Hourly No-Load Fee	710

2.1.13	Generating Resource Hourly Real-Time Value	711

2.1.14	Generating Resource Daily Real-Time Credits	711

2.1.15	Real-Time Credit Allocation	711

2.1.16	Real-Time Operating Reserve Credits; Hourly Participant Credit; Operating Day Total	712

2.1.17	Addition of Hourly Shortfall Payments	713

2.2	Real-Time Credits for Pool-Scheduled Synchronous Condensers	713

2.2.1	Information Retrieved	713

2.2.2	Duration of Pool-scheduled Periods of Synchronous Condensing Operations	713

2.2.3	Condensing Offer Amount	713

2.2.4	Condensing Credit	714

2.2.5	VAR Credit	714

2.2.6	Participant’s Real-Time Operating Reserves Condensing Credits	714

2.2.7	Total Real-Time Operating Reserves Condensing Credits	714

2.3	Credits for Pool-Scheduled External Transaction Purchases	714

2.3.1	Information Retrieved	714

2.3.2	Day-Ahead Offer Amount	715

2.3.3	Hourly Day-Ahead Value	715

2.3.4	Daily Day-Ahead Credits	715

2.3.5	Day-Ahead Credit Allocation	715

2.3.6	Day-Ahead Operating Reserve Credits: Participant’s Hourly Credits; Operating Day Total	715

2.3.7	Hourly Real-Time Offer Amount	716

2.3.8	Hourly Real-Time Value	716

2.3.9	Real-Time Credits Calculation	716

2.3.10	Real-Time Credits Allocation	716

2.3.11	Real-Time Operating Reserve Credits:  Participant’s Hourly and Operating Day Total	717

2.4	Credits for Pool-Scheduled External Transactions Sales and Dispatchable Load Pumps	717

2.4.1	Information Retrieved	717

2.4.2	Day-Ahead Bid Amount	718

2.4.3	Day-Ahead Cost	718

2.4.4	Day-Ahead Credits	718

2.4.5	Day-Ahead Credit Allocation	719

2.4.6	Real-Time Bid Amount - External Transaction Sale	719

2.4.7	Real-Time Bid Amount - Dispatchable Load Pump	719

2.4.8	Real-Time Cost - External Transaction Sale	719

2.4.9	Real-Time Cost - Dispatchable Load Pump	719

2.4.10	Real-Time Credits - External Transaction Sale	719

2.4.11	Real-Time Credits Allocation - External Transaction Sale	720

2.4.12	Real-Time Credits - Dispatchable Load Pumps	720

2.4.13	Real-Time Credits Allocation - Dispatchable Load Pumps	720

2.5	Credits for Canceled Pool-Scheduled Resources (Generators)	720

2.5.1	Information Retrieved	721

2.5.2	Cancelled Start Credit Calculation	721

2.5.3	Real-Time Operating Reserve Credit	722

2.5.4	RMR Credit	722

2.5.5	VAR Credit	722

2.5.6	Regulation Credit	723

2.5.7	SCR Credits	723

2.5.8	Example	723

2.6	Credits for Resources Postured for Reliability	723

2.6.1	Information Retrieved	723

2.6.2	Posturing Credit Calculation	724

2.6.3	Real Time Operating Reserve Credits	726

2.6.4	Real Time VAR Credits	726

2.6.5	Credits for Resources Providing Operating Reserve During Reserve Shortage Condition Pricing Events	726

3.	Charges for Operating Reserve	726A

3.1	Allocation	726A

3.2	Calculations	727

3.2.1	Day-Ahead Operating Reserve Cost, Day-Ahead Energy Market	727

3.2.2	RMR Operating Reserve Cost, Day-Ahead Energy Market	727

3.2.3	VAR related Operating Reserve Cost, Day-Ahead Energy Market	728

3.2.4	Operating Reserve Charges, Day-Ahead Energy Market	728

3.2.5	RMR Operating Reserve Charges, Day-Ahead Energy Market	728

3.2.6	VAR Charges, Day-Ahead Energy Market, Day-Ahead Energy Market	728

3.2.7	Non-Synchronous Condenser related, non-Regulation related Economic Operating Reserve Cost, Real-Time Energy Market	728

3.2.8	RMR Operating Reserve Cost, Real-Time Energy Market	729

3.2.9	SCR Operating Reserve Cost, Real-Time Energy Market	729

3.2.10	VAR Operating Reserve Cost, , Real-Time Energy Market	729

3.2.11	Regulation Related Operating Reserve Cost	729

3.2.12	Real-Time Load Obligation Deviation	729

3.2.13	Real-Time Load Obligation Deviation within each Reliability Region	729

3.2.14	Real-Time Generation Obligation Deviation at External Nodes	730

3.2.15	Other	730

3.2.16	RMR Operating Reserve Charges, Real-Time Energy Market	732

3.2.17	VAR Charges, Real-Time Energy Market	733

3.2.18	SCR Charges, Real-Time Energy Market	733

3.2.19	Reserve Shortage Opportunity Cost Credits	733

3.2.20	Reserve Shortage Opportunity Cost Charges	733

OPERATING RESERVE ACCOUNTING

# OVERVIEW

Accounting for the provision of Operating Reserve and Replacement Reserve is performed on a daily basis.  A generating Resource of a Participant that is capable of providing Operating Reserve, Replacement Reserve or VAR support is eligible to receive Operating Reserve Credits in the Day-Ahead Energy Market subject to limitations when the Supply Offer includes Self-Scheduled hours as discussed in Section 1.1.1.  A generating Resource of a Participant, including a Daily RMR Resource, that is capable of providing Operating Reserve, Replacement Reserve or VAR support is eligible to receive Operating Reserve Credits in the Real-Time Energy Market provided that the Resource satisfies the criteria specified in Sections 1.1.2 and  2.1.7 below.  The total Resource offer amount for generation, including Start-Up Fee and No-Load Fee as applicable and as limited to an Effective Offer Price of $1,000/MWh during anticipated or actual Emergency Conditions (in this case, declaration of a NEPOOL-wide capacity shortage), is compared to that Resource’s total energy market value during the day.  If the total value is less than the offer amount, the difference is credited to the Participant.

Operating Reserve Credits are also provided for Dispatchable External Transactions (both purchases and sales), for generating units operating as Synchronous Condensers at the direction of the ISO, for Dispatchable Loads (pumping load only) that are not Self-Scheduled, for cancellation of generating Resources that are Pool-Scheduled Resources, for generating units backed down for the purposes of providing Operating Reserve or VAR support, and for generating Resources providing Operating Reserve during Reserve Shortage Condition Pricing Events.

As the Day-Ahead Operating Reserve and Real-Time Operating Reserve are separate products, these calculations shall be performed separately for the Day-Ahead and Real-Time Energy Markets.

1.1	Effect of Self-Schedules on Operating Reserve Credits

1.1.1	Ineligibility for Operating Reserve Credits (Day-Ahead Energy Market).  In the Day-Ahead Energy Market, the Resource’s Self-Scheduled hours shall be the Self-Scheduled hours submitted in the Supply Offer.

(a)	A generating Resource will not be eligible for Day-Ahead Operating Reserve Credit for the Operating Day if its Supply Offer contains a Self-Schedule that is for fewer contiguous hours than its Minimum Run Time.  For purposes of this calculation a contiguous block of Self-Scheduled hours starting in hour 1 shall qualify as long as the number of Self-Scheduled hours when added to the hours on-line at the end of the previous Operating Day equals or exceeds the Resource’s Minimum Run Time and a contiguous block of Self-Scheduled hours that crosses the boundary into a second Operating Day shall qualify in the first day but may result in the Resource not being eligible in the second Operating Day as described in subsection (c).

(b)	A generating Resource will not be eligible for Day-Ahead Operating Reserve Credit for the Operating Day if its Supply Offer contains two blocks of contiguous Self-Scheduled hours separated by less than the Resource’s minimum down time.  For purposes of this calculation a contiguous block of non Self-Scheduled hours that crosses the boundary into a second Operating Day shall qualify in the first day but may result in the Resource not being eligible in the second Operating Day as described in subsection (d).

(c)	If a contiguous block of Self-Scheduled hours begins on the boundary between two Operating Days, or crosses the boundary between two Operating Days as described in (a) above, and the Resource did not satisfy its Minimum Run Time in Real-Time during the first Operating Day, the generating Resource will not be eligible for Day-Ahead Operating Reserve Credit for the second Operating Day unless the contiguous block of hours beginning in the first hour of the second Operating Day equals or exceeds the remaining portion of its Minimum Run Time.

(d)	If a contiguous block of non Self-Scheduled hours crosses the boundary between two Operating Days and the Resource did not satisfy its minimum down time in Real-Time during the first Operating Day, the generating Resource will not be eligible for Day-Ahead Operating Reserve Credit for the second Operating Day unless the contiguous block of non Self-Scheduled hours beginning in the first hour of the second Operating Day equals or exceeds the remaining portion of its minimum down time.

1.1.2	Ineligibility for Operating Reserve Credits (Real-Time Energy Market).  In the Real-Time Energy Market, the Self-Scheduled hours for the purpose of determining Operating Reserve Credit eligibility shall be the Self-Scheduled hours from the Day-Ahead Schedule as modified in the Re-Offer electronic bidding (the Real-Time schedule as of 18:00 hours of the day prior to the Operating Day), including any Redeclaration of Self-Scheduled hours requested by a Participant pursuant to Section 8 of NEPOOL Manual M-11.

(a)	A generating Resource will not be eligible for Real-Time Operating Reserve Credit for the Operating Day if its Supply Offer (submitted either in the Day-Ahead Energy Market or during the Re-Offer Period) contains a Self-Schedule that is for fewer contiguous hours than its Minimum Run Time.  For purposes of this calculation a contiguous block of Self-Scheduled hours starting in hour 1 shall qualify as long as the number of Self-Scheduled hours when added to the hours on-line at the end of the previous Operating Day equals or exceeds the Resource’s Minimum Run Time and a contiguous block of Self-Scheduled hours that crosses the boundary into a second Operating Day shall qualify in the first day but may result in the Resource not being eligible in the second Operating Day as described in subsection (c).

(b)	A generating Resource will not be eligible for Real-Time Operating Reserve Credit for the Operating Day if it submits (as a Supply Offer in the Day-Ahead Energy Market or during the Re-Offer Period) two Self-Schedules separated by less than the Resource’s minimum down time.  For purposes of this calculation a contiguous block of non Self-Scheduled hours that crosses the boundary into a second Operating Day shall qualify in the first Operating Day as meeting the minimum down time requirement but may result in the Resource not being eligible in the second Operating Day as described in subsection (d).

(c)	If a contiguous block of Self-Scheduled hours begins on the boundary between two Operating Days or crosses the boundary between two Operating Days and the Resource did not satisfy its Minimum Run Time in Real-Time during the first Operating Day, the generating Resource will not be eligible for Real-Time Operating Reserve Credit for the second Operating Day unless the contiguous block of hours beginning in the first hour of the second Operating Day equals or exceeds the remaining portion of its Minimum Run Time.

(d)	If a contiguous block of non Self-Scheduled hours crosses the boundary between two Operating Days and the Resource did not satisfy its minimum down time in Real-Time during the first Operating Day, the generating Resource will not be eligible for Real-Time Operating Reserve Credit for the second Operating Day unless the contiguous block of hours beginning in the first hour of the second Operating Day equals or exceeds the remaining portion of its minimum down time.

(e)	For purposes of the above determinations, the Minimum Run Time portion of a Real-Time Commitment Period commences with the first hour of the Real-Time Commitment Period in which the actual metered output of the generating  Resource equals or exceeds 75 percent of the generating Resource’s Economic Minimum Limit; provided, that, if the Resource is a Fast Start Generator that never reaches 75% of its Economic Minimum Run Time during its Real-Time Commitment Period, its Minimum Run Time will commence with the first hour in which it has positive output.  Each Real-Time Commitment Period is evaluated separately for the purpose of determining Operating Reserve Credit eligibility.

The Real-Time Operating Reserve Credit eligibility criteria set forth in subsections (a) through (e), above, shall be waived for additional hours of operation that result from an ISO request for extension of the Resource’s operating schedule.

# Operating Reserve Credits

Operating Reserve Credits for Resources capable of providing Operating Reserve, Replacement Reserve or VAR support are calculated for each of the following situations:

###### Pool-Scheduled Resources (Generators), including Daily RMR Resources (Generators) and External Transactions (Day-Ahead and Real-Time Energy Markets).

###### Pool-Scheduled Resources (Synchronous Condensers and Special Constraint Resources (“SCR”) - Real-Time Energy Market)

###### Canceled Pool-Scheduled Resources (Real-Time Energy Market)

###### Resources postured for reliability purposes (Real-Time Energy Market)

###### Generating Resources providing Operating Reserve during Reserve Shortage Condition Pricing Events

###### Dispatchable Load (pumps only) that are not Self-Scheduled

(7)	Self-Scheduled generating Resources providing Operating Reserves by operating in accordance with Dispatch Instructions in non-Self-Scheduled hours or at levels above the Self-Scheduled MW in Self-Scheduled hours during an Operating Day in which they have offered a contiguous block of Self-Scheduled hours, which meet the criteria for such Self-Schedules set forth in Section 1.1, at least equal to their Minimum Run Times.

## Credits for Generating Resources.

For each Operating Day, the ISO calculates the Operating Reserve Credit due each Participant for generating Resources.

In the Day-Ahead Energy Market, eligible generating Resources shall receive Day-Ahead Operating Reserve Credits for all hours that are not Self-Scheduled.  Except as otherwise provided in this Appendix F, all eligible generating Resources are eligible except as noted below:

(a)	Generating Resources that have sold Forward Reserve as On-Line Forward Reserve Resources and that have a Delivery Requirement for the Operating Day are ineligible for Day-Ahead Energy Market Operating Reserve Credits.

(b)	Generating Resources that have Self-Scheduled hours that do not meet the criteria set forth in Section 1.1.1 are ineligible for Day-Ahead Operating Reserve Credit.  For purposes of the Day-Ahead Operating Reserve Credit calculations the Self-Scheduled hours shall be the Self-Scheduled hours in the Participant’s Supply Offer.

In the Real-Time Energy Market, an eligible generating Resource is eligible to receive Real-Time Operating Reserve Credits for all hours that are not Self-Scheduled and for MW amounts in excess of the Self-Scheduled MW for Self-Scheduled hours when the Resource operates above the Self-Scheduled MWs at the ISO’s request.  Self-Scheduled hours include hours when the Resource is ramping up to a Self-Scheduled hour from an off-line state, or down from a Self-Scheduled hour to an off-line state and hours when the Resource is Self-Scheduled for Regulation.  Eligible generating Resources shall consist of Pool-Scheduled and Self-Scheduled Resources that meet the criteria in Section 1.1.2 and any generating Resources specifically made eligible for Real-Time Operating Reserve Credits in other Sections of this Market Rule 1.

Additionally, in Real-Time, if a Resource is not following Dispatch Instructions in an hour, costs and values associated with that hour are excluded from the daily Real-Time Operating Reserve Credit calculation.

### Information Retrieved

.  The ISO retrieves the following information:

#### dispatcher generation scheduling and operations logs;

#### Generator Offer Data and Supply Offer data;

#### scheduled MWh for generating Resources cleared in Day-Ahead Energy Market;

#### metered generation MWh as submitted by Assigned Meter Reader;

#### operational flags;

##### Real-Time Emergency Conditions flag;

##### Special Constraint Resource flag;

#### Generating Resource Desired Dispatch Points and Economic Minimum Limits;

#### Day-Ahead and Real-Time LMPs; and

#### Generator flags (for example the Failure to Follow Dispatch Instruction (“FTF”) flag) as set using the criterion set forth in Section 2 of the NEPOOL Manual for Market Operations, M-11).

### Hourly Day-Ahead Offer Amount

.  The ISO calculates the generating Resource’s hourly Day-Ahead offer amount based on its Day-Ahead Offer Data that was utilized by the ISO in making the initial commitment decision and the generating Resource’s cleared Day-Ahead MWh for that hour.

For a generating Resource continuing to run into a second Operating Day to satisfy its Minimum Run Time, the Supply Offer prices originally used by the ISO to commit the Resource in the first Operating Day will continue to be binding for the purpose of calculating Operating Reserve Credits into the second Operating Day until such time as the Resource’s Minimum Run Time has been satisfied.

#### The ISO accounting process applies the Start-Up Fee and hourly No-Load Fee if the start-up and no-load switch is set in the Resource Offer Data and if the Start-Up Fee is applicable for the MWh and status of the Resource.  The Start-Up Fee is not applicable in the case where a Participant has initially Self-

#### Scheduled a generating Resource Day-Ahead and the ISO subsequently schedules this generating Resource as a Pool-Scheduled Resource once the Self-Schedule is terminated by the Participant.

#### Day-Ahead Operating Reserve Credit calculations reflect the Start-Up Fee for the appropriate hot, intermediate, or cold state of the generating unit as it was scheduled in the Day-Ahead Energy Market.

### Hourly Day-Ahead Value

.  The ISO calculates the generating Resource’s hourly Day-Ahead value as:

generating Resource cleared Day-Ahead MWh * Day-Ahead LMP

### Daily Day-Ahead Credit

.  The ISO calculates the daily Day-Ahead Credit for each generating Resource as follows:

#### Sum hourly Day-Ahead offer amounts, including applicable No-Load Fees and Start-Up Fees, for the day.

#### Sum hourly Day-Ahead values for the day.

#### Day-Ahead Credit equals any portion of the generating Resource’s total Day-Ahead offer amount in excess of its total Day-Ahead value.

### Day-Ahead Credit Allocation

.  The ISO allocates the Day-Ahead Credits, for each generating Resource for each Operating Day, back to each hour in the Operating Day in which the generating Resource was scheduled and was eligible for Operating Reserve Credit pro-rata based on Day-Ahead Load Obligations as follows:

Hourly Credit = Daily Credit * ((NEPOOL Day-Ahead Load Obligations in scheduled hour) / (Total NEPOOL Day-Ahead Load Obligations in all scheduled hours))

[Note: Each credit is allocated back retaining its flag (RMR, VAR etc.)]

### Day-Ahead Operating Reserve Credit:  Hourly Participant Credit; Operating Day Total

.  The ISO calculates each Participant’s hourly Day-Ahead Operating Reserve Credit and the total Day-Ahead Operating Reserve Credit for each Operating Day as follows:

#### For each scheduled hour, if the generating Resource is flagged as an RMR Generator, the Participant’s share of Day-Ahead RMR Operating Reserve Credits is equal to the Day-Ahead Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.

#### For each scheduled hour, if the generating Resource is flagged specifically for the provision of VAR or voltage support, the Participant’s share of Day-Ahead VAR Credits is equal to the Day-Ahead Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Day-Ahead VAR Credits for all generating Resources for that Operating Day.

#### For each scheduled hour, if the generating Resource is flagged as both VAR and RMR, the Participant’s share of Day-Ahead VAR Credits is equal to 50% of the Day-Ahead Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset and the Participant’s share of Day-Ahead RMR Operating Reserve Credits is equal to 50% of the Day-Ahead Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Day-Ahead VAR Credits and all RMR Operating Reserve Credits for all generating Resources for that Operating Day.

#### For each scheduled hour, if the generating Resource is not flagged as RMR or VAR, the Participant’s share of Day-Ahead economic Operating Reserve Credits is equal to the Day-Ahead Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Day-Ahead Operating Reserve Credits for all generating Resources for that Operating Day.

### Real-Time Operating Reserve Credit Eligibility

.  The ISO determines eligibility for Real-Time Operating Reserve Credits.  The following operating guidelines are used in the determination of Real-Time Operating Reserve Credit eligibility:

#### Generating Resources must be following ISO Dispatch Instructions as defined in Market Rule 1 and the NEPOOL Manuals.  For any hour that the generating Resource is not following ISO Dispatch Instructions and the difference between the generating Resource’s energy value, in dollars, and energy offer amount, in dollars, (in this case, energy offer amount includes No-Load Fee and incremental energy price and does not include any Start-Up Fee) in that hour is negative, the generating Resource’s energy offer amount, in dollars,

#### and energy value, in dollars, in that hour is excluded from the Real-Time Operating Reserve Credit calculations.

#### Generating Resources that trip during their Real-Time Commitment Periods are treated as set forth below:

##### If the generating Resource trips during its Minimum Run Time period and the generating Resource is otherwise eligible to receive Real-Time Operating Reserve Credit, the Resource will be eligible for Real-Time Operating Reserve Credit for the period beginning with the start of the Real-Time Commitment Period and ending at the time of the trip.  For purposes of determining such generating Resource’s eligibility for Real-Time Operating Reserve Credit, such generating Resource shall be eligible to recover a portion of its Start-Up Fee equal to the applicable Start-Up Fee multiplied by the quotient (not to exceed 1) of the generating Resource’s hours of operation during the current Real-Time Commitment Period and the generating Resource’s Minimum Run Time (Start-Up Fee * (Hours of operation / Minimum Run Time)).

##### If the generating Resource trips after its Minimum Run Time has been satisfied, the generating Resource will be eligible to receive Real-Time Operating Reserve Credit for hours that were not Self-Scheduled during that Real-Time Commitment Period.

##### If the generating Resource trips, is requested to restart by the ISO, and returns to operate as requested, the generating Resource is eligible to receive Real-Time Operating Reserve Credits (including Start-Up Fee, No-Load Fee and incremental Energy price) for the new Real-Time Commitment Period.

##### Generating Resources that trip and return to operate that are not requested to restart by the ISO are treated as Self-Scheduled Resources and are not eligible for Real-Time Operating Reserve Credits (Start-Up and No Load Fees) for the new Real-Time Commitment Period.

When a generating Resource trips off line as the result of an equipment failure that involves equipment located on the electric network beyond the low voltage terminals of the generating unit step-up transformer, ISO-NE shall not treat the event as a trip for the purposes of determining the generating Resource's eligibility for Real-Time Operating Reserve Credit for that Commitment Period.  It is the responsibility of the Lead Participant for the generating Resource to inform the ISO at xtrip@iso-ne.com within thirty (30) days that the trip was the result of such a transmission-related event.

(c)  If a Pool-Scheduled generating Resource is otherwise eligible to receive Real-Time Operating Reserve Credit and waives its Minimum Run Time at the ISO’s request, or if the ISO accepts an offer from a Pool-Scheduled generating Resource that is otherwise eligible to receive Real-Time Operating Reserve Credit to waive its Minimum Run Time and the ISO agrees to allow the Resource to shut down prior to completion of the Pool-Scheduled generating Resource’s Minimum Run Time:

(i)	The Pool-Scheduled generating Resource shall be considered to have completed its Minimum Run Time in calculating Real-Time Operating Reserve Credits for which the Pool-Scheduled generating Resource is otherwise eligible; and

(ii)	The Pool-Scheduled generating Resource’s applicable Start-Up Fee shall be included in the calculation of said Operating Reserve Credits.

### Hourly Real-Time MWh

.  The ISO determines the generating Resource’s hourly Real-Time MWh based on the values submitted to the ISO by the Assigned Meter Reader for that hour.

### Hourly Real-Time Energy Offer Amount

.  The ISO calculates the generating Resource’s hourly Real-Time energy offer amount based on its prices contained in the Supply Offer (if said Supply Offer has been mitigated, the mitigated Supply Offer shall be used for this calculation).  For Pool-Scheduled hours, the Supply Offer price is multiplied by the lesser of the generating Resource’s Desired Dispatch Point (provided that any Desired Dispatch Point below the Resource’s Economic Minimum Limit will be deemed equal to the Economic Minimum Limit) or its actual metered output for that hour.  For generating Resources operating above their Self-Scheduled MW at the ISO’s direction or request during Self-Scheduled hours, the Supply Offer price (excluding the Start-Up and No-Load Fees) is multiplied by the lesser of the DDP or actual metered quantity less the Resource’s Self-Scheduled MW.  Self-Scheduled MW equals the higher of the Resource’s Economic Minimum Limit or the output of the unit that is attributable to its submittal of a Self-Schedule for Regulation.  For a generating Resource continuing to run into a second Operating Day to satisfy its Minimum Run Time, the Supply Offer prices originally used by the ISO to commit the Resource in the first Operating Day will continue to be binding for the purpose of calculating Operating Reserve Credits into the second Operating Day until such time as the Resource’s Minimum Run Time has been satisfied.

### Application of Start-Up Fee and Hourly No-Load Fee

.  The ISO applies the Start-Up Fee and hourly No-Load Fee if the start-up and no-load switch is set in the Generator Offer Data and if the Start-Up Fee is applicable for the MWh and status of the generating Resource.  The Start-Up Fee is not applicable in the case where a Participant has initially Self-Scheduled a generating Resource in Real-Time and the ISO subsequently schedules this generating Resource as a Pool-Scheduled Resource once the Self-Schedule is terminated by the Participant.

If applicable, when a generating Resource is started during the day at the direction of the ISO, the generating Resource’s Real-Time offer amount calculated for that day includes its Start-Up Fee based on the appropriate hot, intermediate, or cold state of the generating Resource.  For generating Resources that start generating for the ISO from a condensing state, the applicable Start-Up Fee for that generating Resource shall be the Start-Up Fee submitted that is associated with the hot state of the unit.

If applicable, the generating Resource’s Real-Time calculated offer amount includes its hourly No-Load Fee prorated for all hours of operation as follows, using a 10% tolerance:

If: lesser of (Real-Time MWh or Desired MW) < .9 * (lesser of: Economic Minimum Limit submitted Day-Ahead or any Economic Minimum Limit submitted in Real-Time),

Then:  hourly No-Load Fee is prorated by (lesser of (Real-Time MWh or Desired MW) / (lesser of: Economic Minimum Limit submitted Day-Ahead or any Economic Minimum Limit submitted in Real-Time).

### Generating Resource Hourly Real-Time Value

.  The ISO calculates the generating Resource’s hourly Real-Time value as:

((generating Resource metered value – generating Resource cleared Day-Ahead MWh) * (Real-Time LMP at generating Resource Node)) + generating Resource Reserve Shortage Opportunity Cost credit for providing Operating Reserve during Reserve Shortage Condition Pricing Events

### Generating Resource Daily Real-Time Credits

.  The ISO calculates the daily Real-Time Credits for each generating Resource as follows:

#### Sum hourly Real-Time offer amounts and include applicable No-Load Fees and Start-Up Fees for the day.  If the ISO declared an Emergency Condition (in this case has declared a NEPOOL-wide capacity shortage), the ISO limits this amount to $1,000/MWh multiplied by the sum for the Operating Day of the lesser of: (i) the generating Resource’s actual metered output or (ii) the higher of the generating Resource’s Desired Dispatch Point or Economic Minimum Limit for each hour of pool-scheduled operation.

#### Sum hourly Real-Time values for the day.

#### Real-Time Credits are equal to any portion of the generating Resource’s total Real-Time offer amount in excess of: (i) its total Day-Ahead value, plus (ii) its total Real-Time value, plus (iii) any Day-Ahead Credits (including any Day-Ahead Credits for which a Resource is determined to be ineligible), plus (iv) any Regulation Market revenues in excess of its regulation offer plus Opportunity Cost.  (See Section 4 of the NEPOOL Manual for Market Rule 1 Accounting, M-28), plus any credit for Self-Scheduled MW for hours in which the Resource operated above its Self-Schedule at the ISO’s request.

### Real-Time Credit Allocation

.  The ISO allocates the Real-Time Credits, for each generating Resource for each Operating Day, back to each hour in the Operating Day in which the generating Resource actually operated and was eligible for Operating Reserve Credit as follows:

Hourly Credit = Daily Credit * (NEPOOL Real-Time Load Obligation in operating hour) / Total NEPOOL Real-Time Load Obligations in all operating hours)

### Real-Time Operating Reserve Credits; Hourly Participant Credit; Operating Day Total

.  The ISO calculates each Participant’s hourly Real-Time Operating Reserve Credits and the total Real-Time Operating Reserve Credits for each Operating Day as follows:

#### For each scheduled hour, if the generating Resource is flagged as providing Special Constraint Resource Service under Schedule 19 of the Tariff, the Participant’s share of Real-Time Operating Reserve Credits is equal to the Real-Time Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset. The ISO then sums all Real-Time SCR Operating Reserve Credits for all generating Resources for that Operating Day,

#### For each scheduled hour, if the generating Resource is flagged as an RMR Generator, the Participant’s share of Real-Time RMR Operating Reserve Credits is equal to the Real-Time Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Real-Time RMR Operating Reserve Credits for all generating Resources for that Operating Day,

#### For each scheduled hour, if the generating Resource is flagged as a VAR Generator, the Participant’s share of Real-Time VAR Credits is equal to the Real-Time Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Real-Time VAR Credits for all generating Resources for that Operating Day,

#### For each scheduled hour, if the generating Resource is flagged as both VAR and RMR, the Participant’s share of Real-Time VAR Credits is equal to 50% of the Real-Time Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset and the Participant’s share of Real-Time RMR Operating Reserve Credits is equal to 50% of the Real-Time Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Real-Time VAR Credits and all Real-Time RMR Operating Reserve Credits for all generating Resources for that Operating Day,

#### For each scheduled hour, if the generating Resource is not flagged as RMR, VAR or Regulation, the Participant’s share of Real-Time economic Operating Reserve Credit is equal to the Real-Time Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Real-Time Operating Reserve Credits for all generating Resources for that Operating Day, and

#### For each scheduled hour, if the generating Resource is flagged as a Regulation Generator, the Participant’s share of Real-Time Operating Reserve Regulation Credits is equal to the Real-Time Credit in that hour multiplied by the Participant’s Ownership Share in the Generator Asset.  The ISO then sums all Real-Time Operating Reserve Regulation Credits for all generating Resources for that Operating Day.

### Addition of Hourly Shortfall Payments

.  Generating Resources that are Pool-Scheduled Resources in the Day-Ahead Energy Market that are available, can deliver Energy and are not Postured, but are not economically dispatched in Real-Time, are eligible to receive the difference between the Real-Time and Day-Ahead LMP at the generator bus times the Day-Ahead scheduled MWh for hours when the Real-Time LMP is greater than the Day-Ahead LMP.  Any payments made for each hourly shortfall are added to the total Real-Time economic Operating Reserve Credits, Real-Time RMR Operating Reserve Credits, Real-Time VAR Credits or Real-Time Operating Reserve Regulation Credits, as applicable, for the applicable Operating Day.

## Real-Time Credits for Pool-Scheduled Synchronous Condensers

For each Operating Day, the ISO calculates the Operating Reserve Credits due each Participant for Pool-Scheduled Resources scheduled as Synchronous Condensers.

### Information Retrieved

.  The ISO retrieves the following information:

#### Dispatcher generation scheduling and operations logs

#### Generator Offer Data

### Duration of Pool-scheduled Periods of Synchronous Condensing Operations

.  The ISO calculates the duration of each pool-scheduled period of synchronous condensing operations based on logged start and stop times.

### Condensing Offer Amount

.  The ISO calculates each generating Resource’s condensing offer amount for each period by multiplying the duration (in hours) by the hourly price to condense as specified in the Offer Data. If no hourly price to condense is listed in the Generator Offer Data, an hourly price of zero will be assumed and no payment will be made.

### Condensing Credit

.  When a generating Resource is requested to start condensing from an off-line state, a condensing Credit is provided equal to the Resource’s condensing Start-Up Fee as specified in the Offer Data.

### VAR Credit

.  If a unit is flagged as a VAR Resource and as a Synchronous Condenser, it will be compensated by a VAR Credit.

### Participant’s Real-Time Operating Reserves Condensing Credits

.  The ISO calculates the daily Real-Time Operating Reserves condensing Credits for each Participant by summing all remaining hourly condensing generating Resource offer amounts, including applicable Start-Up Fees, for the Operating Day taking the Participant’s Ownership Share into account.

### Total Real-Time Operating Reserves Condensing Credits

.  The ISO sums the Real-Time Operating Reserves condensing Credits for all Participants for each Operating Day.

## Credits for Pool-Scheduled External Transaction Purchases

For each Operating Day, the ISO calculates the Credits due each Participant for pool-scheduled External Transaction purchases (modeled as Supply Offers at External Nodes) as follows.  These calculations only apply to External Transaction purchases submitted that are dispatchable and are submitted as Source equals Sink.

### Information Retrieved

.  The ISO retrieves the following information:

#### dispatcher transaction logs

#### Pool-scheduled Day-Ahead scheduled and Real-Time scheduled External Transaction purchases

#### hourly pool-scheduled Day-Ahead and Real-Time External Transaction purchase offer price curve ($/MWh, MW)

#### Day-Ahead and Real-Time LMPs

#### Transaction flags (RMR)

### Day-Ahead Offer Amount

.  The ISO calculates the hourly Day-Ahead offer amount for each pool-scheduled External Transaction purchase by multiplying the cleared Day-Ahead transaction MWh by the transaction offer price.

### Hourly Day-Ahead Value

.  The ISO calculates the hourly Day-Ahead value for each pool-scheduled External Transaction purchase by multiplying the cleared Day-Ahead transaction MWh by the Day-Ahead LMP at the applicable External Node.

### Daily Day-Ahead Credits

.  The ISO calculates the daily Day-Ahead Credits for each pool-scheduled External Transaction purchase as follows:

#### Sum hourly Day-Ahead offer amounts for the day

#### Sum hourly Day-Ahead values for the day

#### Day-Ahead External Transaction purchase Credit equals any portion of the import transaction’s total daily Day-Ahead offer amount in excess of its total daily Day-Ahead value

### Day-Ahead Credit Allocation

.  The ISO allocates the Day-Ahead Credits, for each External Transaction purchase for each Operating Day, back to each hour in the Operating Day in which the External Transaction purchase was scheduled as follows:

Hourly Credit = Daily Credit * ((NEPOOL Day-Ahead Load Obligation in scheduled hour) / (Total NEPOOL Day-Ahead Load Obligations in all scheduled hours))

### Day-Ahead Operating Reserve Credits: Participant’s Hourly Credits; Operating Day Total

.  The ISO calculates each Participant’s hourly Day-Ahead Operating Reserve Credits and the total Day-Ahead Operating Reserve Credits for each Operating Day as follows:

#### For each scheduled hour, if the External Transaction purchase is flagged as RMR, the Participant’s share of Day-Ahead RMR Operating Reserve Credits is equal to the Day-Ahead Credit in that hour.  The ISO then sums all Day-Ahead RMR Operating Reserve Credits for all External Transaction purchases for that Operating Day,

#### For each scheduled hour, if the External Transaction purchase is not flagged as RMR, the Participant’s share of Day-Ahead economic Operating Reserve Credits is equal to the Day-Ahead Credit in that hour.  The ISO then sums all Day-Ahead Operating Reserve Credits for all External Transaction purchases for that Operating Day.

### Hourly Real-Time Offer Amount

.  The ISO calculates the hourly Real-Time offer amount for each pool-scheduled External Transaction purchase by multiplying the scheduled Real-Time transaction MWh by the transaction offer price.

### Hourly Real-Time Value

.  The ISO calculates the hourly Real-Time value for each pool-scheduled External Transaction purchase by multiplying the scheduled Real-Time transaction MWh hourly deviations from the cleared Day-Ahead transaction MWh amount by the Real-Time LMP of the applicable External Node.

### Real-Time Credits Calculation

.  The ISO calculates the daily Real-Time Credits for Real-Time External Transaction purchases as follows:

#### Sum hourly Real-Time offer amounts for the day

#### Sum hourly Real-Time values for the day

#### Real-Time daily Credit equals any portion of the External Transaction purchase’s total daily Real-Time offer amount in excess of: (i) its daily Day-Ahead value, plus (ii) its daily Real-Time value, plus (iii) any Day-Ahead Credits (including any Day-Ahead Credits for which a Resource is determined to be ineligible).

### Real-Time Credits Allocation

.  The ISO allocates the Real-Time Credits, for each External Transaction purchase for each Operating Day, back to each hour in the Operating Day in which the External Transaction was scheduled as follows:

Hourly Credit = Daily Credit * ((NEPOOL Real-Time Load Obligation in operating hour) / (Total NEPOOL Real-Time Load Obligations in all operating hours))

### Real-Time Operating Reserve Credits:  Participant’s Hourly and Operating Day Total

.  The ISO calculates each Participant’s hourly Real-Time Operating Reserve Credits and the total Real-Time Operating Reserve Credits for each Operating Day as follows:

#### For each scheduled hour, if the External Transaction purchase is flagged as RMR, the Participant’s share of Real-Time RMR Economic Operating Reserve Credits is equal to the Real-Time Credit in that hour.  The ISO then sums all Real-Time RMR Operating Reserve Credits for all External Transaction purchases for that Operating Day,

#### For each scheduled hour, if the External Transaction purchase is not flagged as RMR, the Participant’s share of Real-Time Operating Reserve Credits is equal to the Real-Time Credit in that hour.  The ISO then sums all Real-Time Operating Reserve Credits for all External Transaction purchases for that Operating Day.

## Credits for Pool-Scheduled External Transactions Sales and Dispatchable Load Pumps

For each Operating Day, the ISO calculates the Credits due each Participant for pool-scheduled External Transaction sales (modeled as Demand Bids at External Nodes) and Dispatchable Loads (pumps only) as follows.  Credits for pool-scheduled External Transaction sales only apply to External Transaction sales submitted that are Dispatchable and are submitted as Source equals Sink.  Dispatchable Loads (pumps only) are eligible for Operating Reserve Credits in hours for which they are not Self-Scheduled.  Dispatchable Loads (pumps only) that are Self-Scheduled for any portion of an hour shall be considered Self-Scheduled for the entire hour.

### Information Retrieved

.  The ISO retrieves the following information:

#### dispatcher transaction logs

#### Pool-scheduled Day-Ahead scheduled and Real-Time scheduled External Transaction sales (positive values)

#### Pool-scheduled Day-Ahead scheduled and Real-Time scheduled Dispatchable Loads (pumps only)  (positive values)

#### hourly pool-scheduled Day-Ahead and Real-Time External Transaction Demand Bid cost curve ($/MWh, MW)

#### hourly pool-scheduled Day-Ahead and Real-Time Dispatchable Load (pumps only) Demand Bid cost curve ($/MWh, MW)

#### Day-Ahead and Real-Time LMPs

### Day-Ahead Bid Amount

.  The ISO calculates the hourly Day-Ahead bid amount for each pool-scheduled External Transaction sale and Dispatchable Load pump by multiplying the cleared Day-Ahead MWs by the Demand Bid price.

### Day-Ahead Cost

.  The ISO calculates the hourly Day-Ahead cost for each pool-scheduled External Transaction sale and Dispatchable Load pump by multiplying the cleared Day-Ahead MWs by the Day-Ahead LMP at the applicable External Node and Node, respectively.

### Day-Ahead Credits

.  The ISO calculates the daily Day-Ahead Credits for each pool-scheduled External Transaction sale and Dispatchable Load pump as follows:

#### Sum hourly Day-Ahead bid amounts for the day

#### Sum hourly Day-Ahead costs for the day

#### Day-Ahead Operating Reserve Credit for External Transaction sales equals any portion of the sale transaction’s total daily Day-Ahead cost in excess of its total daily Day-Ahead bid amount

#### Day-Ahead Operating Reserve Credit for Dispatchable Load pump equals any portion of the Dispatchable Load pump’s total daily Day-Ahead cost in excess of its total daily Day-Ahead bid amount

### Day-Ahead Credit Allocation

.  The ISO allocates the Day-Ahead Operating Reserve Credits, for each External Transaction sale and Dispatchable Load pump for each Operating Day, back to each hour in the Operating Day in which the External Transaction or Dispatchable Load pump was scheduled as follows:

Hourly Credit = Daily Credit * ((NEPOOL Day-Ahead Load Obligation in scheduled hour) / (Total NEPOOL Day-Ahead Load Obligations in all scheduled hours))

### Real-Time Bid Amount - External Transaction Sale

.  The ISO calculates the hourly Real-Time bid amount for each pool-scheduled External Transaction sale by multiplying the scheduled Real-Time transaction MWh by the transaction Demand Bid price.

### Real-Time Bid Amount - Dispatchable Load Pump

.  The ISO calculates the hourly Real-Time bid amount for each pool-scheduled Dispatchable Load pump by multiplying the actual Real-Time consumption MWh by the Dispatchable Load pump Demand Bid price.

### Real-Time Cost - External Transaction Sale

.  The ISO calculates the hourly Real-Time cost for each pool-scheduled External Transaction sale by multiplying the scheduled Real-Time transaction MWh hourly deviations from the cleared Day-Ahead transaction MWh amount by the Real-Time LMP of the applicable External Node.

### Real-Time Cost - Dispatchable Load Pump

.  The ISO calculates the hourly Real-Time cost for each pool-scheduled Dispatchable Load pump by multiplying the actual Real-Time consumption MWh hourly deviations from the cleared Day-Ahead MWh amount by the Real-Time LMP of the applicable Node.

### Real-Time Credits - External Transaction Sale

.  The ISO calculates the daily Real-Time Operating Reserve Credits for Real-Time External Transaction sales as follows:

#### Sum hourly Real-Time bid amounts for the day

#### Sum hourly Real-Time costs for the day

#### Real-Time Operating Reserve Credit equals any portion of the External Transaction sale’s total daily Real-Time bid amount that is less than: (i) its daily Day-Ahead cost, plus (ii) its daily Real-Time cost, less (iii) any Day-Ahead Operating Reserve Credits for External Transaction sales.

### Real-Time Credits Allocation - External Transaction Sale

.  The ISO allocates the Real-Time Operating Reserve Credits, for each External Transaction sale for each Operating Day, back to each hour in the Operating Day in which the External Transaction was scheduled as follows:

Hourly Credit = Daily Credit * ((NEPOOL Real-Time Load Obligation in operating hour) / (Total NEPOOL Real-Time Load Obligations in all operating hours))

### Real-Time Credits - Dispatchable Load Pumps

.  The ISO calculates the daily Real-Time Operating Reserve Credits for Real-Time Dispatchable Load pumps as follows:

#### Sum hourly Real-Time bid amounts for the day

#### Sum hourly Real-Time costs for the day

#### Real-Time Operating Reserve Credit equals the Dispatchable Load pump’s total daily Real-Time bid amount less: (i) its daily Day-Ahead cost, plus (ii) its daily Real-Time cost, less (iii) any Day-Ahead Operating Reserve Credits for Dispatchable Load pumps.

### Real-Time Credits Allocation - Dispatchable Load Pumps

.  The ISO allocates the Real-Time Operating Reserve Credits, for each Dispatchable Load pump for each Operating Day, back to each hour in the Operating Day in which the Dispatchable Load pump was scheduled as follows:

Hourly Credit = Daily Credit * ((NEPOOL Real-Time Load Obligation in operating hour) / ( Total NEPOOL Real-Time Load Obligations in all operating hours))

## Credits for Canceled Pool-Scheduled Resources (Generators)

For each Operating Day, the ISO calculates the Operating Reserve Credit due to each Participant for Pool-Scheduled generating Resources that were scheduled by the ISO after the close of the Day-Ahead Energy Market and that were cancelled by the ISO prior to their assigned commitment time.  The ISO bases this credit on values submitted by Participants as part of their Offer Data.  The following Offer Data parameters are utilized in the Credit calculation:  Hot to Cold Time, Hot to Inter Time, Hot Startup Cost, Inter Startup Cost, Cold Startup Cost, Hot Startup Time, Inter Startup Time and Cold Startup Time.  Please see the ISO-NE User Guide for Submitting Bids and Offers via eMKT for the definition of these parameters.

### Information Retrieved

.  The ISO retrieves the following information:

#### list of canceled generating Resources (dispatcher log)

#### Applicable Generator Start-Up Fee (Hot Startup Cost, Inter Startup Cost or Cold Startup Cost)

#### Generator Flags (RMR, VAR, Regulation)

#### generation data

### Cancelled Start Credit Calculation

.  The ISO Credits each Participant for cancellation based on a pro-rata share of the Applicable Generator Start-Up Fee and associated Time to Start parameter (Hot Startup Time, Inter Startup Time or Cold Startup Time) utilized by the ISO in the original commitment decision.  The Credit for cancelled starts is calculated as follows:

Cancelled Start Credit  = Applicable Generator Start-Up Fee * (1- ((Cancel Time) / (Time to Start))),

Where,

| Applicable Generator Start-Up Fee | equals (i) Hot Startup Cost if the difference in hours between the ISO Commitment Order Time and the unit’s last off-line time is less than the Hot to Inter Time; (ii) Inter Startup Cost if the difference in hours between the ISO Commitment Order Time and the unit’s last off-line time is greater than or equal to the Hot to Inter Time and less than the Hot to Cold Time; or (iii) Cold Startup Cost if the difference in hours between the ISO Commitment Order Time and the unit’s last off-line time is greater than or equal to the Hot to Cold Time, |
| --- | --- |
| Cancel Time | equals the elapsed time, in hours, between the original ISO Commitment Order Time for the unit and the time at which the ISO cancelled the commitment of the unit. Cancel Time must be less than or equal to Time To Start, otherwise, the Cancelled Start Credit is set equal to zero, |
| ISO Commitment Order Time | equals the time at which the unit is to be synchronized to the system, |
| Time to Start | equals the applicable number of hours required to synchronize the unit to the system as submitted as part of the Participant’s Offer Data (Hot Startup Time, Inter Startup Time or Cold Startup Time), and |

Cancelled Start Credit is limited to be no greater than the applicable Start-Up Fee and Time to Start can not be greater than 24 hours.

### Real-Time Operating Reserve Credit

.  The Real-Time Operating Reserve Credit for cancelled starts for the Operating Day is equal to the sum of the Real-Time Credits calculated in Section 2.5.2 above for all Pool-Scheduled generating Resources that were not originally flagged as RMR, VAR or Regulation.

### RMR Credit

.  The Real-Time RMR Operating Reserve Credit for cancelled starts for the Operating Day is equal to the sum of the Real-Time Credits calculated in 2.5.2 above for all Pool-Scheduled generating Resources that were originally flagged as RMR.

### VAR Credit

.  The Real-Time VAR Credit for cancelled starts for the Operating Day is equal to the sum of the Real-Time Credits calculated in 2.5.2 above for all Pool-Scheduled generating Resources that were originally flagged as VAR.

### Regulation Credit

.  The Real-Time Operating Reserve Regulation Credit for cancelled starts for the Operating Day is equal to the sum of the Real-Time Credits calculated in 2.5.2 above for all Pool-Scheduled generating Resources that were originally flagged as Regulation.

### SCR Credits

.  The Real-Time SCR Credits associated with generating units identified as SCR Resources are billed as provided for in Schedule 19 of the NEPOOL Tariff.

### Example

.  An example of the cancelled start calculation is as follows:

Asset ID ABC was scheduled after the close of the Day-Ahead Market to start at 6:00 am. ISO Cancelled the unit Start Time, in Real-Time, at 4:00 am. Cancel Time Column is calculated by subtracting Start time – Cancel time  (6 – 4 = Cancel Time is 2)

To determine the amount Cancelled Start we look at the Start-Up Fee and we multiply it by 1 minus Cancel Time divided by Time to Start.

## Credits for Resources Postured for Reliability

The ISO Credits postured generating Resources, both Pool-Scheduled and Self-Scheduled, for responding to the ISO’s request to reduce or suspend normal economic operation.  Whenever the ISO deviates from the normal security constrained economic Energy dispatch solution for a generating Resource produced by the Technical Software for the purpose of maintaining sufficient Operating Reserve (both on-line and off-line) levels or for the provision of  voltage or VAR support, such generating Resources shall be considered postured.  The ISO takes into account any Regulation Credits associated with the postured generating Resource for the provision of Regulation while postured in calculating the posturing Credits for generating Resources.

### Information Retrieved

.  The ISO retrieves the following information:

#### list of generating Resources reduced or suspended for reliability reasons (dispatcher log)

#### Generator Offer Data

#### 5 minute generation data from EMS

#### Real-Time LMP data

#### Real-Time Generation Obligation

#### Generator Regulation Credits

### Posturing Credit Calculation

.  The ISO Credits Participants for each generating Resource for each hour reduced or suspended based on the following calculation:

#### Generating Resources Without Daily Energy Restrictions.  For generating Resources without daily energy restrictions, the posturing credit for each hour of reduced or suspended operation is:

Posturing Credit = (PAG - AG) x (ULMP - UB) – GRC

Where:

PAG 	equals the estimated hourly generation had the generating Resource not responded to dispatch orders to reduce or suspend operation.  Estimated operation for resources following the Day-Ahead schedule prior to posturing will be determined by the Day-Ahead schedules during the posturing event.   For generating Resources responding to Real-Time prices prior to posturing, estimates will assume economic operation would have continued;

AG 	equals the actual output of the generating Resource;

ULMP 	equals the Real-Time LMP associated with the generating Resource that is reduced or suspended for each hour;

UB 	equals the Supply Offer price (increment energy price only) associated with PAG for that generating Resource whose output is reduced or suspended;

GRC  	(Generator Regulation Credits) is the value calculated under Section 4 of the NEPOOL Manual for Market Rule 1 Accounting, M-28; and

where ULMP - UB shall not be negative and Posturing Credit shall not be negative.

#### Generating Resources With Daily Energy Restrictions.  For generating Resources with daily energy restrictions, a credit is determined based on an estimate of the daily net opportunity cost in the energy market.   This daily net amount shall not be negative.  The posturing credit is:

Posturing Credit = net of Posturing Hourly Credits as defined below for all hours beginning with the hour that posturing began and ending at the end of the calendar day,

Where:

Posturing Hourly Credit = (PAG - AG) x (ULMP - UB) – GRC

Where:

PAG 	equals the estimated hourly generation had the generating Resource not responded to Dispatch orders to reduce or suspend operation.  Estimated operation for generating Resources following the Day-Ahead schedule prior to the posturing event will be determined by the Day-Ahead schedule.  From the start of the posturing event through the end of the calendar day, PAG is set to the Day-Ahead schedule for as long as available energy would have supported the operation.   For generating Resources responding to DDP’s in Real-Time or operating under Real-Time Self-Schedule changes prior to the posturing event, PAG will be set assuming

economic operation would have occurred during posturing and throughout the day for as long as the available energy would have supported the operation;

AG 	equals the actual output of the generating Resource;

ULMP	equals the Real-Time LMP associated with the generating Resource;

UB	equals the Generator Supply Offer price (increment energy price only); and

GRC	is the value calculated under Section 4 of the NEPOOL Manual for Market Rule 1 Accounting, M-28.

### Real Time Operating Reserve Credits

.  The Real-Time Operating Reserve Credits for posturing for the Operating Day are equal to the sum of the non-VAR related Real-Time posturing Credits associated with reduced or suspended generating Resources for the Operating Day.

### Real Time VAR Credits

.  The Real-Time VAR Credits for posturing for the Operating Day are equal to the sum of the VAR related Real-Time posturing Credits associated with reduced or suspended generating Resources for the Operating Day.

2.6.5	Credits for Resources Providing Operating Reserve During Reserve Shortage Condition Pricing Events.  Generating Resources in the Real-Time Energy Market that, during periods when a Reserve Shortage Condition Pricing Event has been declared, meet the eligibility requirements described in NEPOOL Manual 11 - Market Operations, are eligible to receive credits for Reserve Shortage Opportunity Costs.  These payments are calculated in accordance with the provisions of Section 3 of Market Rule 1 and NEPOOL Manual 11.

###### 2.6.5.1  ISO Actions

- (1) The ISO retrieves the following information:

- list of hours for which Reserve Shortage Condition Pricing Events occurred

- list of generating Resources to receive Reserve Shortage Opportunity Cost credits in each hour

- Reserve Shortage Opportunity Cost credit amounts by generating Resource

(2) The ISO credits Participants for each eligible generating Resource for each hour in which a Reserve Shortage Condition Pricing Event occurs.

# Charges for Operating Reserve

## Allocation

The sum of Day-Ahead Operating Reserve Credits for the Day-Ahead Energy Market is allocated and charged to Participants in proportion to the daily sum of their Day-Ahead Load Obligations.  The sum of Real-Time Operating Reserve Credits (including posturing Credits) including those associated with Synchronous Condensers for the Real-Time Energy Market is allocated and charged to Participants in proportion to their daily sum of their Real-Time Load Obligation Deviations (excluding any difference between Dispatchable Load Demand Bids that are cleared in the Day-  Ahead Energy Market and revenue quality meter readings for Dispatchable Load pumps for the Operating Day that result from operation in accordance with the ISO’s instructions), generation deviations from Day-Ahead amounts and the daily sum of the  generation deviations from the greater of the hourly aggregate Desired Dispatch Point or the Resource’s Economic Minimum Limit.  The sum of Real-Time Operating Reserve Credits that are associated with generating Resources scheduled for Regulation in the Real-Time Energy Market is allocated and charged to Participants in proportion to their hourly Net Regulation Obligation.  (See Section 4 of the NEPOOL Manual for Market Rule 1 Accounting, M-28).

The sum of Day-Ahead RMR Operating Reserve Credits associated with generating units identified as Daily RMR Resources for the Day-Ahead Energy Market is allocated and charged to Participants within the affected Reliability Region in proportion to the daily sum of their Day-Ahead Load Obligations within the affected Reliability Region.  The sum of Real-Time RMR Operating Reserve Credits associated with generating units identified as Daily RMR Resources for the Real-Time Energy Market is allocated and charged to Participants within the affected Reliability Region and, under certain circumstances, to any adjacent Control Area purchasing Emergency energy from NEPOOL. Charges are allocated in proportion to the daily sum of Real-Time Load Obligation Deviations (excluding any difference between Dispatchable Load Demand Bids that are cleared in the Day-Ahead Energy Market and revenue quality meter readings for Dispatchable Load pumps for the Operating Day that result from operation in accordance with the ISO’s instructions) within the affected Reliability Region(s) plus applicable Emergency energy sales, generation deviations from Day-Ahead amounts and generation deviations from Desired Dispatch Points within the affected Reliability Region.

The total cost of Real-Time Operating Reserve for units specifically scheduled to provide Regulation for the Operating Day is allocated and charged to Participants in proportion to their Net Regulation Purchases during that Operating Day.

The sum of Day-Ahead and Real-Time Operating Reserve Credits paid to Participants associated with Resources other than SCRs (including Synchronous Condensers and Postured Resources) that have been identified by the ISO as being required to provide voltage support or VAR support are collected from Participants in accordance with Schedule 2 of the NEPOOL Tariff.

The hourly sum of Real-Time Reserve Shortage Opportunity Cost credits paid to Participants with generators that have provided Operating Reserve during Reserve Shortage Condition Pricing Events are collected from Participants in proportion to their ratio shares of hourly Real-Time Load Obligations.

## Calculations

### Day-Ahead Operating Reserve Cost, Day-Ahead Energy Market

.  The ISO calculates for each Operating Day the total Day-Ahead Operating Reserve cost associated with the Day-Ahead Energy Market by summing all Participant’s Day-Ahead Operating Reserve Credits, as previously calculated, for generating Resources, Pool-Scheduled External Transaction Purchases, Postured Generators (non-VAR) and Pool-Scheduled External Transaction Sales and Dispatchable Load Pumps.

### RMR Operating Reserve Cost, Day-Ahead Energy Market

.  The ISO calculates for each Operating Day the RMR Operating Reserve cost associated

with the Day-Ahead Energy Market by summing all Participants’ Day-Ahead RMR Operating Reserve Credits.

### VAR related Operating Reserve Cost, Day-Ahead Energy Market

.  The ISO calculates for each Operating Day the total VAR related Operating Reserve cost associated with the Day-Ahead Energy Market by summing all Participant’s Day-Ahead VAR Credits.

### Operating Reserve Charges, Day-Ahead Energy Market

.  The ISO calculates for each Operating Day the Operating Reserve Charges for the Day-Ahead Energy Market by allocating the total economic Operating Reserve cost for the Day-Ahead Energy Market to each Participant based on the Participant’s pro-rata daily share of the sum of Day-Ahead Load Obligations over all Locations (including the Hub).

### RMR Operating Reserve Charges, Day-Ahead Energy Market

.  The ISO calculates for each Operating Day the RMR Operating Reserve Charges for the Day-Ahead Energy Market for each affected Reliability Region by allocating the total RMR Operating Reserve cost for the Day-Ahead Energy Market for each affected Reliability Region to each Participant within the affected Reliability Region based on the Participant’s pro-rata daily share of the sum of Day-Ahead Load Obligations over all Locations within the affected Reliability Region (not including the Hub).

### VAR Charges, Day-Ahead Energy Market, Day-Ahead Energy Market

.  The ISO calculates for each Operating Day the VAR Charges for the Day-Ahead Energy Market by allocating the sum of the total VAR related Operating Reserve cost for the Day-Ahead Energy Market to each Participant based on Schedule 2 of the NEPOOL Tariff.

### Non-Synchronous Condenser related, non-Regulation related Economic Operating Reserve Cost, Real-Time Energy Market

.  The ISO calculates for each Operating Day the total non-Synchronous Condenser related, non-Regulation related economic Operating Reserve cost associated with the Real-Time Energy Market by summing all Participant’s Real-Time Operating Reserve Credits not related to Synchronous Condensers or Regulation, as previously calculated, and the total Synchronous Condenser related Operating Reserve cost (non-VAR related) associated with the Real-Time Energy Market by summing all Participants’ non-VAR related Real-Time Synchronous Condenser related Operating Reserve Credits for generating

Resources, pool-scheduled External Transaction Purchases, pool-scheduled External Transaction Sales and Dispatchable Load Pumps, Cancelled Pool-Scheduled Resources and Resources postured for reliability.

### RMR Operating Reserve Cost, Real-Time Energy Market

.  The ISO calculates for each Operating Day the total RMR Operating Reserve cost associated with the Real-Time Energy Market by summing all Participants’ Real-Time RMR Operating Reserve Credits.

### SCR Operating Reserve Cost, Real-Time Energy Market

.  The ISO calculates for each Operating Day the total SCR Operating Reserve cost associated with the Real-Time Energy Market by summing all Participants’ Real-Time SCR Operating Reserve Credits.

### VAR Operating Reserve Cost, , Real-Time Energy Market

.  The ISO calculates for each Operating Day the total VAR Operating Reserve cost associated with the Real-Time Energy Market by summing all Participants’ Real-Time VAR Credits including VAR Credits associated with Synchronous Condensers and postured generating Resources.

### Regulation Related Operating Reserve Cost

.  The ISO calculates for each Operating Day the total Regulation related Operating Reserve cost associated with the Real-Time Energy Market by summing all Participants’ Real-Time Regulation related Operating Reserve Credits.

### Real-Time Load Obligation Deviation

.  The ISO calculates for each hour of the Operating Day each Participant’s Real-Time Load Obligation Deviation (as adjusted in accordance with Section 3.1) by summing the difference between the Participant’s Real-Time  Load Obligation and Day-Ahead  Load Obligation over all Locations (including the Hub).

### Real-Time Load Obligation Deviation within each Reliability Region

.  The ISO calculates for each hour of the Operating Day each Participant’s Real-Time Load Obligation Deviation (as adjusted in accordance with Section 3.1) within each Reliability Region by summing the difference between the Participant’s Real-Time  Load Obligation and Day-Ahead  Load Obligation over all Locations within the Reliability Region (not including the Hub).

### Real-Time Generation Obligation Deviation at External Nodes

. The ISO calculates for each hour of the Operating Day each Participant’s Real-Time Generation Obligation Deviation at External Nodes by summing the difference between the Participant’s Real-Time Generation Obligation and Day-Ahead Generation Obligation over all External Nodes.

### Other

.  The ISO calculates for each Operating Day the non-Synchronous Condenser related, Synchronous Condenser related, non-RMR related, non-Regulation and non-SCR related economic Operating Reserve Charges for the Real-Time Energy Market for each Participant by allocating the total Real-Time non-Synchronous Condenser related, Synchronous Condenser related, non-RMR related, non-Regulation related and non-SCR related Operating Reserve cost to each Participant based on their daily pro-rata share of the daily sum of the following hourly Real-Time deviations:

#### If the Day-Ahead Economic Minimum Limit is equal to the Real-Time Economic Minimum Limit and the Real-Time Economic Minimum Limit is greater than or equal to the Resource’s Desired Dispatch Point: Real-Time generation deviation is the greater of the absolute value of (actual metered output – cleared DA MWh) or (actual metered output – Real-Time Economic Minimum Limit) for each generating Resource.

If the deviation calculated above is less than or equal to 5% of cleared DA MWh or less than or equal to 5 MWh, then deviation = 0,

#### If the Day-Ahead Economic Minimum Limit is not equal to Real-Time Economic Minimum Limit and the Real-Time Economic Minimum Limit is greater than or equal to the Resource’s Desired Dispatch Point: Real-Time generation  deviation is the greatest of the absolute value of (actual metered output – cleared DA MWh) or (actual metered output – Real-Time Economic Minimum Limit) or (Real-Time Economic Minimum Limit – Day-Ahead Scheduled Economic Minimum Limit) for each generating Resource.

If the deviation calculated above is less than or equal to 5% of cleared DA MWh or less than or equal to 5 MWh, then deviation = 0,

#### If the Resource’s Desired Dispatch Point is greater than the Resource’s Real-Time Economic Minimum Limit and the Resource is not following ISO Dispatch Instructions:  Real-Time generation deviation is the absolute value of (actual metered output – Desired Dispatch Point).

If the deviation calculated above is less than or equal to 5% of Desired Dispatch Point or less than or equal to 5 MWh, then deviation = 0,

plus,

#### for each Pool-Scheduled generating Resource:

#### (i)	If the Resource is not following ISO Dispatch Instructions and has cleared Day-Ahead and has an actual metered output greater than zero and has not been ordered off-line by the ISO for reliability purposes:  Real-Time generation deviation is the absolute value of (actual metered output – Desired Dispatch Point) for each generating Resource.

If the deviation calculated above is less than or equal to 5% of Desired Dispatch Point or less than or equal to 5 MWh, then deviation = 0,

(ii)	If the Resource is not following ISO Dispatch Instructions, has cleared Day-Ahead, that has an actual metered output equal to zero and has not been ordered off-line by the ISO for reliability purposes:  Real-Time generation deviation is the absolute value of (actual metered output – Cleared DA MWh) for each generating Resource.

If the deviation calculated above is less than or equal to 5% of Cleared DA MWh or less than or equal to 5 MWh, then deviation = 0,

plus,

#### the sum of the hourly absolute values for the Operating Day of the Participant’s Real-Time Load Obligation Deviation (as adjusted in accordance with Section 3.1)

#### [NOTE: External Transaction sales curtailed by the ISO are omitted from this calculation],

plus,

#### the sum of the hourly absolute values for the Operating Day of the Participant’s Real-Time Generation Obligation Deviation at External Nodes

[NOTE: External Transaction purchases curtailed by the ISO are omitted from this calculation],

plus,

#### the absolute value of the total over all Locations of the Participant’s Increment Offers.

#### [Please note that for purposes of this calculation an Increment Offer that clears in the Day-Ahead Market always creates a Real-Time generation deviation.]

### RMR Operating Reserve Charges, Real-Time Energy Market

. The  ISO calculates for each Operating Day the RMR Operating Reserve Charges for the Real-Time Energy Market for each Participant within each affected Reliability Region by allocating the total Real-Time RMR Operating Reserve cost to each Participant within each affected Reliability Region based on its daily pro-rata share of the daily sum of the hourly Real-Time deviations calculated on a Reliability Region basis in the same manner as the hourly Real-Time deviations described in Section 3.2.15 above except that Real-Time deviations at the Hub are not included because the Hub is not within any Reliability Region.

For purposes of the calculation of RMR Operating Reserve Charges, for hours in which there is an RMR Operating Reserve cost (as calculated in Section 3.2.8) and NEPOOL is selling Emergency energy to an adjacent Control Area, the scheduled amount of Emergency energy at the applicable External Node will be included in the calculation of proportional shares of Real-Time deviations as if the Emergency energy sale were a Real-Time Load Obligation Deviation within the affected Reliability Region(s). The proportionate share calculated for the Emergency Energy Transaction shall be included in the charges under an agreement for purchase and sale of Emergency energy with the applicable adjacent Control Area.

For purposes of the calculation of RMR Operating reserve Charges, Emergency energy sales by NEPOOL to an adjacent Control Area at the External Nodes (see Manual 11 for further discussion of the External Nodes) listed below shall be associated with the Reliability Region(s) indicated in the table:

| External Node Common Name | Associated Transmission Facilities | Reliability Region(s) | Allocator |
| --- | --- | --- | --- |
| NB-NE External Node | Keswick-Orrington (396 Line) | Maine | 100% to Maine |
| HQ Phase I/II External Node | HQ-Comerford 451& 452 Lines HQ-Sandy Pond 3512 & 3521 Lines | New Hampshire West Central Massachusetts | When Phase 1 operates, 100% to New Hampshire When Phase 2 operates, 100% to West Central Massachusetts |
| Highgate External Node | Bedford-Highgate (1429 Line) | Vermont | 100% to Vermont |
| NY-NE AC External Node | Plattsburg – Sandbar Line (PV- 20 Line) Whitehall – Blissville Line (K- 37 Line) Hoosick – Bennington Line (K-6 Line) Rotterdam – Bearswamp Line (E205W Line) Alps – Berkshire Line (393Line) Pleasant Valley – Long Mountain Line (398 Line) Northport – Norwalk Harbor (1385 Line) | Vermont, Vermont Vermont West Central Massachusetts West Central Massachusetts Connecticut Connecticut | Allocated proportionally to the Vermont, West Central Massachusetts and Connecticut Reliability Regions based on the Normal Limits as described in Appendix 1 to OP-16 of the transmission facilities connecting these Reliability Regions to the New York Control Area. |
| Cross Sound Cable External Node | Shoreham-Halvarsson Converter (481 Line) | Connecticut | 100% to Connecticut |

### VAR Charges, Real-Time Energy Market

.  The ISO calculates for each Operating Day the VAR Charges (including Synchronous Condensers) associated with the Real-Time Energy Market by allocating the total Real-Time VAR cost to each Participant based on Schedule 2 of the NEPOOL Tariff.

### SCR Charges, Real-Time Energy Market

.  The ISO calculates for each Operating Day the SCR Charges associated with the Real-Time Energy Market by charging the total Real-Time SCR cost to the appropriate Entities based on Schedule 19 of the NEPOOL Tariff.

### Reserve Shortage Opportunity Cost Credits

.  The ISO calculates for each hour the total costs associated with Real-Time Energy Market Reserve Shortage Opportunity Cost credits during Reserve Shortage Condition Pricing Events by summing the Reserve Shortage Opportunity Cost payments made to generators in that hour.

### Reserve Shortage Opportunity Cost Charges

.  The ISO calculates for each hour the Reserve Shortage Opportunity Cost charges associated with the Real-Time Energy Market by allocating the total Real-Time Reserve Shortage Opportunity Costs to each Participant based on the Participant’s hourly ratio share of NEPOOL-wide Real-Time Load Obligation (Participant’s Real-Time Load Obligation at all Locations/ Total of all Participants’ Real-Time Load Obligations at all Locations).