## Slide 1
June 20, 2018, Joint Meeting of Markets AND Reliability Committees, Westborough, MA
Mark Karl and Christopher Parent
Vice President, Market Development and Director, Market Development
REGIONAL ENERGY SECURITY: MARKET-BASED APPROACHES

## Slide 2: Focus on Problem
Initial meetings of “Chapter 3” will focus on the problem
ISO is working towards a problem definition and possible assessment frameworks
This presentation is intended to initiate discussions with stakeholders on both the problem definition and assessment frameworks
Solutions will be discussed at future meetings in the Chapter 3 stakeholder process
  ISO welcomes additional solutions as part of this process (see slide 26)

## Slide 3: Developing a Framework to Define the Problem
Discuss potential drivers of the current winter operations challenges
Propose a framework to help understand the problem and develop solution options
Review construct of current market design and operational challenges

## Slide 4: Current Market Incentives for Performance
The capacity market, forward reserve market, and energy markets are interrelated and designed to work together to provide incentives and revenues to support the operation of the system
  The capacity market provides the missing money that cannot be recovered through the current energy and ancillary service markets
New England’s markets provide compensation for the real-time delivery of energy and reserves needed to operate the system
  Capacity supply obligations are met through the delivery of energy and reserves during times of scarcity
  Forward reserve obligations are met through the rapid (10 or 30 minute) delivery of energy and reserves during times of system need
  Day-ahead market obligations are met through delivery of energy and reserves
Capacity, forward reserves, real-time reserves and energy, are market mechanisms developed to ensure that energy is delivered under various operational conditions

## Slide 5: PFP Incentives and Assumptions
Original analysis of pay-for-performance (PFP) included a number of assumptions which did not occur
  Assumed the siting and permitting dual-fuel would be less challenging/costly and have greater potential for revenue opportunities
  Did not include a transition performance payment rate or stop loss
    The Performance Payment Rate (PPR) is set lower for the first five periods than the full PPR
    The addition of the stop loss limits monthly risk exposure
The PFP design was structured to incent improved resource performance in general and did not specifically target dual-fuel investment
Current incentives, dual-fuel costs/benefits, and market expectations of scarcity would seem to limit incentives for participants to make costly investments
PfP Analysis Group Report

## Slide 6: Operational Challenges
Retirements of energy secure infrastructure
  Replacing resources may not provide the same level of secure energy
Constraints on oil delivery infrastructure
  May not be able to replenish resources in a timely manner or at all during the winter period
Constraints on the gas pipeline system
  Competing demands limit the ability of gas resources to operate
Limited (advance) LNG contracting
  May not provide time for adequate inventory injections during times of system need
Limitations on emissions
  Restricts run times of resources below their on-site fuel capabilities

## Slide 7: Potential Drivers Behind Winter Operational Challenges
Future Expectations
Market Incentives
Adequate incentives may not be in place to meet region’s energy security needs
Market expectations may not reflect the region’s evolving energy security needs
1
2

## Slide 8: Market Incentives
Markets should produce the necessary revenues for participants to take actions that limit the risk of having energy constraints in the region managed by load shedding
If the costs of the actions needed to address the concern exceed the expected revenue opportunities, participants would rather incur the loss than take action
Understanding the expected response and the associated costs are critical to developing the appropriate incentive structure to achieve the desired action

## Slide 9: Future Expectations
Market fundamentals are continuing to change
  Existing energy secure infrastructure is exiting the market
  Extreme weather events are occurring more frequently
  Restrictions on existing fuel delivery infrastructure
  Emissions limits are reducing run times of energy secure resources
  Variable resources are entering the system with different market revenue requirements and performance capabilities
  Evolution of future loads is uncertain (duck curve; electric transportation)
Participants may not be able to assess the impact of limited- energy related risks to the region, to their individual positions; especially looking out four years

## Slide 10: Incentive structure and market expectations form the basis for the market response
There are many potential market responses; however, which are cost effective within the current design?
  Developing new energy-secure resources
  Installing dual-fuel or upgrading to dual-fuel capability
  Increasing LNG contracting
  Maintaining increased oil inventories
  Procuring additional emissions credits
  Increasing oil delivery capability
Certain market responses are further constrained by state policies, which create barriers that would be difficult to overcome regardless of the revenues available in the markets

## Slide 11: Problem and Solution Assessment Framework

## Slide 12: Proposed Framework
Lack of energy-secure infrastructure
Inefficient utilization of available energy
Underutilization of installed energy-secure infrastructure
Three perspectives provide a structured way to look at the problem and solution options
Categories reflect different temporal aspects of the problem; they are not mutually exclusive

## Slide 13: Inefficient Utilization of Available Energy

## Slide 14: Inefficient Utilization of Available Energy
The ISO thinks about this category in the time horizon roughly one week ahead
In situations where there is adequate available energy to meet the energy needs of the system:
  How can markets provide a signal or information to ensure limited energy is used at the best time?
  Why do participants not take actions to maintain their limited energy?
  Why do participants not take action in time to replenish depleted fuel supplies?
Inefficient utilization of available energy
Inefficient Utilization of Available Energy

## Slide 15: Lack of Forward Information
Forward electricity markets clear only one day in the future
Participants have limited visibility to future limited energy constraints on the system
No defined framework for reflecting opportunity costs of limited energy into energy market offers
These problems result in a missing signal or information to the market of approaching energy limitation on the system and manifest as:
  Participants using the wrong fuel relative the future system needs
  Posturing of resources by the ISO to manage fuels
  No market signal to indicate a need to replenish limited fuel supplies
Inefficient Utilization of Available Energy

## Slide 16: Potential Market Responses
Replenishing stored fuels or contracting for LNG
Better optimizing limited energy to improve ability to perform over a period when there are limited energy constraints
Inefficient Utilization of Available Energy

## Slide 17: Underutilization of installed energy-secure infrastructure

## Slide 18: Underutilization of Installed Energy-Secure Infrastructure
The ISO thinks about this in the time horizon preceding the winter season
In situations where there is adequate infrastructure on the system to meet the energy needs, but it is not being fully utilized:
  Why are participants not making adequate forward arrangements for fuel?
  Why are participants not getting into short notice fuel replenishment contracts?
Consists of intermediate term investments and near-term avoidable costs (e.g., shorter-term advance investments)
Underutilization of Installed Energy-Secure Infrastructure

## Slide 19: Potential Market Responses
Contracting for firm transport on the gas pipeline system
Contracting for LNG (delivered via pipeline)
Contracting for replenishment of stored fuels
Maintaining increased oil inventories
Procuring additional emissions credits
Underutilization of Installed Energy-Secure Infrastructure

## Slide 20: Lack of energy-secure infrastructure

## Slide 21: Lack of Energy-Secure Infrastructure
The ISO thinks about this in the time horizon in of multiple years ahead of the delivery period
In situations where there is lack of energy secure infrastructure on the system:
  Why is there not further investment in energy secure infrastructure?
  Why is existing infrastructure exiting the New England markets?
Reflects need for long-term investments in new and existing infrastructure
Lack of Energy- Secure Infrastructure

## Slide 22: Potential Market Responses
Contracting for new gas pipeline capacity
Developing new energy-secure resources
Installing dual-fuel or upgrading to dual-fuel capability
Contracting for LNG
Increasing oil delivery infrastructure in the region
Lack of Energy- Secure Infrastructure

## Slide 23: Next Steps

## Slide 24: Further Analysis Needed
The ISO is working to complete its analysis to define the actionable problems
  Identify potential market responses
  Evaluate costs of these market responses
Incorporate input from market participants regarding market incentives and impediments, contracting issues, and other issues that help define the problem
  Which categories best describe or frame the issue?
  Are there categories to frame the problem that have not been discussed today that should be considered?

## Slide 25: Conclusion
The ISO has identified potential drivers for the winter operational challenges
  Incentives in the markets (slide 8) and expectations of the future operating conditions (slide 9)
The ISO has recommended three categories for framing the problem
  Lack of investment in energy-secure infrastructure
  Underutilization of the installed energy-secure infrastructure
  Inefficient utilization of available energy
Stakeholder feedback is strongly encouraged

## Slide 26: Stakeholder Schedule
Stakeholder Committee and Date | Scheduled Project Milestone
Markets Committee and Reliability Committee June 20, 2018; July TBD | Introduce Frameworks for Assessing Problem; Discuss Problem Statement and Solution Objectives
Markets Committee August – October 2018 | Submit, Discuss, and Narrow Conceptual Solutions by ISO and Participants
Markets Committee November 2018 | Discuss Preferred Solution(s) for Further Development
Markets Committee December – March 2019 | Submit and Discuss Formal Proposal(s) by ISO and Participants; draft Tariff in March
Markets Committee April 2019 | Discuss Proposed Tariff Language (including for amendments)
Markets Committee May 2019 | Vote
Participants Committee June 2019 | Vote