## Slide 1
April 24, 2019 | Westborough, MA
Norman Sproehnle
(413) 540-4755 | NSPROEHNLE@iso-ne.com
Forward Capacity Auction 14 (FCA 14): Fuel Security Review Inputs Development
Proposed Revisions to Planning Procedure No. 10, Appendix I (PP10-I)

## Slide 2
At the April 11 Reliability Committee meeting, the ISO reviewed proposed changes to PP10-I that incorporated several refinements to the fuel security reliability review input assumptions, including:
  Improved modelling of satellite LNG injections
  Maintaining the oil inventory levels from the 2017/2018 winter
  Shaping the conventional hydro-electric generation output
  Providing additional time for offshore wind resources to demonstrate their contractual commitments for FCA 14
  Expanding which entities may provide the demonstration of contractual commitments for the fuel security reliability review
At today’s meeting, the ISO will review certifications it has received following the April 11 meeting as well as further proposed changes to PP10-I that reflect suggestions made by stakeholders
  Pursuant to Tariff Section III.13.2.5.2.5A(f), participants that have submitted a Retirement De-List Bid will be notified by the ISO if their resource is needed for fuel security reliability reasons by mid-June
Reliability Reviews for Fuel Security: Planning Procedure No. 10, Appendix I
Proposed Effective Date: May 3, 2019

## Slide 3: Offshore Wind Nameplate Profiles Certifications of Contractual Commitment received following April 11 meeting
Following the April 11 RC meeting, the ISO received certifications for 1000 MW of offshore wind
In addition, the ISO will also perform an informational analysis to simulate the additional impact of any offshore wind that is not included in the base model
Variable | FCA 14 ( Nameplate MW) | FCA 13 (Nameplate MW) | Delta (Nameplate MW)
CELT Offshore Wind | 29 | 29 | 0
Non-commercial Existing Generating Capacity | 0 | 0 | 0
Certifications of Offshore Wind | 1000 | 0 | 1000
Total Offshore Wind | 1029 | 29 | 1000
Facility | Planned In-Service Date | Capacity (Nameplate MW AC)
Vineyard Wind – Phase 1, MA | 1/15/2022 | 400
Vineyard Wind – Phase 2, MA | 1/15/2023 | 400
Revolution Wind | 12/31/2023 | 200

## Slide 4: Revised Draft PP10, Appendix I Language Revisions related to informational analysis for Offshore Wind & System Model Starting Point
Procedure Section | Procedure Change | Reason for Change
Section 2.3.1 Informational Analysis Presentation |  | Added clarity that the FCA 14 fuel-security reliability review will include an additional informational analysis for offshore wind

## Slide 5: Revised Draft PP10, Appendix I Language, cont. Revisions related to informational analysis for Offshore Wind & System Model Starting Point
Procedure Section | Procedure Change | Reason for Change
Section 3.C System Model Starting Point |  | Revised that the in-service date can be up to and including January 1, 2024 which allows additional resources to be incorporated into the model

## Slide 6: Revised Draft PP10, Appendix I Language Revisions related to Clarifying Oil-Only and Dual-Fuel Resources
Procedure Section | Procedure Change | Reason for Change
Section 3.A.vi Static Inputs & Section 3.B.iii Variable Inputs |  | Clarified the oil inventory levels apply to oil-only resources and dual-fuel resources that operate primarily on oil during the winter Replaced the description of replenishment from tanker truck per hour to barrels per hour Clarified that the variable input of dual-fuel resource tank inventory refers to dual-fuel resources that operate primarily on natural gas during the winter

## Slide 7: Revised Draft PP10, Appendix I Language Clarifications related to LDC Gas Demand
Procedure Section | Procedure Change | Reason for Change
Section 3 Natural Gas Assessment |  | Clarified that LDC gas demand refers to both New England and New Brunswick Clarified satellite LNG injection calculation Clarified LNG vaporization methodology
Section 3.A.iii Static Inputs |  | 

## Slide 8: Revised Draft PP10, Appendix I Language Additional Clarifications
Procedure Section | Procedure Change | Reason for Change
Section 3.A.i Static Inputs |  | Clarified the use of the Net 90/10 winter peak load as presented to Planning Advisory Committee
Section 3.A.vii Static Inputs |  | Clarified the sources of information for resource Seasonal Claimed Capability

## Slide 9: Revised Draft PP10, Appendix I Language, cont. Additional Clarifications
Procedure Section | Procedure Change | Reason for Change
Section 3.A.viii Static Inputs |  | Clarified the sources of information for PV
Section 3.A.ix Static Inputs |  | Clarified the sources of information for wind resource nameplate
Section 3.A.xvii Static Inputs |  | Improved description of storage devices

## Slide 10: Conclusion
In consultation with the RC and based on observations of the last winter, the ISO has developed several proposed revisions to the fuel security reliability review assumptions, including:
  Improved modelling of satellite LNG injections
  Maintaining the oil inventory levels from the 2017/2018 winter
  Shaping the conventional hydro-electric generation output
  Providing additional time for offshore wind resources to demonstrate their contractual commitments for FCA 14
  Expanding which entities may provide the demonstration of contractual commitments for the fuel security reliability review
Overall, these proposed revisions improve system fuel security and cover a variety of optimistic scenarios which minimize the potential for retaining resources unnecessarily
At the April 24 RC meeting, the ISO will request a vote on the proposed PP10-I revisions, with a PC vote in May
  This schedule will provide a shortened window for the ISO to complete its reliability review of submitted retirement bids under the Tariff
  Pursuant to Tariff Section III.13.2.5.2.5A(f), participants that have submitted a Retirement De-List Bid will be notified by the ISO if their resource is needed for fuel security reliability reasons by mid-June

## Slide 11: Stakeholder Schedule
Stakeholder Committee and Date | Scheduled Project Milestone
Reliability Committee March 11, 2019 | Review the FCA 14 fuel security inputs applying the existing PP10-I methodology
Reliability Committee March 29, 2019 | Review and address all stakeholder feedback received on FCA 14 fuel security inputs Provide ICF tables and discuss methodology used for developing the New England LDC gas demand forecast and the near-term natural gas infrastructure projects
Reliability Committee April 11, 2019 | Review proposed PP10-I revisions
Reliability Committee April 24, 2019 | Vote on proposed PP10-I revisions
Participants Committee May 3, 2019 | Vote on proposed PP10-I revisions

## Slide 12
Norman Sproehnle
(413) 540-4755 | NSPROEHNLE@iso-ne.com