## Slide 1
July 16-17, 2019 │ Stowe, VT
Jerry Elliott
(413) 535-4123 | gelliott@iso-ne.com
Biennial Review: General clean-up, revision of Section 2 to add Energy Storage as ARD type, and revisions to delete duplicate definitions for defined terms
Proposed Revisions to OP-14, Appendix E (Explanation of Terms and Instructions for Preparation of ISO-NE Form NX-12E ─ Asset Related Demands Technical Data)

## Slide 2
Proposed Revisions to OP-14, Appendix E (OP-14E)
Proposed Effective Date: September 13, 2019
The proposed revisions to OP-14, Appendix E (OP-14E) add Energy Storage to the list of Asset Related Demand types in Section 2 and delete definitions for terms already defined in Section I.2.2 of the Tariff
Grammar and style changes are also included throughout the OP
The ISO is presenting these revisions for review at today’s meeting with a vote scheduled for the August 20, 2019 RC meeting
The ISO will be seeking a vote on these revisions at the September 13, 2019 NEPOOL Participants Committee meeting

## Slide 3: Overview of Proposed Changes to OP-14E
OP-14E has been revised to:
Remove or replace with correct references terms already defined in Section I.2.2 of the Tariff or ISO-New England Manuals
Add Energy Storage to the list of DARD types
Replace Nominated Consumption Level with the defined term Nominated Consumption Limit throughout the document
Correct a reference to Market Rule 1 in References
Correct grammar and update style

## Slide 4: Summary of Proposed OP-14E Revisions to Add Energy Storage DARDs and Delete Definitions of Defined Terms
Section | Proposed Change | Reason for Change
Specific Information: Section 2 – Basic Information |  | Adds Energy Storage to DARD types
Specific Information: Section 2 – Basic Information |  | Replaces re-stated definition and reference to Manual M-35 with a reference to the Section of Manual M-28 that states the definition of this term
Specific Information: Section 3 – Minimum Consumption Limit |  | Deletes duplicative definition of term defined in Section I.2.2 of the Tariff

## Slide 5: Summary of Proposed OP-14E Revisions to Add Energy Storage DARDs and Delete Definitions of Defined Terms
Section | Proposed Change | Reason for Change
Specific Information: Section 4 – Maximum Consumption Limit |  | Deletes duplicative definition of term defined in Section I.2.2 of the Tariff
Specific Information: Section 5 – Nominated Consumption Limit |  | Deletes duplicative definition of term defined in Section I.2.2 of the Tariff

## Slide 6: Summary of Proposed OP-14E Clean-Up Revisions
Section | Proposed Change | Reason for Change
Table of Contents and throughout the document | Replace Nominated Consumption Level with Nominated Consumption Limit | Correct use of the defined term
References |  | Correct title of referenced document
General Information |  | Re-word for clarity and to reflect current ISO usage
General Information |  | Re-word for clarity and to reflect current ISO usage

## Slide 7: Summary of Proposed OP-14E Clean-Up Revisions (cont.)
Section | Proposed Change | Reason for Change
General Information |  | Simplify reference
General Information |  | Place acronym after first use of term; uncapitalize undefined terms
General Information |  | Uncapitalized undefined term
General Information |  | Uncapitalize undefined term and clarify language
General Information |  | Place acronym after first use of term; capitalize defined term and clarify language

## Slide 8: Summary of Proposed OP-14E Clean-Up Revisions (cont.)
Section | Proposed Change | Reason for Change
General Information |  | Use of active voice
Specific Information: Section 1 – Data Revision Information |  | Clarify language
Specific Information: Section 1 – Data Revision Information |  | Use of active voice
Specific Information: Section 1 – Data Revision Information |  | Improve grammar

## Slide 9: Summary of Proposed OP-14E Clean-Up Revisions (cont.)
Section | Proposed Change | Reason for Change
Specific Information: Section 2 – Basic Information |  | Uncapitalize undefined term; clarify language
Specific Information: Section 6 – Additional Information |  | Uncapitalize undefined term

## Slide 10: Conclusion
The proposed revisions to OP-14E add Energy Storage DARDs as a DARD type for NX-12E submission and delete definitions of terms already defined in the Tariff
In addition, OP-14E has been revised to capitalize or uncapitalize terms as appropriate, fix grammar, and clarify language
A vote for these revisions is scheduled for the August 20, 2019 RC meeting
The ISO will be seeking a vote on these revisions at the September 13, 2019 NEPOOL Participants Committee meeting

## Slide 11: Stakeholder Schedule
Stakeholder Committee and Date | Scheduled Project Milestone
Reliability Committee July 16-17, 2019 | Review proposed revisions to OP-14E
Reliability Committee August 20, 2019 | Vote on proposed revisions to OP-14E
Participants Committee September 13, 2019 | Vote on proposed revisions to OP-14E

## Slide 12
Jerry Elliott
(413) 535-4123 | gelliott@iso-ne.com

## Slide 13: Acronyms Used in this Presentation
ARD: Asset Related Demand
DARD: Dispatchable Asset Related Demand
ISO: ISO New England Inc.
NEPOOL: New England Power Pool
OP: ISO New England Operating Procedure
RC: NEPOOL Reliability Committee