TUESDAY, JULY 16 and WEDNESDAY JULY 17, 2019 – CONSENT AGENDA (Cont’d)


CONSENT AGENDA
NEPOOL RELIABILITY COMMITTEE (RC) MEETING

JULY 16 & 17, 2019
LOCATION:
Spruce Lodge, Stowe, VT 
Call-in Number: 1-866-711-7475 / Access Code: 8562734
Level 0 Generation Solar Proposed Plan Applications (PPA) Notification(s)
	Item
	Identifier
	Applicant
	Description

	8.1
	ES-19-G40
	Eversource Energy on behalf of Borrego Solar Systems
	Borrego Solar Hedges Pond Road Plymouth Solar – Level 0 ***CEII TOPIC***

(Eversource Energy: Bob Andrew)

3.75 MW solar PV in Plymouth, MA and interconnecting to the Valley Substation via the 3-89-89 23 kV feeder.  Proposed in-service date is December 31, 2019.
(K. Jones June 13, 2019 Cover Letter,  Generator Notification and One Line Diagram)

	8.2
	ES-19-G36
	Eversource Energy on behalf of Borrego Solar Systems
	Borrego Solar South Main Street Freetown Solar – Level 0 ***CEII TOPIC***

(Eversource Energy: Bob Andrew)

4.999 MW solar PV in Freetown, MA and interconnecting to the Bell Rock Substation via the 2-635-635 34.5 kV feeder.  Proposed in-service date is May 1, 2020.

(K. Jones June 12, 2019 Cover Letter,  Generator Notification and One Line Diagram)

	8.3
	ES-19-G35
	Eversource Energy on behalf of CVE North America
	CVE North America Wing Lane Acushnet Solar and Battery – Level 0 ***CEII TOPIC***

(Eversource Energy: Bob Andrew)

2.5 MW solar PV and 1.262 MW battery in Acushnet, MA and interconnecting to the Wing Lane Substation via the 2-240-240 13.2 kV feeder.  Proposed in-service date is October 31, 2019.

(K. Jones July 9, 2019 Cover Letter,  Generator Notification and One Line Diagram)

	8.4
	ES-19-G19
	Eversource Energy on behalf of SunRaise Development
	SunRaise Development Cranberry Highway Wareham Solar – Level 0 ***CEII TOPIC***

(Eversource Energy: Bob Andrew)

2.5 MW solar PV in Wareham, MA and interconnecting to the Tremont Substation via the 3-86-966 23 kV feeder.  Proposed in-service date is December 1, 2019.

(K. Jones June 13, 2019 Cover Letter,  Generator Notification and One Line Diagram)

	8.5
	ES-19-G33
	Eversource Energy on behalf of Syncarpha Blandford
	Syncarpha Chester Road Blandford Solar and Battery – Level 0 ***CEII TOPIC***

(Eversource Energy: Bob Andrew)

4.99 MW solar PV and battery in Blandford, MA and interconnecting to the Blandford Substation via the 19J2 feeder.  Proposed in-service date is November 18, 2019.

(P. Sousa, June 10, 2019 Cover Letter,  Generator Notification and One Line Diagram)

	8.6
	NEP-19-GNF04
	New England Power on behalf of Ameresco
	Ameresco Otter River Road Gardner Solar – Level 0 ***CEII TOPIC***

(New England Power: Jack Martin)

2.5 MW solar PV in Gardner, MA and interconnecting to the Crystal Lake Substation via the 607W1 13.8 kV feeder.  Proposed in-service date is September 1, 2020.

(J. Chalifoux June 27, 2019 Cover Letter, Generator Notification and One Line Diagram)

	8.7
	NEP-19-GNF61
	New England Power on behalf of NSTAR Electric
	NSTAR Electric Denslow Road East Longmeadow Solar – Level 0 ***CEII TOPIC***

(New England Power: Jack Martin)

4.99 MW solar PV in East Longmeadow, MA and interconnecting to the East Longmeadow Substation via the 508L5 13.2 kV feeder.  Proposed in-service date is November 15, 2020.

(J. Chalifoux June 27, 2019 Cover Letter, Generator Notification and One Line Diagram)

	
	
	
	Total: 7 PPAs, 27.491 MWs


Level 0 Generation Non-Solar PPA Notification(s)
	8.8
	NEBS-19-G01
	New England Battery Storage
	Madison Business Park BESS – Level 0 ***CEII TOPIC***

(New England Battery Storage: Jeff Perry)

1.5 MW battery energy storage facility in Madison, ME and interconnecting to the Jones Street Substation via the 12.47 kV feeder.  Proposed in-service date is January 1, 2020.

(J. Perry June 26, 2019 Cover Letter, Generator Notification and One Line Diagram)

	
	
	
	Total: 1 PPA, 1.5 MWs


Level I Transmission PPA Notification(s)
	8.9
	NEP-16-T02-Rev.1
	New England Power Company
	Wakefield – Woburn Underground Cable Rev. 1 – Level I ***CEII TOPIC***

(New England Power: Jack Martin)

New 345 kV underground line (#3136) from Wakefield Junction substation to company border with Eversource at the Wakefield/Stoneham, MA town line; two new circuit breaker at Wakefield Junction substation; new 345 kV variable shunt reactor (reference Eversource PPA ES-16-T06). Revision is to update the summer normal and revised winter line ratings reflecting current cable design. Proposed in-service date is May, 2021.

(J. Martin July 1, 2019 Cover Letter, Transmission Notification and One Line Diagram)

	8.10
	ES-16-T06-Rev. 1
	Eversource Energy
	Wakefield – Woburn Underground Cable Rev. 1 – Level I ***CEII TOPIC***

(Eversource Energy: Bob Andrew)

Installation of a new approximately 8 mile 345 kV underground cable circuit from Eversource’s Woburn Substation, in Woburn, MA to National Grid’s Wakefield Junction Substation, in Wakefield, MA with 160 Mvar variable shunt reactors at each terminal.  Expand the 345 kV switchyard at Woburn Substation to be a breaker-and-a-half substation with four bays.  NEP-16-T02 covers the National Grid portion of the project. Revision is to update the summer normal and revised winter line ratings reflecting current cable design. Proposed in-service date is May, 2021.

(E. Leonard July 2, 2019 Cover Letter, Transmission Notification and One Line Diagram)

	8.11
	ES-19-T17
	Eversource Energy
	Line 667 Asset Conditions – Level I ***CEII TOPIC***

(Eversource Energy: Bob Andrew)

Rebuild the existing 69-kV 667 Line from Salisbury Substation in Salisbury, CT to Falls Village Substation, in Falls Village due to asset conditions, with 556 ACSS conductor. Proposed in-service date is December 31, 2019.

(J. Adadjo June 27, 2019 Cover Letter, Transmission Notification and One Line Diagram)

	
	
	
	Total: 3 PPAs


Level 0/I PPA Withdrawal Notification(s)
None


Page 1


Page 3

