## Slide 1: Comments on Fuel Security Proposals
Presented by:
David Patton, Ph.D.
ISO New England External Market Monitor
September 3, 2019

## Slide 2: Introduction
In our recent Annual Reports, we have raised concerns regarding the ability of the markets address potential fuel security contingencies.
ISO-NE is currently designing rules to incentivize suppliers to:
  Acquire the fuel necessary to maintain reliability during periods of gas scarcity; and
  Invest in fuel-secure new resources and maintenance of existing resources.
ISO-NE’s current proposal for its October filing includes day-ahead operating reserves, as well as options to satisfy forecasted energy demand and replacement reserves.
It is also considering the additional benefits of implementing a multi-day ahead market in the longer-run.
This presentation provides our initial comments on these proposals and discusses the need for changes in the market power mitigation measures.

## Slide 3: How is Fuel Security Different than Other Reliability Concerns?
Reliability requirements and associated planning studies address electricity system contingences.
Planning studies and reliability requirements generally do not address:
  Unique needs and risks associated with unusual extended cold weather patterns;
  Fuel infrastructure contingencies; or
  Fuel inventory limitations;
These factors can threaten the 1-in-10 reliability standard.
The current markets, including the pay-for-performance framework, provide incentives to be available during these conditions,
But, improvements in the markets would help ensure that:
  The value of the resources needed to address these risks are priced;
  Suppliers have sufficient incentives to take actions to address the risks;
  Limited inventories are managed efficiently and priced;

## Slide 4: Developing Market Solutions to Address Fuel Security
Developing market solutions to address the fuel security must include:
  Identifying the participant decisions to be facilitated by the solution;
  Then evaluating the extent to which the candidate solutions will facilitate participant decisions to satisfy the fuel security needs.
The decisions/actions that a participant must make to provide fuel security to New England include:
  Consuming its fuel to produce output (daily/hourly);
  Scheduling fuel deliveries to replenish fuel supplies or procuring firm fuel (daily/weekly);
  Determining its initial fuel inventories going into the winter season (seasonal); and
  Investing in and maintaining firm fuel infrastructure – non-gas generation, storage tanks, fuel-switching equipment, etc. (long-term).

## Slide 5: ISO New England’s Proposed Approach
The ISO has proposed an approach that includes the following:
Initial Day-Ahead Products:
  Day-ahead contingency reserves
  Two additional options to be procured day-ahead to cover forecasted load and replacement reserves
Possible Future Products or Designs:
  Multi-day ahead market
  Seasonal procurement

## Slide 6: Day-Ahead Contingency Reserves
We have been recommending these products for years.
It will produce substantial benefits by causing the DA markets to schedule and price previously unpriced requirements.
  The current market includes capacity constraints associated with the ISO’s reserves needs, but without the market requirements.
  This results in supply commitments that tend to lower prices and result in NCPC (because the products are not priced).
Including DA market products corresponding the reserve requirements will improve:
  The day-ahead commitment and scheduling of resources; and
  Day-ahead prices and reduce NCPC.

## Slide 7: Energy Imbalance Reserves
This option product will:
  Improve the reliance on the day-ahead market to satisfy system needs.
  Allow day-ahead prices to better reflect the full needs of the system.
  Reduce reliance on out of market actions, including the RUC process.
  Reduce real-time NCPC.
It will provide improved incentives to schedule the full demand in the day-ahead because:
  Virtual load will have incentives to increase purchases until day-ahead LMP and real-time LMPs converge.
  If a sizable FER price exists, billing this price to negative deviations will incent physical loads to increase their day-ahead purchases.

## Slide 8: Energy Imbalance Reserves
In our opinion, the following design details or corresponding changes are very important:
  The sellers of the EIR option must accept physical obligations to perform in real-time
  The excess FER costs must be incurred by the negative deviations that caused the procurement of the EIR options.
    Virtual supply and under-scheduled load cause the procurement.
  The current allocation of NCPC to deviations should be eliminated or substantially modified to be based on cost causation
    It is very important in this design to stop allocated inefficient costs to virtual load so it will efficiently arbitrage differences between the day-ahead and real-time LMPs.

## Slide 9: Day-Ahead Replacement Reserves
We believe this is a valuable product to the extent that it satisfies real reliability needs because it should:
  Allow prices and other outcomes in the DA to prepare the system to operate reliably in the operating day.
  Provide incentives for resources to be physical prepared to operate if the uncertainties or system risks materialize in real time.
  Reduce the need for operators to take out-of-market actions to address these uncertainties or risks.
We believe it is important, however, that the requirement be dynamic and reflect the needs perceived by the operators.
  During cold spells, for example, the replacement reserve quantity may be very high.
  On many days, the efficient quantity may be zero.
  The tariff should describe the process for determining the quantity.

## Slide 10: Day-Ahead Replacement Reserves
As the ISO moves from the day-ahead into the operating day, the uncertainties and risks change so the reserve requirements change.
  Hence, we do not believe it is desirable to require procurement of the same product in real-time.
However, the resources procured should retain the physical obligation to be capable of responding to a call in the operating day.
This process should reduce the need to commit other resources through the RUC process.

## Slide 11: Multi-Day Coordination
The existing markets together with the new day-ahead options will improve the procurement and management of secure fuels:
  Suppliers with fuel limitations should recognize the opportunity costs in their offers of consuming their fuel inventories; and
  The expected value of PFP and shortage pricing create incentives to maintain fuel inventories/firm fuel.
However, additional benefits would be achieved during unusually cold weather if the markets:
  Recognized the demand for secure fuel over multiple days; and
  Optimize the commitment and dispatch of resources with limited secure fuel inventory resources.
The ISO proposed a multi-day ahead market to capture these benefits.
Notes: howev

## Slide 12: Multi-Day Coordination
The benefits of a multi-day ahead market would be concentrated in periods when firm fuel constraints are binding (generally during cold weather events).
The potential benefits currently would not likely justify the costs and risks of implementing a multi-day ahead market.
A possible substitute is a firm energy product that could be procured over a 5-7 day timeframe and optimized with commitments and schedules in the single day-ahead market.
  Such a product would likely only be procured/bind in a few weeks each year in the winter – providing a more targeted solution to the fuel security concerns.
  A number of details would need to be developed and issues addressed, but we believe such a product would be feasible.
  When it binds, it could provide significant revenues to resources with secure fuel.
Notes: howev

## Slide 13: Seasonal Procurement
There has been significant interest in a seasonal procurement.
For the past few years, we have recommended eliminating the forward reserve market and do not recommend modifying it to address fuel security.
An efficient forward market would procure products forward that are settled against the same product in the operating timeframe (i.e., the spot market).
If a firm energy product is created in the day-ahead and real-time market, the seasonal market could procure this product forward.
Although we do not consider it essential, such a market could help facilitate seasonal fuel procurement decisions.

## Slide 14: Other Proposals
Efficient market solutions are based on the system’s actual needs in the operating timeframe.
  We do not support proposals to procure products forward (three years ahead or seasonally) that do not exist in the operating timeframe.
Some have proposed products that are similar to the firm energy product described above.
  Such products could be workable, but would be most beneficial if optimized over multiple days.
  However, such products should only be procured when a projected need exists in excess of the standard operating reserve products.