## Types of Analyses (hidden)
--Select-- | Forecasting | Market Analysis | Power System Analysis
--Select-- | --Select-- | --Select-- | --Select--
Artificial Neural Network (ANN) | Artificial Neural Network (ANN) | EPECS Simulator (Dartmouth) | Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.)
Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.) | MetrixND | Forward Capacity Auction Market Clearing Engine (FCA MCE) | Electromagnetic Transients (PSCAD, etc.)
Electromagnetic Transients (PSCAD, etc.) | SimDay | GAMS-Based Market Simulator | Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.)
EPECS Simulator (Dartmouth) | Statistical Analysis Tools | GridView | Resource Adequacy (GE MARS, etc.)
Forward Capacity Auction Market Clearing Engine (FCA MCE) | Other | Other | Other
GAMS-Based Market Simulator | No Preference | No Preference | No Preference
GridView
MetrixND
Resource Adequacy (GE MARS, etc.)
SimDay
Statistical Analysis Tools
Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.)
Other
No Preference

## Introduction
Transition to the Future Grid - Analysis Proposal Form
Instructions | The Analysis Proposal Form provides a consistent format for stakeholders to prepare their analysis requests. This will allow for quicker processing and comparison of proposals to take place.
Requestor Details | Requestor(s) | List the company or organization name(s) associated with the proposal.
Request Details | Objective | Clearly articulate what the requestor(s) are specifically seeking to learn from the request.
| Base Case Description | Describe the base case which will be the starting point for additional scenarios to be run from. If the base case will be based on a prior analysis, please note this and clarify what updates are being proposed to the assumptions.
| Additional Scenarios | Describe any scenarios which would be performed from the base case. These scenarios should specify which variables will be changed in a given scenario and by how much. If the scenarios will be based on a prior analysis, please note this and clarify what updates are being proposed to the scenarios.
| Associated Prior/Ongoing Study | If applicable, list associated prior or ongoing study which may be the basis for the proposal or where assumptions are derived from.
Outputs and Deliverables | Metrics to Develop and Examine | Describe the metrics which would be utilized and the types of data the requestor(s) are seeking to examine (loads, prices, etc.)
| Deliverable(s) | Describe the deliverables of the proposed analysis. Note the type of information, analyses, and/or observation areas which the requestor(s) are seeking further information on with the request. Please note whether the deliverable is to be utilized as an assumption in another proposal.
Proposal Technical Summary | Analysis Types | Select the type of analysis associated with the proposal from the drop down list (Forecasting, Market Analysis, and Power System Analysis). This selection will filter the "Proposed Modeling Tool(s)" drop down list options to those applicable with the given analysis type selection.
| Proposed Modeling Tool(s) | Based on the "Analysis Types" selection, the associated modeling tools will be displayed in a drop down list. Select the proposed modeling tool. If modeling tool selection is "Other", please describe in further detail the tool in the "Proposed Modeling Approach". If there is no preference on the type of modeling tool, please select "No Preference". Forecasting: Artificial Neural Network (ANN), MetrixND, SimDay, Statistical Analysis Tools, Other, and No Preference Market Analysis: EPECS Simulator (Dartmouth), Forward Capacity Auction Market Clearing Engine (FCA MCE), GAMS-Based Market Simulator, GridView, Other, and No Preference Power System Analysis: Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.), Electromagnetic Transients (PSCAD, etc.), Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.), Resource Adequacy (GE MARS, etc.), Other, and No Preference
| Proposed Modeling Approach | Describe how the modeling tool(s) will be used to provide useful information and how the model inputs and outputs may be used in other models and/or how post-processing analyses should be conducted to achieve useful information.
Base Case Input Assumptions | Transmission Network | Specify the transmission topology to be used for the analysis including the information source(s) to be used for future transmission topology (i.e. an RSP Project Listing).
| Study Year(s) / Timeframes | Specify the study year(s) and timeframes for the analysis.
| Supply Resource Mix (New and Retired) | Provide details on the supply resource mix by resource type including relevant retirements. Include details on relevant information sources (i.e. I.3.9 approvals, CELT Report, etc.)
| Wholesale Net Load (Gross, EE, BTM PV, Utility PV) | Provide details on the gross load, EE forecast, BTM PV forecast, and utility PV assumptions for the analysis. Include details on relevant information sources (i.e. CELT Report, etc.)
| Electrification Forecasts (Heating and Transportation) | Provide details on the electrification forecast (heating and transportation) assumptions. Include details on relevant information sources (i.e. CELT Report, etc.)
| Battery and Other Storage Additions | Provide details on battery and other storage assumptions. Include details on relevant information sources (i.e. CELT Report, etc.)
| Other | As needed, provide details on other relevant base case input assumptions noting relevant information sources for where to obtain data.

## Analysis Proposal Form
Requestor Details | Request Details |  |  |  | Outputs and Deliverables |  | Proposal Technical Summary |  |  | Base Case Input Assumptions
Requestor | Objective | Base Case Description | Additional Scenarios | Associated Prior/Ongoing Study | Metrics to Develop and Examine | Deliverable(s) | Analysis Type | Proposed Modeling Tool(s) | Proposed Modeling Approach | Transmission Network | Study Years(s) / Timeframes | Supply Resource Mix (New and Retired) (note - all values provided are available by zone) | Wholesale Net Load (Gross, EE, Btm PV, Utility PV) (note - all values provided are available by zone) | Electrification Forecasts (Heating and Transportation) (note - all values provided are available by zone) | Battery and Other Storage Additions (note - all values provided are available by zone) | Other
Eversource | For each case studied, provide LOLE, other related relability metrics, market prices, total cost to load For each case studied, provide a narrative of how the supply mix could potentially develop under current market rules and a qualitative assessment of how likely it is for such a supply mix is to develop. | The base case is consistent with the current system (e.g. 2020 loads from the 2020 CELT, existing installed capacity) |  | This scenario is based on assumptions and outputs from the Eversource Grid of the Future Study | LOLE based on initial supply mix, emissions from initial supply mix, total cost of supply, clearing prices and total cost to load | • Report out all modeling metrics (LOLE, emissions, total cost of supply, clearing prices and total cost to load) • A qualitative assessment of how each supply mix provided in Column M could develop under current or proposed market rules | Power System Analysis | Resource Adequacy (GE MARS, etc.) | Run GE MARS to determine resource adequacy of the proposed supply mix and whatever else is needed to provide deliverables (e.g. hourly market simulations in Gridview) | Existing planning transmission topology | 2020 | Existing resources will be the generation fleet and demand response and energy efficiency (“EE”) resources as of FCA #15, plus: (i) any additional generation that is operating or under construction but has not cleared in an FCA as of April 1, 2020, and (ii) any generation with an approved I.3.9 and that is still in the interconnection queue as of April 1, 2020. Individual cases will model amounts of capacity and energy-only resources consistent with their respective designs, unless otherwise noted. | 2020 CELT | 2020 CELT | None | • All supply installed capacity MW are the total installed nameplate capacity of that resource in the study year (as opposed to incremental additions or de-rated capacity) • All supply and demand forecasts are available by zone
Eversource |  | Supply Mix 1 - Mixed Portfolio to meet 80% economy-wide emission reduction by 2050 state goals | Scenario A - Assume all resources participate in capacity market under current capacity market rules Scenario B - Assume no renewable resources obtain CSOs in the capacity market | [6 empty] | Existing planning transmission topology | 2030, 2040, and 2050 | Installed Nameplate Capacity MW (2030 / 2040 / 2050) : Offshore Wind = 3,134 / 7,934 / 11,998 Land-based Wind = 2,803 / 2,803 / 2,803 Imports = 2,149 / 3,149 / 4,149 Hydro = 3,356 / 3,356 / 3,356 BTM PV = 5,207 / 11,899 / 27,186 Utility PV = 3,252 / 8,820 / 16,474 Gas = 15,931 / 14,995 / 11,245 Coal/Oil = 0 / 0 / 0 Nuclear = 3,358 / 2,482 / 0 Other = 1,585 / 1,300 / 1,273 | Summer Peak Gross (MW): 2030 = 31303 2040 = 33618 2050 = 36135 Winter Peak Gross (MW): 2030 = 24788 2040 = 26287 2050 = 27895 Annual Gross (GWh): 2030 = 158915 2040 = 178158 2050 = 199868 EE Summer Peak Reduction(MW): 2030 = 5661 2040 = 7366 2050 = 9580 EE Winter Peak Reduction (MW): 2030 = 5280 2040 = 6886 2050 = 8988 EE Annual Reduction (GWh): 2030 = 35617 2040 = 47072 2050 = 62274 *All solar PV (BTM and utility scale) values are included in column M | EV forecast (total vehicles / annual demand): 2030 = 1,896,693 vehicles / 9,457 GWh 2040 = 3,703,366 vehicles / 18,466 GWh 2050 = 6,204,616 vehicels / 30,938 GWh ISO-NE Transportation Electrification Forecast for EV demand profile Heating forecast (annual demand from residential and commercial heat pumps): 2030 = 1,511 GWh 2040 = 6,606 GWh 2050 = 11,637 GWh EPRI End Use Load Shapes for heat pump demand profiles (https://loadshape.epri.com/enduse) | Installed Nameplate MW Storage: 2030 = 3,616 2040 = 3,940 2050 = 18,860 | Aditional questions to consider when developing the specific modeling approach given the proposed scenario assumptions (supply, demand, transmission, etc.): • What is the impact of an extended outage of nuclear units on reliability and market operations? • What is the impact of a multi-day weather event resulting in loss of most/all renewable supply? • How does the operation of storage impact reliability and market dynamics? • What is the impact of modeling negative price bidding?
Eversource |  | Supply Mix 2 - High Offshore Wind Portfolio to meet 80% economy-wide emission reduction by 2050 state goals | Scenario A - Assume all resources participate in capacity market under current capacity market rules Scenario B - Assume no renewable resources obtain CSOs in the capacity market | [6 empty] | Existing planning transmission topology | 2030, 2040, and 2050 | Installed Nameplate Capacity MW (2030 / 2040 / 2050) : Offshore Wind = 5,630 / 10,126 / 15,000 Land-based Wind = 1,303 / 1,303 / 1,303 Imports = 2,149 / 3,149 / 3,149 Hydro = 3,356 / 3,356 / 3,356 BTM PV = 5,207 / 11,899 / 27,186 Utility PV = 3,252 / 7,320 / 16,474 Gas = 15,931 / 14,995 / 11,245 Coal/Oil = 0 / 0 / 0 Nuclear = 3,358 / 2,482 / 0 Other = 1,585 / 1,300 / 1,273 |  |  | Installed Nameplate MW Storage: 2030 = 3,136 2040 = 3,136 2050 = 8,000 | Aditional questions to consider when developing the specific modeling approach given the proposed scenario assumptions (supply, demand, transmission, etc.): • What is the impact of an extended outage of nuclear units on reliability and market operations? • What is the impact of a multi-day weather event resulting in loss of most/all renewable supply? • How does the operation of storage impact reliability and market dynamics? • What is the impact of modeling negative price bidding?
Eversource |  | Supply Mix 3 - High Solar Portfolio to meet 80% economy-wide emission reduction by 2050 state goals | Scenario A - Assume all resources participate in capacity market under current capacity market rules Scenario B - Assume no renewable resources obtain CSOs in the capacity market | [6 empty] | Existing planning transmission topology | 2030, 2040, and 2050 | Installed Nameplate Capacity MW (2030 / 2040 / 2050) : Offshore Wind = 3,314 / 6,000 / 7,998 Land-based Wind = 1,738 / 1,738 / 1,738 Imports = 2,149 / 2,149 / 2,149 Hydro = 3,356 / 3,356 / 3,356 BTM PV = 7,708 / 24,401 / 34,650 Utility PV = 3,252 / 10,119 / 27,469 Gas = 15,931 / 14,995 / 11,245 Coal/Oil = 0 / 0 / 0 Nuclear = 3,358 / 2,482 / 0 Other = 1,585 / 1,300 / 1,273 |  |  | Installed Nameplate MW Storage: 2030 = 3,427 2040 = 10,119 2050 = 34,016 | Aditional questions to consider when developing the specific modeling approach given the proposed scenario assumptions (supply, demand, transmission, etc.): • What is the impact of an extended outage of nuclear units on reliability and market operations? • What is the impact of a multi-day weather event resulting in loss of most/all renewable supply? • How does the operation of storage impact reliability and market dynamics? • What is the impact of modeling negative price bidding?
Eversource | For each scenario proposed in rows 3-6, run hourly economic analysis in addition to the requested resource adequacy analysis | See C3-C6 | N/A | This scenario is based on assumptions and outputs from the Eversource Grid of the Future Stud | hourly: energy market prices, generation resource production, transmission flows, congestion, demand profiles | Report out all modeling metrics | Market Analysis | GridView | Run hourly production cost models for each year (2030, 2040, 2050)with the given supply and demand | Existing planning transmission topology | 2030, 2040, and 2050 | See M3-M6 | See N3-N6 | See O3-O6 | See P3-P6 | Aditional questions to consider when developing the specific modeling approach given the proposed scenario assumptions (supply, demand, transmission, etc.): • What is the impact of an extended outage of nuclear units on reliability and market operations? • What is the impact of a multi-day weather event resulting in loss of most/all renewable supply? • How does the operation of storage impact reliability and market dynamics? • What is the impact of modeling negative price bidding?
Eversource | Identify total installed name plate capacity of a future system where LOLE meets the NPCC standard of 1 day in 10 years, assuming state environmental goals are met, electrification occurs as proposed (columns N and O), but no renewables built with out of market PPAs ever clear as new in the primary or substitution auctions. Provide installed capacity by resource type. Can the resulting system reliably meet energy, operating reserves and AGC? What would be the resulting market prices and total cost to load? | N/A | Use the demand and electrification forecasts provided in columns 'N' and 'O' (which are based on decarbonization of the transportation and heating sectors) for a capacity expansion model that outputs a supply mix with adequate supply to meet decarbonization goals and resource adequacy metrics. | Demand forecast determined by Eversource's Grid of the Future Study scenarios with 80% economy-wide emissions reduction by 2050 | System installed nameplate capacity by resource, LOLE, electric sector emissions, reliability metrics |  | Power System Analysis | Resource Adequacy (GE MARS, etc.) | Run GE MARS to determine resource adequacy of the proposed supply mix and whatever else is needed to provide deliverables | TBD |  | TBD as modeling output installed nameplate BTM PV for demand forecast: 2030 = 5,207 MW 2040 = 11,899 MW 2050 = 27,186 MW | Summer Peak Gross (MW): 2030 = 31303 2040 = 33618 2050 = 36135 Winter Peak Gross (MW): 2030 = 24788 2040 = 26287 2050 = 27895 Annual Gross (GWh): 2030 = 158915 2040 = 178158 2050 = 199868 EE Summer Peak Reduction(MW): 2030 = 5661 2040 = 7366 2050 = 9580 EE Winter Peak Reduction (MW): 2030 = 5280 2040 = 6886 2050 = 8988 EE Annual Reduction (GWh): 2030 = 35617 2040 = 47072 2050 = 62274 | EV forecast (total vehicles / annual demand): 2030 = 1,896,693 vehicles / 9,457 GWh 2040 = 3,703,366 vehicles / 18,466 GWh 2050 = 6,204,616 vehicels / 30,938 GWh ISO-NE Transportation Electrification Forecast for EV demand profile Heating forecast (annual demand from residential and commercial heat pumps): 2030 = 1,511 GWh 2040 = 6,606 GWh 2050 = 11,637 GWh EPRI End Use Load Shapes for heat pump demand profiles (https://loadshape.epri.com/enduse) | TBD as modeling output
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--