## Slide 1
July 21, 2020 | webex
Jon Black
NEPOOL Reliability Committee
Gross Load Forecast Reconstitution Methodology Changes
Manager, Load Forecasting

## Slide 2: Project History
At the April 22, 2020 RC meeting, the ISO described the purpose of reconstitution and the issue with the existing reconstitution methodology
At the May 19, 2020 RC meeting, the ISO provided an overview of the proposed gross load reconstitution methodology modifications for the Forward Capacity Auctions (FCAs), and explained why it is an improvement
  The ISO also provided information concerning energy efficiency (EE) expiring measures and the participation of passive demand resources (PDRs) in the annual reconfiguration auctions (ARAs)
At the June 16, 2020 RC meeting, the ISO:
  Reviewed the proposed methodology for reconstituting PDRs for the FCAs in the gross load forecast
  Presented the proposed methodology for adjusting the gross load forecast to reflect the amount of PDR participation in annual ARAs
  Presented proposed Tariff revisions related to the methodologies for the FCAs and for the ARAs
At today’s RC meeting, the ISO is asking for a vote on its proposed Tariff revisions

## Slide 3: Proposed Methodology Summary of Resulting Improvements
Ensures that reconstituted PDR is appropriately embedded in the gross load forecast by creating a smooth historical reconstitution time series
  Such smoothing also enables the inclusion of FCA outcomes extending beyond the historical data currently used for reconstitution
By calibrating to the PDR Capacity Supply Obligation (CSO) from the most recently completed FCA, the proposed reconstitution methodology results in improved accounting for:
  The amount of PDR that participates in FCA, and not EE installations in excess of their CSO
  EE expiring measures that are no longer participating as supply in FCM
Provides a framework to adjust the gross load forecast to reflect differences in FCA CSOs and those of ARAs

## Slide 4: Response To Stakeholder Question
June 16, 2020 RC Meeting

## Slide 5: Proposed PDR Reconstitution Methodology Alternate Starting Point (Slide 1 of 2)
Recall that the proposed methodology involves:
  Applying a linear fit between:
    The time installation of PDRs participating in FCA 1 began (i.e., when PDR equaled zero)
      Assumed starting point for Summer is June 1, 2006
      Assumed starting point for Winter is December 1, 2006
    The total seasonal PDR CSO from the most recent FCA for the corresponding Capacity Commitment Period (CCP)
      June 1st for summer, December 1st for winter
  Applying the resulting June and December points in this time series to all the appropriate PDR performance months by season
At the June 16, 2020 RC meeting, a question was raised whether a starting point of June 2016 (i.e., FCA 7 CSO value) rather than June 2006 could be utilized in the development of the reconstitution history

## Slide 6: Proposed PDR Reconstitution Methodology Alternate Starting Point (Slide 2 of 2)
The revised reconstitution methodology needs to be implemented for all long-term gross forecast modeling, which is performed for:
  The region and all states separately
  Both summer and winter months
Individual state FCA CSO trends may be different from those of the aggregate region, and are an important consideration in evaluating the proposed methodology
Application of the proposed methodology to the state of Vermont (summer) is illustrated on the following slide as it would have applied to CELT 2020
  The proposed methodology and the use of June 2016 as a starting point are both illustrated
Using June 2016 as a starting point results in a reconstitution trend line with a negative slope (i.e., it suggests a decreasing amount of PDR over time), which does not reflect the longer-term CSO trend

## Slide 7: Proposed PDR Reconstitution Methodology CELT 2020 Application – Vermont, Summer
Proposed Starting Point
Resulting Reconstitution Trend Using Suggested Alternate Starting Point
Suggested Starting Point

## Slide 8: Proposed Tariff Revisions
Section 12.8

## Slide 9
Proposed Tariff Revisions to Memorialize and Reflect Modifications to the Accounting Methodology for Reconstitution
Proposed Effective Date: October 5, 2020
The proposed tariff revisions in Section 12.8:
  Memorialize the current accounting methodology for the reconstitution of active demand resources by adding language in subsection (a). The previous language in subsection (a) is no longer needed and is being deleted.
  Delete subsection (b) because, given the new language in subsections (a) and (d), it is no no longer needed.
  Modify subsection (d) to memorialize the proposed accounting methodology for PDR reconstitution for the FCAs (summer and winter), and forecast adjustments to account for the ARAs. The previous language in subsection (d), which reflects the previous accounting methodology, is being deleted.
Non-substantive changes to the preamble of Section 12.8 were shown in the Tariff sheets circulated for the June 16 RC meeting, but they were not included in the June 16 RC presentation
  The changes to the preamble are included in this presentation
  The term “Demand Capacity Resources” had been used in the version circulated for the June 16 RC meeting; the final version has been revised to use the more precise defined terms “Demand Response Resources, On-Peak Demand Resources, and Seasonal Peak Demand Resources”
All Tariff language except for the preamble is included in Appendix I

## Slide 10: Proposed Tariff Changes
Tariff Section | Tariff Change | Reason for Change
Section 12.8 Preamble | To ensure that Demand Response Resources, On-Peak Demand Resources, and Seasonal Peak Demand Resources are not reflected as reductions in the load forecast, Demand Capacity Resources the ISO shall be reflect themed in historical loads the load forecast as specified below.: | Include the purpose for all subsections in the preamble (formerly included in subsection (d)); use active voice

## Slide 11: Proposed Schedule Timeline for Revising the Existing PDR Reconstitution Methodology
Date | Topic
April 22 | Provide RC with background on EE’s participation in FCM, its reconstitution in the gross load forecast, and the need for revising the current reconstitution methodology
May 19 | Present proposed PDR reconstitution methodology used for FCAs and other relevant information
June 16 | Present proposed method for adjusting the gross load forecast to reflect the amount of PDR participation in ARAs, and tariff changes related to changes to PDR reconstitution
July 21 | RC review and vote of proposed changes
August 6 | PC vote of proposed changes
August 6 | File with FERC proposed tariff changes with a requested effective date of October 5, 2020
Q4 2020 | RC Kick off 2021 CELT forecast using the revised reconstitution methodology; the revised reconstitution methodology will be implemented for 2021 (assuming FERC acceptance of the ISO’s proposed revisions to Section III.12.8 (d))

## Slide 13: Appendix I
Tariff Revisions (Except Preamble)

## Slide 14: Proposed Tariff Changes
Tariff Section | Tariff Change | Reason for Change
Section 12.8 (a) | (a) The ISO shall add back into historical loads the metered MW demand reduction of Demand Response Resources dispatched by the ISO. Expected reductions from an installed or forecast Demand Capacity Resource not qualifying for or not participating in the Forward Capacity Auction shall be reflected as a reduction in the load forecast that will be used to determine the Installed Capacity Requirement, Local Sourcing Requirements, Maximum Capacity Limits and Marginal Reliability Impact values for the relevant Capacity Commitment Period. The expected reduction from these resources will be included in the load forecast to the extent that they meet the qualification process rules, including monitoring and verification plan and financial assurance requirements. If no qualification process rules are in place for the expected reductions from these resources, they shall not be included within the load forecast. | The new language reflects the current reconstitution methodology for active demand resources; the old language is no longer needed.

## Slide 15: Proposed Tariff Changes, cont.
Tariff Section | Tariff Change | Reason for Change
Section 12.8 (b) | [Reserved.] Expected reductions from an installed or forecast Demand Capacity Resource that qualifies to participate in the Forward Capacity Market, participates but does not clear in the Forward Capacity Auction, or has cleared in a previous Forward Capacity Auction and is expected to continue in the Forward Capacity Market shall not be reflected as a reduction in the load forecast that will be used to determine the Installed Capacity Requirement, Local Sourcing Requirements, Maximum Capacity Limits and Marginal Reliability Impact values for the relevant Capacity Commitment Period. | This language is no longer needed because: (1) new language in subsections (a) and (d) address, respectively, active and passive demand resources; therefore, language for “Demand Capacity Resources” is no longer needed; and (2) the new accounting methodology uses CSOs, not Qualified Capacity, so this subsection does not fit within the new methodology.

## Slide 16: Proposed Tariff Changes, cont.
Tariff Section | Tariff Change | Reason for Change
Section 12.8 (d) | (d) The ISO shall add back into historical loads summer and winter MW values to account for On-Peak Demand Resources and Seasonal Peak Demand Resources as follows: The ISO shall develop a trend line between (i) the point when summer MW values for On-Peak Demand Resources and Seasonal Peak Demand Resources are assumed to be zero (June 1, 2006) and (ii) the point when summer MW values for On-Peak Demand Resources and Seasonal Peak Demand Resources are reflected by the Capacity Supply Obligations that those resources acquired in the most recent Forward Capacity Auction for June 1 of the associated Capacity Commitment Period. To determine the summer MW values to be added back into historical loads, the ISO shall apply the resulting trend to the summer months (April through November) in all the historical years covered by the trend line. | This language memorializes the accounting methodology for PDR reconstitution for the FCAs (summer values)

## Slide 17: Proposed Tariff Changes, cont.
Tariff Section | Tariff Change | Reason for Change
Section 12.8 (d) | The ISO shall develop a trend line between (i) the point when winter MW values for On-Peak Demand Resources and Seasonal Peak Demand Resources are assumed to be zero (December 1, 2006) and (ii) the point when winter MW values for On-Peak Demand Resources and Seasonal Peak Demand Resources are reflected by the Capacity Supply Obligations that those resources acquired in the most recent Forward Capacity Auction for December 1 of the associated Capacity Commitment Period. To determine the winter MW values to be added back into historical loads, the ISO shall apply the resulting trend to the winter months (December through March) in all the historical years covered by the trend line. | This language memorializes the accounting methodology for PDR reconstitution for FCAs (winter values)

## Slide 18: Proposed Tariff Changes, cont.
Tariff Section | Tariff Change | Reason for Change
Section 12.8 (d) | The ISO shall make adjustments to forecasted loads to account for any differences between the most recently available MW values reflective of the Capacity Supply Obligations that On-Peak Demand Resources and Seasonal Peak Demand Resources acquired in each of the annual reconfiguration auctions and the MW values reflective of the Capacity Supply Obligations that those resources acquired in the corresponding Forward Capacity Auctions. | This language memorializes the adjustments to account for the ARAs.

## Slide 19: Proposed Tariff Changes, cont.
Tariff Section | Tariff Change | Reason for Change
Section 12.8 (d) | Any realized Demand Capacity Resource reductions in the historical period that received Forward Capacity Market payments for these reductions, or Demand Capacity Resource reductions that are expected to receive Forward Capacity Market payments by participating in the upcoming Forward Capacity Auction or having cleared in a previous Forward Capacity Auction, shall be added back into the appropriate historical loads to ensure that such resources are not reflected as a reduction in the load forecast that will be used to determine the Installed Capacity Requirement, Local Sourcing Requirements, Maximum Capacity Limits and Marginal Reliability Impact values for the relevant Capacity Commitment Period. | Previous language is no longer needed.

## Slide 20: Appendix II
Acronyms

## Slide 21: Acronyms
ARA – Annual Reconfiguration Auction
CELT – Capacity, Energy, Loads and Transmission
CSO – Capacity Supply Obligation
DG – Distributed Generation
EE – Energy Efficiency
FCA – Forward Capacity Auction
FCM – Forward Capacity Market
FERC – Federal Energy Regulatory Commission
ICR – Installed Capacity Requirement
ISO – ISO New England
LFC- Load Forecast Committee
PA – Energy Efficiency Program Administrator

## Slide 22: Acronyms
PC – NEPOOL Participants Committee
PDR – Passive Demand Resources
RC – NEPOOL Reliability Committee