## Slide 1
September 1, 2020 | Joint MC/RC Teleconference
ISO Feedback on Modeling Constructs
Future Grid Study Proposals

## Slide 2: Overview of Proposals
The ten submitted proposals pose a wide range of questions, requiring a range of distinct analytic methods and models to provide quantitative responses
These types of requests for macro-trend studies, ranging from economic studies to transmission-expansion planning scenarios to Forward Capacity Market (FCM) forecast modeling, are not contained in one modeling platform that could accomplish all these tracks

## Slide 3: Overview of Models
Focusing on the requests for higher-level scenario analyses, we note they cover the following distinct models:
FCM market model
Probabilistic reliability model (e.g. GE MARS)
Production cost model (e.g. GridView)
Ancillary service needs (e.g. Dartmouth model)
Detailed transmission expansion plan

## Slide 4: FCM Market Model
The ISO does not have a model of FCM clearing
  To date, The Analysis Group (TAG) has performed FCM price projections to meet stakeholder requests
Once the study assumptions and modeling parameters are established (a process that has previously taken 3-6 months, using ESI impact analysis as an example), it has previously taken approximately 6-12 months for TAG to complete a study and provide results
  Consultant availability, scope of work, and other factors may impact timing
Developing an in-house ISO model would take at least 15 months, though the ISO remains concerned about developing such a model itself because the marketplace may view it as a projection of anticipated market outcomes by the market administrator
Therefore, the ISO recommends continuing the use of a consultant to perform this type of work for participants.
Relevant Requests: EMA, Eversource (1), FirstLight, National Grid, NextEra/Dominion
Timing considerations: TBD

## Slide 5: Probabilistic Reliability Model
Economic studies often rely, at least in part, on the use of reliability models
Economic studies generally take more than a year to complete
These studies would be in addition to the regular economic studies requested by stakeholders under the Tariff
In that case, we would expect such a study to take longer - unless stakeholders temporarily withdrew or halted other study requests
Relevant Requests: API, Anbaric, EMA, Eversource (1) & (2), FirstLight, National Grid, NextEra/Dominion, NESCOE*
Timing considerations: 12 months, if done concurrently with the 2020 economic study
  Can be accelerated by 2-3 months if the future grid study scope is finalized and prioritized, with a pause on the 2020 study that is underway
*ISO infers application of this model from the NESCOE memo

## Slide 6: Production Cost Model
We do these studies frequently through our economic studies that often rely, at least in part, on the use of production cost models
Economic studies generally take more than a year to complete
These studies would be in addition to the regular economic studies that can be requested under the Tariff
In that case, we would expect such a study to take longer - unless stakeholders temporarily withdrew or halted other study requests
Relevant Requests: API, Eversource (1), FirstLight, National Grid, NextEra/Dominion, NESCOE*
Timing considerations: 12 months, if done concurrently with 2020 economic studies
  Can be accelerated by 2-3 months if the future grid study scope is finalized and prioritized, with a pause on the 2020 study that is underway

## Slide 7: Modeling Ancillary Service Needs
To project ancillary service needs in a few of the Economic Studies (2016, 2017, 2019), the ISO used pre-production versions of the Electric Power Enterprise Control System (EPECS) model developed by Dartmouth, which is still a work-in-progress
  It is limited in its flexibility, requires significant manual intervention to conduct a study, and has not yet been upgraded to a production grade quality
  In addition, this model is limited in its data transfer capability, is simplified, and is incomplete in its existing logic
The ISO has identified substantial improvements that need to be made to this tool such that it used to study multiple scenarios in a sustainable way
  The ISO anticipates that it could take over a year for the ISO to bring such a model to full production capabilities or we would need to rely on as is
  Reliance on the model “as-is” also requires time to compensate for existing limitations
It is worthwhile to improve this model either for this effort and/or for repeatable future uses
Relevant Requests: Multi-Sector Group A, NESCOE*
Timing considerations: TBD, but best estimate is 15 months minimum given the upgrades required

## Slide 8: Detailed Transmission Expansion Plan
The ISO generally studies incremental changes to the transmission system
Large transmission-project studies could certainly be addressed by ISO staff; however, the group is not currently staffed to handle a large design/modeling project while also performing the required interconnection and reliability studies
  Current studies include voluminous, smaller-scale projects in the region
The ISO does not have the requisite skills to estimate transmission costs and it would be best performed by engineers with relationships with vendors and extensive cost estimation experience
We would be more than willing to work with ISO-led consultants to conduct this expanded effort once stakeholder have had an opportunity to derive a well-defined study scenario
Relevant Requests: Anbaric, Multi-Sector Group B, National Grid, NESCOE*
Timing considerations: Minimum 12 months, assuming current ISO staffing is augmented with consultants

## Slide 9: General Considerations

## Slide 10: Timing Perspectives
Each of these modeling tasks could be performed by outside consultants with support from the ISO, possibly in shorter timeframes
If stakeholders agree, in the October or November timeframe, on finalizing the necessary assumptions for an ISO administered economic study (from another source such as E3/EFI), then the ISO would need support from National Grid and stakeholders for the following:
  The ‘new’ future grid study request will become the top priority and displace the current 2020 National Grid economic study request
    The new study request will likely be completed by September 2021
  Other, new 2021 economic study requests submitted in April 2021 would be held until (a) the future grid study is complete and (b) the National Grid study is complete

## Slide 11: Necessary Modeling for Future Grid – ISO Plans
To our knowledge, there is currently no model yet in existence for studying the detailed, operational dispatch needs of a system with significant inverter-based resources, interaction between the transmission and distribution systems, and evolving load profiles that may occur in the future
The ISO is embarking on developing this model internally, but it is significantly more time-intensive and will be a multi-year effort
The ISO plans to build an enhanced simulator model between 2020-2023, in phases and with staged deliverables, and looks forward to sharing more information on its plan with stakeholders
  The ISO is currently in the planning stage and intends to build a sustainable and robust model that can be used for a variety of simulations

## Slide 12: Summary
A number of modeling approaches are well within the ISO’s area of expertise and, where needed, engagement with consultants can be considered
Timing to conduct any study will depend on the clarity and scope of the proposal, the availability of models, the granularity of the analysis, and the commencement of the engagement
The ISO looks forward to continued discussions with stakeholders as their study proposal develops