## Rep ICR Summary
|  |  | CCP 2019-2020 |  |  | CCP 2020-2021 |  |  | CCP 2021-2022 |  |  | CCP 2022-2023 |  |  | CCP 2023-2024 |  |  | CCP 2024-2025 |  |  | CCP 2025-2026 |  |  | CCP 2026-2027 |  |  | CCP 2027-2028 |  |  | CCP 2028-2029 |  |  | CCP 2029-2030 |  |  | CCP 2030-31 |  |  | CCP 2031-32 |  |  | CCP 2032-33
|  |  | FCA 10 |  |  | FCA 11 |  |  | FCA 12 |  |  | FCA 13 |  |  | FCA 14 |  |  | FCA 15 |  |  | FCA 16 |  |  | FCA 17 |  |  | FCA 18 |  |  | FCA 19 |  |  | FCA 20 |  |  | FCA 21 |  |  | FCA 22 |  |  | FCA 23
|  |  | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage | NICR (MW) | 50/50 Summer Peak Forecast (MW) | CELT Vintage
|  | Actual NICR | 34151 | 29861 | 2015 | 34075 | 29601 | 2016 | 33725 | 29436 | 2017 | 33750 | 29093 | 2018 | 32490 | 28838 | 2019 | 33270 | 29303 | 2020 | 31645 | 28025 | 2021 | 30305 | 27298 | 2022
Representative NICR (Rep NICR)
PAC Presentation Date | Base Case
June, 2023 | FCA 17 | Rep NICR 2023 | [27 empty] | 30755 | 27748 | 2023 | 31050 | 28107 | 2023 | 31425 | 28516 | 2023 | 31905 | 28973 | 2023 | 32660 | 29482 | 2023
July, 2022 | FCA 16 | Rep NICR 2022 | [24 empty] | 30610 | 27464 | 2022 | 30745 | 27657 | 2022 | 30950 | 27879 | 2022 | 31210 | 28129 | 2022 | 31590 | 28404 | 2022
June, 2021 | FCA 15 | Rep NICR 2021 | [21 empty] | 31705 | 28181 | 2021 | 31850 | 28358 | 2021 | 32015 | 28555 | 2021 | 32200 | 28769 | 2021 | 32400 | 29090 | 2021
May, 2019 | FCA 13 | Rep NICR 2019 | [15 empty] | 32950 | 29014 | 2019 | 33165 | 29196 | 2019 | 33390 | 29382 | 2019 | 33625 | 29576 | 2019 | 33870 | 29781 | 2019
June, 2018 | FCA 12 | Rep NICR 2018 | [12 empty] | 34000 | 29300 | 2018 | 34200 | 29506 | 2018 | 34400 | 29712 | 2018 | 34600 | 29926 | 2018 | 34800 | 30141 | 2018
May, 2017 | FCA 11 | Rep NICR 2017 | [9 empty] | 34300 | 29694 | 2017 | 34600 | 29960 | 2017 | 35000 | 30231 | 2017 | 35300 | 30507 | 2017 | 35700 | 30785 | 2017
Feb, 2016 | FCA 10 | Rep NICR 2016 |  |  |  | 34571 | 30182 | 2015 | 34964 | 30487 | 2015 | 35370 | 30804 | 2015 | 35789 | 31131 | 2015 | 36198 | 31454 | 2015
Jan, 2015 | FCA 9 | Rep NICR 2015 | 34603 | 30335 | 2014 | 35020 | 30675 | 2014 | 35426 | 30990 | 2014 | 35833 | 31315 | 2014 | 36227 | 31620 | 2014
Dec, 2013 | FCA 8
Notes:
Base Case is the assumptions data that was used for developing the Rep NICR
Rep NICR was not calculated for the calendar year 2020