## Slide 1
Henry Yoshimura
413-540-4460 | hyoshimura@iso-ne.com
Introduction to FERC’s September 17, 2020, Order in Docket No. RM18-9-000
Order No. 2222: Participation of Distributed Energy Resource Aggregations in Wholesale Markets
December 8, 2020 | MC teleconference

## Slide 2: Presentation Outline
Order No. 2222 background, objectives, and general process
Compliance requirements
Critical design considerations
Stakeholder process

## Slide 3: Order No. 2222
Background, Objectives, General Process

## Slide 4: Background
The FERC issued Order No. 2222 on September 17, 2020
  The 290 page order amends the Commission’s “regulations to remove barriers to the participation of distributed energy resource aggregations in the capacity, energy, and ancillary service markets operated by Regional Transmission Organizations and Independent System Operators” (Order No. 2222 Summary, p. i)
The Notice of Proposed Rulemaking (NOPR) that culminated in Order No. 2222 was issued on November 17, 2016, in Docket No. RM16-23-000
  The original NOPR addressed barriers to participation of electric storage resources and distributed energy resources (DERs) in RTO/ISO administered markets
  The Commission later bifurcated the proceeding such that the participation of electric storage resources was addressed first in Order No. 841
In Order No. 2222, the Commission broadly adopted the reforms proposed in the 2016 NOPR with some modifications based on the comments it received, a technical conference held in 2018, post-technical conference comments, and the responses to a data request on interconnection procedures issued in 2019 in Docket No. RM18-9-000

## Slide 5: Objectives and General Process
Order No. 2222 requires that ISOs/RTOs “allow distributed energy resources to provide all services that they are technically capable of providing through [an] aggregation” (Id. at P 130)
  To comply, ISO/RTOs must revise their tariffs consistent with specific requirements, which are summarized later in this presentation
  Alternatively, Order No. 2222 allows ISO/RTOs to point to existing tariff provisions as compliant with the Order, but they must demonstrate that those current provisions satisfy the intent and objectives of the Order
Requests for rehearing/clarification were due on October 18, 2020
  Very few requests for rehearing were filed
  ISO New England did not file a request for rehearing or clarification
Compliance filings are due on July 19, 2021
The Commission left it to “each RTO/ISO to propose a reasonable implementation date, together with adequate support explaining how the proposal is appropriately tailored for its region and implements this final rule in a timely manner” (Id. at P 361)

## Slide 6: Compliance Requirements

## Slide 7: Key Compliance Directives of Order No. 2222
Order No. 2222 has eleven key compliance directives:
  Allow DER aggregations (DERAs) to participate directly in RTO/ISO markets and establish DER aggregators as a type of market participant
  Allow DER aggregators to register DERAs under one or more participation models that accommodate the physical and operational characteristics of the DERA
  Address size requirements for DERAs and individual DERs
  Address locational requirements for DERAs
  Address distribution factors and bidding parameters for DERAs
  Address information and data requirements for DERAs

## Slide 8: Key Compliance Directives of Order No. 2222 (cont.)
  Address metering and telemetry requirements for DERAs
  Establish market rules on coordination between the RTO/ISO, DER aggregator, distribution utility, and Relevant Electric Retail Regulatory Authorities (RERRAs)
  Address modifications to the list of DERs in a DERA
  Address market participation agreements for DER aggregators
  Implement opt-in provision for distribution companies with ≤ 4 million MWh of annual sales
Each directive has specific requirements associated with it that will be further discussed in the next slides

## Slide 9: Directive 1 – Allow DERAs to participate directly in RTO/ISO markets and establish DER aggregators as a type of market participant
A DER is “any resource located on the distribution system, any subsystem thereof or behind a customer meter… [that] may include, but are not limited to, resources that are in front of and behind the customer meter, electric storage resources, intermittent generation, distributed generation, demand response, energy efficiency, thermal storage, and electric vehicles and their supply equipment….” (Id. at P 114)
A DERA is one or more DERs participating together as a single resource in the wholesale markets
A DER aggregator is “the entity that aggregates one or more distributed energy resources for purposes of participation in the capacity, energy and/or ancillary service markets of the regional transmission organizations and/or independent system operators.” (Id. at P 118)
  The CAISO refers to DER aggregators as DER Providers (DERPs) – I use this term in the remainder of this presentation for brevity and clarity

## Slide 10: Directive 2 – Allow DERPs to register DERAs under one or more participation models that accommodate the physical and operational characteristics of the DERA
DERAs must be allowed to offer all wholesale services they are capable of providing
Allow multiple technology types to participate as part of an aggregation, i.e., heterogeneous aggregations
Prohibit the double counting of services, while also allowing simultaneous wholesale and retail program participation
  The Commission notes that this includes ensuring that a DER is not counted as both a load reduction and a supply resource, or that a DER is not registered to provide the same service twice in an RTO/ISO market

## Slide 11: Directives 3 and 4 – Address size and locational requirements
Address size requirements for DERAs and individual DERs
  Establish a minimum size requirement for DERAs that does not exceed 100 kW
  Establish maximum individual DER size (or explain why a maximum is unnecessary)
  Allow a single DER to be its own DERA (must be ≥ minimum DERA size requirement and < maximum DER size requirement)
Address locational requirements for DERAs
  DERAs must be allowed across as broad a geographic footprint as “technically feasible”
  The locational requirements can include either single- or multi-node aggregations

## Slide 12: Directive 5 – Address distribution factors and bidding parameters for DERAs
If allowing multi-node aggregations, the Tariff must:
  Require DERPs to provide the total DERA response that would be provided from each pricing node when it initially registers an aggregation and to update these distribution factors if they change; and
Incorporate bidding parameters into any participation model(s) to account for physical/operational characteristics of DERAs

## Slide 13: Directives 6 and 7 – Address information, data, metering, and telemetry requirements for DERAs
Address information and data requirements for DERAs
  Establish information and data requirements on the physical and operational characteristics of a DERA
  Require that DERPs provide a list of the individual DERs in its aggregation
  Establish any necessary information that must be submitted for the individual DERs
  Establish any necessary physical parameters that a DERP must submit to the extent these parameters are not already represented in general registration requirements or bidding parameters
  DERPs must provide aggregate settlement data for the DERA, retain performance data for individual DERs for auditing purposes
Address metering and telemetry requirements for DERAs
  Metering requirements are necessary for the DERP to provide settlement and performance data, or to prevent double counting of service
  Telemetry requirements are necessary for the RTO/ISO to have sufficient situational awareness to dispatch a DERA and the rest of the system efficiently

## Slide 14: Directive 8 – Establish market rules on coordination between the RTO/ISO, DERP, distribution utility, and Relevant Electric Retail Regulatory Authorities (RERRAs)
Interconnections of DERs for the purpose of participating in a DERA are state jurisdictional; RTOs/ISOs may require transmission studies
RTOs/ISOs must incorporate a process allowing distribution utility’s review of the individual DERs, triggered by the initial registration of a DERA or changes to an existing DERA
  Distribution utilities would determine a) whether each DER is capable of participating in a DERA, and b) that the participation of each DER will not create a distribution system reliability or safety issue

## Slide 15: Directive 8 – Establish market rules on coordination between the RTO/ISO, DERP, distribution utility, and Relevant Electric Retail Regulatory Authorities (RERRAs) (cont.)
Ongoing operational coordination with distribution utilities
  Address data flows and communication between RTO/ISO, DERP and distribution utility
  Require DERP to report any changes to its offered quantity and related distribution factors that result from distribution line faults or outages
  Include coordination protocols and processes for the operating day that allow distribution utilities to override RTO/ISO dispatch of a DERA to maintain the reliable and safe operation of the distribution system
Voluntary participation of RERRAs in coordinating the participation of DERAs in wholesale markets

## Slide 16: Directives 9, 10, and 11 – Modifications to DERAs, market participation agreements, opt-in provision
Address modifications to the list of DERs in a DERA
  DERPs are required to update the lists of individual DERs in each DERA to reflect additions to and subtractions from the list
  Modification will not require DERPs to re-register or re-qualify the entire DERA
  To be added to a DERA, new DERs must be deemed by the distribution utility to be eligible to participate in a DERA
Address market participation agreements for DERPs
  Must not prohibit any business models
  Must include an attestation that a DERA is compliant with distribution utility interconnection requirements, tariffs and operating procedures, and with the rules and regulations of the RERRA
Implement opt-in provision for distribution companies with ≤ 4 million MWh of annual sales

## Slide 17: Critical Design Considerations

## Slide 18: Facilitate the Participation of DERAs in Wholesale Markets
Register DERAs in a manner that accommodates the physical and operational characteristics of the DERAs
Allow multiple technology types to participate as part of a DERA
Prohibit the double counting of services
Establish size requirements
  Minimum size requirement for DERA cannot exceed 100 kW
  Establish maximum individual DER size
Allow for single resource aggregations
  Allow a single DER to be its own DERA (must be ≥ minimum DERA size requirement and < maximum DER size requirement)
Establish locational requirements and any associated distribution factors and bidding parameters
  Single- vs. multi-node footprint for DERAs
  Required bidding parameters based on type(s) of individual DERs in a DERA

## Slide 19: Coordination Between the ISO, DERP, and Distribution Utility
Interconnection and registration of new DERs and DERAs
  Develop process for registration that includes distribution utility review
  Make changes, if necessary, to transmission study review for individual DERs seeking to participate in a DERA
Changes to DERA composition over time
  Establish process for changing list of DERs in a DERA
  ISO-NE allows similar changes for assets in a Demand Response Resource aggregation
Ongoing operational coordination
  Day-ahead clearing
  Real-time dispatch
  Distribution utility overrides
Potential roles of RERRAs as defined by the FERC include:
  Interconnection processes
  Dispute resolution between DERP and distribution utility
  Data sharing requirements for metering data
  Overseeing distribution utility review of DER participation
  Establishing rules for dual wholesale market/retail program participation

## Slide 20: Metering and Telemetry
To ensure a balanced energy market settlement, the metering of Generator Assets and Load Assets is conducted by Assigned Meter Readers and Host Participants pursuant to OP-18
Telemetry provides operational data to the ISO that is critical to maintaining reliability of the bulk power system
  Used in the ISO’s modeling and control systems so that the ISO can balance supply and demand in the New England control area in real time
  Provides situational awareness so that system operators can quickly respond to changing conditions in the power system
Preliminary discussions with some market participants indicate that metering and telemetry requirements could require DERAs to incur significant costs
The ISO may potentially rely on metering and telemetry data obtained through compliance with distribution utility or local regulatory authority metering system requirements

## Slide 21: Stakeholder process

## Slide 22: Process Description
The ISO plans to gather perspectives of various stakeholders before bringing a proposal for consideration in the NEPOOL stakeholder process
By December 22, we request that interested stakeholders provide their perspectives and feedback on Order No. 2222 to Henry Yoshimura at hyoshimura@iso-ne.com
From the comments received, the ISO will offer to have discussions in January and February with interested entities directly affected by Order No. 2222 compliance requirements
The ISO will then develop a proposed approach that will be vetted through the NEPOOL process

## Slide 23: Process Schedule
Dec 2020: Kick-off discussion on Order No. 2222 compliance
Dec 2020-Feb 2021: ISO discussions with entities directly affected by Order No. 2222 compliance requirements
Feb 2021: High-level design approach reviewed with the NEPOOL Technical Committees—MC, RC, TC—as appropriate
Mar 2021: More detailed presentation to NEPOOL Technical Committees; take the discussion to working groups if a referral is given
Apr 2021: Continued discussion with NEPOOL; draft Tariff changes released, initial discussion of any conceptual amendment proposals
May 2021: Continued discussion of draft Tariff changes with NEPOOL, continued discussion of any amendment proposals
Jun 2021: Technical committee vote on Tariff changes including any proposed amendments
Late Jun 2021: Participants Committee vote on Tariff changes including any proposed amendments
July 19, 2021: Filing with FERC

## Slide 24: Q&A and Discussion
DERAs