## Slide 1: FUTURE GRID RELIABILITY STUDY UPDATE
Peter Flynn
March 31, 2021

## Slide 2: Overview and Background
MC/RC reached consensus on 2/26 that NEPOOL should submit the FGRS Phase 1 Framework, with amendments to be made following the meeting, to ISO-NE as a 2021 Economic Study request
Over the last 7 months, the MC/RC scoped a study, determined its metrics, and considered assumptions for what the grid might look like in 2040 under a number of scenarios
NEPOOL submitted the study request on 3/12 to ISO-NE as a 2021 Economic Study

## Slide 3: Agenda for Today
This morning
  Review the amendments that were made to the Phase 1 Framework following the 2/26 MC/RC meeting
  Review the stakeholder process going forward
  Report on Phase 2 documentation
This afternoon
  ISO will provide additional feedback on the Phase 1 Framework and address next steps

## Slide 4
Study Framework consists of 2 documents:
  Framework Document (the Word document)
  Assumptions Spreadsheet
Documents reviewed at the 2/26 MC/RC meeting were revised following the meeting to:
  Reflect feedback from the MC/RC at the 2/26 meeting
  Clarify certain points as suggested by the MC/RC leadership, the ISO, or NESCOE
Study Framework for Phase 1

## Slide 5: Production Cost Simulation
Clarified how transmission will be modeled:
  Simulations without constraints
  Unconstrained flows will be monitored against current interface limits to inform where conceptual transmission could be added
  For certain assessments, constrained conditions will also be modeled
    Interface limits will be enforced causing the system to change the generation dispatch
    Will show the benefit of increased transfers vs. the existing system

## Slide 6: GE MARS Analyses
Added a footnote
  If certain resource types are not committed in GridView/EPECS, ISO may run sensitivities that examine the impact of removing those resources in the MARS simulations

## Slide 7: GE MARS Analyses
Clarified certain capacity assumptions
  All new resources’ capacity contributions will be modeled
  Resource Adequacy Screen will model resources at their qualified capacity value based on current market rules
  Probabilistic Resource Availability Analysis will model solar/wind resources under the DMV GL stochastic model set

## Slide 8: GE MARS Analyses
Clarified metrics
  For Resource Adequacy Screen
    Loss of load expectation (LOLE), expected unserved energy (EUE) and loss of load hours (LOLH)
  For Probabilistic Resource Availability Analysis
    LOLE, EUE, LOLH, loss of load events (LOLEv), EUE/LOLEv and LOLH/LOLEv

## Slide 9: Resource Adequacy Screen
Clarified proxy resources
  Modest amount of batteries and, if additional resources are needed, new thermal units will be added
  Exception: For Alternate Scenarios D and E, proxy units will consist entirely of batteries

## Slide 10
Clarified objective
  Analyze system reliability taking into consideration:
    Uncertainties associated with the output of renewable resources due to weather risks
    Interactions between different types of VERs
    Correlation with loads during and outside of the summer and winter peak periods
Probabilistic Resource Availability Analysis

## Slide 11
Matrix Describes 34 Scenarios Reading “Down and Across”
 | (Resource 1) OSW 8,000 MW DER 18,000 MW | (Resource 2) OSW 8,000 MW DER 25,000 MW | (Resource 3) OSW 17,000 MW DER 31,000 MW
(Load 1) Buildings 9,600 GWh Transport 7,300 GWh | (5 Scenarios) Matrix Scenario 1 plus Alternatives A, C, D and E | (3 Sensitivity Scenarios) Scenario 1 (Resource 2 and Load 1) Scenario 2 (Resource 2 and Load 1) Scenario 3 (Resource 2 and Load 1) | (3 Sensitivity Scenarios) Scenario 1 (Resource 3 and Load 1) Scenario 2 (Resource 3 and Load 1) Scenario 3 (Resource 3 and Load 1)
(Load 2) Buildings 6,600 GWh Transport 18,500 GWh | (3 Sensitivity Scenarios) Scenario 1 (Resource 1 and Load 2) Scenario 2 (Resource 1 and Load 2) Scenario 3 (Resource 1 and Load 2 | (5 Scenarios) Matrix Scenario 2 plus Alternatives A, C, D and E | (3 Sensitivity Scenarios) Scenario 1 (Resource 3 and Load 2) Scenario 2 (Resource 3 and Load 2) Scenario 3 (Resource 3 and Load 2)
(Load 3) Buildings 38,900 GWh Transport 37,500 GWh | (3 Sensitivity Scenarios) Scenario 1 (Resource 1 and Load 3) Scenario 2 (Resource 1 and Load 3) Scenario 3 (Resource 1 and Load 3 | (3 Sensitivity Scenarios) Scenario 1 (Resource 2 and Load 3) Scenario 2 (Resource 2 and Load 3) Scenario 3 (Resource 2 and Load 3) | (6 Scenarios) Scenario 3 plus Alternatives A, B, C, D and E

## Slide 12
Study Framework will continue to be refined based on:
  Continued consultation among the ISO, NEPOOL representatives and scenario proponents
  Preliminary study results
ISO intends to present at PAC on a monthly basis to discuss modeling progress and results
Stakeholder Process

## Slide 13
NEPOOL intends that the ISO will engage with the MC/RC to:
  Provide periodic high-level reports on the study progress
  Seek MC/RC determinations if there are major decision points about the direction and focus of the studies
  Receive guidance from the MC/RC on the studies as they progress
The ISO may receive feedback both from MC/RC and PAC
  Material decisions on the study will remain NEPOOL’s prerogative as the study proponent
Stakeholder Process

## Slide 14
We are now entering the phase of interacting with the ISO and awaiting study results
For stakeholder feedback, comments, and suggestions on RC/MC direction and oversight of the 2021 Economic study as we proceed, please contact:
  Reliability Committee Chair, Emily Laine Elaine@iso-ne.com
For stakeholder feedback pertaining to clarifications on the study modeling, results, and PAC presentations and materials, please send inquires to:
  the attention of Carissa Sedlacek, Director, Planning Services, and Patrick Boughan, 2021 Economic Study Project Manager, at PACmatters@iso-ne.com
Feedback Contacts Going Forward

## Slide 15
Questions on Phase 1

## Slide 16
Consensus achieved at the 2/26 MC/RC meeting to pause on Phase 2
A paper has been submitted to MC/RC leadership and it will be posted shortly:
  Documenting the work that has been done to develop a partial draft framework for Phase 2
  Noting that the MC/RC believes that the timing and details of Phase 2 require further consideration
  Intent is that the paper can serve as a refresher and starting point when the MC/RC recommences work on Phase 2
Phase 2

## Slide 17
Thanks to everyone for your engagement, input, commitment and collegiality
Let the study begin!
Conclusion