## Slide 1: Reforming the CSO to Reflect Reliability Needs
Brett Kruse
Calpine Corporation
July 2021

## Slide 2: Calpine’s proposal to modify Market Rule 1, Section 13.6.1.1.1(a)
Among other things, MR1 Section 13.6.1.1.1(a) states that all capacity supply obligations (CSOs) must meet the following:
  the sum of the Generating Capacity Resource’s Notification Time plus Start-Up Time plus Minimum Run Time plus Minimum Down Time is less than or equal to 72 hours; or
  if the Generating Capacity Resource cannot meet the offer requirements in Section III.13.6.1.1.1(a)(i) due to physical design limits, then the resource shall be offered into the Day-Ahead Energy Market at a MW amount equal to or greater than its Economic Minimum Limit at a price of zero or shall be self-scheduled in the Day-Ahead Energy Market at a MW amount equal to or greater than the resource’s Economic Minimum Limit.
Calpine proposes the following change to MR1 Section 13.6.1.1.1(a)
  the sum of the Generating Capacity Resource’s Notification Time plus Start-Up Time plus Minimum Run Time plus Minimum Down Time is less than or equal to 72 24 hours; or
  if the Generating Capacity Resource cannot meet the offer requirements in Section III.13.6.1.1.1(a)(i) due to physical design limits, then the resource shall be offered into the Day-Ahead Energy Market at a MW amount equal to or greater than its Economic Minimum Limit at a price of zero or shall be self-scheduled in the Day-Ahead Energy Market at a MW amount equal to or greater than the resource’s Economic Minimum Limit.

## Slide 3: Reasoning
Regardless of what happens with MOPR, the rules for CSOs should be revised to better reflect the needs of the system
This tariff provision is a legacy from the original FCM Settlement in 2005
  ISO New England wanted to ensure that several very inflexible generation resources exited the market
  The requirement is administrative in nature, and there was no analysis used to support the requirement
  The second bullet was to exempt nuclear plants
In the 2005 ISO New England wanted more flexible resources because more flexible resources are inherently more valuable to system operators’ ability to address maintain
The need for flexible resources is even more pronounced now than in it was in 2005 and thus our view is that twenty-four hours is better for system reliability than seventy-two hours
The External Market Monitor reinforces similar resource reliability assessment of the resources that may be affected by this potential rule change in his 2020 State of the Market Report1
1. 2020 Assessment of the ISO New England Electricity Markets, June 18, 2021 pp. 78-79