## Slide 1
September 28, 2022 | NEPOOL transmission Committee | WebEx/teleconference
Al McBride
System planning
ISO New England Initial Thoughts on Responses
FERC Notice of Proposed Rulemaking:
Improvements to Generator Interconnection Procedures and Agreements

## Slide 2: Introduction
On June 16, 2022 FERC issued a Notice of Proposed Rulemaking (NOPR) on Improving Generator Interconnection Procedures and Agreements
  Docket No. RM22-14-000
  To address interconnection queue backlogs, improve certainty and prevent undue discrimination for new technologies
The purpose of this presentation is to describe ISO New England’s anticipated response to the NOPR and to allow for some discussion with Stakeholders

## Slide 3: Summary of ISO-NE’s Thinking: Expansive Changes
The NOPR contemplates a very expansive set of changes to the pro forma Interconnection Procedures
First-ready first-served cluster process
  Only projects that meet significant readiness-requirements would receive a meaningful Queue Position and proceed to the definitive [cluster] system impact study stage of the process
  Other information would be provided outside of the definitive queue
    Feasibility Study eliminated
      Informational studies and other interconnection information “outside of the queue”
Elimination of Reasonable Efforts Standard
  Penalties on Transmission Providers for failing to meet study timelines

## Slide 4: Summary of ISO-NE’s Thinking: Trade-offs
ISO-NE believes that the NOPR appropriately recognizes that significant trade-offs are involved when pursuing such an expansive change
  Study time focused on fewer projects that are more likely to be constructed
  Consequences for Transmission Providers that do not complete studies on-time
This trade-off must be realistic
  Higher study completion expectations will require:
    Only studying projects that are sufficiently viable
    Less flexibility for midstream project changes
    Less ability to consider upgrade alternatives
    No tolerance for inadequate models and data
    Stricter expectations for the completion of transmission upgrade cost-estimates
    Stricter expectations for Affected Systems

## Slide 5: Summary of ISO-NE’s Thinking: Regional Differences
New England has made several enhancements to the Interconnection Procedures in recent years:
  Integration with the Forward Capacity Market (FCM)
  Elective Transmission Upgrades
  Clustering
It will be important to explain that it will be preferable to retain some aspects of these enhancements under allowances for regional differences, which is consistent with the NOPR

## Slide 6: Summary of ISO-NE’s Thinking: Small Generator Interconnections
ISO-NE believes that the majority of the proposed changes would need to apply equally to the small generator and elective transmission upgrade procedures and not just to large generators
  Avoid operating separate queues with fundamentally different expectations in terms of studies and timeframes

## Slide 7: Proposed Reforms

## Slide 8: Proposed Reforms
Reforms to Implement a First-Ready, First-Served Cluster Study Process
  Interconnection Information Access/Optional Information Study
  Cluster Study
  Allocation of Cluster Study Costs
  Allocation of Network Upgrade Costs
  Shared Network Upgrades
  Increased Financial Commitments and Readiness Requirements
  Transition Process
Reforms to Increase the Speed of Interconnection Queue Processing
  Elimination of the Reasonable Efforts Standard
  Affected Systems
  Optional Resource Solicitation Study
Reforms to Incorporate Technological Advancements into the Interconnection Process
  Increasing Flexibility in the Generator Interconnection Process
  Incorporating Alternative Transmission Technologies into the Generator Interconnection Process
  Modeling and Performance Requirements for Non-Synchronous Generating Facilities

## Slide 9: Informational Interconnection Study Summary of NOPR Proposal
To help prospective interconnection customers determine whether they want to enter the queue, they may request up to five (5) informational interconnection studies at a time, with a $10,000 deposit per request
Each informational interconnection study must be completed in 45 days
Each informational interconnection study will examine a specific generating facility configuration (specifying a single point of interconnection, generating facility capacity, etc.) and provide a non-binding estimate of the costs to interconnect that generating facility
The transmission provider will coordinate with affected systems that may be impacted and may provide affected systems information if possible

## Slide 10: Informational Interconnection Study ISO-NE Thoughts
Has the significant benefit of moving exploratory studies outside of the definitive interconnection queue
Concerns
  Will not be able reflect the actual upgrades to be identified in a future cluster study
    Different base case and cluster conditions
    Upgrades could change significantly in definitive SIS
  45 days would correspond to a very limited scope
    Will not evaluate all of the scenarios contemplated in a system impact study
    Very short time to develop cost estimate
    Limited time to coordinate with affected systems
  Potential for over-burdening work load for limited value
  How to enforce the 5 request limit

## Slide 11: Public Interconnection Information Summary of NOPR Proposal
Transmission providers will be required to post on their website an interactive visual representation of estimated capacity available at each bus in the transmission provider’s footprint
The interactive visual representation will show the estimated impact of the addition of a proposed generating facility
Interconnection customers will be able to input details of a proposed generating facility, including MW amount, voltage level, and point of interconnection
The website will automatically generate a table of results showing the impact of that new generating facility on existing facilities
Transmission providers will update this website within 30 days after each cluster study and re-study

## Slide 12: Public Interconnection Information ISO-NE Thoughts
Concern
  No way to have a visual representation anticipate all of the conditions of concern in a system impact study
    Different system stresses
    Operability issues (e.g. N-1-1)
    Stability and voltage issues
    Weak grid issues
  Limited value of information that may not directly correspond with future study results

## Slide 13: Cluster Study Process Summary of NOPR Proposal
All interconnection requests must be submitted during an annual cluster request window
During the customer engagement window, the transmission provider will hold a scoping meeting with all interconnection customers. Interconnection customers may request an individual scoping meeting in addition to the group meeting
All interconnection customers in a cluster will be considered equally queued
The cluster study process includes a built-in restudy period, which is triggered when a higher or equally queued interconnection customer withdraws from the queue
Customer Engagement Window (30d)
Cluster Study (150d)
Cluster Re-study (150d)
Facility Study (90d/180d)
Cluster Request Window (45d)
Cluster

## Slide 14: Cluster Study Process ISO-NE Thoughts
To what extent should New England differences be preserved?
  FCM
    Deliverability is assessed in an annual group/cluster study in preparation for each FCA
      Identifies if projects can be deliverable in (approximately) four years, in whole or in part, in association with upgrades, if applicable
  New England clustering
    Clustering is only triggered in the case of common significant upgrades
    Regional Planning Study at the Planning Advisory Committee provides significant information to the region regarding major interconnections
  Coordination with non-FERC generation (cluster) studies
150 days is insufficient to complete a complicated cluster system impact study

## Slide 15: Allocation of Cluster Study Costs, Cluster Network Upgrade Costs, and Shared Network Upgrades Summary of NOPR Proposal
Allocation of Cluster Study Costs
  90% of the cost of the cluster study will be distributed to interconnection customers on a pro rata MW basis
  10% of the cost of the cluster study will be distributed to interconnection customers on a per capita basis based on number of generating facilities in the cluster
Allocation of Cluster Network Upgrade Costs
  Network upgrade costs will be allocated among a cluster using a proportional impact method
  Transmission providers will set technical parameters and thresholds in their tariffs
Shared Network Upgrades
  Later-in-time interconnection customers will reimburse earlier-in-time interconnection customers for network upgrades that the later-in-time interconnection customer uses on a pro rata basis
  To qualify as a shared network upgrade, the network upgrade must be in service for less than 5 years

## Slide 16: Allocation of Cluster Study Costs, Cluster Network Upgrade Costs, and Shared Network Upgrades ISO-NE Thoughts
Understand the intention of the proposed approaches
Believe the details regarding specific percentages and cost allocation methods should be identified regionally

## Slide 17: Increased Financial Commitments and Readiness Requirements Summary of NOPR Proposal
Study Deposits
  Interconnection customers will pay a deposit based on the size of their facility. The same amount will be due before each study phase
  Interconnection customers will also pay 9x the amount of the study deposit when executing or requesting filing of unexecuted LGIA. This deposit is refundable at commercial operation
Facility Size (MW) | Deposit Amount ($)
> 20 MW < 80 MW | $35,000 + $1,000/MW
≥ 80 MW < 200 MW | $150,000
≥ 200 MW | $250,000

## Slide 18: Increased Financial Commitments and Readiness Requirements, continued
Site Control
  100% site control exclusive to interconnection customer to enter the queue/cluster study
  Acreage requirements based on generating technology
  Deposit in lieu of site control only for regulatory limitations
Commercial Readiness Demonstration
  5 year+ contract for sale of facility, energy, capacity, or ancillary services
  Evidence of selection in a resource plan
  Evidence of development by a Load Serving Entity (LSE) or sale to a large end-use customer
  Provisional LGIA

## Slide 19: Withdrawal Penalties
Waived if:
  Withdrawal does not delay timing or increase costs for other customers
  Assigned costs increase >25% between cluster study and cluster re-study or >100% between cluster re-study and facilities study
Phase of Withdrawal | Commercial Readiness Demonstration | Total Withdrawal Penalty | Withdrawal Penalty Cap
1 | Yes | 1x Study Cost | -
2 | Yes | 1x | -
3 | Yes | 1x | -
LGIA | Yes | 9x | -
1 | No | 2x | $1 million
2 | No | 3x | $1.5 million
3 | No | 5x | $2 million
LGIA | No | 9x | -

## Slide 20: Increased Financial Commitments and Readiness Requirements ISO-NE Thoughts
First-ready-first-served approach will ensure that study effort is expended in the most productive direction
Request more details regarding where the Commission would expect forfeited penalties be allocated
Note that ISO-NE readiness requirements already differ from pro forma

## Slide 21: Transition Process Summary of NOPR Proposal
Available to existing interconnection customers with a queue position
  Must demonstrate 100% site control for the generating facility
  Must demonstrate commercial readiness through one of the options noted earlier
    If readiness demonstration is a provisional LGIA, must also have a COD before 12/31/2027
  Withdrawal penalty of 9x cost of the transitional study
Two transitional queue options
  Serial facilities study (90 days)
    Must have a final system impact study report and an executed facilities study agreement
    Must also demonstrate site control for the interconnection customer’s interconnection facilities
    Deposit of 100% of costs identified in the system impact study
  Transitional cluster study (300 days)
    Deposit of $5 million

## Slide 22: Transition Process ISO-NE Thoughts
New England does not currently suffer interconnection queue backlogs to the same extent as other regions
Transition provisions could have a significant impact on projects that are currently proceeding through the process
The transition rules should provide significant allowance for regional differences
  The appropriate transition can be more clearly defined when the final ruling becomes clear

## Slide 23: Elimination of the Reasonable Efforts Standard Summary of NOPR Proposal
Eliminate the reasonable efforts standard for processing interconnection requests and impose firm deadlines for interconnection studies
Establish financial penalties when transmission providers fail to meet study deadlines
  $500 per day penalties distributed to impacted interconnection customers
Penalties capped at 100% of total study deposits
No penalties assessed for the first cluster study cycle
10-day grace period
  No penalty will be assessed for a study that is delayed by 10 business days or less
  For studies that are delayed by more than 10 business days, the penalty would be calculated based on the first business day the study was late
30-day extensions to study deadlines permitted by mutual agreement of transmission provider and all interconnection customers participating in the study

## Slide 24: Elimination of the Reasonable Efforts Standard ISO-NE Thoughts
As described earlier, penalties must accompany matching trade-off in study readiness, model preparedness, etc.
How to handle cases when the delay is not the fault of ISO-NE
Addition of penalties would introduce potential for litigation and/or administrative process, diverting resources from conducting studies

## Slide 25: Affected Systems Summary of NOPR Proposal
Establish a standard, uniform affected system study process for all jurisdictional transmission providers
Create a Commission pro forma affected system study agreement and a pro forma facilities construction agreement
Require that transmission providers study all affected systems interconnection requests as requests for Energy Resource Interconnection Service (ERIS)
  Transmission providers can make a filing under section 205 of the Federal Power Act to use Network Resource Interconnection Service (NRIS) instead of the proposed ERIS

## Slide 26: Affected Systems ISO-NE Thoughts
New England does not experience the same extent of affected system issues associated with some of the larger ISO/RTO interfaces
New England has a robust affected system approach under the ISO Tariff Section I.3.9 process
Commission pro forma affected system study agreement and a pro forma facilities construction agreement would be helpful
Concerned about introducing disruption to the current coordination with Non-FERC studies

## Slide 27: Optional Resource Solicitation Study Summary of NOPR Proposal
Allow Resource Planning Entities to request an informational cluster study to examine up to five different combinations of interconnection requests associated with the resource solicitation
  Resource Planning Entity can be a state agency or LSE implementing a state mandate
  The resource solicitation must be either competitive or managed by the state
Interconnection customers will maintain their queue position and proceed through the queue alongside other customers while being studied in parallel in the optional resource solicitation cluster

## Slide 28: Optional Resource Solicitation Study ISO-NE Thoughts
Should be helpful to the region to formally adopt and is consistent with recent ISO efforts to coordinate with states in planning processes
Regional difference allowance for the most appropriate process design

## Slide 29: Increasing Flexibility in the Generator Interconnection Process Summary of NOPR Proposal
Allow more than one generating facility to co-locate on a shared site behind a single point of interconnection and to share a single interconnection request
Allow interconnection customers to add a generating facility to an existing interconnection request without losing queue position if there is no change to the originally requested interconnection service level
Surplus interconnection service will be available after executing an LGIA rather than only after a generating facility enters commercial operation
Allow interconnection customers to request that operating assumptions in interconnection studies for electric storage and co-located resources containing electric storage resources (including hybrid resources) reflect the proposed operation of the resource

## Slide 30: Increasing Flexibility in the Generator Interconnection Process ISO-NE Thoughts
Allow more than one generating facility to co-locate on a shared site behind a single point of interconnection and to share a single interconnection request
  The ISO-NE interconnection process already allows this
Allow interconnection customers to add a generating facility to an existing interconnection request without losing queue position if there is no change to the originally requested interconnection service level
  This additional flexibility is directly opposite to the overall direction of improving study completion timelines and readiness requirements in the NOPR
  Such a change can be processed in the subsequent cluster
Surplus interconnection service will be available after executing an LGIA rather than only after a generating facility enters commercial operation
  Do not understand why the approach described in the first bullet above would not meet the identified need
  Unclear on how surplus service could be available before a project is operating
Allow interconnection customers to request that operating assumptions in interconnection studies for electric storage and co-located resources containing electric storage resources (including hybrid resources) reflect the proposed operation of the resource
  Implementing the potential myriad of bespoke operating approaches is not expected to be implementable in system operations
  Would FERC propose that the meaning of interconnection service be different for the charging condition for storage resources

## Slide 31: Incorporating Alternative Transmission Technologies into the Generator Interconnection Process Summary of NOPR Proposal
Upon request of the interconnection customer, transmission providers must consider the following alternative transmission solutions during study process:
  Advanced power flow control
  Transmission switching
  Dynamic line ratings
  Static synchronous compensators
  Static VAR compensators
Transmission providers will file with the Commission an annual informational report on evaluation of alternative transmission solutions

## Slide 32: Incorporating Alternative Transmission Technologies into the Generator Interconnection Process ISO-NE Thoughts
The addition of the requirement to study more alternatives is opposite to the overall direction of meeting the study timelines
ISO-NE already includes the consideration of synchronous condensers and STATCOMs when evaluating new interconnections
The incorporation of Dynamic Line Ratings cannot precede the adoption of this approach, which is still being evaluated in Docket No. AD22-5

## Slide 33: Modeling and Performance of Non-Synchronous Generators Summary of NOPR Proposal
Interconnection customers must provide accurate models of the generating facility with the interconnection request that includes:
  Validated user-defined root mean square (RMS) positive sequence dynamics model
  An appropriately parameterized generic library RMS positive sequence dynamics model, with a block model diagram of the inverter and plant control systems, approved by WECC
  Validated electromagnetic transient (EMT) model if the transmission provider performs EMT studies
Ride-through requirements
  New generating facilities must continue to maintain power production at pre-disturbance levels unless providing frequency response and must have the ability to provide dynamic reactive power if conditions at the POI are within the “no trip zone” of Reliability Standard PRC-024-3

## Slide 34: Modeling and Performance of Non-Synchronous Generators ISO Thoughts
ISO-NE strongly supports increased requirements for satisfactory models and data
ISO-NE does not accept user-defined models

## Slide 35: Comments
Comments Due to FERC October 13th
Reply Comments Due to FERC November 14th