UNITED STATES OF AMERICA

BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

| Improvements to Generator Interconnection Procedures and Agreements | ) ) ) RM22-14-000 ) ) |
| --- | --- |

INITIAL COMMENTS OF THE

NEW ENGLAND POWER POOL PARTICIPANTS COMMITTEE

(October 13, 2022)

Pursuant to the Federal Energy Regulatory Commission’s (FERC or the Commission) Notice of Proposed Rulemaking issued on June 16, 2022 in the above captioned proceeding (NOPR), the signatories to the New England Power Pool (NEPOOL) Agreement, acting through the Participants Committee, hereby submit these Initial Comments on the NOPR.  NEPOOL is the principal stakeholder organization in the New England Regional Transmission Organization (RTO) through a Commission-approved contractual association with ISO New England Inc. (ISO-NE or the ISO).

- Prior to the formation of the New England RTO in 2005, the NEPOOL Participants Committee held the Federal Power Act (FPA) Section 205 filing rights for the regional Open Access Transmission Tariff (OATT).  Since the formation of the RTO, NEPOOL has been the RTO’s principal stakeholder advisory organization, with review and voting rights over most revisions to the ISO-NE Tariff.  Both before and since the RTO formation, NEPOOL has been and continues to be actively involved in the primary subject matter of the NOPR: namely, improvements to the rules and processes for interconnections to the regional transmission system.  NEPOOL is also actively involved in the design and development of the competitive wholesale markets for New England and in seeking to integrate interconnection rules and processes with that market design as it develops over time.  NEPOOL’s members represent all sectors of those markets in New England, including, as particularly relevant to the NOPR, Interconnecting Transmission Owners and all types of Interconnection Customers.

- NEPOOL submits these Initial Comments to provide some New England background and show how ISO-NE, the Participating Transmission Owners, NEPOOL, and other New England stakeholders have collaborated proactively to advance and implement interconnection reforms.  NEPOOL’s Initial Comments stress the importance of allowing ISO-NE flexibility under the Commission’s independent entity variation standard to comply with and implement any final rule promulgated in this proceeding, with some specific examples of where flexibility will be especially appropriate.

# BACKGROUND

In the NOPR the Commission takes note of the ongoing transformation of the electricity sector since the issuance of Order Nos. 2003 and 2006.  The increase in volume of projects in interconnection queues, the growth of new types of resources seeking to interconnect to the transmission system and the differing operating characteristics of those resources have created new challenges for the interconnection process.  In some regions, these challenges are creating large interconnection queue backlogs, with resulting uncertainty and inefficiency.  The NOPR reflects Commission concern that “existing generator interconnection procedures and agreements may be insufficient to ensure that interconnection customers are able to interconnect to the transmission system in a reliable, efficient, transparent, and timely manner, thereby ensuring that rates, terms, and conditions for Commission-jurisdictional services remain just and reasonable and not unduly discriminatory or preferential.”  Thus, the NOPR proposes reforms to the standardized interconnection procedures and agreements to address the identified potential deficiencies.  The NOPR reforms fall into three main categories: (1) reforms to implement a first-ready, first-served cluster study process; (2) reforms to increase the speed of interconnection queue processing; and (3) reforms to incorporate technological advancements to the interconnection process.

## New England Improvements to the Interconnection Process Since Order Nos. 2003 and 2006

In Order Nos. 2003 and 2006, the Commission established the pro forma interconnection procedures and agreements setting forth the terms and conditions under which public utilities must provide interconnection service to Large Generating Facilities and Small Generating Facilities, respectively.  While Order Nos. 2003 and 2006 recognized the need to establish an overarching national framework for Generating Facility interconnections, the Orders also acknowledged the need for regional flexibility because of the vastly different network electrical characteristics, market structures, and compositions of the interconnection queues across the nation.  In the case of independent transmission providers, such as ISOs and RTOs, the Commission indicated that it would consider independent entity variations from the pro forma interconnection procedures and agreements, recognizing “that an RTO or ISO has different operating characteristics, depending on its size and location, and is less likely to act in an unduly discriminatory manner than a Transmission Provider that is a market participant.”  Under the independent entity variation standard for deviations from the pro forma interconnection procedures and agreements, an ISO/RTO has greater flexibility to address specific regional needs, provided it demonstrates that the proposed variation: (1) is just and reasonable, and not unduly discriminatory or preferential; and (2) accomplishes the purposes of the final rule.

While recognizing the pro forma procedures and agreements set out in Order Nos. 2003 and 2006 as the standardized baseline, appropriate changes to the pro forma procedures and agreements were identified collaboratively among ISO-NE, NEPOOL and the PTOs, filed and justified, and accepted by the Commission for New England to address specific regional needs, market constructs and cost allocation agreements already in place.  Thus, the New England entities worked to ensure that the interconnection procedures and agreements would accommodate the ISO-NE markets, Tariff, and operational differences from other regions, while still advancing the core objectives reflected in those orders.

Since Orders Nos. 2003 and 2006, NEPOOL has worked with ISO-NE, the PTOs, and other stakeholders to proactively improve New England’s interconnection processes with appropriate variations to the pro forma procedures and agreements to meet the needs of the New England region, consistent with Commission interconnection policies.

The summary below briefly describes some of these proactive improvements.

### Alignment of the Forward Capacity Market (FCM) and Interconnection Queue Processes:

In the 2006 to 2008 timeframe, the ISO’s interconnection queue experienced a significant increase in Interconnection Requests driven, in part, by the implementation of the FCM, which procures, on a three-year forward basis, firm capacity to meet New England’s forecasted Installed Capacity Requirement.  The advent of the FCM and the resulting expansion of Interconnection Requests resulted in backlogs and delays in the interconnection queue.

To address this issue, ISO-NE, in a 2008 joint filing with NEPOOL and the PTOs, proposed revisions to the ISO-NE Tariff (FCM/Queue Revisions) to accommodate implementation of the FCM and more efficient processing of Interconnection Requests from Interconnection Customers seeking to participate in the FCM.  The FCM/Queue Revisions improved the coordination between the FCM and the interconnection queue process for the allocation of interconnection capability on the system.  Pursuant to the revisions, participation in the FCM would require a new type of interconnection service—the Capacity Network Resource (CNR) Interconnection Service (CNRIS)— achieved through a resource’s successful participation in the FCM and completion of the upgrades identified to accommodate the request and deliver energy at least intra-zonally on the regional transmission system.

To achieve better coordination with the FCM, New England also shifted from a “first- come, first-served” to a “first-cleared, first-served” approach for CNRIS Interconnection Customers.  This improvement allowed those that cleared in a Forward Capacity Auction (FCA) to advance in the interconnection process ahead of other CNRIS Interconnection Customers not yet cleared.  The FCM/Queue Revisions also established a CNR annual interconnection group study process (CNR Group Study), tied to each year’s FCA, as an efficient means of identifying needed transmission upgrades to interconnect and deliver energy on an intra-zonal basis in New England from the capacity resources interconnecting in the CNR group.

The improvements implemented by the FCM/Queue Revisions were similar in objective to those the Commission now proposes in the NOPR: a first-ready, first-served approach (in the context of FCM readiness) and an efficient handling of interconnection studies in an annual group study format to facilitate identification of needed upgrades and the interconnection of new projects in a timely way.  The Commission accepted the FCM/Queue Revisions without condition or modification.

### Improvement to the Interconnection Process for Regional Elective Transmission Upgrades:

Elective Transmission Upgrades (ETUs) are voluntary, participant-funded projects that are not required based on any ISO-NE needs assessment.  ETUs include transmission facilities internal to ISO-NE or external connections to neighboring regions.  For several years, ISO-NE Tariff interconnection provisions for ETUs lacked clear and specific rights, obligations and processes, including related to queue position, the timing of studies and the responsibility for interconnection-related upgrades.  The interconnection rules for ETUs were not comparable to the standardized rules for generators in New England, even though they all shared the same interconnection queue. This lack of clarity regarding rights and obligations and lack of comparability with other Interconnection Customers in the same queue caused significant inefficiencies, uncertainties, and delays in the interconnection of ETUs.

To fix this problem, in a 2015 filing with the Commission, ISO-NE, joined by NEPOOL and the PTOs, proposed revisions to introduce an entirely new ISO-NE Tariff schedule of ETU interconnection procedures and agreements, Schedule 25 of Section II of the ISO-NE Tariff (ETU Revisions).  Schedule 25 is based largely on ISO-NE’s version of the Large Generator Interconnection Procedures, and also contains provisions to integrate use of ETU interconnections by generators participating in the FCM.

The ETU Revisions provided comparable specific rights and obligations for ETU Interconnection Requests as are provided for generators, including, among others, regarding queue position, studies, timing, deposits, and upgrade responsibilities.  Similar to some of the NOPR’s proposed reforms, the ETU Revisions provided for more efficient, transparent, and timely interconnection of ETUs.  The Commission accepted the ETU Revisions without condition or modification.

### Incorporation of a Clustering Approach in the Interconnection Procedures:

Until 2017 the ISO-NE Tariff did not have a specific, detailed methodology for conducting clustered interconnection studies or allocating the costs of clustered Interconnection Requests.  Instead, the ISO-NE Tariff’s existing interconnection procedures solely utilized the pro forma serial study approach, studying Interconnection Requests on a first-come, first-served basis.  By 2015 state public policies driving the need for new renewable generation, combined with constraints on certain parts of the New England transmission system, had created a significant backlog of Interconnection Requests in Northern and Western Maine, where onshore wind projects were siting.  The primary issue causing the backlog was the weakness of the transmission system in that part of the grid and the cost of new network upgrades that would be required to interconnect the thousands of megawatts of potential new wind generation seeking to interconnect there, where wind is plentiful, land is relatively cheap and abutters are few.

To address this queue backlog and provide for similar backlogs that could occur elsewhere in the future, ISO-NE, in a 2017 filing joined by NEPOOL and the PTOs, proposed revisions to the ISO-NE Tariff (Clustering Revisions).  The Clustering Revisions provided a new cluster interconnection methodology to be used when more than one Interconnection Request in the same electrical area of the system cannot be interconnected without significant new common transmission infrastructure to enable the interconnection.  Among the primary provisions included in the Clustering Revisions were: (i) a trigger mechanism to initiate the process, (ii) a cluster study process resulting in a Cluster Enabling Transmission Upgrade (CETU) identification, (iii) cluster participation rules with significant deposit requirements to confirm readiness to proceed, (iv) a cluster cost determination and cost allocation methodology, and (v) provisions to address backfilling and late-comers to the cluster.

The Clustering Revisions are intended to be used when and where needed on the system to address backlogs through clear rules for identification and development of, and payment for, common major network upgrades (i.e., the CETU) needed to interconnect multiple Interconnection Requests.  The cost allocation rules provide for an analysis of the impact of each Interconnection Request within the cluster and the contribution of that impact to the costs of the CETU and a corresponding cost allocation.  Where and when needed, these rules and processes supersede the existing serial interconnection process for those Interconnection Customers with a common need for major new transmission infrastructure.  Elsewhere on the system, however, interconnection follows the existing pro forma, first-come, first-served, serial interconnection process.  ISO-NE is now using this cluster process for the third time in Maine to address potential onshore wind generation seeking to interconnect, and is using it for a second cluster study on Cape Cod for potential offshore wind seeking to interconnect on the Cape.  To date, ISO-NE has not identified any other area on the regional transmission system that requires use of the cluster interconnection process.

The Clustering Revisions are similar to the NOPR proposal in seeking to use a cluster process to provide for more efficient interconnection and to allow for allocation of major network upgrade costs on a proportional impact basis.  The two differ in that the ISO-NE process is targeted where and when needed and does not sweep all Interconnection Requests into a cluster process.

The Commission accepted the Clustering Revisions without condition or modification.

### Modification of the Process for Interconnection of New Distributed Energy Resources:

In June of 2022 ISO-NE, joined by NEPOOL and the PTOs, provided for greater certainty and efficiency regarding the interconnection of new distributed energy resources (DERs) through filing proposed ISO-NE Tariff revisions (DER Interconnection Revisions).  DERs participating in the wholesale markets exclusively through an aggregation arrangement were already exempt from the ISO’s interconnection process under the Commission’s Order No. 2222.

However, until recently the many individual DERs interconnecting to the distribution system but participating in the wholesale ISO-NE markets were faced with some uncertainty and the need for analysis by the applicable electric distribution companies, the ISO and DER developers as to whether the DER would be subject to the state interconnection processes and agreements or those of ISO-NE.

Under Commission interconnection rules and precedent, a multi-step analysis was required that included looking at: (i) the point of interconnection and whether the applicable existing facilities are distribution or transmission; (ii) the status of the line to which the new DER is interconnecting and whether it is being used for a wholesale activity; and (iii) the applicability of any existing ISO-NE Tariff exemptions, such as for DER aggregations.  The potential application of the two interconnection processes resulted in multiple coordination problems and inefficiencies and potential adverse outcomes for DER developers who might find themselves starting with a state interconnection process and then being required to enter the ISO-NE interconnection process.

The DER Revisions were intended to solve this problem by providing clear guidance that DERs interconnecting to the distribution system will use the state interconnection process, and not the ISO’s, regardless of the status of the line to which they interconnect and the DER developer’s intent to participate in the wholesale markets.  The DER Revisions are consistent with the Commission’s stated goals in its NOPR.  The revisions serve to streamline the interconnection process, eliminate redundancies, and reduce processing inefficiencies that frequently lead to delays in administration of the ISO-NE interconnection queue, while appropriately adapting to the rapidly changing new generation mix driven by state public policy requirements.  The Commission accepted the DER Interconnection Revisions without condition or modification.

# COMMENTS

NEPOOL as an organization has not voted on positions on the various specific reforms proposed in the NOPR, and so does not provide specific comments for or against those proposals here.  It is likely that individual NEPOOL members or like-minded groups of NEPOOL members will provide comments on specific NOPR proposals.  As a general comment, however, NEPOOL urges the Commission to allow for variations from the pro forma procedures and agreements in any ISO/RTO compliance with and implementation of the final rule, to the extent justified under the independent entity variation standard.  For New England, the efforts described above demonstrate that ISO-NE, NEPOOL, the PTOs, and other New England stakeholders proactively collaborate to appropriately adapt the standardized interconnection procedures and agreements to meet regional needs, markets, policies and operations, in accordance with Commission interconnection policies.  In addition, NEPOOL requests that the Commission entertain requests for additional (more than 180 days) time to develop compliance filings, as the reforms proposed in the NOPR are significant and the Commission should allow for sufficient time for stakeholder review.

Consistent with the general comment regarding allowing for flexibility under the independent entity variation standard, NEPOOL offers the following high-level examples of appropriate flexibility regarding some of the NOPR proposals.

## First-Ready, First-Served Cluster Study Process and Transition

The Commission proposes to reform the pro forma Large Generator Interconnection Procedures and Large Generator Interconnection Agreement to make cluster studies the required method of study and to replace the serial interconnection first-come, first-served study process with a first-ready, first-served cluster study process, with very limited transition provisions for existing Interconnection Requests.

NEPOOL recommends allowing for significant independent entity variations from what seems to be a process that could be overly inclusive and potentially disruptive to existing projects in the interconnection queue.  There may be instances where an ISO/RTO has determined that a cluster process should be triggered only when and where there is an actual backlog in the processing of Interconnection Requests, as is currently the case in New England.  Additionally, moving all Interconnection Requests into a mandatory cluster process at the same time, regardless of whether there are actual backlogs necessitating such a move could be counter-productive.

To the extent there is a cluster process for all Interconnection Requests, ISOs/RTOs should have considerable flexibility, consistent with the independent entity variation standard, in determining whether to conduct the process on a regional basis with a single cluster or on a sub-regional basis with multiple clusters.  If multiple clusters, then the region should be allowed to determine whether multiple clusters processes are conducted simultaneously or on a staggered schedule.  Other related details of cluster process implementation should also be left up to each ISO/RTO region to decide.

Regarding demonstrations of commercial readiness, NEPOOL has supported enhanced commercial readiness rules in previous revisions to the interconnection procedures, and would likely support the general direction of the proposed NOPR reforms to such rules.  The Commission, however, should avoid being overly prescriptive of the specifics of commercial readiness demonstration and allow ISOs/RTOs to appropriately modify the requirements to suit the region and the applicable markets.

Regarding transition rules for move to a first-ready, first-served cluster process, there should be considerable flexibility afforded to ISOs/RTOs, with input from their stakeholders, in the determination of the parameters for such rules.  A one-size fits all approach to transition could result in adverse impacts to existing Interconnection Customers and the interconnection process generally.  Each ISO/RTO region should be allowed to determine what transition rules would have the least adverse impact on, and would be most efficient for, the processing of existing Interconnection Requests.

## Allocation of Network Upgrade Costs within a Cluster

For cluster network upgrade costs, the Commission proposes to allocate them within a cluster using a Proportional Impact Method, with the defined term having the following definition: “Proportional Impact Method shall mean a technical analysis conducted by the transmission provider to determine the degree to which each generating facility in the cluster contributes to the need for a specific network upgrade.”

NEPOOL has supported this type of cost allocation in the New England Clustering Revisions to the ISO-NE Tariff.  Under the 2017 Clustering Revisions, network upgrade cost allocation is done primarily based on a distribution factor cost allocation method.  This method is a proportional impact method which allocates costs based on the measure of responsiveness or change in electrical loading on system facilities due to a change in electric power transfer from one part of the electric system to another, expressed in percent of the change in power transfer due to an interconnection project.

While NEPOOL has supported a type of proportional impact cost allocation method for cluster network upgrades, where costs are allocated only to the Interconnection Customers, the Commission should also allow for other cost allocation methods agreed to within an ISO/RTO region.  Such flexibility will be especially appropriate given the fact that state public policies are driving considerable new Interconnection Requests.  It may be the case that for clusters of such Interconnection Requests, particularly if they come about in response to state procurements of public policy generation and transmission, a different method of cost allocation will be desired by the states.

## Timelines for Processing Interconnection Requests

In the NOPR the Commission proposes to “revise the pro forma LGIP to eliminate the reasonable efforts standard for transmission providers completing interconnection studies, and instead impose firm study deadlines and establish penalties that would apply when transmission providers fail to meet these deadlines.”

NEPOOL has consistently supported ISO-NE Tariff interconnection provisions that promote efficient and timely processing of Interconnection Requests so that interconnection does not present an undue barrier to entry into the markets.  NEPOOL, however, recognizes that there are instances where both the transmission provider and the Interconnection Customer appropriately agree to reasonably extend time requirements under the LGIP to address challenges with a specific Interconnection Request.  Given this reality regarding administration of Interconnection Requests, the Commission should allow flexibility in each ISO/RTO region for pro forma variations that provide for reasonable extension of time requirements under the interconnection procedures by mutual agreement of the parties.

## Study of Specific Alternative Transmission Technologies

The Commission proposes to revise the pro forma LGIP and SGIP to require transmission providers, upon request from the interconnection customer, to evaluate the requested alternative transmission solution(s) during the LGIP cluster study and the SGIP system impact study and facilities study.  The Commission proposes to require transmission providers to consider certain specific technologies: viz., advanced power flow control, transmission switching, dynamic line ratings, static synchronous compensators, and static VAR compensators.  The Commission states that the use of these specific alternative transmission technologies can provide substantial benefits to optimize the transmission system in specific scenarios and can “often be deployed both more quickly and at lower costs than other network upgrades.”

While NEPOOL does not have a formal position on the benefits of grid-enhancing technologies or the alternative transmission technologies proposed herein, NEPOOL does request that the Commission consider this subject as an appropriate area to provide flexibility to RTOs and ISOs.  As the grid operator in its respective region, each RTO or ISO will be the entity that is most informed with regards to which alternative transmission technologies are feasible and are able to be “deployed more quickly and at a lower cost” and therefore can be used to facilitate just and reasonable rates.  The RTOs and ISOs will also be aware of whether there are additional emerging technologies not listed by the Commission that are feasible and should be implemented.  NEPOOL therefore encourages the Commission to allow each RTO or ISO, on compliance and with stakeholder input, to modify the list of technologies prescribed by the Commission in the NOPR.

# CONCLUSION

Since Order No. 2003, ISO-NE, with support from NEPOOL, the PTOs and other New England stakeholders has proactively used the independent entity variation standard, consistent with Commission policy and regional needs, to improve the interconnection process for New England.  The Commission should continue to allow for the same flexibility for New England in compliance with and implementation of any final rule in this proceeding.

| Dated: October 13, 2022 | Respectfully submitted, NEPOOL Participants Committee By:__________________________ Eric K. Runge Margaret Czepiel Teresa J. Chen Day Pitney LLP One Federal Street Boston, MA 02110 Tel: (617) 345-4735 ekrunge@daypitney.com mczepiel@daypitney.com Its Attorneys |
| --- | --- |

Improvements to Generator Interconnection Procedures and Agreements, 179 FERC ¶ 61,194 (2022) (June 16, 2022) (NOPR).

Capitalized terms not defined herein have the meanings ascribed thereto in the Second Restated NEPOOL Agreement, Participants Agreement, or the ISO New England Inc. (ISO-NE or the ISO) Transmission, Markets and Services Tariff (ISO-NE Tariff or the Tariff).

The New England Power Pool Agreement was initially entered into in 1971 and the number of signatories to that agreement as it has evolved over time has grown to include over 500 members.  Those signatories are referred to both as “members” and “Participants” and they are referred to collectively as “NEPOOL.”  The Participants include all of the electric utilities rendering or receiving services under the ISO-NE Tariff, as well as independent power generators, marketers, load aggregators, brokers, consumer-owned utility systems, demand response providers, developers, end users and a merchant transmission provider.  Pursuant to revised governance provisions accepted by the Commission in ISO New England Inc. et al., 109 FERC ¶ 61,147 (2004), the Participants act through the NEPOOL Participants Committee.  The NEPOOL Participants Committee is authorized by Section 6.1 of the Second Restated NEPOOL Agreement and Section 8.1.3(c) of the Participants Agreement to represent NEPOOL in proceedings before the Commission.  NEPOOL is the principal stakeholder organization for the New England Regional Transmission Organization (RTO).

The Participants Agreement is the Commission-approved contract between NEPOOL and ISO-NE that sets forth the stakeholder processes for all changes to the ISO-NE Tariff and related rules and procedures.  The Participants Agreement is a fundamental element of the RTO arrangements for New England.  Through the Participants Agreement, NEPOOL is assured the opportunity for meaningful and timely stakeholder input and vote on virtually all changes sought to FERC jurisdictional transmission or market services as the principal stakeholder organization in the New England RTO.  The Participants Agreement can be found here: https://www.iso-ne.com/static-assets/documents/2015/10/parts_agree.pdf.

ISO-NE administers a single interconnection queue for three types of Interconnection Customers seeking to interconnect to the regional transmission system: Large Generators, Small Generators and Elective Transmission Upgrades (voluntary, participant funded transmission projects).

The Participating Transmission Owners (PTOs) are the owners of the regional transmission facilities operated and administered by ISO-NE pursuant to the Transmission Operating Agreement (TOA). The TOA is one of the fundamental agreements of the RTO arrangements for New England.

NOPR at P 3.

Id. at P 22.

Id.

Standardization of Generator Interconnection Agreements & Proc., Order No. 2003, 68 FR 49845 (Aug. 19, 2003), 104 FERC ¶ 61,103 (2003), order on reh’g, Order No. 2003-A, 69 FR 15932 (Mar. 5, 2004), 106 FERC ¶ 61,220, order on reh’g, Order No. 2003-B, 70 FR 265 (Jan. 19, 2005), 109 FERC ¶ 61,287 (2004), order on reh’g, Order No. 2003-C, 70 FR 37661 (July 18, 2005), 111 FERC ¶ 61,401 (2005), aff'd sub nom. Nat’l Ass’n of Regul. Util. Comm’rs v. FERC, 475 F.3d 1277 (D.C. Cir. 2007) (NARUC v. FERC) [hereinafter Order No. 2003]; Standardization of Small Generator Interconnection Agreements & Proc., Order No. 2006, 70 FR 34189 (June 13, 2005), 111 FERC ¶ 61,220, order on reh’g, Order No. 2006-A, 70 FR 71760 (Nov. 30, 2005), 113 FERC ¶ 61,195 (2005), order granting clarification, Order No. 2006-B, 71 FR 42587 (July 27, 2006), 116 FERC ¶ 61,046 (2006) [hereinafter Order No. 2006].

See Order No. 2003 at P 827 (recognizing the differing characteristics of each region and providing ISO/RTOs with the flexibility to seek independent entity variations from the final rule “to customize its interconnection procedures and agreements to fit regional need”).  ISO New England Inc., 180 FERC ¶ 61,129 at P 7 (2022).

New England Power Pool, Bangor Hydro-Electric Co., et al., 109 FERC ¶ 61,155 at P 4 (2004) (citing Order No. 2003 at P 827)

ISO New England Inc., 180 FERC ¶ 61,129 at P 7 (2022).

See e.g., ISO New England Inc., et al., 115 FERC ¶ 61,050 (2006) (approving the majority of proposed independent entity variations in response to Order Nos. 2006 and 2006-A because ISO-NE sufficiently demonstrated that the variations were necessary based on regional needs); ISO New England Inc. et al., 149 FERC ¶ 61,212 (2014) (order accepting revisions to ISO-NE SGIP and SGIA in compliance with Order No. 792, and deviating from the pro forma SGIP and SGIA to maintain consistency across ISO-NE Tariff in accordance with the independent entity variation standard); ISO New England Inc., 158 FERC ¶ 61,116 (2017) (accepting Tariff revisions to LGIA and SGIA in compliance with Order Nos. 827 and 828 and allowing for independent entity variation to preserve ISO-NE existing reactive power requirements that are consistent with Commission objectives); ISO New England Inc., 164 FERC ¶ 61,222 (2018) (accepting Tariff revisions modifying the LGIA and SGIA in compliance with Order No. 842 and approving independent entity variation to pro forma LGIA and SGIA as just and reasonable to accommodate generating facilities already in the queue).

See ISO New England Inc., et al., Joint Filing of Proposed Revisions to the Generator Interconnection Process and the Forward Capacity Market Participation Provisions Set Forth in the ISO New England Inc. Transmission, Markets and Services Tariff, Docket Nos. ER04-432-006, et al. (filed Oct. 31, 2008).

The CNR Group Study is a cluster study conducted for capacity purposes.  In the CNR Group Study, CNRIS Interconnection Requests are studied in queue order relative to the other Interconnection Requests that are also seeking to qualify to participate in the same FCA.  These requests are qualified to participate in the FCA if needed upgrades can be completed in time for the relevant FCA Capacity Commitment Period.  During this process, later-queued resources learn if their upgrades depend on the outcome for earlier-queued resources.  CNRIS (and associated upgrade and cost responsibilities) is assigned to those resources that obtain a Capacity Supply Obligation even if they clear before an earlier queued resource – hence, a “first-cleared, first-served” construct.  In other words, the allocation of interconnection capacity service and the associated obligations is based on the results of the market.  This method provides a mechanism to discipline multiple capacity Interconnection Requests when they are pending in the interconnection queue – the first cleared resource moves forward and the remaining resources decide whether to participate in a subsequent auction or withdraw.

ISO New England Inc. New England Power Pool, 126 FERC ¶ 61,080 (2009).

ISO New England Inc., 151 FERC ¶ 61,024 (2015).

ISO New England Inc., 161 FERC ¶ 61,123 (2017).

ISO New England Inc. New England Power Pool Participants Committee and Participating Transmission Owners Administrative Committee, 180 FERC ¶ 61,129 (2022).

NOPR at P 342.

See NOPR at PP 64-76

NOPR, Appendix B.

Id. at P 168.

NOPR at P 297.

Id. at P 298.

Id. at P 294.