## README
FCA 18 Demand Curve Values
Version: | Power Supply Planning Committee (August 23, 2023)
Revised: | 2023-08-14
For questions on this spreadsheet or data values contact ISO New England Participant Support and Solutions
AskISO@iso-ne.com
Summary. | This spreadsheet contains values for the Marginal Reliability Impact (MRI) curves and the system and zonal demand curves to be used for the Forward Capacity Auction for Capacity Commitment Period 2027-2028.
Context. | The ISO obtains the MRI curves using Monte Carlo simulation numerical methods. During the market clearing phase of the FCA, the optimization algorithm will treat the demand curve as linear between each adjacent row of the final numerical demand curve values calculated and listed in this worksheet.
Values. | Pre-calculated values, at 10 MW increments, for MRI (hr/yr), demand ($/kW-month), and LOLE (days/yr) are provided in the tabs in this spreadsheet for the System-Wide Capacity Demand Curve (III.13.2.2.1) and Export-Constrained Capacity Zone Demand Curves (III.13.2.2.3). The zonal MRI and demand prices are in addition to the system MRI and demand price.
The Capacity Demand Curve Scaling Factor (III.13.2.2.4) is set at the value such that, at the quantity specified by the System-Wide Capacity Demand Curve at a price of Net CONE, the Loss of Load Expectation is 0.1 days per year.
| FCA Starting Price ($/kW-m) | 14.525
| Net ICR (MW) | 30550
| Net CONE ($/kW-m) | 9.078
| System MRI @ Net ICR (hr/yr) | -0.76452
| Scaling Factor [($/kW-m)/(hr/yr)] | 11.8741 | Note: This value equals -1 * Net CONE / System MRI @ Net ICR
| Scaling Factor ($/MWh) | 142489.1757 | Note: This value equals the value in cell C21 * 12,000
Transition. | The System-Wide Capacity Demand Curve for FCA 18 will not be modified pursuant to the rules specified as the MRI Transition Period (III.13.2.2.1).
Truncation. | Each demand curve is subject to tail-truncation in accordance with market rule III.13.2.2.1, III.13.2.2.2, and III.13.2.2.3. The price and quantity points specified below list these tail-truncation points. For the System-Wide and Import-Constrained zones, the price shall be $0.000 at capacity amounts above the truncation quantity. For Export-Constrained zones, the price shall be $0.000 at quantity levels below the truncation quantity.
| Demand Curve | Quantity (MW) | Price ($/kW-month)
| System | Not Applicable | Not Applicable
| NNE | 8332.6565 | -0.01
| MAINE | 3856.9243 | -0.01
ISO-NE Public
ISO-NE Public

## System
Capacity | MRI | Price | LOLE
27570 | -10.4784 | 14.525 | 1.1284
27580 | -10.3985 | 14.525 | 1.1204
27590 | -10.3191 | 14.525 | 1.1129
27600 | -10.2401 | 14.525 | 1.1053
27610 | -10.1615 | 14.525 | 1.0978
27620 | -10.0833 | 14.525 | 1.09
27630 | -10.0055 | 14.525 | 1.082
27640 | -9.9281 | 14.525 | 1.075
27650 | -9.8511 | 14.525 | 1.0669
27660 | -9.7745 | 14.525 | 1.0586
27670 | -9.6983 | 14.525 | 1.0514
27680 | -9.6226 | 14.525 | 1.0446
27690 | -9.5472 | 14.525 | 1.0384
27700 | -9.4723 | 14.525 | 1.0302
27710 | -9.3977 | 14.525 | 1.0226
27720 | -9.3236 | 14.525 | 1.0158
27730 | -9.2499 | 14.525 | 1.0085
27740 | -9.1765 | 14.525 | 1.0022
27750 | -9.1036 | 14.525 | 0.99435
27760 | -9.0311 | 14.525 | 0.98659
27770 | -8.959 | 14.525 | 0.97952
27780 | -8.8873 | 14.525 | 0.97278
27790 | -8.816 | 14.525 | 0.96616
27800 | -8.7452 | 14.525 | 0.95941
27810 | -8.6747 | 14.525 | 0.95233
27820 | -8.6046 | 14.525 | 0.94589
27830 | -8.535 | 14.525 | 0.93832
27840 | -8.4657 | 14.525 | 0.93187
27850 | -8.3969 | 14.525 | 0.92547
27860 | -8.3284 | 14.525 | 0.91927
27870 | -8.2604 | 14.525 | 0.91211
27880 | -8.1928 | 14.525 | 0.90755
27890 | -8.1256 | 14.525 | 0.90011
27900 | -8.0588 | 14.525 | 0.8928
27910 | -7.9924 | 14.525 | 0.88711
27920 | -7.9264 | 14.525 | 0.881
27930 | -7.8608 | 14.525 | 0.8746
27940 | -7.7957 | 14.525 | 0.86714
27950 | -7.731 | 14.525 | 0.86061
27960 | -7.6666 | 14.525 | 0.85439
27970 | -7.6028 | 14.525 | 0.84788
27980 | -7.5393 | 14.525 | 0.84233
27990 | -7.4762 | 14.525 | 0.83643
28000 | -7.4136 | 14.525 | 0.83026
28010 | -7.3514 | 14.525 | 0.82405
28020 | -7.2895 | 14.525 | 0.81714
28030 | -7.2281 | 14.525 | 0.81106
28040 | -7.167 | 14.525 | 0.80456
28050 | -7.1064 | 14.525 | 0.79837
28060 | -7.0462 | 14.525 | 0.79246
28070 | -6.9863 | 14.525 | 0.78682
28080 | -6.9269 | 14.525 | 0.78133
28090 | -6.8678 | 14.525 | 0.77548
28100 | -6.8092 | 14.525 | 0.77026
28110 | -6.751 | 14.525 | 0.76381
28120 | -6.6932 | 14.525 | 0.75771
28130 | -6.636 | 14.525 | 0.75177
28140 | -6.5792 | 14.525 | 0.74541
28150 | -6.5227 | 14.525 | 0.74007
28160 | -6.4664 | 14.525 | 0.73442
28170 | -6.4106 | 14.525 | 0.7283
28180 | -6.3551 | 14.525 | 0.7222
28190 | -6.3 | 14.525 | 0.71634
28200 | -6.2453 | 14.525 | 0.71087
28210 | -6.191 | 14.525 | 0.70524
28220 | -6.137 | 14.525 | 0.69979
28230 | -6.0834 | 14.525 | 0.69361
28240 | -6.0301 | 14.525 | 0.68806
28250 | -5.9773 | 14.525 | 0.68206
28260 | -5.9248 | 14.525 | 0.67678
28270 | -5.8726 | 14.525 | 0.67121
28280 | -5.8208 | 14.525 | 0.66672
28290 | -5.7695 | 14.525 | 0.66136
28300 | -5.7185 | 14.525 | 0.65578
28310 | -5.6678 | 14.525 | 0.6498
28320 | -5.6176 | 14.525 | 0.64451
28330 | -5.5678 | 14.525 | 0.63977
28340 | -5.5183 | 14.525 | 0.63431
28350 | -5.4692 | 14.525 | 0.62998
28360 | -5.4205 | 14.525 | 0.62467
28370 | -5.3722 | 14.525 | 0.61975
28380 | -5.3243 | 14.525 | 0.61473
28390 | -5.2767 | 14.525 | 0.61016
28400 | -5.2294 | 14.525 | 0.60474
28410 | -5.1825 | 14.525 | 0.59868
28420 | -5.136 | 14.525 | 0.59385
28430 | -5.0899 | 14.525 | 0.58901
28440 | -5.044 | 14.525 | 0.58358
28450 | -4.9986 | 14.525 | 0.5792
28460 | -4.9535 | 14.525 | 0.57454
28470 | -4.9088 | 14.525 | 0.56965
28480 | -4.8644 | 14.525 | 0.56518
28490 | -4.8204 | 14.525 | 0.56026
28500 | -4.7767 | 14.525 | 0.55544
28510 | -4.7335 | 14.525 | 0.55132
28520 | -4.6905 | 14.525 | 0.54664
28530 | -4.648 | 14.525 | 0.54145
28540 | -4.6058 | 14.525 | 0.53704
28550 | -4.5639 | 14.525 | 0.53254
28560 | -4.5224 | 14.525 | 0.52816
28570 | -4.4813 | 14.525 | 0.52365
28580 | -4.4405 | 14.525 | 0.51928
28590 | -4.4002 | 14.525 | 0.51428
28600 | -4.3601 | 14.525 | 0.51022
28610 | -4.3205 | 14.525 | 0.50552
28620 | -4.2812 | 14.525 | 0.5014
28630 | -4.2422 | 14.525 | 0.49698
28640 | -4.2035 | 14.525 | 0.49238
28650 | -4.1651 | 14.525 | 0.4881
28660 | -4.1272 | 14.525 | 0.48397
28670 | -4.0895 | 14.525 | 0.47961
28680 | -4.0522 | 14.525 | 0.47595
28690 | -4.0151 | 14.525 | 0.47197
28700 | -3.9784 | 14.525 | 0.4678
28710 | -3.942 | 14.525 | 0.46402
28720 | -3.9059 | 14.525 | 0.46031
28730 | -3.8701 | 14.525 | 0.45625
28740 | -3.8346 | 14.525 | 0.45219
28750 | -3.7995 | 14.525 | 0.44845
28760 | -3.7646 | 14.525 | 0.44456
28770 | -3.7301 | 14.525 | 0.44094
28780 | -3.6958 | 14.525 | 0.43725
28790 | -3.6619 | 14.525 | 0.43348
28800 | -3.6283 | 14.525 | 0.42917
28810 | -3.5951 | 14.525 | 0.42524
28820 | -3.5621 | 14.525 | 0.42178
28830 | -3.5294 | 14.525 | 0.41804
28840 | -3.497 | 14.525 | 0.41468
28850 | -3.465 | 14.525 | 0.41161
28860 | -3.4333 | 14.525 | 0.40815
28870 | -3.4019 | 14.525 | 0.40401
28880 | -3.3708 | 14.525 | 0.40098
28890 | -3.34 | 14.525 | 0.3977
28900 | -3.3095 | 14.525 | 0.39445
28910 | -3.2794 | 14.525 | 0.39124
28920 | -3.2496 | 14.525 | 0.38773
28930 | -3.22 | 14.525 | 0.38377
28940 | -3.1906 | 14.525 | 0.38081
28950 | -3.1615 | 14.525 | 0.37763
28960 | -3.1326 | 14.525 | 0.37428
28970 | -3.1041 | 14.525 | 0.37003
28980 | -3.0758 | 14.525 | 0.3667
28990 | -3.0478 | 14.525 | 0.36394
29000 | -3.02 | 14.525 | 0.36037
29010 | -2.9925 | 14.525 | 0.35719
29020 | -2.9653 | 14.525 | 0.35446
29030 | -2.9383 | 14.525 | 0.35096
29040 | -2.9116 | 14.525 | 0.34816
29050 | -2.8851 | 14.525 | 0.34494
29060 | -2.8589 | 14.525 | 0.34206
29070 | -2.833 | 14.525 | 0.33957
29080 | -2.8073 | 14.525 | 0.33641
29090 | -2.7819 | 14.525 | 0.33389
29100 | -2.7567 | 14.525 | 0.3308
29110 | -2.7318 | 14.525 | 0.32803
29120 | -2.7071 | 14.525 | 0.32528
29130 | -2.6826 | 14.525 | 0.32204
29140 | -2.6584 | 14.525 | 0.31919
29150 | -2.6344 | 14.525 | 0.31639
29160 | -2.6107 | 14.525 | 0.31384
29170 | -2.5872 | 14.525 | 0.31113
29180 | -2.564 | 14.525 | 0.308
29190 | -2.541 | 14.525 | 0.3056
29200 | -2.5182 | 14.525 | 0.30293
29210 | -2.4957 | 14.525 | 0.30016
29220 | -2.4735 | 14.525 | 0.29805
29230 | -2.4514 | 14.525 | 0.29532
29240 | -2.4295 | 14.525 | 0.29251
29250 | -2.4079 | 14.525 | 0.28944
29260 | -2.3864 | 14.525 | 0.28688
29270 | -2.3651 | 14.525 | 0.28462
29280 | -2.3441 | 14.525 | 0.28257
29290 | -2.3233 | 14.525 | 0.28006
29300 | -2.3027 | 14.525 | 0.27784
29310 | -2.2823 | 14.525 | 0.27553
29320 | -2.262 | 14.525 | 0.27317
29330 | -2.242 | 14.525 | 0.27074
29340 | -2.2221 | 14.525 | 0.26851
29350 | -2.2024 | 14.525 | 0.26607
29360 | -2.1828 | 14.525 | 0.26379
29370 | -2.1634 | 14.525 | 0.26155
29380 | -2.1442 | 14.525 | 0.25946
29390 | -2.1252 | 14.525 | 0.25741
29400 | -2.1063 | 14.525 | 0.25516
29410 | -2.0875 | 14.525 | 0.25326
29420 | -2.0688 | 14.525 | 0.25091
29430 | -2.0503 | 14.525 | 0.24868
29440 | -2.0319 | 14.525 | 0.24632
29450 | -2.0136 | 14.525 | 0.24422
29460 | -1.9956 | 14.525 | 0.24227
29470 | -1.9777 | 14.525 | 0.24034
29480 | -1.96 | 14.525 | 0.23851
29490 | -1.9424 | 14.525 | 0.23647
29500 | -1.9248 | 14.525 | 0.23458
29510 | -1.9075 | 14.525 | 0.23245
29520 | -1.8903 | 14.525 | 0.23026
29530 | -1.8731 | 14.525 | 0.22834
29540 | -1.8562 | 14.525 | 0.22632
29550 | -1.8396 | 14.525 | 0.22429
29560 | -1.8232 | 14.525 | 0.22222
29570 | -1.8069 | 14.525 | 0.22062
29580 | -1.7908 | 14.525 | 0.21854
29590 | -1.7748 | 14.525 | 0.21674
29600 | -1.7591 | 14.525 | 0.21513
29610 | -1.7435 | 14.525 | 0.21362
29620 | -1.7282 | 14.525 | 0.21159
29630 | -1.713 | 14.525 | 0.20951
29640 | -1.698 | 14.525 | 0.20778
29650 | -1.6832 | 14.525 | 0.206
29660 | -1.6685 | 14.525 | 0.20444
29670 | -1.654 | 14.525 | 0.20277
29680 | -1.6396 | 14.525 | 0.20145
29690 | -1.6254 | 14.525 | 0.19989
29700 | -1.6113 | 14.525 | 0.19837
29710 | -1.5974 | 14.525 | 0.19654
29720 | -1.5836 | 14.525 | 0.19511
29730 | -1.57 | 14.525 | 0.19338
29740 | -1.5565 | 14.525 | 0.1917
29750 | -1.543 | 14.525 | 0.18997
29760 | -1.5297 | 14.525 | 0.18828
29770 | -1.5165 | 14.525 | 0.1866
29780 | -1.5034 | 14.525 | 0.18531
29790 | -1.4903 | 14.525 | 0.18398
29800 | -1.4774 | 14.525 | 0.18253
29810 | -1.4646 | 14.525 | 0.18095
29820 | -1.4518 | 14.525 | 0.17928
29830 | -1.4391 | 14.525 | 0.17752
29840 | -1.4265 | 14.525 | 0.17608
29850 | -1.414 | 14.525 | 0.17488
29860 | -1.4016 | 14.525 | 0.17374
29870 | -1.3894 | 14.525 | 0.17251
29880 | -1.3771 | 14.525 | 0.17096
29890 | -1.365 | 14.525 | 0.16948
29900 | -1.353 | 14.525 | 0.16791
29910 | -1.341 | 14.525 | 0.16663
29920 | -1.3292 | 14.525 | 0.16519
29930 | -1.3175 | 14.525 | 0.16371
29940 | -1.3059 | 14.525 | 0.16238
29950 | -1.2945 | 14.525 | 0.16122
29960 | -1.2831 | 14.525 | 0.15994
29970 | -1.2719 | 14.525 | 0.15861
29980 | -1.2609 | 14.525 | 0.1574
29990 | -1.2499 | 14.525 | 0.1562
30000 | -1.2392 | 14.525 | 0.15497
30010 | -1.2285 | 14.525 | 0.1537
30015.0084 | -1.2232 | 14.525 | 0.15308
30020 | -1.218 | 14.462 | 0.15247
30030 | -1.2075 | 14.338 | 0.15145
30040 | -1.1972 | 14.215 | 0.15039
30050 | -1.187 | 14.094 | 0.14942
30060 | -1.1769 | 13.974 | 0.14801
30070 | -1.1669 | 13.856 | 0.14693
30080 | -1.157 | 13.738 | 0.14593
30090 | -1.1472 | 13.622 | 0.14463
30100 | -1.1374 | 13.506 | 0.14332
30110 | -1.1277 | 13.391 | 0.14201
30120 | -1.1181 | 13.276 | 0.14093
30130 | -1.1085 | 13.163 | 0.1398
30140 | -1.099 | 13.049 | 0.13891
30150 | -1.0894 | 12.936 | 0.13776
30160 | -1.0798 | 12.822 | 0.13685
30170 | -1.0702 | 12.708 | 0.13552
30180 | -1.0607 | 12.595 | 0.13446
30190 | -1.0512 | 12.482 | 0.13339
30200 | -1.0418 | 12.37 | 0.13233
30210 | -1.0325 | 12.26 | 0.13122
30220 | -1.0233 | 12.15 | 0.13012
30230 | -1.0142 | 12.042 | 0.12916
30240 | -1.0051 | 11.935 | 0.12804
30250 | -0.9962 | 11.829 | 0.12704
30260 | -0.98741 | 11.725 | 0.12592
30270 | -0.97875 | 11.622 | 0.12509
30280 | -0.97025 | 11.521 | 0.12387
30290 | -0.96191 | 11.422 | 0.12304
30300 | -0.95373 | 11.325 | 0.12201
30310 | -0.94568 | 11.229 | 0.12117
30320 | -0.93772 | 11.135 | 0.12028
30330 | -0.92981 | 11.041 | 0.11935
30340 | -0.92196 | 10.947 | 0.11836
30350 | -0.91418 | 10.855 | 0.11756
30360 | -0.90647 | 10.764 | 0.11654
30370 | -0.89882 | 10.673 | 0.11564
30380 | -0.89119 | 10.582 | 0.11473
30390 | -0.88357 | 10.492 | 0.11383
30400 | -0.87602 | 10.402 | 0.11276
30410 | -0.86849 | 10.313 | 0.1118
30420 | -0.86086 | 10.222 | 0.1109
30430 | -0.85324 | 10.131 | 0.11002
30440 | -0.84566 | 10.041 | 0.10914
30450 | -0.83806 | 9.951 | 0.1082
30460 | -0.83051 | 9.862 | 0.10747
30470 | -0.82296 | 9.772 | 0.10648
30480 | -0.81548 | 9.683 | 0.10563
30490 | -0.80804 | 9.595 | 0.10492
30500 | -0.80065 | 9.507 | 0.10415
30510 | -0.7933 | 9.42 | 0.10317
30520 | -0.78599 | 9.333 | 0.10225
30530 | -0.77872 | 9.247 | 0.10157
30540 | -0.77155 | 9.161 | 0.10067
30550 | -0.76452 | 9.078 | 0.09976
30560 | -0.75767 | 8.997 | 0.09898
30570 | -0.75099 | 8.917 | 0.09822
30580 | -0.74442 | 8.839 | 0.09741
30590 | -0.73794 | 8.762 | 0.09648
30600 | -0.73154 | 8.686 | 0.09578
30610 | -0.72518 | 8.611 | 0.09503
30620 | -0.71887 | 8.536 | 0.0943
30630 | -0.71259 | 8.461 | 0.09361
30640 | -0.70637 | 8.387 | 0.09285
30650 | -0.7002 | 8.314 | 0.09206
30660 | -0.69411 | 8.242 | 0.09139
30670 | -0.68806 | 8.17 | 0.09058
30680 | -0.68203 | 8.098 | 0.08994
30690 | -0.67602 | 8.027 | 0.0893
30700 | -0.67003 | 7.956 | 0.08876
30710 | -0.66406 | 7.885 | 0.088
30720 | -0.65813 | 7.815 | 0.08736
30730 | -0.65225 | 7.745 | 0.08682
30740 | -0.64639 | 7.675 | 0.08598
30750 | -0.64059 | 7.606 | 0.0851
30760 | -0.63487 | 7.539 | 0.08446
30770 | -0.62918 | 7.471 | 0.08378
30780 | -0.62353 | 7.404 | 0.083
30790 | -0.61791 | 7.337 | 0.08239
30800 | -0.61232 | 7.271 | 0.08167
30810 | -0.60677 | 7.205 | 0.08096
30820 | -0.60129 | 7.14 | 0.08037
30830 | -0.59593 | 7.076 | 0.07983
30840 | -0.59058 | 7.013 | 0.07924
30850 | -0.58529 | 6.95 | 0.07861
30860 | -0.58002 | 6.887 | 0.07799
30870 | -0.57478 | 6.825 | 0.07744
30880 | -0.56959 | 6.763 | 0.07673
30890 | -0.56441 | 6.702 | 0.07605
30900 | -0.55923 | 6.64 | 0.07531
30910 | -0.55405 | 6.579 | 0.07475
30920 | -0.54889 | 6.518 | 0.07398
30930 | -0.54374 | 6.456 | 0.07328
30940 | -0.53859 | 6.395 | 0.07265
30950 | -0.53343 | 6.334 | 0.07185
30960 | -0.52825 | 6.272 | 0.07122
30970 | -0.52305 | 6.211 | 0.07077
30980 | -0.51786 | 6.149 | 0.07014
30990 | -0.51273 | 6.088 | 0.06959
31000 | -0.50765 | 6.028 | 0.06904
31010 | -0.50264 | 5.968 | 0.06853
31020 | -0.49771 | 5.91 | 0.06781
31030 | -0.49286 | 5.852 | 0.06709
31040 | -0.48809 | 5.796 | 0.06655
31050 | -0.48338 | 5.74 | 0.06596
31060 | -0.47873 | 5.685 | 0.06535
31070 | -0.47415 | 5.63 | 0.06489
31080 | -0.46963 | 5.576 | 0.06441
31090 | -0.46516 | 5.523 | 0.06383
31100 | -0.46075 | 5.471 | 0.06337
31110 | -0.45636 | 5.419 | 0.06288
31120 | -0.45206 | 5.368 | 0.06231
31130 | -0.44781 | 5.317 | 0.06186
31140 | -0.4436 | 5.267 | 0.06139
31150 | -0.4394 | 5.217 | 0.06085
31160 | -0.43519 | 5.168 | 0.06033
31170 | -0.431 | 5.118 | 0.05987
31180 | -0.42685 | 5.069 | 0.05928
31190 | -0.42276 | 5.02 | 0.05878
31200 | -0.41871 | 4.972 | 0.05819
31210 | -0.41467 | 4.924 | 0.05778
31220 | -0.41065 | 4.876 | 0.05712
31230 | -0.40667 | 4.829 | 0.0566
31240 | -0.40273 | 4.782 | 0.0561
31250 | -0.39882 | 4.736 | 0.05567
31260 | -0.39495 | 4.69 | 0.05521
31270 | -0.39113 | 4.644 | 0.05465
31280 | -0.38736 | 4.6 | 0.05422
31290 | -0.38364 | 4.555 | 0.05376
31300 | -0.37993 | 4.511 | 0.05334
31310 | -0.37624 | 4.468 | 0.05287
31320 | -0.37257 | 4.424 | 0.05237
31330 | -0.3689 | 4.38 | 0.05194
31340 | -0.36522 | 4.337 | 0.0515
31350 | -0.36152 | 4.293 | 0.0511
31360 | -0.35784 | 4.249 | 0.05074
31370 | -0.35418 | 4.206 | 0.05032
31380 | -0.35059 | 4.163 | 0.04984
31390 | -0.34702 | 4.121 | 0.04948
31400 | -0.34351 | 4.079 | 0.04901
31410 | -0.34004 | 4.038 | 0.04852
31420 | -0.33663 | 3.997 | 0.04808
31430 | -0.33327 | 3.957 | 0.0477
31440 | -0.32994 | 3.918 | 0.04722
31450 | -0.32662 | 3.878 | 0.04671
31460 | -0.32332 | 3.839 | 0.04624
31470 | -0.32003 | 3.8 | 0.0458
31480 | -0.31676 | 3.761 | 0.04535
31490 | -0.31349 | 3.722 | 0.04486
31500 | -0.3102 | 3.683 | 0.04445
31510 | -0.30689 | 3.644 | 0.04418
31520 | -0.30357 | 3.605 | 0.04372
31530 | -0.30024 | 3.565 | 0.04329
31540 | -0.29693 | 3.526 | 0.04295
31550 | -0.29365 | 3.487 | 0.04255
31560 | -0.2904 | 3.448 | 0.04225
31570 | -0.28719 | 3.41 | 0.04173
31580 | -0.28402 | 3.373 | 0.04136
31590 | -0.28089 | 3.335 | 0.04094
31600 | -0.2778 | 3.299 | 0.04052
31610 | -0.27474 | 3.262 | 0.04009
31620 | -0.27173 | 3.227 | 0.03972
31630 | -0.26877 | 3.191 | 0.03931
31640 | -0.26584 | 3.157 | 0.03895
31650 | -0.26293 | 3.122 | 0.03858
31660 | -0.26007 | 3.088 | 0.03814
31670 | -0.25723 | 3.054 | 0.03775
31680 | -0.25443 | 3.021 | 0.03736
31690 | -0.25167 | 2.988 | 0.03699
31700 | -0.24894 | 2.956 | 0.03659
31710 | -0.24624 | 2.924 | 0.0364
31720 | -0.24356 | 2.892 | 0.036
31730 | -0.24091 | 2.861 | 0.03573
31740 | -0.23827 | 2.829 | 0.03535
31750 | -0.23564 | 2.798 | 0.03506
31760 | -0.23304 | 2.767 | 0.03472
31770 | -0.23046 | 2.736 | 0.03437
31780 | -0.22791 | 2.706 | 0.03401
31790 | -0.22538 | 2.676 | 0.03368
31800 | -0.22287 | 2.646 | 0.03334
31810 | -0.22039 | 2.617 | 0.03307
31820 | -0.21795 | 2.588 | 0.03272
31830 | -0.21555 | 2.559 | 0.03242
31840 | -0.21319 | 2.531 | 0.03211
31850 | -0.21087 | 2.504 | 0.03179
31860 | -0.20858 | 2.477 | 0.03147
31870 | -0.20633 | 2.45 | 0.03113
31880 | -0.20411 | 2.424 | 0.03079
31890 | -0.2019 | 2.397 | 0.03048
31900 | -0.19969 | 2.371 | 0.03014
31910 | -0.19747 | 2.345 | 0.02984
31920 | -0.19524 | 2.318 | 0.02953
31930 | -0.19303 | 2.292 | 0.02922
31940 | -0.19081 | 2.266 | 0.02892
31950 | -0.18862 | 2.24 | 0.02863
31960 | -0.18645 | 2.214 | 0.02834
31970 | -0.18431 | 2.188 | 0.02809
31980 | -0.18219 | 2.163 | 0.02786
31990 | -0.18011 | 2.139 | 0.02755
32000 | -0.17807 | 2.114 | 0.02731
32010 | -0.17606 | 2.091 | 0.02704
32020 | -0.1741 | 2.067 | 0.02676
32030 | -0.17216 | 2.044 | 0.0265
32040 | -0.17025 | 2.022 | 0.02628
32050 | -0.16834 | 1.999 | 0.02602
32060 | -0.16643 | 1.976 | 0.0257
32070 | -0.16452 | 1.954 | 0.02539
32080 | -0.16261 | 1.931 | 0.02512
32090 | -0.1607 | 1.908 | 0.02495
32100 | -0.1588 | 1.886 | 0.02461
32110 | -0.15691 | 1.863 | 0.02433
32120 | -0.15505 | 1.841 | 0.02406
32130 | -0.15324 | 1.82 | 0.02383
32140 | -0.15147 | 1.799 | 0.0236
32150 | -0.14972 | 1.778 | 0.02337
32160 | -0.148 | 1.757 | 0.02313
32170 | -0.1463 | 1.737 | 0.02289
32180 | -0.1446 | 1.717 | 0.02266
32190 | -0.1429 | 1.697 | 0.02241
32200 | -0.14121 | 1.677 | 0.02217
32210 | -0.13952 | 1.657 | 0.02195
32220 | -0.13784 | 1.637 | 0.02171
32230 | -0.13618 | 1.617 | 0.02146
32240 | -0.13447 | 1.597 | 0.02126
32250 | -0.13276 | 1.576 | 0.02102
32260 | -0.13104 | 1.556 | 0.02082
32270 | -0.12934 | 1.536 | 0.02055
32280 | -0.12767 | 1.516 | 0.02032
32290 | -0.12604 | 1.497 | 0.02012
32300 | -0.12445 | 1.478 | 0.01989
32310 | -0.12291 | 1.459 | 0.01969
32320 | -0.1214 | 1.441 | 0.01942
32330 | -0.11992 | 1.424 | 0.01928
32340 | -0.11845 | 1.407 | 0.01903
32350 | -0.11701 | 1.389 | 0.01883
32360 | -0.11558 | 1.372 | 0.01864
32370 | -0.11417 | 1.356 | 0.01844
32380 | -0.1128 | 1.339 | 0.01825
32390 | -0.11144 | 1.323 | 0.01806
32400 | -0.11009 | 1.307 | 0.01784
32410 | -0.10873 | 1.291 | 0.01762
32420 | -0.10735 | 1.275 | 0.01738
32430 | -0.10597 | 1.258 | 0.01718
32440 | -0.10461 | 1.242 | 0.01704
32450 | -0.10326 | 1.226 | 0.01686
32460 | -0.10194 | 1.21 | 0.01665
32470 | -0.10063 | 1.195 | 0.0164
32480 | -0.099321 | 1.179 | 0.01619
32490 | -0.098012 | 1.164 | 0.01599
32500 | -0.096717 | 1.148 | 0.01582
32510 | -0.095455 | 1.133 | 0.01563
32520 | -0.094235 | 1.119 | 0.01547
32530 | -0.093056 | 1.105 | 0.01531
32540 | -0.091906 | 1.091 | 0.01514
32550 | -0.090774 | 1.078 | 0.01497
32560 | -0.089645 | 1.064 | 0.01478
32570 | -0.088513 | 1.051 | 0.01462
32580 | -0.087381 | 1.038 | 0.01447
32590 | -0.086256 | 1.024 | 0.01427
32600 | -0.085143 | 1.011 | 0.01412
32610 | -0.084045 | 0.998 | 0.01395
32620 | -0.082958 | 0.985 | 0.01378
32630 | -0.081876 | 0.972 | 0.01363
32640 | -0.080794 | 0.959 | 0.01347
32650 | -0.079711 | 0.946 | 0.01332
32660 | -0.078629 | 0.934 | 0.01315
32670 | -0.077557 | 0.921 | 0.01303
32680 | -0.076504 | 0.908 | 0.0129
32690 | -0.075475 | 0.896 | 0.01273
32700 | -0.074467 | 0.884 | 0.01259
32710 | -0.073471 | 0.872 | 0.01244
32720 | -0.072473 | 0.861 | 0.01225
32730 | -0.071473 | 0.849 | 0.01213
32740 | -0.070491 | 0.837 | 0.01199
32750 | -0.069541 | 0.826 | 0.01182
32760 | -0.068625 | 0.815 | 0.01168
32770 | -0.067734 | 0.804 | 0.01157
32780 | -0.066859 | 0.794 | 0.01143
32790 | -0.065994 | 0.784 | 0.01128
32800 | -0.065134 | 0.773 | 0.01117
32810 | -0.064276 | 0.763 | 0.01101
32820 | -0.063421 | 0.753 | 0.01089
32830 | -0.062562 | 0.743 | 0.01081
32840 | -0.061693 | 0.733 | 0.01063
32850 | -0.06081 | 0.722 | 0.01049
32860 | -0.059917 | 0.711 | 0.01039
32870 | -0.059022 | 0.701 | 0.01026
32880 | -0.058132 | 0.69 | 0.01014
32890 | -0.057251 | 0.68 | 0.00999
32900 | -0.056381 | 0.669 | 0.00987
32910 | -0.055528 | 0.659 | 0.00973
32920 | -0.054699 | 0.65 | 0.0096
32930 | -0.053897 | 0.64 | 0.00942
32940 | -0.053119 | 0.631 | 0.00934
32950 | -0.052353 | 0.622 | 0.0092
32960 | -0.051584 | 0.613 | 0.00907
32970 | -0.050813 | 0.603 | 0.00896
32980 | -0.050048 | 0.594 | 0.00884
32990 | -0.049294 | 0.585 | 0.00873
33000 | -0.048551 | 0.577 | 0.00864
33010 | -0.047819 | 0.568 | 0.00853
33020 | -0.047095 | 0.559 | 0.00841
33030 | -0.046384 | 0.551 | 0.00833
33040 | -0.045688 | 0.542 | 0.00822
33050 | -0.04501 | 0.534 | 0.0081
33060 | -0.044349 | 0.527 | 0.008
33070 | -0.043702 | 0.519 | 0.00792
33080 | -0.043063 | 0.511 | 0.00782
33090 | -0.042433 | 0.504 | 0.00772
33100 | -0.04182 | 0.497 | 0.00758
33110 | -0.041222 | 0.489 | 0.00747
33120 | -0.040625 | 0.482 | 0.00737
33130 | -0.040016 | 0.475 | 0.00726
33140 | -0.039395 | 0.468 | 0.00717
33150 | -0.038766 | 0.46 | 0.00706
33160 | -0.038138 | 0.453 | 0.00699
33170 | -0.037516 | 0.445 | 0.00689
33180 | -0.036906 | 0.438 | 0.00681
33190 | -0.036311 | 0.431 | 0.00669
33200 | -0.03573 | 0.424 | 0.0066
33210 | -0.035161 | 0.418 | 0.00649
33220 | -0.034607 | 0.411 | 0.00641
33230 | -0.034068 | 0.405 | 0.00632
33240 | -0.033546 | 0.398 | 0.00624
33250 | -0.033037 | 0.392 | 0.00612
33260 | -0.032539 | 0.386 | 0.00604
33270 | -0.032048 | 0.381 | 0.00596
33280 | -0.031564 | 0.375 | 0.00589
33290 | -0.03108 | 0.369 | 0.00579
33300 | -0.030593 | 0.363 | 0.00571
33310 | -0.030099 | 0.357 | 0.00562
33320 | -0.0296 | 0.351 | 0.00554
33330 | -0.029107 | 0.346 | 0.00546
33340 | -0.02863 | 0.34 | 0.0054
33350 | -0.028172 | 0.335 | 0.00533
33360 | -0.027726 | 0.329 | 0.00525
33370 | -0.02729 | 0.324 | 0.00518
33380 | -0.026866 | 0.319 | 0.0051
33390 | -0.026454 | 0.314 | 0.00501
33400 | -0.02605 | 0.309 | 0.00496
33410 | -0.02565 | 0.305 | 0.00489
33420 | -0.025251 | 0.3 | 0.00481
33430 | -0.024853 | 0.295 | 0.00473
33440 | -0.024457 | 0.29 | 0.00467
33450 | -0.024064 | 0.286 | 0.00461
33460 | -0.023677 | 0.281 | 0.00454
33470 | -0.023294 | 0.277 | 0.00447
33480 | -0.022914 | 0.272 | 0.00441
33490 | -0.022537 | 0.268 | 0.00434
33500 | -0.022168 | 0.263 | 0.00428
33510 | -0.021808 | 0.259 | 0.00423
33520 | -0.021459 | 0.255 | 0.00417
33530 | -0.021113 | 0.251 | 0.00409
33540 | -0.020768 | 0.247 | 0.00405
33550 | -0.020424 | 0.243 | 0.00399
33560 | -0.020083 | 0.238 | 0.00392
33570 | -0.019747 | 0.234 | 0.00386
33580 | -0.019416 | 0.231 | 0.00381
33590 | -0.019086 | 0.227 | 0.00372
33600 | -0.018755 | 0.223 | 0.00368
33605 | -0.018588 | 0.221 | 0.00365
33610 | -0.018421 | 0 | 0.00362
33620 | -0.018086 | 0 | 0.00359
33630 | -0.017755 | 0 | 0.00351
33640 | -0.017429 | 0 | 0.00346
33650 | -0.017112 | 0 | 0.00339
33660 | -0.016806 | 0 | 0.00333
33670 | -0.016512 | 0 | 0.00329
33680 | -0.016228 | 0 | 0.00325
33690 | -0.015955 | 0 | 0.0032
33700 | -0.015688 | 0 | 0.00316
33710 | -0.015426 | 0 | 0.0031
33720 | -0.015168 | 0 | 0.00305
33730 | -0.014914 | 0 | 0.00301
33740 | -0.014665 | 0 | 0.00298
33750 | -0.014421 | 0 | 0.00292
33760 | -0.014177 | 0 | 0.00286
33770 | -0.01393 | 0 | 0.00281
33780 | -0.013681 | 0 | 0.00275
33790 | -0.013432 | 0 | 0.0027
33800 | -0.013187 | 0 | 0.00264
33810 | -0.012948 | 0 | 0.00262
33820 | -0.012717 | 0 | 0.00258
33830 | -0.012493 | 0 | 0.00254
33840 | -0.012271 | 0 | 0.00249
33850 | -0.012049 | 0 | 0.00246
33860 | -0.011826 | 0 | 0.0024
33870 | -0.011605 | 0 | 0.00236
33880 | -0.011386 | 0 | 0.00232
33890 | -0.01117 | 0 | 0.00229
33900 | -0.010956 | 0 | 0.00226
33910 | -0.010746 | 0 | 0.00221
33920 | -0.010539 | 0 | 0.00218
33930 | -0.010336 | 0 | 0.00216
33940 | -0.010136 | 0 | 0.00214
33950 | -0.0099386 | 0 | 0.0021
33960 | -0.0097462 | 0 | 0.00205
33970 | -0.0095609 | 0 | 0.00201
33980 | -0.0093836 | 0 | 0.00196
33990 | -0.009213 | 0 | 0.00192
34000 | -0.0090476 | 0 | 0.00189
34010 | -0.0088865 | 0 | 0.00185
34020 | -0.008729 | 0 | 0.00183
34030 | -0.0085745 | 0 | 0.00179
34040 | -0.0084237 | 0 | 0.00176
34050 | -0.0082778 | 0 | 0.00173
34060 | -0.008137 | 0 | 0.00169
34070 | -0.0079994 | 0 | 0.00168
34080 | -0.0078621 | 0 | 0.00165
34090 | -0.0077235 | 0 | 0.00162
34100 | -0.0075831 | 0 | 0.00159
34110 | -0.0074422 | 0 | 0.00157
34120 | -0.0073036 | 0 | 0.00154
34130 | -0.0071687 | 0 | 0.00152
34140 | -0.0070404 | 0 | 0.00148
34150 | -0.0069255 | 0 | 0.00147
34160 | -0.0068226 | 0 | 0.00144
34170 | -0.0067177 | 0 | 0.00142
34180 | -0.006596 | 0 | 0.00137
34190 | -0.0064498 | 0 | 0.00135
34200 | -0.0062818 | 0 | 0.00132
34210 | -0.0061009 | 0 | 0.0013
34220 | -0.0059172 | 0 | 0.00127
34230 | -0.0057391 | 0 | 0.00124
34240 | -0.0055714 | 0 | 0.00121
34250 | -0.0054176 | 0 | 0.00118
34260 | -0.0052796 | 0 | 0.00116
34270 | -0.0051567 | 0 | 0.00115
34280 | -0.005049 | 0 | 0.00113
34290 | -0.0049584 | 0 | 0.00112
34300 | -0.0048857 | 0 | 0.00111
34310 | -0.0048311 | 0 | 0.00109
34320 | -0.0047926 | 0 | 0.00107
34330 | -0.0047634 | 0 | 0.00105
34340 | -0.0047319 | 0 | 0.00104
34350 | -0.004685 | 0 | 0.00101
34360 | -0.0046075 | 0 | 0.001
34370 | -0.0044969 | 0 | 0.00099
34380 | -0.0043769 | 0 | 0.00098
34390 | -0.0042829 | 0 | 0.00096
34400 | -0.0042233 | 0 | 0.00095
34410 | -0.004212 | 0 | 0.00094
34420 | -0.0042328 | 0 | 0.00092
34430 | -0.0042694 | 0 | 0.0009
34440 | -0.0043176 | 0 | 0.00088
34450 | -0.0043772 | 0 | 0.00086
34460 | -0.0044494 | 0 | 0.00085
34470 | -0.0045357 | 0 | 0.00083
34480 | -0.004637 | 0 | 0.0008
34490 | -0.0047539 | 0 | 0.00078
34500 | -0.004886 | 0 | 0.00076
34510 | -0.0050328 | 0 | 0.00076
34520 | -0.0051941 | 0 | 0.00072
34530 | -0.0053691 | 0 | 0.0007
34540 | -0.005544 | 0 | 0.0007
34550 | -0.005719 | 0 | 0.00068
34560 | -0.0058939 | 0 | 0.00066
34570 | -0.0060689 | 0 | 0.00064
34580 | -0.0062439 | 0 | 0.00062
34590 | -0.0064188 | 0 | 0.0006
34600 | -0.0065938 | 0 | 0.00058
34610 | -0.0067687 | 0 | 0.00056
34620 | -0.0069437 | 0 | 0.00054
34630 | -0.0071186 | 0 | 0.00052
34640 | -0.0072936 | 0 | 0.0005
34650 | -0.0074685 | 0 | 0.00048
34660 | -0.0076435 | 0 | 0.00046
34670 | -0.0078185 | 0 | 0.00044
34680 | -0.0079934 | 0 | 0.00042
34690 | -0.0081684 | 0 | 0.0004
34700 | -0.0083433 | 0 | 0.00038
34710 | -0.0085183 | 0 | 0.00036
34720 | -0.0086932 | 0 | 0.00034
34730 | -0.0088682 | 0 | 0.00032

## NNE
Capacity | MRI | Price | LOLE
8020 | 0.00044333 | 0 | 0.10048
8030 | 0.000448 | 0 | 0.10047
8040 | 0.00043078 | 0 | 0.10041
8050 | 0.00039365 | 0 | 0.10034
8060 | 0.00033217 | 0 | 0.10027
8070 | 0.00028549 | 0 | 0.10019
8080 | 0.00023568 | 0 | 0.10016
8090 | 0.00017309 | 0 | 0.1001
8100 | 0.0001078 | 0 | 0.09999
8110 | 8.271e-05 | 0 | 0.09996
8120 | 0.00010099 | 0 | 0.09994
8130 | 8.9923e-05 | 0 | 0.09994
8140 | 6.4215e-05 | 0 | 0.09987
8150 | 8.2525e-05 | 0 | 0.09986
8160 | 0.00012657 | 0 | 0.09984
8170 | 0.00014995 | 0 | 0.09982
8180 | 0.00012773 | 0 | 0.09975
8190 | 9.3176e-05 | 0 | 0.09965
8200 | 5.981e-05 | 0 | 0.09959
8210 | 2.0272e-05 | 0 | 0.09956
8220 | 3.601e-18 | 0 | 0.09951
8230 | 4.1587e-05 | 0 | 0.0995
8240 | 0.00012778 | 0 | 0.09947
8250 | 0.00021388 | 0 | 0.09948
8260 | 0.00028406 | 0 | 0.09947
8270 | 0.00034257 | 0 | 0.09945
8280 | 0.00039311 | 0 | 0.09942
8290 | 0.00041659 | 0 | 0.0994
8300 | 0.00044861 | 0 | 0.09937
8310 | 0.00053904 | 0 | 0.09934
8320 | 0.00066483 | 0 | 0.09934
8330 | 0.00080345 | 0 | 0.09928
8332.6565 | 0.00084217 | 0 | 0.09928
8332.6565 | 0.00084217 | -0.01 | 0.09928
8340 | 0.0009492 | -0.011 | 0.09929
8350 | 0.0011348 | -0.013 | 0.09928
8360 | 0.0013702 | -0.016 | 0.09924
8370 | 0.0016026 | -0.019 | 0.09928
8380 | 0.0018302 | -0.022 | 0.09932
8390 | 0.0021029 | -0.025 | 0.09931
8400 | 0.0024144 | -0.029 | 0.09932
8410 | 0.0027379 | -0.033 | 0.09945
8420 | 0.0030458 | -0.036 | 0.09948
8430 | 0.0033612 | -0.04 | 0.09946
8440 | 0.0037469 | -0.044 | 0.09948
8450 | 0.0041522 | -0.049 | 0.09953
8460 | 0.0045807 | -0.054 | 0.09964
8470 | 0.0050737 | -0.06 | 0.0997
8480 | 0.0056126 | -0.067 | 0.09987
8490 | 0.0061858 | -0.073 | 0.09994
8500 | 0.0067393 | -0.08 | 0.10004
8510 | 0.0073041 | -0.087 | 0.10012
8520 | 0.0079319 | -0.094 | 0.10026
8530 | 0.0085639 | -0.102 | 0.10043
8540 | 0.00921 | -0.109 | 0.10045
8550 | 0.0099125 | -0.118 | 0.10054
8560 | 0.01064 | -0.126 | 0.10066
8570 | 0.011402 | -0.135 | 0.10073
8580 | 0.012244 | -0.145 | 0.10086
8590 | 0.013177 | -0.156 | 0.10102
8600 | 0.014157 | -0.168 | 0.10129
8610 | 0.015068 | -0.179 | 0.10138
8620 | 0.015959 | -0.189 | 0.10153
8630 | 0.016994 | -0.202 | 0.10173
8640 | 0.018126 | -0.215 | 0.10207
8650 | 0.019263 | -0.229 | 0.10235
8660 | 0.020387 | -0.242 | 0.10247
8670 | 0.021567 | -0.256 | 0.10267
8680 | 0.022821 | -0.271 | 0.10283
8690 | 0.024044 | -0.286 | 0.10299
8700 | 0.025291 | -0.3 | 0.10308
8710 | 0.026715 | -0.317 | 0.10336
8720 | 0.02831 | -0.336 | 0.10359
8730 | 0.029981 | -0.356 | 0.1039
8740 | 0.031688 | -0.376 | 0.10413
8750 | 0.033475 | -0.397 | 0.1046
8760 | 0.035379 | -0.42 | 0.10483
8770 | 0.037284 | -0.443 | 0.10522
8780 | 0.039149 | -0.465 | 0.10547
8790 | 0.041099 | -0.488 | 0.10573
8800 | 0.043138 | -0.512 | 0.1061
8810 | 0.045308 | -0.538 | 0.10657
8820 | 0.047574 | -0.565 | 0.10677
8830 | 0.049885 | -0.592 | 0.10721
8840 | 0.052251 | -0.62 | 0.10762
8850 | 0.054606 | -0.648 | 0.10796
8860 | 0.057003 | -0.677 | 0.10832
8870 | 0.059567 | -0.707 | 0.10884
8880 | 0.062323 | -0.74 | 0.10925
8890 | 0.065196 | -0.774 | 0.10985
8900 | 0.068162 | -0.809 | 0.11027
8910 | 0.071262 | -0.846 | 0.11069
8920 | 0.074441 | -0.884 | 0.11135
8930 | 0.077673 | -0.922 | 0.11202
8940 | 0.080959 | -0.961 | 0.11247
8950 | 0.084404 | -1.002 | 0.11317
8960 | 0.088023 | -1.045 | 0.11364
8970 | 0.091746 | -1.089 | 0.11434
8980 | 0.095546 | -1.135 | 0.11495
8990 | 0.099442 | -1.181 | 0.11543
9000 | 0.10339 | -1.228 | 0.11614
9010 | 0.10729 | -1.274 | 0.11688
9020 | 0.11126 | -1.321 | 0.11737
9030 | 0.11545 | -1.371 | 0.11815
9040 | 0.11987 | -1.423 | 0.11904
9050 | 0.12454 | -1.479 | 0.11969
9060 | 0.12934 | -1.536 | 0.12048
9070 | 0.13424 | -1.594 | 0.12146
9080 | 0.13916 | -1.652 | 0.12228
9090 | 0.14416 | -1.712 | 0.12309
9100 | 0.14927 | -1.772 | 0.12413
9110 | 0.15446 | -1.834 | 0.12509
9120 | 0.15961 | -1.895 | 0.12615
9130 | 0.16485 | -1.957 | 0.12697
9140 | 0.17036 | -2.023 | 0.12786
9150 | 0.17619 | -2.092 | 0.12907
9160 | 0.18215 | -2.163 | 0.13006
9170 | 0.18805 | -2.233 | 0.13128
9180 | 0.19388 | -2.302 | 0.13239
9190 | 0.19975 | -2.372 | 0.13326
9200 | 0.20581 | -2.444 | 0.13401
9210 | 0.21214 | -2.519 | 0.13496
9220 | 0.2186 | -2.596 | 0.13599
9230 | 0.22508 | -2.673 | 0.13702
9240 | 0.23137 | -2.747 | 0.13819
9250 | 0.23768 | -2.822 | 0.13903
9260 | 0.24416 | -2.899 | 0.13992
9270 | 0.25092 | -2.979 | 0.14117
9280 | 0.25799 | -3.063 | 0.14249
9290 | 0.26524 | -3.15 | 0.14364
9300 | 0.27259 | -3.237 | 0.14495
9310 | 0.27995 | -3.324 | 0.14621
9320 | 0.28721 | -3.41 | 0.14707
9330 | 0.2945 | -3.497 | 0.14835
9340 | 0.302 | -3.586 | 0.14937
9350 | 0.30972 | -3.678 | 0.15045
9360 | 0.31766 | -3.772 | 0.15232
9370 | 0.3257 | -3.867 | 0.15335
9380 | 0.33388 | -3.965 | 0.15495
9390 | 0.34217 | -4.063 | 0.15633
9400 | 0.35062 | -4.163 | 0.15764
9410 | 0.3592 | -4.265 | 0.15922
9420 | 0.36792 | -4.369 | 0.16037
9430 | 0.37665 | -4.472 | 0.16197
9440 | 0.38534 | -4.576 | 0.16335
9450 | 0.39405 | -4.679 | 0.16472
9460 | 0.40275 | -4.782 | 0.16609
9470 | 0.41163 | -4.888 | 0.16757
9480 | 0.42067 | -4.995 | 0.16879
9490 | 0.4299 | -5.105 | 0.17057
9500 | 0.43926 | -5.216 | 0.17205
9510 | 0.44888 | -5.33 | 0.17369
9520 | 0.45876 | -5.447 | 0.17541
9530 | 0.46896 | -5.568 | 0.17719
9540 | 0.4793 | -5.691 | 0.17894
9550 | 0.4898 | -5.816 | 0.18078
9560 | 0.50017 | -5.939 | 0.18265
9570 | 0.51047 | -6.061 | 0.18442
9580 | 0.52083 | -6.184 | 0.1861
9590 | 0.53145 | -6.31 | 0.18801
9600 | 0.54239 | -6.44 | 0.18997
9610 | 0.55351 | -6.572 | 0.19179
9620 | 0.56471 | -6.705 | 0.19355
9630 | 0.57589 | -6.838 | 0.19555
9640 | 0.58729 | -6.974 | 0.19719
9650 | 0.59887 | -7.111 | 0.1992
9660 | 0.61052 | -7.249 | 0.20139
9670 | 0.62225 | -7.389 | 0.20327
9680 | 0.63405 | -7.529 | 0.20518
9690 | 0.64592 | -7.67 | 0.20707
9700 | 0.6579 | -7.812 | 0.20907
9710 | 0.66994 | -7.955 | 0.21102
9720 | 0.68202 | -8.098 | 0.21312
9730 | 0.69426 | -8.244 | 0.21504
9740 | 0.70668 | -8.391 | 0.21687
9750 | 0.71928 | -8.541 | 0.21901
9760 | 0.73207 | -8.693 | 0.22107
9770 | 0.74505 | -8.847 | 0.22369
9780 | 0.75817 | -9.003 | 0.22584
9790 | 0.77163 | -9.162 | 0.22831
9800 | 0.7854 | -9.326 | 0.23009
9810 | 0.7994 | -9.492 | 0.23244
9820 | 0.81355 | -9.66 | 0.23532
9830 | 0.82783 | -9.83 | 0.23789
9840 | 0.84214 | -10 | 0.24092
9850 | 0.85649 | -10.17 | 0.24303
9860 | 0.87092 | -10.341 | 0.24533
9870 | 0.88543 | -10.514 | 0.24731
9880 | 0.90002 | -10.687 | 0.24961
9890 | 0.91471 | -10.861 | 0.25217
9900 | 0.92952 | -11.037 | 0.25431
9910 | 0.94451 | -11.215 | 0.25646
9920 | 0.95973 | -11.396 | 0.25888
9930 | 0.97522 | -11.58 | 0.26167
9940 | 0.99103 | -11.768 | 0.26415
9950 | 1.007 | -11.957 | 0.26685
9960 | 1.0229 | -12.146 | 0.26977
9970 | 1.0388 | -12.335 | 0.27234
9980 | 1.0548 | -12.525 | 0.27471
9990 | 1.0711 | -12.718 | 0.27804
10000 | 1.0876 | -12.914 | 0.28047
10010 | 1.1042 | -13.112 | 0.28274
10020 | 1.1211 | -13.312 | 0.28559
10030 | 1.1382 | -13.515 | 0.28848
10040 | 1.1553 | -13.718 | 0.29193
10050 | 1.1725 | -13.923 | 0.29462
10060 | 1.1899 | -14.13 | 0.29737
10070 | 1.2076 | -14.339 | 0.30038
10078.768 | 1.2232 | -14.525 | 0.30307
10080 | 1.2254 | -14.525 | 0.30345
10090 | 1.2434 | -14.525 | 0.30663

## ME
Capacity | MRI | Price | LOLE
3700 | 0.00011544 | 0 | 0.09869
3710 | 6.4349e-05 | 0 | 0.09864
3720 | 2.9762e-05 | 0 | 0.0986
3730 | 1.1767e-05 | 0 | 0.09862
3740 | 1.2983e-05 | 0 | 0.09858
3750 | 1.7453e-07 | 0 | 0.09857
3760 | 8.1627e-19 | 0 | 0.09855
3770 | 1.8381e-05 | 0 | 0.09854
3780 | 5.1144e-05 | 0 | 0.09853
3790 | 8.214e-05 | 0 | 0.09853
3800 | 0.00011332 | 0 | 0.09853
3810 | 0.00015312 | 0 | 0.09851
3820 | 0.00022927 | 0 | 0.09849
3830 | 0.00034219 | 0 | 0.09851
3840 | 0.00048311 | 0 | 0.09853
3850 | 0.0006666 | 0 | 0.0985
3856.9243 | 0.00084217 | 0 | 0.09851
3856.9243 | 0.00084217 | -0.01 | 0.09851
3860 | 0.00092015 | -0.011 | 0.09851
3870 | 0.0012364 | -0.015 | 0.09863
3880 | 0.0016008 | -0.019 | 0.09865
3890 | 0.0019621 | -0.023 | 0.09876
3900 | 0.0023067 | -0.027 | 0.09881
3910 | 0.0026745 | -0.032 | 0.09885
3920 | 0.003084 | -0.037 | 0.09896
3930 | 0.0035374 | -0.042 | 0.09907
3940 | 0.0040449 | -0.048 | 0.09912
3950 | 0.0045369 | -0.054 | 0.09921
3960 | 0.005045 | -0.06 | 0.09929
3970 | 0.0056293 | -0.067 | 0.09932
3980 | 0.0063293 | -0.075 | 0.09942
3990 | 0.007159 | -0.085 | 0.09956
4000 | 0.0080377 | -0.095 | 0.0997
4010 | 0.0089743 | -0.107 | 0.09993
4020 | 0.010054 | -0.119 | 0.10018
4030 | 0.011261 | -0.134 | 0.10055
4040 | 0.012563 | -0.149 | 0.10089
4050 | 0.013953 | -0.166 | 0.10121
4060 | 0.015466 | -0.184 | 0.10154
4070 | 0.017145 | -0.204 | 0.10183
4080 | 0.018918 | -0.225 | 0.10223
4090 | 0.020737 | -0.246 | 0.10254
4100 | 0.022613 | -0.269 | 0.10286
4110 | 0.024535 | -0.291 | 0.10327
4120 | 0.026519 | -0.315 | 0.10366
4130 | 0.02859 | -0.339 | 0.10398
4140 | 0.030808 | -0.366 | 0.10438
4150 | 0.033211 | -0.394 | 0.10482
4160 | 0.035753 | -0.425 | 0.10534
4170 | 0.038355 | -0.455 | 0.10593
4180 | 0.041001 | -0.487 | 0.10649
4190 | 0.043744 | -0.519 | 0.10689
4200 | 0.046566 | -0.553 | 0.10763
4210 | 0.049517 | -0.588 | 0.10816
4220 | 0.052613 | -0.625 | 0.10876
4230 | 0.055778 | -0.662 | 0.10941
4240 | 0.058947 | -0.7 | 0.11
4250 | 0.062112 | -0.738 | 0.11042
4260 | 0.065381 | -0.776 | 0.11112
4270 | 0.068869 | -0.818 | 0.11174
4280 | 0.072487 | -0.861 | 0.11232
4290 | 0.076139 | -0.904 | 0.11294
4300 | 0.079858 | -0.948 | 0.11352
4310 | 0.083634 | -0.993 | 0.11409
4320 | 0.087485 | -1.039 | 0.11481
4330 | 0.091458 | -1.086 | 0.11543
4340 | 0.095544 | -1.135 | 0.11619
4350 | 0.099774 | -1.185 | 0.11709
4360 | 0.10414 | -1.237 | 0.11764
4370 | 0.10853 | -1.289 | 0.11834
4380 | 0.11291 | -1.341 | 0.11908
4390 | 0.11732 | -1.393 | 0.11982
4400 | 0.12176 | -1.446 | 0.12055
4410 | 0.12631 | -1.5 | 0.12127
4420 | 0.13099 | -1.555 | 0.122
4430 | 0.13571 | -1.611 | 0.12264
4440 | 0.14051 | -1.668 | 0.12352
4450 | 0.14544 | -1.727 | 0.12421
4460 | 0.1504 | -1.786 | 0.12527
4470 | 0.15528 | -1.844 | 0.12588
4480 | 0.16014 | -1.902 | 0.12691
4490 | 0.16513 | -1.961 | 0.12763
4500 | 0.17047 | -2.024 | 0.12858
4510 | 0.17613 | -2.091 | 0.1295
4520 | 0.18195 | -2.16 | 0.13065
4530 | 0.18777 | -2.23 | 0.13177
4540 | 0.19358 | -2.299 | 0.13276
4550 | 0.19948 | -2.369 | 0.13382
4560 | 0.20553 | -2.441 | 0.13504
4570 | 0.21169 | -2.514 | 0.13591
4580 | 0.21795 | -2.588 | 0.13705
4590 | 0.22433 | -2.664 | 0.1383
4600 | 0.23087 | -2.741 | 0.13944
4610 | 0.23747 | -2.82 | 0.14044
4620 | 0.24403 | -2.898 | 0.14175
4630 | 0.25073 | -2.977 | 0.14288
4640 | 0.25767 | -3.06 | 0.14405
4650 | 0.26475 | -3.144 | 0.14553
4660 | 0.27181 | -3.228 | 0.1465
4670 | 0.27893 | -3.312 | 0.14782
4680 | 0.28603 | -3.396 | 0.14927
4690 | 0.29314 | -3.481 | 0.15032
4700 | 0.30024 | -3.565 | 0.15145
4710 | 0.30741 | -3.65 | 0.15287
4720 | 0.31474 | -3.737 | 0.15419
4730 | 0.32223 | -3.826 | 0.15514
4740 | 0.32985 | -3.917 | 0.15676
4750 | 0.33765 | -4.009 | 0.15772
4760 | 0.34559 | -4.104 | 0.15901
4770 | 0.35365 | -4.199 | 0.16064
4780 | 0.3618 | -4.296 | 0.16223
4790 | 0.36996 | -4.393 | 0.16345
4800 | 0.37819 | -4.491 | 0.16457
4810 | 0.3865 | -4.589 | 0.16643
4820 | 0.39494 | -4.689 | 0.16809
4830 | 0.40347 | -4.791 | 0.16965
4840 | 0.41206 | -4.893 | 0.17114
4850 | 0.42071 | -4.996 | 0.17271
4860 | 0.42936 | -5.098 | 0.17417
4870 | 0.43811 | -5.202 | 0.1755
4880 | 0.44703 | -5.308 | 0.17667
4890 | 0.45598 | -5.414 | 0.17837
4900 | 0.46487 | -5.52 | 0.18004
4910 | 0.47377 | -5.626 | 0.18138
4920 | 0.48279 | -5.733 | 0.18302
4930 | 0.49194 | -5.841 | 0.18465
4940 | 0.5013 | -5.952 | 0.1862
4950 | 0.51096 | -6.067 | 0.18777
4960 | 0.52071 | -6.183 | 0.18903
4970 | 0.5302 | -6.296 | 0.19074
4980 | 0.53943 | -6.405 | 0.19212
4990 | 0.54862 | -6.514 | 0.19348
5000 | 0.55799 | -6.626 | 0.19515
5010 | 0.56757 | -6.739 | 0.19673
5020 | 0.57729 | -6.855 | 0.1985
5030 | 0.58721 | -6.973 | 0.20012
5040 | 0.59732 | -7.093 | 0.20201
5050 | 0.60759 | -7.215 | 0.20422
5060 | 0.61794 | -7.338 | 0.20594
5070 | 0.62838 | -7.461 | 0.20799
5080 | 0.63892 | -7.587 | 0.20993
5090 | 0.64961 | -7.713 | 0.21221
5100 | 0.66056 | -7.844 | 0.21391
5110 | 0.67173 | -7.976 | 0.21584
5120 | 0.68297 | -8.11 | 0.21829
5130 | 0.69424 | -8.243 | 0.2203
5140 | 0.70543 | -8.376 | 0.22219
5150 | 0.71662 | -8.509 | 0.22421
5160 | 0.72804 | -8.645 | 0.22596
5170 | 0.73959 | -8.782 | 0.22814
5180 | 0.75121 | -8.92 | 0.22987
5190 | 0.76292 | -9.059 | 0.2316
5200 | 0.77465 | -9.198 | 0.23364
5210 | 0.78643 | -9.338 | 0.23533
5220 | 0.79825 | -9.478 | 0.2374
5230 | 0.81022 | -9.621 | 0.23949
5240 | 0.82237 | -9.765 | 0.24137
5250 | 0.83473 | -9.912 | 0.24338
5260 | 0.8473 | -10.061 | 0.24605
5270 | 0.86006 | -10.212 | 0.24784
5280 | 0.8728 | -10.364 | 0.2505
5290 | 0.8857 | -10.517 | 0.25281
5300 | 0.8987 | -10.671 | 0.25508
5310 | 0.91192 | -10.828 | 0.25745
5320 | 0.92528 | -10.987 | 0.25979
5330 | 0.939 | -11.15 | 0.26272
5340 | 0.95285 | -11.314 | 0.26522
5350 | 0.96666 | -11.478 | 0.26756
5360 | 0.98039 | -11.641 | 0.26966
5370 | 0.99416 | -11.805 | 0.27228
5380 | 1.008 | -11.969 | 0.27463
5390 | 1.022 | -12.135 | 0.27714
5400 | 1.0361 | -12.303 | 0.27921
5410 | 1.0505 | -12.473 | 0.28179
5420 | 1.065 | -12.645 | 0.28446
5430 | 1.0796 | -12.819 | 0.28661
5440 | 1.0945 | -12.996 | 0.28925
5450 | 1.1096 | -13.175 | 0.292
5460 | 1.1248 | -13.356 | 0.29505
5470 | 1.1403 | -13.54 | 0.2978
5480 | 1.1558 | -13.724 | 0.30005
5490 | 1.1714 | -13.909 | 0.3025
5500 | 1.187 | -14.095 | 0.30499
5510 | 1.2026 | -14.28 | 0.30792
5520 | 1.2184 | -14.467 | 0.30995
5523.0238 | 1.2232 | -14.525 | 0.31102
5530 | 1.2345 | -14.525 | 0.31348
5540 | 1.2508 | -14.525 | 0.31655