## Slide 1
February 24, 2017
Updated analysis of Fast Start Generator starts from 2014 through 2016
Analysis of Fast Start Generator Dispatch Frequency

## Slide 2: Fast Start Generator Definition
The tariff defines Fast Start Generators based on the following criteria
  Minimum Run Time does not exceed one hour
  Minimum Down Time does not exceed one hour
  Cold Notification Time plus cold Start-Up Time does not exceed 30 minutes
  Available for dispatch and manned or has automatic remote dispatch capability
  Capable of receiving and acknowledging a start-up or shut-down Dispatch Instruction electronically
  Has satisfied its minimum down time

## Slide 3: Fast Start Generator Modelling Assumptions
Determination of fast start eligibility based on the tariff definition
Real-time offer parameters from 2014 to 2016 were compiled to construct hourly history of fast start generators
  A change in real-time offer parameters for a given hour, such as increasing Minimum Run Time beyond 1 hour, would cause a generator to not be identified as fast start eligible for that hour
When a resource goes from offline to online it is counted as a start as a result of an ISO dispatch (i.e., pool scheduled)
  Self-schedules are not counted as a start
  A resource that transitions from a self-schedule to a pool-schedule without shutting down is not counted as a start
Unlike the 2014 study, the ISO’s production-level real-time pricing algorithm was not re-run

## Slide 4: Results – Monthly Fast Start Generator Starts
 | 2014 | 2015 | 2016
JAN | 959 | 430 | 606
FEB | 633 | 672 | 563
MAR | 570 | 483 | 733
APR | 181 | 399 | 660
MAY | 240 | 625 | 605
JUN | 251 | 484 | 491
JUL | 240 | 650 | 701
AUG | 310 | 863 | 797
SEP | 366 | 735 | 549
OCT | 307 | 514 | 552
NOV | 273 | 427 | 611
DEC | 628 | 640 | 729

## Slide 5: Results – Monthly Fast Start Generator Starts
Chart: 
| 2014-01 | 2014-02 | 2014-03 | 2014-04 | 2014-05 | 2014-06 | 2014-07 | 2014-08 | 2014-09 | 2014-10 | 2014-11 | 2014-12 | 2015-01 | 2015-02 | 2015-03 | 2015-04 | 2015-05 | 2015-06 | 2015-07 | 2015-08 | 2015-09 | 2015-10 | 2015-11 | 2015-12 | 2016-01 | 2016-02 | 2016-03 | 2016-04 | 2016-05 | 2016-06 | 2016-07 | 2016-08 | 2016-09 | 2016-10 | 2016-11 | 2016-12
CC | 1 | 1 | 2 | 0 | 0 | 1 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 2 | 0 | 1 | 1 | 1 | 1 | 2 | 0 | 1 | 0 | 4 | 3 | 2 | 2 | 0 | 0
Combustion Turbine | 650 | 345 | 309 | 86 | 86 | 100 | 113 | 119 | 153 | 122 | 89 | 214 | 112 | 327 | 120 | 124 | 286 | 222 | 294 | 480 | 384 | 202 | 174 | 250 | 239 | 197 | 310 | 222 | 161 | 163 | 251 | 344 | 217 | 237 | 238 | 192
Hydro-Oth | 27 | 61 | 44 | 23 | 42 | 56 | 36 | 75 | 80 | 74 | 46 | 172 | 74 | 65 | 157 | 95 | 177 | 124 | 208 | 201 | 185 | 157 | 88 | 197 | 172 | 191 | 198 | 249 | 285 | 214 | 301 | 266 | 202 | 159 | 191 | 283
Hydro-PS | 139 | 125 | 133 | 72 | 111 | 91 | 82 | 105 | 125 | 111 | 132 | 199 | 215 | 183 | 192 | 178 | 156 | 133 | 139 | 170 | 145 | 149 | 161 | 178 | 171 | 164 | 216 | 178 | 149 | 109 | 134 | 149 | 121 | 146 | 169 | 210
ICU | 142 | 101 | 82 | 0 | 1 | 3 | 7 | 11 | 7 | 0 | 6 | 43 | 29 | 97 | 14 | 2 | 5 | 4 | 9 | 11 | 19 | 6 | 3 | 14 | 23 | 10 | 7 | 11 | 9 | 5 | 11 | 35 | 7 | 8 | 13 | 44